## Data
Log File Data
2007-10-29 13:18 | MERIT Configuration Data
Test Description: Shot 6009, 5T field, 10TP.
Mode = Triggered
LogFile = C:\MERIT Data\071029 logfile.txt
Trigger-Pulse Delay (s) = 15.170000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
100 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
200 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.395
300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.849
400 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
500 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.698
600 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.698
700 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.849
800 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.849
900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
1000 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 1.001
1100 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.849
1200 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.546
1300 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.849
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
1500 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.243
1600 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.849
1700 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
1800 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 1.001
1900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.849
2000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 1.001
2100 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.546
2200 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.243
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.698
2400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 1.152
2500 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 1.152
2600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.546
2700 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
2800 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 1.001
2900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 1.152
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.698
3100 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.849
3200 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
3300 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
3400 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 1.001
3500 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 1.152
3600 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.849
3700 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.698
3800 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 1.152
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
4000 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
4100 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.546
4200 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 1.152
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
4400 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.395
4500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
4600 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.849
4700 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
4800 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.698
4900 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
5000 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 1.152
5100 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
5200 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
5300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.546
5400 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.849
5500 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.546
5700 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.546
5800 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 1.304
6100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
6200 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.849
6300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
6400 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.698
6500 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.698
6600 | 0 | 0 | -14.893 | 0 | 0 | 1.864 | 1.152
6700 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
6800 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
6900 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
7000 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.849
7100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
7200 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.546
7300 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
7400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
7500 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 1.152
7600 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 1.152
7700 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
7800 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
7900 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
8000 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
8100 | 0.04 | 0.04 | -14.893 | 0 | 0.119 | 1.713 | 1.001
8200 | 0.081 | 0.081 | -14.893 | 0 | 0.044 | 1.637 | 0.849
8300 | 0.121 | 0.133 | -14.893 | 0 | 0.044 | 1.485 | 1.304
8400 | 0.161 | 0.189 | -14.893 | 0 | 0.119 | 1.485 | 1.001
8500 | 0.202 | 0.25 | -14.893 | 0 | 0.044 | 1.485 | 1.001
8600 | 0.242 | 0.314 | -14.893 | 0 | 0.119 | 1.485 | 1.304
8700 | 0.282 | 0.383 | -14.893 | 0 | 0.044 | 1.182 | 0.698
8800 | 0.323 | 0.456 | -14.893 | 0 | 0.044 | 1.334 | 1.001
8900 | 0.363 | 0.532 | -14.893 | 0 | 0.044 | 0.955 | 1.304
9000 | 0.403 | 0.613 | -14.893 | 0 | -0.108 | 0.955 | 1.759
9100 | 0.443 | 0.697 | -14.893 | 0 | 0.044 | 1.031 | 2.516
9200 | 0.484 | 0.769 | -14.876 | 0 | -0.032 | 1.485 | 3.88
9300 | 0.524 | 0.845 | -14.86 | 103.988 | -0.032 | 2.849 | 6.001
9400 | 0.564 | 0.892 | -14.809 | 103.988 | -0.032 | 5.501 | 10.092
9500 | 0.605 | 0.942 | -14.759 | 311.977 | -0.032 | 9.213 | 14.487
9600 | 0.645 | 0.963 | -14.675 | 311.971 | 0.044 | 15.047 | 22.214
9700 | 0.685 | 0.988 | -14.591 | 519.954 | 0.119 | 22.169 | 30.245
9800 | 0.726 | 1.017 | -14.507 | 519.96 | 0.195 | 29.214 | 39.64
9900 | 0.766 | 1.034 | -14.407 | 519.942 | 0.498 | 37.473 | 50.095
10000 | 0.806 | 1.054 | -14.306 | 623.948 | 0.498 | 44.897 | 59.793
10100 | 0.847 | 1.061 | -14.189 | 623.948 | 0.271 | 52.549 | 69.036
10200 | 0.887 | 1.107 | -14.105 | 727.931 | 0.574 | 57.55 | 75.4
10300 | 0.927 | 1.072 | -13.937 | 519.96 | 0.498 | 63.686 | 83.128
10400 | 0.968 | 1.092 | -13.82 | 1039.902 | 0.649 | 69.444 | 89.492
10500 | 1.008 | 1.099 | -13.686 | 727.936 | 0.725 | 72.93 | 94.189
10600 | 1.048 | 1.126 | -13.568 | 831.925 | 0.574 | 76.187 | 98.886
10700 | 1.089 | 1.141 | -13.434 | 727.936 | 0.801 | 78.915 | 102.523
10800 | 1.129 | 1.144 | -13.283 | 831.925 | 0.877 | 82.021 | 106.463
10900 | 1.169 | 1.15 | -13.132 | 935.925 | 0.877 | 83.764 | 109.038
11000 | 1.209 | 1.16 | -12.981 | 935.913 | 0.952 | 85.961 | 111.766
11100 | 1.25 | 1.191 | -12.847 | 935.913 | 1.028 | 87.552 | 113.736
11200 | 1.29 | 1.21 | -12.696 | 831.925 | 3.301 | 87.249 | 116.615
11300 | 1.33 | 1.249 | -12.562 | 935.925 | 8.532 | 83.612 | 122.373
11400 | 1.371 | 1.275 | -12.411 | 831.925 | 8.986 | 84.521 | 124.646
11500 | 1.411 | 1.289 | -12.244 | 935.913 | 9.744 | 85.733 | 126.767
11600 | 1.451 | 1.289 | -12.058 | 1039.902 | 10.274 | 86.491 | 129.343
11700 | 1.492 | 1.311 | -11.89 | 1150.401 | 10.501 | 87.4 | 131.01
11800 | 1.532 | 1.286 | -11.672 | 1039.902 | 10.653 | 88.158 | 132.222
11900 | 1.572 | 1.333 | -11.521 | 1351.885 | 10.198 | 88.915 | 133.282
12000 | 1.613 | 1.333 | -11.32 | 935.913 | 10.653 | 88.991 | 134.192
12100 | 1.653 | 1.338 | -11.119 | 1247.89 | 12.47 | 88.461 | 135.555
12200 | 1.693 | 1.396 | -10.968 | 1247.89 | 11.94 | 88.84 | 136.313
12300 | 1.734 | 1.426 | -10.784 | 935.919 | 12.243 | 88.082 | 138.131
12400 | 1.774 | 1.392 | -10.532 | 1143.902 | 14.061 | 88.158 | 138.586
12500 | 1.814 | 1.396 | -10.314 | 1559.855 | 13.304 | 89.673 | 139.798
12600 | 1.855 | 1.42 | -10.113 | 1351.885 | 13.001 | 89.825 | 139.343
12700 | 1.895 | 1.432 | -9.895 | 1247.884 | 13.682 | 89.446 | 140.556
12800 | 1.935 | 1.448 | -9.677 | 1351.879 | 14.213 | 89.143 | 141.313
12900 | 1.975 | 1.451 | -9.442 | 1351.879 | 14.743 | 88.991 | 142.222
13000 | 2.016 | 1.491 | -9.241 | 1455.873 | 15.197 | 88.764 | 142.677
13100 | 2.056 | 1.486 | -8.989 | 1247.884 | 16.106 | 87.476 | 144.344
13200 | 2.096 | 1.535 | -8.788 | 1559.861 | 16.333 | 88.006 | 144.95
13300 | 2.137 | 1.554 | -8.553 | 1247.89 | 17.394 | 87.627 | 145.405
13400 | 2.177 | 1.56 | -8.302 | 1455.873 | 18.606 | 86.264 | 146.92
13500 | 2.217 | 1.571 | -8.05 | 1559.861 | 18.985 | 86.188 | 148.132
13600 | 2.258 | 1.551 | -7.764 | 1559.861 | 19.439 | 86.415 | 148.738
13700 | 2.298 | 1.603 | -7.546 | 1774.34 | 19.06 | 86.491 | 148.435
13800 | 2.338 | 1.592 | -7.261 | 1351.882 | 20.272 | 84.749 | 150.102
13900 | 2.379 | 1.635 | -7.026 | 1767.838 | 20.575 | 85.43 | 150.556
14000 | 2.419 | 1.666 | -6.774 | 1455.87 | 21.333 | 84.445 | 151.314
14100 | 2.419 | 1.589 | -6.456 | 1559.864 | 23.151 | 83.082 | 152.981
14200 | 2.419 | 1.596 | -6.221 | 1975.824 | 21.333 | 84.673 | 152.375
14300 | 2.419 | 1.536 | -5.919 | 1455.87 | 20.424 | 86.264 | 151.465
14400 | 2.419 | 1.527 | -5.668 | 1871.832 | 18.909 | 87.855 | 150.253
14500 | 2.419 | 1.551 | -5.45 | 1559.861 | 17.924 | 88.385 | 149.041
14600 | 2.419 | 1.507 | -5.165 | 1351.882 | 18.379 | 87.173 | 148.435
14700 | 2.419 | 1.531 | -4.947 | 1767.844 | 17.394 | 88.006 | 148.435
14800 | 2.419 | 1.488 | -4.661 | 1351.876 | 17.621 | 87.476 | 147.98
14900 | 2.419 | 1.512 | -4.443 | 1767.841 | 16.636 | 88.764 | 147.223
15000 | 2.419 | 1.502 | -4.192 | 1351.882 | 17.015 | 87.779 | 146.92
15100 | 2.419 | 1.509 | -3.957 | 1559.861 | 17.015 | 88.158 | 146.768
15200 | 2.419 | 1.55 | -3.756 | 1455.87 | 16.939 | 88.158 | 146.617
15300 | 2.419 | 1.523 | -3.487 | 1247.887 | 18.227 | 86.34 | 147.223
15400 | 2.419 | 1.53 | -3.252 | 1670.353 | 18.379 | 86.946 | 148.132
15500 | 2.419 | 1.52 | -3 | 1455.871 | 17.848 | 87.476 | 148.283
15600 | 2.419 | 1.51 | -2.749 | 1559.86 | 17.545 | 87.324 | 148.132
15700 | 2.298 | 1.38 | -2.497 | 1559.858 | 17.015 | 87.779 | 147.677
15800 | 2.177 | 1.254 | -2.262 | 1559.863 | 13.607 | 91.87 | 146.314
15900 | 2.056 | 1.149 | -2.061 | 1455.868 | 9.441 | 96.037 | 141.01
16000 | 1.935 | 1.066 | -1.893 | 1247.889 | 6.638 | 97.855 | 136.465
16100 | 1.814 | 0.988 | -1.743 | 1039.909 | 4.815 | 96.871 | 132.525
16200 | 1.693 | 0.931 | -1.625 | 935.916 | 3.528 | 95.961 | 128.282
16300 | 1.572 | 0.862 | -1.508 | 727.936 | 2.846 | 94.37 | 124.191
16400 | 1.451 | 0.798 | -1.407 | 727.935 | 2.089 | 91.87 | 119.645
16500 | 1.33 | 0.721 | -1.306 | 623.944 | 1.71 | 90.052 | 114.796
16600 | 1.209 | 0.683 | -1.256 | 623.943 | 0.725 | 86.567 | 111.311
16700 | 1.089 | 0.616 | -1.189 | 311.973 | 0.649 | 82.4 | 105.402
16800 | 0.968 | 0.554 | -1.139 | 415.962 | 0.346 | 78.687 | 100.705
16900 | 0.847 | 0.496 | -1.105 | 311.973 | 0.119 | 75.202 | 95.098
17000 | 0.726 | 0.426 | -1.072 | 207.981 | 0.044 | 70.354 | 89.189
17100 | 0.605 | 0.344 | -1.038 | 207.981 | 0.195 | 66.565 | 83.734
17200 | 0.484 | 0.267 | -1.021 | 207.981 | -0.032 | 63.005 | 80.4
17300 | 0.363 | 0.178 | -1.005 | 103.992 | -0.032 | 59.974 | 75.703
17400 | 0.242 | 0.076 | -0.988 | 103.992 | -0.032 | 57.171 | 72.672
17500 | 0.121 | 0 | -0.988 | 103.989 | -0.032 | 54.822 | 69.339