## Data
Log File Data
2007-10-31 09:30 | MERIT Configuration Data
Test Description: Shot 8005, 0T field, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.212 | 0 | 0 | 1.182 | 0.092
100 | 0 | 0 | -15.212 | 0 | 0 | 1.182 | -0.514
200 | 0 | 0 | -15.212 | 0 | 0 | 0.955 | -0.514
300 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.06
400 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | -0.817
500 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.969
600 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.817
700 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | -0.817
800 | 0 | 0 | -15.212 | 0 | 0 | 1.182 | -0.06
900 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.514
1000 | 0 | 0 | -15.212 | 0 | 0 | 0.955 | -0.666
1100 | 0 | 0 | -15.229 | 0 | 0 | 0.955 | -0.514
1200 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.06
1300 | 0 | 0 | -15.212 | 0 | 0 | 1.031 | -0.969
1400 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | -0.666
1500 | 0 | 0 | -15.229 | 0 | 0 | 1.258 | -0.969
1600 | 0 | 0 | -15.212 | 0 | 0 | 1.182 | -0.514
1700 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | -0.666
1800 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.363
1900 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | 0.092
2000 | 0 | 0 | -15.212 | 0 | 0 | 1.107 | -0.969
2100 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | -0.817
2200 | 0 | 0 | -15.229 | 0 | 0 | 1.258 | -0.06
2300 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | 0.092
2400 | 0 | 0 | -15.229 | 0 | 0 | 1.107 | -0.514
2500 | 0 | 0 | -15.229 | 0 | 0 | 1.107 | 0.092
2600 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | -0.817
2700 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.817
2800 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.666
2900 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.514
3000 | 0 | 0 | -15.229 | 0 | 0 | 1.031 | -0.363
3100 | 0 | 0 | -15.245 | 0 | 0 | 0.955 | 0.243
3200 | 0 | 0 | -15.229 | 0 | 0 | 0.955 | -0.514
3300 | 0 | 0 | -15.229 | 0 | 0 | 1.258 | -0.363
3400 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | -0.969
3500 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | -0.514
3600 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.666
3700 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | -0.817
3800 | 0 | 0 | -15.245 | 0 | 0 | 0.955 | -0.666
3900 | 0 | 0 | -15.229 | 0 | 0 | 1.107 | -0.363
4000 | 0 | 0 | -15.245 | 0 | 0 | 1.258 | -0.666
4100 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.514
4200 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | -0.969
4300 | 0 | 0 | -15.245 | 0 | 0 | 1.258 | -0.817
4400 | 0 | 0 | -15.245 | 0 | 0 | 1.107 | -0.363
4500 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.817
4600 | 0 | 0 | -15.229 | 0 | 0 | 1.182 | -0.514
4700 | 0 | 0 | -15.229 | 0 | 0 | 1.031 | -0.363
4800 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.817
4900 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | -0.514
5000 | 0 | 0 | -15.245 | 0 | 0 | 0.955 | -0.363
5100 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.514
5200 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.363
5300 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.666
5400 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.969
5500 | 0 | 0 | -15.245 | 0 | 0 | 0.955 | -0.514
5600 | 0 | 0 | -15.245 | 0 | 0 | 1.031 | -0.363
5700 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | 0.243
5800 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | -0.363
5900 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.363
6000 | 0 | 0 | -15.245 | 0 | 0 | 1.258 | -0.666
6100 | 0 | 0 | -15.245 | 0 | 0 | 1.182 | -0.514
6200 | 0 | 0 | -15.262 | 0 | 0 | 1.031 | -0.817
6300 | 0 | 0 | -15.245 | 0 | 0 | 1.031 | -0.666
6400 | 0 | 0 | -15.245 | 0 | 0 | 1.41 | -0.363
6500 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | -0.817
6600 | 0 | 0 | -15.245 | 0 | 0 | 1.107 | -0.363
6700 | 0 | 0 | -15.262 | 0 | 0 | 0.955 | -0.666
6800 | 0 | 0 | -15.245 | 0 | 0 | 1.107 | -0.666
6900 | 0.04 | 0.04 | -15.245 | 0 | 9.289 | 1.258 | -0.514
7000 | 0.081 | 0.097 | -15.262 | 0 | 9.213 | 1.258 | -0.666
7100 | 0.121 | 0.15 | -15.262 | -103.988 | 9.213 | 0.879 | -0.666
7200 | 0.161 | 0.206 | -15.262 | 0 | 9.289 | 1.182 | 0.092
7300 | 0.202 | 0.25 | -15.245 | 0 | 9.213 | 0.728 | -0.514
7400 | 0.242 | 0.314 | -15.245 | 103.988 | 9.138 | 0.879 | -0.363
7500 | 0.282 | 0.383 | -15.245 | 0 | 9.289 | 0.576 | 0.092
7600 | 0.323 | 0.472 | -15.262 | 0 | 9.213 | 0.5 | 0.395
7700 | 0.363 | 0.549 | -15.262 | -103.988 | 9.213 | 0.804 | 0.849
7800 | 0.403 | 0.63 | -15.262 | 0 | 9.213 | 0.804 | 0.849
7900 | 0.443 | 0.697 | -15.245 | 0 | 9.213 | 1.031 | 1.759
8000 | 0.484 | 0.786 | -15.245 | 103.988 | 9.289 | 1.561 | 2.365
8100 | 0.524 | 0.879 | -15.245 | 0 | 9.213 | 2.773 | 4.334
8200 | 0.564 | 0.976 | -15.245 | 0 | 9.213 | 4.061 | 7.668
8300 | 0.605 | 1.026 | -15.195 | 0 | 9.213 | 6.94 | 11.911
8400 | 0.645 | 1.047 | -15.111 | 311.977 | 9.213 | 12.926 | 19.639
8500 | 0.685 | 1.055 | -15.011 | 519.948 | 9.138 | 20.502 | 28.427
8600 | 0.726 | 1.084 | -14.927 | 623.948 | 9.213 | 29.669 | 40.246
8700 | 0.766 | 1.084 | -14.809 | 519.954 | 9.213 | 38.003 | 51.459
8800 | 0.806 | 1.071 | -14.675 | 727.936 | 9.213 | 46.867 | 62.52
8900 | 0.847 | 1.078 | -14.558 | 831.925 | 9.213 | 53.61 | 70.248
9000 | 0.887 | 1.073 | -14.424 | 727.936 | 9.213 | 59.444 | 78.43
9100 | 0.927 | 1.106 | -14.323 | 831.925 | 9.213 | 64.141 | 83.885
9200 | 0.968 | 1.142 | -14.222 | 623.942 | 9.213 | 67.702 | 88.734
9300 | 1.008 | 1.166 | -14.105 | 623.948 | 9.289 | 71.339 | 93.886
9400 | 1.048 | 1.143 | -13.937 | 727.936 | 9.213 | 75.96 | 99.947
9500 | 1.089 | 1.141 | -13.786 | 1039.902 | 9.289 | 79.218 | 104.038
9600 | 1.129 | 1.16 | -13.652 | 935.913 | 9.213 | 81.642 | 107.069
9700 | 1.169 | 1.183 | -13.518 | 831.937 | 9.213 | 83.688 | 108.584
9800 | 1.209 | 1.194 | -13.367 | 831.925 | 9.213 | 85.506 | 111.463
9900 | 1.25 | 1.208 | -13.216 | 935.913 | 9.213 | 86.491 | 113.433
10000 | 1.29 | 1.227 | -13.065 | 935.913 | 9.289 | 86.264 | 117.069
10100 | 1.33 | 1.283 | -12.948 | 935.925 | 9.213 | 82.93 | 122.221
10200 | 1.371 | 1.326 | -12.814 | 727.925 | 9.213 | 83.309 | 124.342
10300 | 1.411 | 1.289 | -12.596 | 831.937 | 10.122 | 84.294 | 127.979
10400 | 1.451 | 1.324 | -12.445 | 1351.867 | 9.592 | 86.188 | 129.191
10500 | 1.492 | 1.295 | -12.227 | 935.925 | 10.047 | 87.4 | 130.555
10600 | 1.532 | 1.354 | -12.092 | 1351.885 | 9.895 | 87.552 | 131.464
10700 | 1.572 | 1.333 | -11.874 | 838.424 | 11.031 | 87.173 | 133.282
10800 | 1.613 | 1.384 | -11.723 | 1351.879 | 11.031 | 88.158 | 134.192
10900 | 1.653 | 1.405 | -11.538 | 935.913 | 11.789 | 87.627 | 135.101
11000 | 1.693 | 1.396 | -11.32 | 1143.896 | 13.001 | 86.87 | 137.525
11100 | 1.734 | 1.409 | -11.119 | 1351.879 | 12.698 | 88.309 | 137.222
11200 | 1.774 | 1.409 | -10.901 | 1247.89 | 12.546 | 88.84 | 138.131
11300 | 1.814 | 1.429 | -10.7 | 1351.885 | 12.47 | 89.143 | 138.737
11400 | 1.855 | 1.437 | -10.482 | 1247.878 | 12.849 | 88.915 | 139.647
11500 | 1.895 | 1.499 | -10.314 | 1351.885 | 13.304 | 88.84 | 139.495
11600 | 1.935 | 1.481 | -10.062 | 1039.913 | 14.667 | 88.234 | 141.313
11700 | 1.975 | 1.501 | -9.844 | 1559.855 | 15.197 | 87.627 | 142.829
11800 | 2.016 | 1.491 | -9.593 | 1351.879 | 15.349 | 87.703 | 143.283
11900 | 2.056 | 1.519 | -9.375 | 1559.861 | 15.652 | 88.158 | 143.889
12000 | 2.096 | 1.535 | -9.14 | 1351.879 | 16.03 | 87.476 | 144.798
12100 | 2.137 | 1.554 | -8.905 | 1455.873 | 16.788 | 87.4 | 145.405
12200 | 2.177 | 1.577 | -8.671 | 1455.873 | 16.939 | 86.567 | 146.465
12300 | 2.217 | 1.621 | -8.453 | 1455.867 | 18.53 | 86.264 | 147.374
12400 | 2.258 | 1.585 | -8.151 | 1351.879 | 19.666 | 85.279 | 148.738
12500 | 2.298 | 1.604 | -7.899 | 1871.832 | 19.288 | 85.127 | 149.496
12600 | 2.338 | 1.659 | -7.68 | 1559.864 | 19.363 | 85.658 | 148.738
12700 | 2.379 | 1.635 | -7.378 | 1358.375 | 21.03 | 84.673 | 150.405
12800 | 2.419 | 1.683 | -7.143 | 1871.832 | 21.257 | 83.764 | 151.769
12900 | 2.419 | 1.623 | -6.842 | 1455.87 | 22.09 | 83.309 | 152.072
13000 | 2.419 | 1.613 | -6.59 | 1871.835 | 21.03 | 84.749 | 153.284
13100 | 2.419 | 1.57 | -6.305 | 1559.864 | 19.969 | 85.582 | 151.314
13200 | 2.419 | 1.56 | -6.053 | 1767.838 | 18.757 | 87.097 | 150.556
13300 | 2.419 | 1.567 | -5.819 | 1559.864 | 18.151 | 87.627 | 148.89
13400 | 2.419 | 1.558 | -5.567 | 1455.873 | 18 | 87.097 | 148.435
13500 | 2.419 | 1.531 | -5.299 | 1559.858 | 17.924 | 87.249 | 148.132
13600 | 2.419 | 1.555 | -5.081 | 1663.85 | 17.091 | 87.855 | 147.829
13700 | 2.419 | 1.529 | -4.812 | 1351.882 | 17.47 | 87.173 | 147.829
13800 | 2.419 | 1.553 | -4.594 | 1663.847 | 17.091 | 87.173 | 147.526
13900 | 2.419 | 1.56 | -4.36 | 1351.882 | 17.242 | 87.173 | 147.223
14000 | 2.419 | 1.517 | -4.075 | 1455.873 | 17.848 | 86.34 | 147.98
14100 | 2.419 | 1.557 | -3.873 | 1767.844 | 17.545 | 87.779 | 147.223
14200 | 2.419 | 1.548 | -3.622 | 1247.886 | 17.394 | 87.249 | 147.223
14300 | 2.419 | 1.554 | -3.386 | 1559.86 | 17.924 | 87.097 | 147.98
14400 | 2.419 | 1.527 | -3.118 | 1462.369 | 17.47 | 86.718 | 147.526
14500 | 2.298 | 1.413 | -2.883 | 1663.854 | 16.788 | 87.4 | 148.132
14600 | 2.177 | 1.287 | -2.648 | 1455.871 | 13.682 | 91.037 | 145.708
14700 | 2.056 | 1.166 | -2.43 | 1455.87 | 10.198 | 95.204 | 141.768
14800 | 1.935 | 1.083 | -2.262 | 1351.879 | 10.198 | 96.416 | 136.919
14900 | 1.814 | 1.005 | -2.111 | 1039.906 | 10.274 | 96.34 | 133.131
15000 | 1.693 | 0.931 | -1.977 | 935.916 | 10.274 | 95.734 | 128.434
15100 | 1.572 | 0.879 | -1.877 | 831.927 | 10.198 | 93.385 | 123.433
15200 | 1.451 | 0.815 | -1.776 | 623.944 | 10.274 | 90.961 | 119.494
15300 | 1.33 | 0.772 | -1.709 | 623.946 | 10.274 | 88.537 | 113.887
15400 | 1.209 | 0.717 | -1.642 | 415.962 | 10.274 | 85.279 | 109.645
15500 | 1.089 | 0.633 | -1.558 | 415.962 | 10.198 | 82.173 | 105.099
15600 | 0.968 | 0.57 | -1.508 | 519.954 | 10.274 | 78.006 | 98.886
15700 | 0.847 | 0.513 | -1.474 | 311.973 | 10.274 | 73.99 | 94.037
15800 | 0.726 | 0.443 | -1.441 | 207.981 | 10.198 | 69.293 | 87.673
15900 | 0.605 | 0.361 | -1.407 | 207.981 | 10.198 | 65.278 | 82.976
16000 | 0.484 | 0.284 | -1.39 | 207.981 | 10.198 | 62.02 | 78.279
16100 | 0.363 | 0.194 | -1.374 | 103.991 | 10.274 | 58.686 | 74.188
16200 | 0.242 | 0.11 | -1.374 | 103.989 | 10.198 | 55.959 | 70.551
16300 | 0.121 | 0 | -1.357 | 0 | 10.198 | 52.625 | 66.611