## Data
Log File Data
2007-10-31 09:54 | MERIT Configuration Data
Test Description: Shot 8010, 0T field, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -16.084 | 0 | 0 | 1.258 | -0.363
100 | 0 | 0 | -16.084 | 0 | 0 | 1.334 | 0.243
200 | 0 | 0 | -16.084 | 0 | 0 | 1.485 | -0.363
300 | 0 | 0 | -16.084 | 0 | 0 | 1.41 | 0.243
400 | 0 | 0 | -16.084 | 0 | 0 | 1.41 | 0.092
500 | 0 | 0 | -16.084 | 0 | 0 | 1.182 | -0.06
600 | 0 | 0 | -16.084 | 0 | 0 | 1.334 | -0.06
700 | 0 | 0 | -16.084 | 0 | 0 | 1.485 | -0.363
800 | 0 | 0 | -16.084 | 0 | 0 | 1.334 | 0.092
900 | 0 | 0 | -16.084 | 0 | 0 | 1.182 | -0.363
1000 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | 0.092
1100 | 0 | 0 | -16.084 | 0 | 0 | 1.561 | 0.092
1200 | 0 | 0 | -16.084 | 0 | 0 | 1.485 | -0.06
1300 | 0 | 0 | -16.084 | 0 | 0 | 1.485 | -0.06
1400 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.06
1500 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | 0.243
1600 | 0 | 0 | -16.084 | 0 | 0 | 1.258 | -0.363
1700 | 0 | 0 | -16.084 | 0 | 0 | 1.41 | -0.514
1800 | 0 | 0 | -16.101 | 0 | 0 | 1.485 | -0.06
1900 | 0 | 0 | -16.084 | 0 | 0 | 1.258 | 0.395
2000 | 0 | 0 | -16.084 | 0 | 0 | 1.258 | -0.363
2100 | 0 | 0 | -16.084 | 0 | 0 | 1.334 | -0.363
2200 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
2300 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | 0.092
2400 | 0 | 0 | -16.101 | 0 | 0 | 1.561 | -0.06
2500 | 0 | 0 | -16.101 | 0 | 0 | 1.182 | 0.243
2600 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | 0.395
2700 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
2800 | 0 | 0 | -16.101 | 0 | 0 | 1.485 | -0.06
2900 | 0 | 0 | -16.101 | 0 | 0 | 1.485 | 0.092
3000 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | -0.363
3100 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | -0.514
3200 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
3300 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | -0.363
3400 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | 0.243
3500 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | 0.092
3600 | 0 | 0 | -16.084 | 0 | 0 | 1.258 | 0.395
3700 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | 0.092
3800 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
3900 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | -0.363
4000 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
4100 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | -0.363
4200 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | 0.243
4300 | 0 | 0 | -16.101 | 0 | 0 | 1.182 | 0.092
4400 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | 0.395
4500 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | 0.092
4600 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | 0.243
4700 | 0 | 0 | -16.101 | 0 | 0 | 1.41 | -0.363
4800 | 0 | 0 | -16.101 | 0 | 0 | 1.334 | -0.06
4900 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | -0.06
5000 | 0 | 0 | -16.101 | 0 | 0 | 1.258 | 0.243
5100 | 0 | 0 | -16.101 | 0 | 0 | 1.485 | -0.06
5200 | 0 | 0 | -16.117 | 0 | 0 | 1.561 | -0.363
5300 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | -0.363
5400 | 0 | 0 | -16.117 | 0 | 0 | 1.41 | 0.092
5500 | 0 | 0 | -16.117 | 0 | 0 | 1.41 | -0.363
5600 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | 0.243
5700 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | -0.363
5800 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | -0.363
5900 | 0 | 0 | -16.117 | 0 | 0 | 1.485 | 0.395
6000 | 0 | 0 | -16.117 | 0 | 0 | 1.485 | -0.06
6100 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | -0.514
6200 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | -0.514
6300 | 0 | 0 | -16.117 | 0 | 0 | 1.41 | 0.395
6400 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | 0.092
6500 | 0 | 0 | -16.117 | 0 | 0 | 1.41 | 0.092
6600 | 0 | 0 | -16.117 | 0 | 0 | 1.334 | -0.363
6700 | 0 | 0 | -16.134 | 0 | 0 | 1.258 | -0.06
6800 | 0 | 0 | -16.117 | 0 | 0 | 1.258 | -0.363
6900 | 0.04 | 0.04 | -16.117 | 0 | 12.698 | 1.182 | 0.092
7000 | 0.081 | 0.081 | -16.117 | 0 | 12.698 | 1.334 | -0.363
7100 | 0.121 | 0.15 | -16.134 | 0 | 12.698 | 1.41 | 0.092
7200 | 0.161 | 0.189 | -16.117 | -103.988 | 12.698 | 1.334 | 0.243
7300 | 0.202 | 0.267 | -16.134 | 103.988 | 12.773 | 1.485 | 0.546
7400 | 0.242 | 0.314 | -16.117 | -103.988 | 12.773 | 1.258 | 0.698
7500 | 0.282 | 0.383 | -16.117 | 103.988 | 12.773 | 1.031 | 0.698
7600 | 0.323 | 0.456 | -16.117 | 0 | 12.773 | 1.107 | 0.849
7700 | 0.363 | 0.549 | -16.134 | 0 | 12.773 | 0.879 | 0.849
7800 | 0.403 | 0.63 | -16.134 | -103.988 | 12.698 | 0.804 | 1.001
7900 | 0.443 | 0.697 | -16.117 | 0 | 12.698 | 1.031 | 1.607
8000 | 0.484 | 0.786 | -16.117 | 103.988 | 12.773 | 1.713 | 2.516
8100 | 0.524 | 0.879 | -16.117 | 0 | 12.773 | 3.531 | 5.244
8200 | 0.564 | 0.976 | -16.117 | 0 | 12.773 | 4.743 | 9.032
8300 | 0.605 | 1.009 | -16.05 | 0 | 12.773 | 8.38 | 14.032
8400 | 0.645 | 1.03 | -15.966 | 415.954 | 12.698 | 15.426 | 22.821
8500 | 0.685 | 1.055 | -15.883 | 519.954 | 12.698 | 23.229 | 32.064
8600 | 0.726 | 1.051 | -15.765 | 519.96 | 12.773 | 32.624 | 44.337
8700 | 0.766 | 1.067 | -15.665 | 727.936 | 12.698 | 40.579 | 54.186
8800 | 0.806 | 1.071 | -15.547 | 623.942 | 12.698 | 47.398 | 63.126
8900 | 0.847 | 1.078 | -15.43 | 727.936 | 12.698 | 54.216 | 71.157
9000 | 0.887 | 1.09 | -15.312 | 727.936 | 12.698 | 60.126 | 79.036
9100 | 0.927 | 1.089 | -15.178 | 727.936 | 12.698 | 65.732 | 85.855
9200 | 0.968 | 1.092 | -15.044 | 831.925 | 12.698 | 70.126 | 91.765
9300 | 1.008 | 1.115 | -14.927 | 831.925 | 12.698 | 73.46 | 95.704
9400 | 1.048 | 1.143 | -14.809 | 727.931 | 12.698 | 76.112 | 99.341
9500 | 1.089 | 1.141 | -14.658 | 727.936 | 12.698 | 79.066 | 102.523
9600 | 1.129 | 1.144 | -14.507 | 935.913 | 12.698 | 81.566 | 106.463
9700 | 1.169 | 1.167 | -14.373 | 935.913 | 12.698 | 83.536 | 109.341
9800 | 1.209 | 1.177 | -14.222 | 831.937 | 12.622 | 84.673 | 111.766
9900 | 1.25 | 1.191 | -14.071 | 935.913 | 12.698 | 86.718 | 113.584
10000 | 1.29 | 1.21 | -13.921 | 935.913 | 12.698 | 88.082 | 114.948
10100 | 1.33 | 1.266 | -13.803 | 935.913 | 12.698 | 84.521 | 121.16
10200 | 1.371 | 1.309 | -13.669 | 727.936 | 12.698 | 84.294 | 124.191
10300 | 1.411 | 1.272 | -13.451 | 831.925 | 12.698 | 85.43 | 127.07
10400 | 1.451 | 1.307 | -13.3 | 1351.885 | 12.622 | 86.34 | 128.888
10500 | 1.492 | 1.312 | -13.116 | 935.919 | 12.698 | 87.097 | 130.555
10600 | 1.532 | 1.338 | -12.948 | 1143.896 | 12.698 | 87.476 | 131.767
10700 | 1.572 | 1.334 | -12.747 | 1039.902 | 12.773 | 87.855 | 133.131
10800 | 1.613 | 1.351 | -12.562 | 1247.89 | 12.698 | 88.385 | 134.495
10900 | 1.653 | 1.372 | -12.378 | 1143.908 | 12.698 | 88.764 | 134.949
11000 | 1.693 | 1.381 | -12.176 | 1143.89 | 12.849 | 88.385 | 136.465
11100 | 1.734 | 1.409 | -11.991 | 1247.89 | 12.773 | 88.612 | 137.525
11200 | 1.774 | 1.425 | -11.79 | 1150.401 | 12.773 | 88.915 | 137.828
11300 | 1.814 | 1.446 | -11.588 | 1247.884 | 13.379 | 88.991 | 139.495
11400 | 1.855 | 1.437 | -11.354 | 1247.89 | 13.985 | 88.537 | 139.798
11500 | 1.895 | 1.449 | -11.136 | 1455.873 | 13.91 | 88.84 | 141.162
11600 | 1.935 | 1.481 | -10.934 | 1351.879 | 13.91 | 88.688 | 141.313
11700 | 1.975 | 1.468 | -10.683 | 1247.884 | 15.046 | 87.627 | 143.132
11800 | 2.016 | 1.491 | -10.465 | 1559.861 | 14.97 | 88.764 | 143.132
11900 | 2.056 | 1.536 | -10.264 | 1351.879 | 15.576 | 88.461 | 143.132
12000 | 2.096 | 1.518 | -9.995 | 1247.89 | 17.015 | 86.264 | 145.253
12100 | 2.137 | 1.554 | -9.777 | 1663.856 | 16.864 | 86.946 | 145.556
12200 | 2.177 | 1.543 | -9.509 | 1351.879 | 17.924 | 87.173 | 146.768
12300 | 2.217 | 1.604 | -9.308 | 1663.85 | 18.076 | 86.643 | 146.92
12400 | 2.258 | 1.569 | -9.006 | 1247.89 | 19.212 | 85.733 | 148.132
12500 | 2.298 | 1.604 | -8.771 | 1871.832 | 19.288 | 85.809 | 148.738
12600 | 2.338 | 1.626 | -8.52 | 1455.873 | 19.666 | 85.961 | 148.587
12700 | 2.379 | 1.636 | -8.251 | 1559.855 | 20.954 | 84.976 | 150.708
12800 | 2.419 | 1.667 | -8 | 1663.856 | 21.333 | 84.445 | 150.859
12900 | 2.419 | 1.623 | -7.714 | 1559.861 | 22.242 | 83.839 | 152.375
13000 | 2.419 | 1.596 | -7.445 | 1774.343 | 21.408 | 84.749 | 152.375
13100 | 2.419 | 1.57 | -7.177 | 1663.847 | 20.121 | 86.264 | 151.617
13200 | 2.419 | 1.543 | -6.909 | 1663.856 | 18.909 | 87.173 | 149.647
13300 | 2.419 | 1.534 | -6.657 | 1663.85 | 18 | 88.158 | 148.738
13400 | 2.419 | 1.541 | -6.422 | 1559.858 | 17.697 | 88.688 | 148.283
13500 | 2.419 | 1.548 | -6.188 | 1455.87 | 17.47 | 88.006 | 147.677
13600 | 2.419 | 1.538 | -5.936 | 1455.873 | 17.848 | 87.476 | 148.283
13700 | 2.419 | 1.512 | -5.668 | 1559.864 | 18 | 87.627 | 147.526
13800 | 2.419 | 1.519 | -5.433 | 1663.85 | 16.864 | 88.537 | 147.071
13900 | 2.419 | 1.526 | -5.198 | 1455.87 | 16.636 | 88.537 | 146.92
14000 | 2.419 | 1.55 | -4.98 | 1455.87 | 16.939 | 88.006 | 146.617
14100 | 2.419 | 1.557 | -4.745 | 1351.882 | 17.848 | 87.324 | 147.223
14200 | 2.419 | 1.531 | -4.477 | 1455.87 | 18.227 | 86.491 | 147.071
14300 | 2.419 | 1.504 | -4.209 | 1663.85 | 17.545 | 87.476 | 147.98
14400 | 2.419 | 1.545 | -4.007 | 1663.856 | 16.333 | 88.612 | 146.617
14500 | 2.298 | 1.431 | -3.773 | 1247.884 | 17.394 | 87.703 | 146.768
14600 | 2.177 | 1.271 | -3.503 | 1455.871 | 14.819 | 90.431 | 145.708
14700 | 2.056 | 1.149 | -3.285 | 1670.349 | 13.682 | 95.886 | 141.616
14800 | 1.935 | 1.066 | -3.118 | 1351.882 | 13.682 | 98.765 | 134.798
14900 | 1.814 | 1.005 | -2.983 | 1039.908 | 13.758 | 97.022 | 131.767
15000 | 1.693 | 0.914 | -2.833 | 831.925 | 13.758 | 95.204 | 127.979
15100 | 1.572 | 0.879 | -2.749 | 935.919 | 13.758 | 93.84 | 123.282
15200 | 1.451 | 0.815 | -2.648 | 519.951 | 13.682 | 91.643 | 118.585
15300 | 1.33 | 0.772 | -2.581 | 623.947 | 13.758 | 88.612 | 115.099
15400 | 1.209 | 0.7 | -2.497 | 415.962 | 13.682 | 85.658 | 110.099
15500 | 1.089 | 0.633 | -2.43 | 519.954 | 13.682 | 82.021 | 105.25
15600 | 0.968 | 0.57 | -2.38 | 415.962 | 13.758 | 79.748 | 100.705
15700 | 0.847 | 0.496 | -2.329 | 311.971 | 13.758 | 74.975 | 94.34
15800 | 0.726 | 0.443 | -2.313 | 311.973 | 13.758 | 71.111 | 88.734
15900 | 0.605 | 0.361 | -2.279 | 103.991 | 13.758 | 66.111 | 83.279
16000 | 0.484 | 0.284 | -2.262 | 207.981 | 13.682 | 62.853 | 78.733
16100 | 0.363 | 0.194 | -2.246 | 103.99 | 13.758 | 59.444 | 74.794
16200 | 0.242 | 0.11 | -2.246 | 103.991 | 13.758 | 56.716 | 71.46
16300 | 0.121 | 0 | -2.229 | 0 | 13.758 | 54.216 | 68.43