## Data
Log File Data
2007-11-02 12:08 | MERIT Configuration Data
Test Description: Shot 9007, 5T field, 24GeV, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.363
100 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.817
200 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.817
300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.666
500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
600 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
700 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
800 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.666
900 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.817
1000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
1100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.514
1200 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.363
1300 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.666
1400 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
1500 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.666
1600 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.666
1700 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.666
1800 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.514
1900 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.666
2000 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
2100 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.06
2200 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.666
2300 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
2400 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.06
2500 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.363
2600 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.06
2700 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
2800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
2900 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
3000 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | 0.092
3100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.363
3200 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.666
3300 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
3400 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.363
3500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
3600 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.817
3700 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
3800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.514
3900 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.666
4000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.817
4100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.06
4200 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.363
4300 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
4400 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
4500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
4600 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.666
4700 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.514
4800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
4900 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.363
5000 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | -0.666
5100 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.514
5200 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.514
5300 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.514
5400 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | 0.243
5500 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
5600 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
5700 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.514
5800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
5900 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.092
6000 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.514
6100 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
6200 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | -0.06
6300 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.817
6400 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
6500 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | 0.092
6600 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | -0.666
6700 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | -0.514
6800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
6900 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
7000 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.666
7100 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.363
7200 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.514
7300 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.06
7400 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.06
7500 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
7600 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.817
7700 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.666
7800 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.06
7900 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.514
8000 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.06
8100 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.06
8200 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.817
8300 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.817
8400 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.514
8500 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.514
8600 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.514
8700 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | -0.06
8800 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.363
8900 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.092
9000 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.817
9100 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.666
9200 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.363
9300 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.06
9400 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.243
9500 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.666
9600 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.092
9700 | 0 | 0 | -15.111 | 0 | 0 | 0.879 | -0.666
9800 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.817
9900 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.514
10000 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.395
10100 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.363
10200 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.06
10300 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.514
10400 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.666
10500 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.363
10600 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.514
10700 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.666
10800 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.666
10900 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.817
11000 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.363
11100 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.514
11200 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.363
11300 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.666
11400 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.817
11500 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.666
11600 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | -0.06
11700 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | 0.243
11800 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | 0.092
11900 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.817
12000 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.666
12100 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.817
12200 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.514
12300 | 0 | 0 | -15.111 | 0 | 0 | 0.955 | 0.243
12400 | 0 | 0 | -15.111 | 0 | 0 | 0.879 | 0.243
12500 | 0 | 0 | -15.111 | 0 | 0 | 0.955 | -0.514
12600 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.817
12700 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.666
12800 | 0 | 0 | -15.111 | 0 | 0 | 0.955 | -0.363
12900 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.363
13000 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.363
13100 | 0 | 0 | -15.111 | 0 | 0 | 1.41 | -0.06
13200 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.363
13300 | 0 | 0 | -15.111 | 0 | 0 | 0.879 | -0.363
13400 | 0 | 0 | -15.128 | 0 | 0 | 0.955 | -0.514
13500 | 0 | 0 | -15.111 | 0 | 0 | 1.334 | -0.514
13600 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | -0.363
13700 | 0 | 0 | -15.128 | 0 | 0 | 1.107 | -0.514
13800 | 0 | 0 | -15.128 | 0 | 0 | 1.031 | -0.363
13900 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | -0.363
14000 | 0 | 0 | -15.111 | 0 | 0 | 1.485 | -0.363
14100 | 0 | 0 | -15.128 | 0 | 0 | 1.41 | -0.06
14200 | 0 | 0 | -15.128 | 0 | 0 | 1.107 | -0.06
14300 | 0 | 0 | -15.128 | 0 | 0 | 1.031 | -0.363
14400 | 0 | 0 | -15.128 | 0 | 0 | 0.955 | -0.363
14500 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.666
14600 | 0 | 0 | -15.128 | 0 | 0 | 1.334 | -0.666
14700 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.817
14800 | 0 | 0 | -15.111 | 0 | 0 | 0.955 | -0.363
14900 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.06
15000 | 0 | 0 | -15.128 | 0 | 0 | 1.107 | 0.243
15100 | 0 | 0 | -15.128 | 0 | 0 | 1.182 | -0.666
15200 | 0 | 0 | -15.128 | 0 | 0 | 1.182 | -0.666
15300 | 0 | 0 | -15.128 | 0 | 0 | 1.031 | -0.363
15400 | 0 | 0 | -15.128 | 0 | 0 | 0.955 | -0.666
15500 | 0 | 0 | -15.128 | 0 | 0 | 0.955 | 0.243
15600 | 0 | 0 | -15.128 | 0 | 0 | 1.182 | -0.514
15700 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.363
15800 | 0 | 0 | -15.128 | 0 | 0 | 1.334 | -0.666
15900 | 0 | 0 | -15.128 | 0 | 0 | 1.031 | -0.666
16000 | 0 | 0 | -15.128 | 0 | 0 | 1.182 | -0.817
16100 | 0 | 0 | -15.128 | 0 | 0 | 0.955 | -0.666
16200 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.666
16300 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.666
16400 | 0 | 0 | -15.145 | 0 | 0 | 1.41 | -0.666
16500 | 0 | 0 | -15.145 | 0 | 0 | 1.41 | -0.817
16600 | 0 | 0 | -15.128 | 0 | 0 | 1.258 | -0.666
16700 | 0 | 0 | -15.145 | 0 | 0 | 1.258 | -0.666
16800 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.06
16900 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.514
17000 | 0 | 0 | -15.145 | 0 | 0 | 1.182 | -0.666
17100 | 0 | 0 | -15.145 | 0 | 0 | 1.182 | -0.666
17200 | 0 | 0 | -15.145 | 0 | 0 | 1.258 | -0.06
17300 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.514
17400 | 0 | 0 | -15.145 | 0 | 0 | 0.955 | -0.666
17500 | 0 | 0 | -15.145 | 0 | 0 | 1.334 | -0.363
17600 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.817
17700 | 0 | 0 | -15.145 | 0 | 0 | 1.182 | -0.817
17800 | 0 | 0 | -15.145 | 0 | 0 | 1.258 | -0.666
17900 | 0 | 0 | -15.145 | 0 | 0 | 1.107 | -0.514
18000 | 0 | 0 | -15.145 | 0 | 0 | 1.258 | -0.06
18100 | 0 | 0 | -15.145 | 0 | 0 | 1.334 | -0.363
18200 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.06
18300 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.666
18400 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.666
18500 | 0 | 0 | -15.145 | 0 | 0 | 1.182 | -0.514
18600 | 0 | 0 | -15.145 | 0 | 0 | 1.258 | -0.363
18700 | 0 | 0 | -15.161 | 0 | 0 | 1.031 | -0.666
18800 | 0 | 0 | -15.161 | 0 | 0 | 0.955 | -0.666
18900 | 0 | 0 | -15.145 | 0 | 0 | 1.031 | -0.666
19000 | 0 | 0 | -15.145 | 0 | 0 | 0.955 | -0.666
19100 | 0 | 0 | -15.145 | 0 | 0 | 1.182 | -0.514
19200 | 0 | 0 | -15.145 | 0 | 0 | 1.107 | -0.666
19300 | 0 | 0 | -15.161 | 0 | 0 | 0.955 | 0.092
19400 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.06
19500 | 0 | 0 | -15.161 | 0 | 0 | 1.258 | -0.363
19600 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.06
19700 | 0 | 0 | -15.145 | 0 | 0 | 0.955 | -0.666
19800 | 0 | 0 | -15.161 | 0 | 0 | 1.107 | -0.817
19900 | 0 | 0 | -15.161 | 0 | 0 | 1.485 | 0.092
20000 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.363
20100 | 0 | 0 | -15.161 | 0 | 0 | 1.258 | -0.06
20200 | 0 | 0 | -15.161 | 0 | 0 | 1.031 | -0.06
20300 | 0 | 0 | -15.145 | 0 | 0 | 1.107 | -0.363
20400 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.514
20500 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.363
20600 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.06
20700 | 0 | 0 | -15.161 | 0 | 0 | 0.879 | -0.817
20800 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.363
20900 | 0 | 0 | -15.161 | 0 | 0 | 1.41 | -0.666
21000 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | 0.243
21100 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.817
21200 | 0 | 0 | -15.161 | 0 | 0 | 0.955 | -0.817
21300 | 0 | 0 | -15.161 | 0 | 0 | 1.107 | -0.514
21400 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.363
21500 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.363
21600 | 0 | 0 | -15.161 | 0 | 0 | 1.107 | -0.666
21700 | 0 | 0 | -15.161 | 0 | 0 | 1.107 | -0.666
21800 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.363
21900 | 0 | 0 | -15.161 | 0 | 0 | 1.334 | -0.514
22000 | 0 | 0 | -15.161 | 0 | 0 | 1.107 | 0.092
22100 | 0 | 0 | -15.178 | 0 | 0 | 1.031 | 0.092
22200 | 0 | 0 | -15.178 | 0 | 0 | 1.41 | -0.666
22300 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.666
22400 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.514
22500 | 0 | 0 | -15.161 | 0 | 0 | 1.182 | -0.514
22600 | 0 | 0 | -15.178 | 0 | 0 | 1.334 | -0.514
22700 | 0 | 0 | -15.178 | 0 | 0 | 1.334 | -0.666
22800 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.666
22900 | 0 | 0 | -15.178 | 0 | 0 | 1.107 | -0.514
23000 | 0 | 0 | -15.178 | 0 | 0 | 1.031 | -0.817
23100 | 0 | 0 | -15.178 | 0 | 0 | 0.955 | -0.363
23200 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.514
23300 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | -0.666
23400 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | -0.817
23500 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | -0.514
23600 | 0 | 0 | -15.178 | 0 | 0 | 1.107 | -0.666
23700 | 0 | 0 | -15.178 | 0 | 0 | 1.107 | -0.363
23800 | 0 | 0 | -15.178 | 0 | 0 | 0.955 | -0.363
23900 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.06
24000 | 0 | 0 | -15.195 | 0 | 0 | 1.031 | -0.06
24100 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.514
24200 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.666
24300 | 0 | 0 | -15.178 | 0 | 0 | 1.107 | -0.666
24400 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | -0.06
24500 | 0 | 0 | -15.195 | 0 | 0 | 1.182 | 0.395
24600 | 0 | 0 | -15.178 | 0 | 0 | 1.031 | -0.514
24700 | 0 | 0 | -15.195 | 0 | 0 | 1.182 | -0.06
24800 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | -0.514
24900 | 0 | 0 | -15.195 | 0 | 0 | 1.182 | -0.817
25000 | 0 | 0 | -15.195 | 0 | 0 | 1.41 | -0.666
25100 | 0.04 | 0.04 | -15.195 | 0 | 105.282 | 1.182 | -0.514
25200 | 0.081 | 0.081 | -15.195 | 0 | 106.57 | 1.107 | -0.363
25300 | 0.121 | 0.116 | -15.178 | 0 | 104.828 | 1.031 | -0.514
25400 | 0.161 | 0.189 | -15.195 | 103.994 | 105.131 | 1.41 | -0.817
25500 | 0.202 | 0.233 | -15.178 | -103.994 | 105.737 | 1.031 | -0.363
25600 | 0.242 | 0.314 | -15.195 | 103.994 | 105.206 | 0.879 | -0.363
25700 | 0.282 | 0.366 | -15.178 | -103.994 | 104.903 | 0.425 | 0.395
25800 | 0.323 | 0.456 | -15.195 | 103.994 | 104.449 | 0.5 | 0.243
25900 | 0.363 | 0.532 | -15.195 | -103.994 | 105.206 | 0.728 | 0.395
26000 | 0.403 | 0.613 | -15.195 | 0 | 105.737 | 0.349 | 0.546
26100 | 0.443 | 0.681 | -15.178 | 0 | 105.131 | 0.955 | 1.001
26200 | 0.484 | 0.769 | -15.178 | 103.994 | 105.131 | 1.41 | 2.819
26300 | 0.524 | 0.862 | -15.178 | 0 | 104.676 | 2.243 | 3.122
26400 | 0.564 | 0.959 | -15.178 | 0 | 104.979 | 3.834 | 6.456
26500 | 0.605 | 1.026 | -15.145 | 0 | 104.979 | 5.425 | 10.85
26600 | 0.645 | 1.064 | -15.078 | 207.977 | 105.585 | 9.44 | 15.85
26700 | 0.685 | 1.089 | -14.994 | 415.965 | 105.812 | 15.501 | 24.033
26800 | 0.726 | 1.084 | -14.876 | 519.948 | 105.585 | 25.578 | 36.155
26900 | 0.766 | 1.084 | -14.759 | 727.936 | 105.206 | 34.063 | 47.368
27000 | 0.806 | 1.087 | -14.642 | 727.936 | 105.812 | 42.473 | 57.065
27100 | 0.847 | 1.129 | -14.558 | 727.931 | 105.812 | 49.746 | 66.763
27200 | 0.887 | 1.107 | -14.407 | 519.96 | 103.691 | 56.944 | 75.854
27300 | 0.927 | 1.106 | -14.273 | 935.913 | 104.146 | 63.08 | 84.037
27400 | 0.968 | 1.142 | -14.172 | 831.925 | 103.232 | 67.626 | 88.886
27500 | 1.008 | 1.132 | -14.021 | 623.948 | 105.812 | 71.945 | 94.492
27600 | 1.048 | 1.16 | -13.904 | 935.913 | 104.449 | 75.505 | 98.735
27700 | 1.089 | 1.158 | -13.753 | 727.931 | 105.812 | 78.536 | 102.826
27800 | 1.129 | 1.194 | -13.635 | 935.925 | 105.358 | 81.036 | 106.311
27900 | 1.169 | 1.183 | -13.468 | 727.936 | 104.676 | 83.233 | 109.038
28000 | 1.209 | 1.211 | -13.334 | 1039.902 | 104.297 | 85.658 | 112.069
28100 | 1.25 | 1.208 | -13.166 | 831.925 | 104.146 | 86.415 | 114.493
28200 | 1.29 | 1.227 | -13.015 | 1039.913 | 102.854 | 88.309 | 116.312
28300 | 1.33 | 1.266 | -12.881 | 935.913 | 103.616 | 86.491 | 119.645
28400 | 1.371 | 1.309 | -12.747 | 831.925 | 94.597 | 83.688 | 124.039
28500 | 1.411 | 1.306 | -12.562 | 831.925 | 93.916 | 84.597 | 127.07
28600 | 1.451 | 1.34 | -12.411 | 1143.908 | 93.688 | 85.506 | 128.737
28700 | 1.492 | 1.346 | -12.227 | 935.913 | 95.431 | 86.567 | 131.161
28800 | 1.532 | 1.354 | -12.041 | 1143.902 | 94.522 | 86.946 | 132.979
28900 | 1.572 | 1.367 | -11.857 | 1150.389 | 94.37 | 87.552 | 134.949
29000 | 1.613 | 1.367 | -11.656 | 1143.902 | 93.007 | 87.476 | 135.555
29100 | 1.653 | 1.388 | -11.471 | 1247.884 | 92.931 | 88.082 | 136.616
29200 | 1.693 | 1.413 | -11.287 | 1143.902 | 93.158 | 88.158 | 137.071
29300 | 1.734 | 1.426 | -11.085 | 1143.89 | 94.143 | 88.082 | 138.283
29400 | 1.774 | 1.459 | -10.901 | 1247.896 | 93.688 | 88.158 | 138.737
29500 | 1.814 | 1.429 | -10.649 | 1143.902 | 92.779 | 88.082 | 140.556
29600 | 1.855 | 1.454 | -10.448 | 1559.861 | 96.718 | 88.309 | 141.465
29700 | 1.895 | 1.499 | -10.264 | 1247.878 | 92.779 | 89.143 | 141.01
29800 | 1.935 | 1.464 | -9.995 | 1143.902 | 106.04 | 87.703 | 143.283
29900 | 1.975 | 1.484 | -9.777 | 1663.856 | 92.704 | 88.006 | 143.435
30000 | 2.016 | 1.508 | -9.559 | 1351.879 | 92.022 | 88.537 | 143.435
30100 | 2.056 | 1.536 | -9.341 | 1351.879 | 104.449 | 87.627 | 144.344
30200 | 2.096 | 1.551 | -9.107 | 1351.879 | 102.778 | 86.946 | 145.253
30300 | 2.137 | 1.587 | -8.889 | 1455.867 | 103.843 | 86.415 | 146.314
30400 | 2.177 | 1.577 | -8.62 | 1351.885 | 102.778 | 85.43 | 148.283
30500 | 2.217 | 1.604 | -8.385 | 1663.856 | 101.945 | 85.658 | 148.587
30600 | 2.258 | 1.636 | -8.151 | 1455.867 | 104.676 | 85.658 | 149.496
30700 | 2.298 | 1.637 | -7.882 | 1455.867 | 102.475 | 84.749 | 150.253
30800 | 2.338 | 1.659 | -7.63 | 1663.853 | 101.642 | 84.142 | 151.617
30900 | 2.379 | 1.652 | -7.345 | 1566.361 | 102.551 | 83.764 | 152.223
31000 | 2.419 | 1.683 | -7.093 | 1767.844 | 102.02 | 83.764 | 153.132
31100 | 2.419 | 1.656 | -6.825 | 1559.858 | 101.414 | 83.158 | 153.435
31200 | 2.419 | 1.613 | -6.54 | 1663.856 | 101.717 | 83.461 | 153.738
31300 | 2.419 | 1.603 | -6.288 | 1767.838 | 102.248 | 85.279 | 153.284
31400 | 2.419 | 1.577 | -6.02 | 1559.864 | 103.308 | 86.264 | 151.465
31500 | 2.419 | 1.584 | -5.785 | 1663.85 | 102.02 | 86.491 | 152.072
31600 | 2.419 | 1.541 | -5.5 | 1455.87 | 102.096 | 86.643 | 150.405
31700 | 2.419 | 1.531 | -5.248 | 1767.844 | 103.54 | 88.082 | 148.587
31800 | 2.419 | 1.589 | -5.064 | 1559.858 | 105.358 | 88.158 | 148.89
31900 | 2.419 | 1.562 | -4.796 | 1143.899 | 102.702 | 86.188 | 148.435
32000 | 2.419 | 1.536 | -4.527 | 1663.856 | 103.994 | 86.264 | 149.496
32100 | 2.419 | 1.577 | -4.326 | 1663.847 | 104.752 | 87.552 | 149.041
32200 | 2.419 | 1.55 | -4.058 | 1247.893 | 103.384 | 86.34 | 149.041
32300 | 2.419 | 1.574 | -3.84 | 1663.85 | 102.551 | 86.34 | 149.193
32400 | 2.419 | 1.546 | -3.57 | 1351.88 | 103.616 | 86.491 | 149.041
32500 | 2.419 | 1.554 | -3.336 | 1670.349 | 102.02 | 86.794 | 148.89
32600 | 2.419 | 1.577 | -3.118 | 1455.87 | 103.994 | 87.097 | 148.738
32700 | 2.419 | 1.551 | -2.849 | 1351.882 | 102.854 | 86.264 | 149.041
32800 | 2.298 | 1.437 | -2.615 | 1663.85 | 102.475 | 86.718 | 148.587
32900 | 2.177 | 1.278 | -2.346 | 1455.873 | 92.476 | 89.749 | 148.132
33000 | 2.056 | 1.207 | -2.179 | 1663.851 | 93.537 | 94.598 | 143.889
33100 | 1.935 | 1.073 | -1.961 | 1039.906 | 94.976 | 96.492 | 138.434
33200 | 1.814 | 1.012 | -1.826 | 1351.882 | 103.308 | 96.34 | 134.495
33300 | 1.693 | 0.938 | -1.692 | 831.925 | 102.551 | 95.886 | 128.737
33400 | 1.572 | 0.869 | -1.575 | 831.927 | 104.449 | 93.613 | 124.646
33500 | 1.451 | 0.822 | -1.491 | 727.932 | 105.812 | 91.643 | 120.1
33600 | 1.33 | 0.779 | -1.424 | 519.955 | 102.626 | 88.461 | 115.251
33700 | 1.209 | 0.69 | -1.323 | 415.965 | 102.929 | 84.9 | 110.251
33800 | 1.089 | 0.64 | -1.273 | 623.943 | 104.297 | 83.006 | 104.796
33900 | 0.968 | 0.578 | -1.223 | 311.973 | 104.222 | 77.93 | 99.795
34000 | 0.847 | 0.52 | -1.189 | 311.97 | 105.282 | 73.384 | 94.644
34100 | 0.726 | 0.45 | -1.156 | 207.981 | 105.055 | 69.217 | 88.886
34200 | 0.605 | 0.368 | -1.122 | 207.983 | 105.888 | 64.899 | 82.673
34300 | 0.484 | 0.291 | -1.105 | 207.981 | 105.812 | 61.186 | 78.279
34400 | 0.363 | 0.218 | -1.105 | 103.989 | 105.812 | 57.929 | 74.036
34500 | 0.242 | 0.117 | -1.088 | 0 | 105.812 | 55.201 | 70.854
34600 | 0.121 | 0.003 | -1.072 | 103.992 | 105.661 | 52.777 | 67.066