## Data
Log File Data
2007-11-02 17:04 | MERIT Configuration Data
Test Description: shot 9018, 7T, 24 GeV, 3.5TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -17.326 | 0 | 0 | 1.713 | 0.698
100 | 0 | 0 | -17.326 | 0 | 0 | 1.788 | 1.152
200 | 0 | 0 | -17.359 | 0 | 0 | 2.167 | 1.001
300 | 0 | 0 | -17.359 | 0 | 0 | 1.788 | 1.304
400 | 0 | 0 | -17.326 | 0 | 0 | 2.091 | 0.849
500 | 0 | 0 | -17.359 | 0 | 0 | 2.243 | 0.395
600 | 0 | 0 | -17.326 | 0 | 0 | 1.788 | 0.849
700 | 0 | 0 | -17.326 | 0 | 0 | 2.167 | 0.698
800 | 0 | 0 | -17.359 | 0 | 0 | 1.94 | 1.001
900 | 0 | 0 | -17.359 | 0 | 0 | 1.94 | 0.698
1000 | 0 | 0 | -17.359 | 0 | 0 | 2.091 | 0.849
1100 | 0 | 0 | -17.359 | 0 | 0 | 2.091 | 1.001
1200 | 0 | 0 | -17.359 | 0 | 0 | 1.94 | 1.304
1300 | 0 | 0 | -17.359 | 0 | 0 | 2.091 | 1.152
1400 | 0 | 0 | -17.359 | 0 | 0 | 1.788 | 0.849
1500 | 0 | 0 | -17.359 | 0 | 0 | 2.243 | 0.546
1600 | 0 | 0 | -17.359 | 0 | 0 | 2.243 | 0.849
1700 | 0 | 0 | -17.359 | 0 | 0 | 1.713 | 0.698
1800 | 0 | 0 | -17.359 | 0 | 0 | 2.091 | 0.698
1900 | 0 | 0 | -17.359 | 0 | 0 | 1.864 | 0.849
2000 | 0 | 0 | -17.359 | 0 | 0 | 2.243 | 0.395
2100 | 0 | 0 | -17.359 | 0 | 0 | 1.94 | 0.849
2200 | 0 | 0 | -17.359 | 0 | 0 | 1.713 | 0.395
2300 | 0 | 0 | -17.359 | 0 | 0 | 1.94 | 0.395
2400 | 0 | 0 | -17.359 | 0 | 0 | 2.167 | 0.849
2500 | 0 | 0 | -17.359 | 0 | 0 | 2.167 | 1.001
2600 | 0 | 0 | -17.376 | 0 | 0 | 2.319 | 0.849
2700 | 0 | 0 | -17.359 | 0 | 0 | 2.243 | 0.849
2800 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 0.698
2900 | 0 | 0 | -17.359 | 0 | 0 | 2.091 | 1.152
3000 | 0 | 0 | -17.359 | 0 | 0 | 2.167 | 1.304
3100 | 0 | 0 | -17.376 | 0 | 0 | 2.091 | 1.152
3200 | 0 | 0 | -17.376 | 0 | 0 | 2.091 | 1.001
3300 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 0.698
3400 | 0 | 0 | -17.376 | 0 | 0 | 1.864 | 0.698
3500 | 0 | 0 | -17.376 | 0 | 0 | 1.713 | 0.849
3600 | 0 | 0 | -17.376 | 0 | 0 | 1.864 | 0.849
3700 | 0 | 0 | -17.376 | 0 | 0 | 1.788 | 1.001
3800 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 1.001
3900 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 1.152
4000 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 1.001
4100 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 0.849
4200 | 0 | 0 | -17.376 | 0 | 0 | 1.864 | 0.849
4300 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 0.849
4400 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 1.304
4500 | 0 | 0 | -17.376 | 0 | 0 | 1.94 | 1.152
4600 | 0 | 0 | -17.376 | 0 | 0 | 1.713 | 1.001
4700 | 0 | 0 | -17.376 | 0 | 0 | 1.713 | 1.001
4800 | 0 | 0 | -17.393 | 0 | 0 | 2.167 | 1.152
4900 | 0 | 0 | -17.393 | 0 | 0 | 2.319 | 1.304
5000 | 0 | 0 | -17.393 | 0 | 0 | 1.94 | 0.849
5100 | 0 | 0 | -17.376 | 0 | 0 | 1.864 | 0.395
5200 | 0 | 0 | -17.393 | 0 | 0 | 1.788 | 0.849
5300 | 0 | 0 | -17.393 | 0 | 0 | 1.788 | 0.849
5400 | 0 | 0 | -17.393 | 0 | 0 | 1.788 | 0.395
5500 | 0 | 0 | -17.393 | 0 | 0 | 1.94 | 0.395
5600 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 1.001
5700 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 1.001
5800 | 0 | 0 | -17.393 | 0 | 0 | 1.94 | 1.304
5900 | 0 | 0 | -17.376 | 0 | 0 | 1.713 | 0.546
6000 | 0 | 0 | -17.376 | 0 | 0 | 1.713 | 0.546
6100 | 0 | 0 | -17.393 | 0 | 0 | 1.864 | 1.152
6200 | 0 | 0 | -17.376 | 0 | 0 | 2.091 | 0.698
6300 | 0 | 0 | -17.376 | 0 | 0 | 2.243 | 0.698
6400 | 0 | 0 | -17.393 | 0 | 0 | 1.94 | 1.304
6500 | 0 | 0 | -17.393 | 0 | 0 | 1.94 | 1.304
6600 | 0 | 0 | -17.393 | 0 | 0 | 2.091 | 0.546
6700 | 0 | 0 | -17.376 | 0 | 0 | 2.167 | 0.395
6800 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 0.849
6900 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 1.152
7000 | 0 | 0 | -17.393 | 0 | 0 | 2.319 | 0.849
7100 | 0 | 0 | -17.393 | 0 | 0 | 1.864 | 1.001
7200 | 0 | 0 | -17.393 | 0 | 0 | 1.713 | 0.849
7300 | 0 | 0 | -17.393 | 0 | 0 | 1.788 | 0.698
7400 | 0 | 0 | -17.393 | 0 | 0 | 2.091 | 0.395
7500 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 0.849
7600 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 0.849
7700 | 0 | 0 | -17.393 | 0 | 0 | 1.788 | 0.849
7800 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.395
7900 | 0 | 0 | -17.393 | 0 | 0 | 2.091 | 0.243
8000 | 0 | 0 | -17.41 | 0 | 0 | 1.864 | 0.395
8100 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 0.698
8200 | 0 | 0 | -17.41 | 0 | 0 | 2.243 | 1.001
8300 | 0 | 0 | -17.41 | 0 | 0 | 2.167 | 1.001
8400 | 0 | 0 | -17.41 | 0 | 0 | 2.091 | 0.849
8500 | 0 | 0 | -17.41 | 0 | 0 | 2.167 | 1.001
8600 | 0 | 0 | -17.393 | 0 | 0 | 2.243 | 0.849
8700 | 0 | 0 | -17.41 | 0 | 0 | 1.864 | 1.001
8800 | 0 | 0 | -17.41 | 0 | 0 | 1.788 | 1.304
8900 | 0 | 0 | -17.41 | 0 | 0 | 2.091 | 0.698
9000 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.849
9100 | 0 | 0 | -17.41 | 0 | 0 | 2.243 | 0.849
9200 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.698
9300 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 1.304
9400 | 0 | 0 | -17.41 | 0 | 0 | 1.713 | 1.304
9500 | 0 | 0 | -17.41 | 0 | 0 | 1.864 | 0.546
9600 | 0 | 0 | -17.41 | 0 | 0 | 2.395 | 1.001
9700 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.849
9800 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 1.001
9900 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.849
10000 | 0 | 0 | -17.426 | 0 | 0 | 2.091 | 1.152
10100 | 0 | 0 | -17.41 | 0 | 0 | 2.243 | 0.546
10200 | 0 | 0 | -17.41 | 0 | 0 | 1.864 | 0.546
10300 | 0 | 0 | -17.41 | 0 | 0 | 2.091 | 1.001
10400 | 0 | 0 | -17.426 | 0 | 0 | 1.788 | 1.001
10500 | 0 | 0 | -17.426 | 0 | 0 | 1.788 | 1.152
10600 | 0 | 0 | -17.426 | 0 | 0 | 1.788 | 1.607
10700 | 0 | 0 | -17.41 | 0 | 0 | 1.788 | 1.152
10800 | 0 | 0 | -17.426 | 0 | 0 | 2.091 | 0.698
10900 | 0 | 0 | -17.426 | 0 | 0 | 2.243 | 1.152
11000 | 0 | 0 | -17.41 | 0 | 0 | 1.94 | 0.849
11100 | 0 | 0 | -17.426 | 0 | 0 | 1.864 | 1.001
11200 | 0 | 0 | -17.426 | 0 | 0 | 1.94 | 0.546
11300 | 0 | 0 | -17.426 | 0 | 0 | 2.091 | 0.698
11400 | 0 | 0 | -17.426 | 0 | 0 | 1.713 | 1.001
11500 | 0 | 0 | -17.426 | 0 | 0 | 1.864 | 1.152
11600 | 0 | 0 | -17.426 | 0 | 0 | 1.94 | 1.001
11700 | 0 | 0 | -17.426 | 0 | 0 | 1.94 | 0.849
11800 | 0 | 0 | -17.426 | 0 | 0 | 2.167 | 0.395
11900 | 0 | 0 | -17.426 | 0 | 0 | 1.864 | 0.849
12000 | 0 | 0 | -17.426 | 0 | 0 | 1.94 | 1.152
12100 | 0 | 0 | -17.426 | 0 | 0 | 2.243 | 0.849
12200 | 0 | 0 | -17.426 | 0 | 0 | 2.243 | 0.698
12300 | 0 | 0 | -17.426 | 0 | 0 | 2.167 | 0.698
12400 | 0 | 0 | -17.426 | 0 | 0 | 2.167 | 0.395
12500 | 0 | 0 | -17.426 | 0 | 0 | 2.091 | 0.546
12600 | 0 | 0 | -17.426 | 0 | 0 | 1.864 | 1.152
12700 | 0 | 0 | -17.426 | 0 | 0 | 2.167 | 1.304
12800 | 0 | 0 | -17.443 | 0 | 0 | 1.94 | 0.698
12900 | 0 | 0 | -17.443 | 0 | 0 | 2.243 | 0.698
13000 | 0 | 0 | -17.426 | 0 | 0 | 1.864 | 0.546
13100 | 0 | 0 | -17.443 | 0 | 0 | 1.788 | 0.849
13200 | 0 | 0 | -17.443 | 0 | 0 | 2.167 | 1.001
13300 | 0 | 0 | -17.443 | 0 | 0 | 2.319 | 1.152
13400 | 0 | 0 | -17.443 | 0 | 0 | 2.167 | 0.849
13500 | 0 | 0 | -17.443 | 0 | 0 | 1.94 | 1.152
13600 | 0 | 0 | -17.443 | 0 | 0 | 1.864 | 0.849
13700 | 0 | 0 | -17.443 | 0 | 0 | 1.94 | 0.849
13800 | 0 | 0 | -17.443 | 0 | 0 | 2.091 | 0.849
13900 | 0 | 0 | -17.443 | 0 | 0 | 2.091 | 1.001
14000 | 0 | 0 | -17.443 | 0 | 0 | 2.167 | 1.001
14100 | 0 | 0 | -17.443 | 0 | 0 | 2.091 | 0.849
14200 | 0 | 0 | -17.443 | 0 | 0 | 1.788 | 1.001
14300 | 0 | 0 | -17.443 | 0 | 0 | 2.091 | 0.546
14400 | 0 | 0 | -17.443 | 0 | 0 | 1.94 | 1.152
14500 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.849
14600 | 0 | 0 | -17.443 | 0 | 0 | 2.319 | 1.001
14700 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.546
14800 | 0 | 0 | -17.443 | 0 | 0 | 1.94 | 0.395
14900 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.698
15000 | 0 | 0 | -17.443 | 0 | 0 | 2.167 | 1.001
15100 | 0 | 0 | -17.46 | 0 | 0 | 1.864 | 1.304
15200 | 0 | 0 | -17.443 | 0 | 0 | 2.319 | 1.001
15300 | 0 | 0 | -17.443 | 0 | 0 | 2.167 | 1.001
15400 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 1.001
15500 | 0 | 0 | -17.46 | 0 | 0 | 1.864 | 0.849
15600 | 0 | 0 | -17.46 | 0 | 0 | 1.94 | 0.546
15700 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.395
15800 | 0 | 0 | -17.443 | 0 | 0 | 2.243 | 1.001
15900 | 0 | 0 | -17.46 | 0 | 0 | 2.319 | 0.698
16000 | 0 | 0 | -17.46 | 0 | 0 | 2.167 | 0.698
16100 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.849
16200 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.698
16300 | 0 | 0 | -17.46 | 0 | 0 | 2.243 | 0.546
16400 | 0 | 0 | -17.46 | 0 | 0 | 2.243 | 1.304
16500 | 0 | 0 | -17.46 | 0 | 0 | 2.319 | 1.304
16600 | 0 | 0 | -17.46 | 0 | 0 | 1.713 | 0.546
16700 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.849
16800 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 0.849
16900 | 0 | 0 | -17.46 | 0 | 0 | 2.091 | 0.698
17000 | 0 | 0 | -17.46 | 0 | 0 | 1.864 | 0.849
17100 | 0 | 0 | -17.46 | 0 | 0 | 1.713 | 1.001
17200 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 0.546
17300 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 1.001
17400 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 0.698
17500 | 0 | 0 | -17.46 | 0 | 0 | 1.94 | 1.001
17600 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 1.001
17700 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 0.849
17800 | 0 | 0 | -17.46 | 0 | 0 | 1.864 | 0.395
17900 | 0 | 0 | -17.46 | 0 | 0 | 1.94 | 0.395
18000 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 0.395
18100 | 0 | 0 | -17.46 | 0 | 0 | 2.243 | 0.546
18200 | 0 | 0 | -17.477 | 0 | 0 | 1.864 | 1.001
18300 | 0 | 0 | -17.477 | 0 | 0 | 1.788 | 0.849
18400 | 0 | 0 | -17.477 | 0 | 0 | 2.243 | 0.395
18500 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 0.395
18600 | 0 | 0 | -17.477 | 0 | 0 | 1.713 | 0.546
18700 | 0 | 0 | -17.477 | 0 | 0 | 1.788 | 1.455
18800 | 0 | 0 | -17.477 | 0 | 0 | 1.864 | 0.698
18900 | 0 | 0 | -17.477 | 0 | 0 | 1.788 | 1.001
19000 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 0.395
19100 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 0.698
19200 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 1.152
19300 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 1.001
19400 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 0.849
19500 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 0.849
19600 | 0 | 0 | -17.477 | 0 | 0 | 2.243 | 0.849
19700 | 0 | 0 | -17.477 | 0 | 0 | 1.94 | 0.849
19800 | 0 | 0 | -17.477 | 0 | 0 | 1.788 | 0.849
19900 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 0.849
20000 | 0 | 0 | -17.477 | 0 | 0 | 2.243 | 0.849
20100 | 0 | 0 | -17.477 | 0 | 0 | 2.091 | 0.698
20200 | 0 | 0 | -17.494 | 0 | 0 | 1.94 | 0.395
20300 | 0 | 0 | -17.477 | 0 | 0 | 2.167 | 0.395
20400 | 0 | 0 | -17.494 | 0 | 0 | 2.091 | 1.304
20500 | 0 | 0 | -17.494 | 0 | 0 | 1.713 | 0.546
20600 | 0 | 0 | -17.494 | 0 | 0 | 1.864 | 1.304
20700 | 0 | 0 | -17.494 | 0 | 0 | 2.243 | 0.849
20800 | 0 | 0 | -17.494 | 0 | 0 | 2.243 | 0.849
20900 | 0 | 0 | -17.494 | 0 | 0 | 2.091 | 1.455
21000 | 0 | 0 | -17.494 | 0 | 0 | 2.091 | 0.849
21100 | 0 | 0 | -17.494 | 0 | 0 | 2.167 | 0.546
21200 | 0 | 0 | -17.494 | 0 | 0 | 2.243 | 0.698
21300 | 0 | 0 | -17.494 | 0 | 0 | 1.713 | 1.001
21400 | 0 | 0 | -17.494 | 0 | 0 | 1.713 | 0.849
21500 | 0 | 0 | -17.494 | 0 | 0 | 1.864 | 1.455
21600 | 0 | 0 | -17.494 | 0 | 0 | 1.713 | 1.304
21700 | 0 | 0 | -17.494 | 0 | 0 | 1.864 | 0.698
21800 | 0 | 0 | -17.494 | 0 | 0 | 2.319 | 0.849
21900 | 0 | 0 | -17.494 | 0 | 0 | 2.319 | 0.395
22000 | 0 | 0 | -17.51 | 0 | 0 | 1.864 | 1.001
22100 | 0 | 0 | -17.494 | 0 | 0 | 1.94 | 0.849
22200 | 0 | 0 | -17.494 | 0 | 0 | 1.94 | 0.698
22300 | 0 | 0 | -17.494 | 0 | 0 | 2.091 | 0.546
22400 | 0 | 0 | -17.494 | 0 | 0 | 2.167 | 1.152
22500 | 0 | 0 | -17.494 | 0 | 0 | 2.091 | 1.304
22600 | 0 | 0 | -17.494 | 0 | 0 | 2.243 | 1.304
22700 | 0 | 0 | -17.494 | 0 | 0 | 1.94 | 1.304
22800 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 1.152
22900 | 0 | 0 | -17.494 | 0 | 0 | 2.319 | 1.001
23000 | 0 | 0 | -17.51 | 0 | 0 | 2.243 | 0.849
23100 | 0 | 0 | -17.51 | 0 | 0 | 1.864 | 1.001
23200 | 0 | 0 | -17.51 | 0 | 0 | 1.94 | 1.001
23300 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 1.152
23400 | 0 | 0 | -17.51 | 0 | 0 | 2.167 | 0.849
23500 | 0 | 0 | -17.494 | 0 | 0 | 2.243 | 1.001
23600 | 0 | 0 | -17.51 | 0 | 0 | 1.94 | 1.304
23700 | 0 | 0 | -17.51 | 0 | 0 | 2.243 | 1.152
23800 | 0 | 0 | -17.51 | 0 | 0 | 2.243 | 0.849
23900 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 0.849
24000 | 0 | 0 | -17.51 | 0 | 0 | 2.167 | 0.698
24100 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 0.546
24200 | 0 | 0 | -17.51 | 0 | 0 | 1.864 | 0.849
24300 | 0 | 0 | -17.51 | 0 | 0 | 1.94 | 1.304
24400 | 0 | 0 | -17.527 | 0 | 0 | 2.167 | 0.849
24500 | 0 | 0 | -17.51 | 0 | 0 | 1.788 | 0.849
24600 | 0 | 0 | -17.51 | 0 | 0 | 1.788 | 0.849
24700 | 0 | 0 | -17.51 | 0 | 0 | 2.167 | 1.001
24800 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 0.395
24900 | 0 | 0 | -17.51 | 0 | 0 | 2.091 | 0.698
25000 | 0 | 0 | -17.51 | 0 | 0 | 2.243 | 0.849
25100 | 0.04 | 0.04 | -17.51 | 0 | 156.192 | 2.319 | 1.152
25200 | 0.081 | 0.097 | -17.527 | 0 | 156.798 | 1.864 | 0.698
25300 | 0.121 | 0.133 | -17.51 | -103.988 | 155.738 | 1.788 | 0.546
25400 | 0.161 | 0.206 | -17.527 | 103.988 | 156.874 | 1.864 | 1.152
25500 | 0.202 | 0.267 | -17.527 | -103.988 | 156.344 | 1.637 | 0.849
25600 | 0.242 | 0.314 | -17.51 | 0 | 155.662 | 1.637 | 1.304
25700 | 0.282 | 0.383 | -17.51 | 103.988 | 156.041 | 1.713 | 1.759
25800 | 0.323 | 0.472 | -17.527 | 0 | 154.905 | 1.334 | 1.455
25900 | 0.363 | 0.532 | -17.51 | -103.988 | 154.981 | 1.182 | 1.455
26000 | 0.403 | 0.613 | -17.51 | 103.988 | 155.511 | 1.258 | 1.455
26100 | 0.443 | 0.697 | -17.51 | 0 | 157.48 | 1.637 | 2.668
26200 | 0.484 | 0.786 | -17.51 | 0 | 156.495 | 2.47 | 4.031
26300 | 0.524 | 0.879 | -17.51 | 0 | 157.026 | 3.834 | 5.547
26400 | 0.564 | 0.976 | -17.51 | 0 | 155.359 | 5.501 | 9.789
26500 | 0.605 | 1.026 | -17.46 | 0 | 157.329 | 9.365 | 15.547
26600 | 0.645 | 1.03 | -17.359 | 311.977 | 154.981 | 17.396 | 25.548
26700 | 0.685 | 1.039 | -17.259 | 623.954 | 154.753 | 26.108 | 36.609
26800 | 0.726 | 1.034 | -17.141 | 623.93 | 163.166 | 34.215 | 46.61
26900 | 0.766 | 1.05 | -17.041 | 727.942 | 163.469 | 43.079 | 57.368
27000 | 0.806 | 1.071 | -16.94 | 623.942 | 160.813 | 49.519 | 65.854
27100 | 0.847 | 1.061 | -16.806 | 623.942 | 159.449 | 56.565 | 73.733
27200 | 0.887 | 1.073 | -16.689 | 831.931 | 160.737 | 61.641 | 80.552
27300 | 0.927 | 1.072 | -16.554 | 727.931 | 160.055 | 66.793 | 86.916
27400 | 0.968 | 1.107 | -16.453 | 831.931 | 158.919 | 70.202 | 91.613
27500 | 1.008 | 1.114 | -16.319 | 630.436 | 158.465 | 73.687 | 96.159
27600 | 1.048 | 1.142 | -16.201 | 831.931 | 158.692 | 76.415 | 99.947
27700 | 1.089 | 1.124 | -16.034 | 727.931 | 158.086 | 79.672 | 104.493
27800 | 1.129 | 1.143 | -15.899 | 1039.919 | 158.238 | 82.021 | 107.22
27900 | 1.169 | 1.166 | -15.765 | 831.925 | 158.086 | 84.067 | 109.038
28000 | 1.209 | 1.193 | -15.631 | 831.925 | 157.935 | 85.506 | 111.766
28100 | 1.25 | 1.207 | -15.48 | 831.925 | 157.48 | 86.794 | 114.039
28200 | 1.29 | 1.209 | -15.312 | 935.913 | 158.465 | 87.173 | 117.221
28300 | 1.33 | 1.248 | -15.178 | 1039.913 | 140.811 | 84.142 | 122.827
28400 | 1.371 | 1.291 | -15.044 | 831.925 | 140.054 | 85.279 | 124.797
28500 | 1.411 | 1.288 | -14.86 | 831.925 | 140.357 | 85.733 | 127.221
28600 | 1.451 | 1.289 | -14.675 | 1143.89 | 140.963 | 86.34 | 129.797
28700 | 1.492 | 1.294 | -14.491 | 1143.902 | 138.691 | 87.552 | 131.01
28800 | 1.532 | 1.337 | -14.34 | 1143.902 | 139.145 | 88.006 | 132.222
28900 | 1.572 | 1.333 | -14.139 | 935.913 | 142.331 | 87.552 | 133.889
29000 | 1.613 | 1.35 | -13.954 | 1247.896 | 140.887 | 88.158 | 135.101
29100 | 1.653 | 1.355 | -13.753 | 1143.89 | 139.221 | 88.461 | 135.707
29200 | 1.693 | 1.396 | -13.585 | 1247.89 | 139.145 | 88.461 | 136.768
29300 | 1.734 | 1.426 | -13.401 | 1039.908 | 137.327 | 88.309 | 137.525
29400 | 1.774 | 1.392 | -13.149 | 1143.902 | 138.236 | 88.234 | 139.192
29500 | 1.814 | 1.412 | -12.948 | 1559.861 | 138.312 | 88.84 | 139.495
29600 | 1.855 | 1.437 | -12.747 | 1247.878 | 136.645 | 89.673 | 139.798
29700 | 1.895 | 1.449 | -12.529 | 1247.89 | 138.085 | 88.915 | 140.253
29800 | 1.935 | 1.481 | -12.327 | 1351.885 | 138.615 | 88.764 | 141.465
29900 | 1.975 | 1.5 | -12.108 | 1247.89 | 149.83 | 88.309 | 142.374
30000 | 2.016 | 1.474 | -11.84 | 1358.384 | 158.844 | 87.703 | 143.738
30100 | 2.056 | 1.502 | -11.622 | 1663.85 | 159.146 | 88.309 | 144.495
30200 | 2.096 | 1.5 | -11.37 | 1351.879 | 158.086 | 88.234 | 144.344
30300 | 2.137 | 1.536 | -11.152 | 1559.861 | 158.919 | 87.703 | 145.556
30400 | 2.177 | 1.576 | -10.934 | 1351.879 | 155.511 | 87.173 | 145.405
30500 | 2.217 | 1.57 | -10.666 | 1351.873 | 153.011 | 85.885 | 147.677
30600 | 2.258 | 1.601 | -10.431 | 1663.862 | 152.935 | 85.658 | 148.435
30700 | 2.298 | 1.636 | -10.197 | 1455.867 | 157.026 | 85.506 | 149.496
30800 | 2.338 | 1.625 | -9.911 | 1455.867 | 153.466 | 84.445 | 151.011
30900 | 2.379 | 1.652 | -9.66 | 1767.844 | 155.586 | 84.597 | 151.617
31000 | 2.419 | 1.683 | -9.408 | 1559.855 | 154.147 | 84.067 | 152.072
31100 | 2.419 | 1.606 | -9.09 | 1559.861 | 147.33 | 82.627 | 153.738
31200 | 2.419 | 1.596 | -8.838 | 1975.827 | 153.466 | 85.127 | 153.132
31300 | 2.419 | 1.587 | -8.587 | 1559.861 | 155.511 | 86.34 | 151.617
31400 | 2.419 | 1.594 | -8.352 | 1559.861 | 156.42 | 86.794 | 150.556
31500 | 2.419 | 1.551 | -8.067 | 1455.867 | 157.632 | 86.264 | 150.253
31600 | 2.419 | 1.523 | -7.797 | 1767.844 | 156.268 | 86.946 | 150.253
31700 | 2.419 | 1.497 | -7.529 | 1670.352 | 158.238 | 88.764 | 148.738
31800 | 2.419 | 1.521 | -7.311 | 1663.853 | 157.253 | 88.84 | 147.526
31900 | 2.419 | 1.511 | -7.06 | 1351.882 | 156.192 | 88.688 | 146.314
32000 | 2.419 | 1.518 | -6.825 | 1559.861 | 155.511 | 88.158 | 146.617
32100 | 2.419 | 1.525 | -6.59 | 1455.87 | 156.192 | 88.158 | 146.92
32200 | 2.419 | 1.515 | -6.338 | 1455.87 | 153.92 | 87.627 | 146.768
32300 | 2.419 | 1.523 | -6.104 | 1559.858 | 156.42 | 88.158 | 147.374
32400 | 2.419 | 1.563 | -5.902 | 1455.873 | 155.662 | 87.931 | 146.768
32500 | 2.419 | 1.52 | -5.617 | 1247.884 | 155.359 | 86.264 | 147.677
32600 | 2.419 | 1.527 | -5.383 | 1767.844 | 158.162 | 87.476 | 147.374
32700 | 2.298 | 1.397 | -5.131 | 1455.873 | 158.238 | 87.931 | 146.92
32800 | 2.177 | 1.287 | -4.913 | 1559.858 | 138.615 | 91.113 | 145.253
32900 | 2.056 | 1.149 | -4.678 | 1351.882 | 138.994 | 94.598 | 141.616
33000 | 1.935 | 1.066 | -4.511 | 1455.87 | 141.645 | 96.416 | 137.071
33100 | 1.814 | 0.971 | -4.343 | 1039.905 | 158.465 | 96.871 | 133.282
33200 | 1.693 | 0.931 | -4.242 | 1039.908 | 160.964 | 95.204 | 128.282
33300 | 1.572 | 0.879 | -4.142 | 623.945 | 159.525 | 93.84 | 123.433
33400 | 1.451 | 0.798 | -4.024 | 623.948 | 162.711 | 90.885 | 118.736
33500 | 1.33 | 0.755 | -3.957 | 727.934 | 155.965 | 88.082 | 115.099
33600 | 1.209 | 0.7 | -3.89 | 415.962 | 158.313 | 86.264 | 109.948
33700 | 1.089 | 0.65 | -3.84 | 415.962 | 159.98 | 82.4 | 105.705
33800 | 0.968 | 0.587 | -3.789 | 311.973 | 160.737 | 78.839 | 100.25
33900 | 0.847 | 0.513 | -3.739 | 311.974 | 163.544 | 74.596 | 95.098
34000 | 0.726 | 0.443 | -3.706 | 311.967 | 164.756 | 71.339 | 89.643
34100 | 0.605 | 0.378 | -3.689 | 207.984 | 154.981 | 66.187 | 84.188
34200 | 0.484 | 0.284 | -3.655 | 103.99 | 156.874 | 62.853 | 79.946
34300 | 0.363 | 0.178 | -3.622 | 207.984 | 156.874 | 60.126 | 75.551
34400 | 0.242 | 0.093 | -3.622 | 207.978 | 158.238 | 57.019 | 72.066
34500 | 0.121 | 0 | -3.605 | 0 | 157.935 | 54.292 | 69.036