## Data
Log File Data
2007-06-14 13:57 | MERIT Configuration Data
Test Description: Access day June 14 with van
Mode = Manual
LogFile = C:\MERIT Data\070614 logfile.txt
Trigger-Pulse Delay (s) = 16.500000
FlatTop Pct = 0.800000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 30.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.100000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -5.45 | 0 | 0 | 0.576 | -0.363
100 | 0.013 | 0.013 | -5.45 | 0 | -0.184 | 0.576 | -0.363
200 | 0.027 | 0.027 | -5.45 | 0 | -0.184 | 0.728 | -0.363
300 | 0.04 | 0.041 | -5.45 | 0 | -0.108 | 0.5 | -0.817
400 | 0.054 | 0.043 | -5.433 | 0 | -0.108 | 0.425 | -0.514
500 | 0.067 | 0.08 | -5.45 | 103.988 | -0.184 | 0.5 | -0.514
600 | 0.081 | 0.102 | -5.45 | -103.988 | -0.108 | 0.425 | -0.666
700 | 0.094 | 0.125 | -5.45 | 0 | -0.108 | 0.349 | -0.969
800 | 0.108 | 0.149 | -5.45 | 0 | -0.108 | 0.425 | 0.092
900 | 0.121 | 0.158 | -5.433 | 0 | -0.108 | 0.349 | -0.514
1000 | 0.134 | 0.201 | -5.45 | 103.988 | -0.108 | 0.349 | 0.243
1100 | 0.148 | 0.23 | -5.45 | -103.988 | -0.108 | 0.046 | 0.092
1200 | 0.161 | 0.259 | -5.45 | 0 | -0.032 | 0.122 | 0.243
1300 | 0.175 | 0.29 | -5.45 | 0 | -0.108 | 0.122 | -0.06
1400 | 0.188 | 0.322 | -5.45 | 0 | -0.108 | 0.046 | 0.546
1500 | 0.202 | 0.356 | -5.45 | 0 | -0.108 | 0.046 | 0.243
1600 | 0.215 | 0.391 | -5.45 | 0 | -0.032 | 0.046 | 0.243
1700 | 0.228 | 0.427 | -5.45 | 0 | -0.032 | -0.106 | 0.395
1800 | 0.242 | 0.465 | -5.45 | 0 | -0.108 | 0.122 | 0.698
1900 | 0.255 | 0.504 | -5.45 | 0 | -0.108 | 0.122 | 0.698
2000 | 0.269 | 0.527 | -5.433 | 0 | -0.108 | 0.122 | 0.849
2100 | 0.282 | 0.569 | -5.433 | 103.988 | -0.108 | 0.122 | 0.698
2200 | 0.296 | 0.612 | -5.433 | 0 | -0.108 | 0.122 | 0.698
2300 | 0.309 | 0.656 | -5.433 | 0 | -0.184 | 0.349 | 1.759
2400 | 0.323 | 0.685 | -5.416 | 0 | -0.184 | 0.576 | 2.365
2500 | 0.336 | 0.732 | -5.416 | 103.988 | -0.184 | 1.107 | 3.88
2600 | 0.349 | 0.747 | -5.383 | 0 | -0.108 | 1.864 | 5.395
2700 | 0.363 | 0.78 | -5.366 | 207.986 | 0.044 | 3.228 | 6.759
2800 | 0.376 | 0.798 | -5.332 | 103.988 | -0.032 | 4.44 | 9.032
2900 | 0.39 | 0.816 | -5.299 | 207.983 | -0.032 | 6.258 | 10.699
3000 | 0.403 | 0.82 | -5.248 | 207.98 | -0.032 | 8.001 | 12.668
3100 | 0.417 | 0.841 | -5.215 | 311.971 | 0.044 | 10.274 | 15.244
3200 | 0.43 | 0.864 | -5.181 | 207.986 | 0.119 | 12.698 | 18.426
3300 | 0.443 | 0.872 | -5.131 | 207.977 | 0.195 | 14.441 | 21.76
3400 | 0.457 | 0.881 | -5.081 | 311.974 | 0.119 | 18.002 | 26.003
3500 | 0.47 | 0.857 | -4.997 | 311.974 | 0.119 | 22.093 | 30.548
3600 | 0.484 | 0.869 | -4.947 | 519.951 | -0.032 | 25.351 | 34.185
3700 | 0.497 | 0.865 | -4.88 | 311.974 | -0.032 | 28.23 | 38.125
3800 | 0.511 | 0.879 | -4.829 | 415.962 | 0.044 | 31.487 | 42.064
3900 | 0.524 | 0.878 | -4.762 | 311.971 | 0.498 | 34.139 | 46.458
4000 | 0.538 | 0.895 | -4.712 | 415.962 | 0.119 | 37.548 | 49.641
4100 | 0.551 | 0.863 | -4.611 | 311.974 | 0.271 | 40.655 | 53.277
4200 | 0.564 | 0.882 | -4.561 | 623.945 | 0.044 | 43.079 | 56.611
4300 | 0.578 | 0.886 | -4.494 | 311.974 | -0.184 | 45.428 | 58.126
4400 | 0.591 | 0.909 | -4.443 | 415.962 | -0.032 | 47.473 | 61.763
4500 | 0.605 | 0.899 | -4.36 | 311.971 | 0.044 | 49.898 | 64.642
4600 | 0.618 | 0.907 | -4.293 | 519.954 | 0.498 | 51.337 | 67.521
4700 | 0.632 | 0.916 | -4.225 | 415.962 | 0.271 | 53.231 | 69.642
4800 | 0.645 | 0.927 | -4.158 | 415.962 | 0.346 | 54.974 | 72.218
4900 | 0.658 | 0.906 | -4.058 | 415.959 | -0.108 | 57.247 | 74.036
5000 | 0.672 | 0.919 | -3.991 | 623.948 | 0.044 | 58.61 | 76.157
5100 | 0.685 | 0.918 | -3.907 | 415.961 | -0.032 | 60.126 | 77.218
5200 | 0.699 | 0.934 | -3.84 | 519.958 | 0.271 | 60.883 | 78.885
5300 | 0.712 | 0.951 | -3.773 | 415.961 | 0.346 | 62.247 | 80.4
5400 | 0.726 | 0.954 | -3.689 | 415.962 | 0.574 | 63.308 | 82.218
5500 | 0.739 | 0.94 | -3.588 | 519.952 | 0.801 | 64.293 | 85.097
5600 | 0.753 | 0.944 | -3.503 | 623.945 | 1.331 | 65.05 | 86.461
5700 | 0.766 | 0.967 | -3.436 | 526.452 | 2.013 | 65.353 | 87.976
5800 | 0.779 | 0.975 | -3.352 | 415.968 | 2.619 | 66.262 | 89.037
5900 | 0.793 | 0.983 | -3.269 | 519.951 | 2.467 | 67.096 | 91.158
6000 | 0.806 | 0.977 | -3.168 | 519.951 | 2.467 | 68.687 | 92.825
6100 | 0.806 | 0.974 | -3.084 | 623.947 | 2.392 | 69.748 | 93.734
6200 | 0.806 | 0.954 | -2.983 | 519.951 | 2.543 | 70.202 | 94.947
6300 | 0.806 | 0.967 | -2.916 | 623.947 | 2.24 | 71.035 | 95.704
6400 | 0.806 | 0.947 | -2.816 | 415.962 | 2.467 | 71.869 | 95.856
6500 | 0.806 | 0.927 | -2.715 | 623.947 | 2.24 | 72.172 | 96.462
6600 | 0.806 | 0.924 | -2.631 | 623.945 | 2.013 | 71.945 | 96.31
6700 | 0.806 | 0.904 | -2.531 | 519.952 | 1.861 | 72.172 | 95.704
6800 | 0.806 | 0.918 | -2.464 | 623.942 | 1.861 | 71.793 | 95.098
6900 | 0.806 | 0.898 | -2.363 | 415.965 | 1.937 | 71.111 | 94.492
7000 | 0.806 | 0.928 | -2.313 | 623.944 | 1.861 | 70.96 | 93.886
7100 | 0.806 | 0.925 | -2.229 | 311.973 | 1.937 | 70.126 | 93.28
7200 | 0.806 | 0.921 | -2.145 | 519.955 | 2.013 | 70.202 | 93.734
7300 | 0.806 | 0.901 | -2.044 | 519.951 | 2.013 | 70.278 | 93.734
7400 | 0.806 | 0.915 | -1.977 | 623.947 | 1.634 | 70.202 | 93.28
7500 | 0.806 | 0.895 | -1.877 | 415.962 | 1.71 | 70.202 | 92.977
7600 | 0.806 | 0.909 | -1.81 | 623.944 | 1.634 | 69.899 | 92.825
7700 | 0.806 | 0.922 | -1.743 | 415.965 | 1.71 | 69.672 | 92.522
7800 | 0.806 | 0.936 | -1.675 | 415.962 | 1.634 | 69.444 | 92.977
7900 | 0.806 | 0.899 | -1.558 | 415.962 | 2.013 | 69.369 | 92.825
8000 | 0.806 | 0.896 | -1.474 | 727.935 | 1.71 | 69.975 | 92.825
8100 | 0.766 | 0.869 | -1.407 | 519.955 | 1.634 | 69.672 | 92.219
8200 | 0.726 | 0.821 | -1.323 | 415.962 | 1.407 | 69.369 | 91.613
8300 | 0.685 | 0.787 | -1.256 | 519.954 | 1.18 | 69.141 | 90.249
8400 | 0.645 | 0.748 | -1.189 | 415.962 | 0.952 | 67.626 | 87.976
8500 | 0.605 | 0.722 | -1.139 | 415.962 | 0.725 | 65.884 | 84.643
8600 | 0.564 | 0.691 | -1.088 | 311.973 | 0.574 | 63.459 | 81.764
8700 | 0.524 | 0.657 | -1.038 | 311.973 | 0.498 | 60.883 | 78.43
8800 | 0.484 | 0.636 | -1.005 | 311.97 | 0.346 | 57.853 | 74.794
8900 | 0.443 | 0.61 | -0.971 | 207.984 | 0.346 | 54.822 | 70.399
9000 | 0.403 | 0.581 | -0.938 | 207.981 | 0.271 | 51.868 | 66.763
9100 | 0.363 | 0.547 | -0.904 | 207.981 | 0.119 | 48.307 | 62.369
9200 | 0.323 | 0.526 | -0.887 | 207.981 | 0.195 | 45.125 | 58.581
9300 | 0.282 | 0.485 | -0.854 | 103.992 | 0.119 | 42.321 | 53.732
9400 | 0.242 | 0.439 | -0.82 | 207.981 | -0.032 | 38.761 | 49.944
9500 | 0.202 | 0.406 | -0.803 | 207.981 | -0.032 | 36.26 | 47.065
9600 | 0.161 | 0.386 | -0.803 | 103.989 | -0.032 | 33.912 | 43.58
9700 | 0.121 | 0.328 | -0.77 | 0 | -0.032 | 31.563 | 41.004
9800 | 0.081 | 0.3 | -0.77 | 207.981 | -0.032 | 29.669 | 38.579
9900 | 0.04 | 0.251 | -0.753 | 0 | 0.119 | 27.851 | 36.761