## Data
Log File Data
2007-08-29 10:51 | MERIT Configuration Data
Test Description: System testing after 8/28 access.
Mode = Manual
LogFile = C:\MERIT Data\070829 logfile.txt
Trigger-Pulse Delay (s) = 16.500000
FlatTop Pct = 0.800000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1000.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -10.566 | 0 | 0 | 1.031 | -0.817
100 | 0.027 | 0.027 | -10.566 | 0 | -0.032 | 0.879 | -0.817
200 | 0.054 | 0.054 | -10.566 | 0 | -0.032 | 0.879 | -0.817
300 | 0.081 | 0.086 | -10.566 | 0 | -0.108 | 1.031 | -0.969
400 | 0.108 | 0.106 | -10.549 | 0 | -0.108 | 0.879 | -0.817
500 | 0.134 | 0.164 | -10.566 | 104 | -0.108 | 0.804 | -0.969
600 | 0.161 | 0.207 | -10.566 | -104 | -0.108 | 0.728 | -0.969
700 | 0.188 | 0.252 | -10.566 | 0 | -0.184 | 0.349 | -0.514
800 | 0.215 | 0.284 | -10.549 | 0 | -0.184 | 0.425 | 0.092
900 | 0.242 | 0.352 | -10.566 | 104 | -0.184 | 0.349 | -0.06
1000 | 0.269 | 0.405 | -10.566 | -104 | -0.259 | 0.349 | 0.092
1100 | 0.296 | 0.462 | -10.566 | 0 | -0.108 | 0.349 | -0.06
1200 | 0.323 | 0.504 | -10.549 | 0 | -0.108 | 0.046 | -0.06
1300 | 0.349 | 0.566 | -10.549 | 104 | -0.108 | 0.046 | -0.363
1400 | 0.376 | 0.631 | -10.549 | 0 | -0.184 | 0.349 | 0.698
1500 | 0.403 | 0.698 | -10.549 | 0 | -0.184 | 0.5 | 1.152
1600 | 0.43 | 0.768 | -10.549 | 0 | -0.108 | 0.955 | 2.213
1700 | 0.457 | 0.823 | -10.532 | 0 | -0.184 | 2.319 | 4.334
1800 | 0.484 | 0.865 | -10.498 | 103.988 | -0.184 | 3.834 | 7.062
1900 | 0.511 | 0.91 | -10.465 | 207.983 | -0.259 | 6.183 | 9.638
2000 | 0.538 | 0.923 | -10.398 | 207.977 | -0.259 | 9.516 | 14.184
2100 | 0.564 | 0.956 | -10.347 | 415.965 | -0.259 | 13.835 | 18.729
2200 | 0.591 | 0.975 | -10.28 | 311.971 | -0.108 | 17.774 | 25.548
2300 | 0.618 | 0.963 | -10.18 | 415.965 | -0.108 | 24.138 | 32.367
2400 | 0.645 | 0.987 | -10.113 | 623.942 | -0.184 | 29.669 | 40.094
2500 | 0.672 | 0.998 | -10.029 | 415.965 | -0.032 | 35.73 | 47.671
2600 | 0.699 | 0.977 | -9.911 | 519.954 | 0.044 | 41.564 | 54.641
2700 | 0.726 | 0.993 | -9.828 | 727.936 | 0.119 | 46.185 | 60.096
2800 | 0.753 | 1.011 | -9.744 | 519.948 | 0.119 | 50.807 | 66.308
2900 | 0.779 | 1.032 | -9.66 | 519.96 | 0.271 | 54.216 | 71.006
3000 | 0.806 | 1.056 | -9.576 | 519.948 | 0.271 | 58.61 | 75.703
3100 | 0.833 | 1.032 | -9.442 | 519.96 | 0.498 | 62.474 | 81.158
3200 | 0.86 | 1.044 | -9.341 | 831.925 | 0.346 | 65.732 | 85.552
3300 | 0.887 | 1.042 | -9.224 | 623.942 | 0.346 | 68.838 | 88.734
3400 | 0.914 | 1.093 | -9.157 | 727.931 | 0.346 | 70.354 | 91.462
3500 | 0.941 | 1.08 | -9.023 | 415.971 | 0.649 | 72.551 | 94.947
3600 | 0.968 | 1.103 | -8.922 | 831.925 | 0.649 | 75.202 | 97.826
3700 | 0.994 | 1.095 | -8.788 | 623.948 | 0.649 | 77.096 | 100.25
3800 | 1.021 | 1.073 | -8.637 | 831.919 | 0.574 | 79.369 | 102.826
3900 | 1.048 | 1.104 | -8.536 | 935.919 | 0.422 | 80.354 | 103.887
4000 | 1.075 | 1.105 | -8.402 | 623.942 | 0.498 | 81.566 | 105.553
4100 | 1.102 | 1.141 | -8.302 | 831.925 | 0.649 | 82.248 | 106.766
4200 | 1.129 | 1.13 | -8.151 | 623.948 | 2.013 | 83.006 | 108.735
4300 | 1.156 | 1.172 | -8.05 | 935.913 | 4.74 | 81.339 | 111.614
4400 | 1.183 | 1.183 | -7.916 | 623.948 | 6.027 | 81.112 | 114.493
4500 | 1.209 | 1.212 | -7.797 | 831.922 | 5.952 | 81.794 | 116.312
4600 | 1.236 | 1.195 | -7.63 | 734.436 | 6.638 | 82.779 | 118.433
4700 | 1.263 | 1.214 | -7.496 | 1039.908 | 6.33 | 83.764 | 120.1
4800 | 1.29 | 1.219 | -7.345 | 831.925 | 6.487 | 84.9 | 121.312
4900 | 1.317 | 1.226 | -7.194 | 935.919 | 6.941 | 85.43 | 122.979
5000 | 1.344 | 1.237 | -7.043 | 935.913 | 7.017 | 85.658 | 123.736
5100 | 1.371 | 1.233 | -6.875 | 935.919 | 7.396 | 86.112 | 124.646
5200 | 1.398 | 1.266 | -6.741 | 1039.908 | 7.623 | 86.643 | 125.252
5300 | 1.424 | 1.25 | -6.556 | 831.925 | 8.229 | 86.718 | 126.161
5400 | 1.451 | 1.271 | -6.406 | 1143.899 | 7.623 | 87.476 | 127.373
5500 | 1.478 | 1.278 | -6.238 | 935.919 | 8.001 | 87.779 | 127.373
5600 | 1.505 | 1.288 | -6.07 | 1039.908 | 8.229 | 87.552 | 128.585
5700 | 1.532 | 1.334 | -5.936 | 1039.902 | 8.304 | 88.006 | 128.888
5800 | 1.559 | 1.316 | -5.735 | 831.931 | 9.138 | 87.779 | 130.1
5900 | 1.586 | 1.333 | -5.567 | 1247.887 | 9.138 | 88.006 | 131.919
6000 | 1.613 | 1.337 | -5.383 | 1039.908 | 9.441 | 88.915 | 132.222
6100 | 1.613 | 1.331 | -5.215 | 1143.899 | 9.441 | 88.688 | 133.282
6200 | 1.613 | 1.307 | -5.03 | 1039.908 | 9.213 | 89.446 | 133.434
6300 | 1.613 | 1.267 | -4.829 | 1143.896 | 8.91 | 89.976 | 133.434
6400 | 1.613 | 1.278 | -4.678 | 1247.887 | 7.774 | 90.658 | 131.767
6500 | 1.613 | 1.271 | -4.511 | 935.919 | 7.926 | 90.582 | 131.616
6600 | 1.613 | 1.248 | -4.326 | 1039.905 | 8.001 | 90.279 | 131.464
6700 | 1.613 | 1.258 | -4.175 | 1143.902 | 7.699 | 90.81 | 130.252
6800 | 1.613 | 1.235 | -3.991 | 935.913 | 7.547 | 90.203 | 129.949
6900 | 1.613 | 1.262 | -3.857 | 1143.897 | 7.244 | 90.203 | 129.646
7000 | 1.613 | 1.256 | -3.689 | 831.925 | 7.699 | 89.294 | 129.797
7100 | 1.613 | 1.265 | -3.537 | 1039.909 | 7.774 | 89.294 | 129.343
7200 | 1.613 | 1.242 | -3.352 | 942.418 | 7.623 | 89.37 | 129.343
7300 | 1.613 | 1.252 | -3.201 | 1143.897 | 7.168 | 89.597 | 129.646
7400 | 1.613 | 1.263 | -3.051 | 935.913 | 7.396 | 89.673 | 128.737
7500 | 1.613 | 1.223 | -2.849 | 935.919 | 7.926 | 88.915 | 129.343
7600 | 1.613 | 1.25 | -2.715 | 1247.887 | 6.941 | 89.825 | 128.888
7700 | 1.613 | 1.243 | -2.547 | 831.929 | 7.32 | 89.522 | 128.282
7800 | 1.613 | 1.237 | -2.38 | 1039.906 | 7.396 | 88.84 | 128.737
7900 | 1.532 | 1.183 | -2.246 | 1039.906 | 7.093 | 89.37 | 128.282
8000 | 1.451 | 1.071 | -2.061 | 831.926 | 6.027 | 90.203 | 128.131
8100 | 1.371 | 1.019 | -1.944 | 1143.897 | 4.134 | 91.794 | 125.706
8200 | 1.29 | 0.941 | -1.81 | 727.936 | 3.073 | 90.961 | 122.07
8300 | 1.209 | 0.889 | -1.709 | 831.927 | 2.392 | 89.597 | 118.433
8400 | 1.129 | 0.845 | -1.625 | 623.944 | 1.634 | 87.779 | 115.099
8500 | 1.048 | 0.794 | -1.541 | 519.955 | 1.255 | 85.43 | 110.554
8600 | 0.968 | 0.734 | -1.457 | 519.954 | 1.18 | 82.779 | 106.311
8700 | 0.887 | 0.683 | -1.39 | 519.952 | 0.649 | 79.294 | 101.462
8800 | 0.806 | 0.624 | -1.323 | 415.965 | 0.346 | 75.809 | 96.613
8900 | 0.726 | 0.59 | -1.29 | 415.962 | 0.195 | 72.702 | 91.613
9000 | 0.645 | 0.515 | -1.223 | 207.981 | 0.119 | 67.853 | 85.249
9100 | 0.564 | 0.482 | -1.206 | 415.962 | -0.032 | 63.459 | 79.946
9200 | 0.484 | 0.441 | -1.189 | 103.992 | 0.195 | 59.292 | 74.642
9300 | 0.403 | 0.376 | -1.156 | 103.989 | 0.044 | 55.731 | 70.096
9400 | 0.323 | 0.318 | -1.139 | 207.983 | -0.032 | 52.095 | 66.157
9500 | 0.242 | 0.253 | -1.122 | 103.989 | 0.044 | 49.216 | 62.369
9600 | 0.161 | 0.197 | -1.122 | 103.992 | -0.032 | 46.867 | 59.187
9700 | 0.081 | 0.132 | -1.122 | 0 | 0.044 | 43.988 | 56.308