## Data
Log File Data
2007-08-29 10:55 | MERIT Configuration Data
Test Description: System testing after 8/28 access.
Mode = Manual
LogFile = C:\MERIT Data\070829 logfile.txt
Trigger-Pulse Delay (s) = 16.500000
FlatTop Pct = 0.800000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.826 | 0 | 0 | 0.804 | -0.817
100 | 0.04 | 0.04 | -14.826 | 0 | -0.108 | 0.804 | -0.817
200 | 0.081 | 0.081 | -14.826 | 0 | -0.108 | 0.728 | -0.363
300 | 0.121 | 0.125 | -14.826 | 0 | -0.108 | 0.5 | -0.666
400 | 0.161 | 0.181 | -14.826 | 0 | 0.044 | 0.728 | -0.817
500 | 0.202 | 0.242 | -14.826 | 0 | -0.032 | 0.879 | -0.06
600 | 0.242 | 0.306 | -14.826 | 0 | -0.108 | 0.5 | -0.514
700 | 0.282 | 0.375 | -14.826 | 0 | -0.184 | 0.425 | -0.363
800 | 0.323 | 0.447 | -14.826 | 0 | -0.184 | 0.576 | -0.06
900 | 0.363 | 0.524 | -14.826 | 0 | -0.032 | 0.728 | 0.092
1000 | 0.403 | 0.605 | -14.826 | 0 | -0.032 | 0.425 | 0.243
1100 | 0.443 | 0.689 | -14.826 | 0 | -0.184 | 0.5 | 0.698
1200 | 0.484 | 0.761 | -14.809 | 0 | -0.108 | 1.031 | 2.213
1300 | 0.524 | 0.854 | -14.809 | 103.988 | -0.108 | 2.091 | 4.183
1400 | 0.564 | 0.9 | -14.759 | 0 | -0.108 | 3.455 | 6.91
1500 | 0.605 | 0.951 | -14.709 | 311.971 | -0.108 | 6.713 | 10.699
1600 | 0.645 | 0.989 | -14.642 | 311.977 | -0.108 | 11.107 | 15.85
1700 | 0.685 | 1.014 | -14.558 | 415.954 | -0.108 | 15.88 | 22.366
1800 | 0.726 | 1.059 | -14.491 | 519.96 | -0.108 | 23.608 | 31.609
1900 | 0.766 | 1.059 | -14.373 | 415.965 | -0.032 | 32.018 | 42.367
2000 | 0.806 | 1.079 | -14.273 | 727.936 | -0.108 | 39.442 | 51.762
2100 | 0.847 | 1.104 | -14.172 | 623.936 | -0.184 | 46.564 | 59.944
2200 | 0.887 | 1.082 | -14.021 | 623.948 | -0.259 | 54.216 | 68.884
2300 | 0.927 | 1.114 | -13.921 | 935.913 | -0.184 | 60.05 | 76.764
2400 | 0.968 | 1.134 | -13.803 | 623.942 | -0.108 | 63.762 | 82.976
2500 | 1.008 | 1.158 | -13.686 | 727.936 | -0.032 | 69.444 | 87.673
2600 | 1.048 | 1.135 | -13.518 | 727.936 | -0.032 | 73.99 | 93.583
2700 | 1.089 | 1.184 | -13.417 | 1039.913 | -0.108 | 77.172 | 97.674
2800 | 1.129 | 1.169 | -13.25 | 623.948 | -0.108 | 80.582 | 101.614
2900 | 1.169 | 1.192 | -13.116 | 1039.902 | 0.044 | 82.93 | 104.947
3000 | 1.209 | 1.219 | -12.981 | 831.925 | -0.032 | 83.764 | 108.129
3100 | 1.25 | 1.217 | -12.814 | 831.925 | -0.032 | 86.946 | 110.099
3200 | 1.29 | 1.235 | -12.663 | 1039.913 | -0.032 | 88.158 | 112.524
3300 | 1.33 | 1.258 | -12.512 | 935.913 | -0.184 | 89.825 | 114.493
3400 | 1.371 | 1.267 | -12.344 | 935.913 | -0.184 | 90.506 | 116.615
3500 | 1.411 | 1.298 | -12.193 | 1039.913 | -0.108 | 91.87 | 117.978
3600 | 1.451 | 1.247 | -11.957 | 935.913 | -0.108 | 93.764 | 119.191
3700 | 1.492 | 1.32 | -11.84 | 1462.372 | -0.108 | 93.84 | 120.1
3800 | 1.532 | 1.295 | -11.622 | 727.936 | 0.044 | 94.295 | 121.464
3900 | 1.572 | 1.308 | -11.438 | 1351.879 | 0.044 | 95.431 | 122.524
4000 | 1.613 | 1.359 | -11.287 | 1143.89 | -0.108 | 95.507 | 122.979
4100 | 1.653 | 1.363 | -11.085 | 935.913 | 0.044 | 97.022 | 124.039
4200 | 1.693 | 1.355 | -10.867 | 1247.896 | -0.184 | 96.946 | 125.555
4300 | 1.734 | 1.367 | -10.666 | 1351.879 | -0.032 | 98.007 | 125.706
4400 | 1.774 | 1.401 | -10.482 | 1247.896 | -0.108 | 98.234 | 126.918
4500 | 1.814 | 1.438 | -10.297 | 1143.89 | -0.108 | 98.537 | 127.373
4600 | 1.855 | 1.429 | -10.062 | 1143.902 | -0.108 | 99.371 | 127.828
4700 | 1.895 | 1.424 | -9.828 | 1455.867 | -0.108 | 99.75 | 128.888
4800 | 1.935 | 1.423 | -9.593 | 1455.867 | -0.108 | 99.75 | 129.949
4900 | 1.975 | 1.459 | -9.392 | 1455.873 | -0.108 | 99.75 | 130.1
5000 | 2.016 | 1.483 | -9.174 | 1247.89 | 1.028 | 98.234 | 131.616
5100 | 2.056 | 1.511 | -8.956 | 1351.879 | 1.028 | 98.689 | 132.222
5200 | 2.096 | 1.493 | -8.687 | 1351.879 | 1.71 | 98.159 | 133.434
5300 | 2.137 | 1.546 | -8.486 | 1663.85 | 1.483 | 98.462 | 134.192
5400 | 2.177 | 1.586 | -8.268 | 1247.896 | 2.013 | 98.689 | 134.949
5500 | 2.217 | 1.563 | -7.983 | 1351.873 | 2.24 | 98.083 | 136.768
5600 | 2.258 | 1.576 | -7.73 | 1767.844 | 2.316 | 98.992 | 136.616
5700 | 2.298 | 1.628 | -7.512 | 1566.358 | 15.425 | 89.294 | 143.132
5800 | 2.338 | 1.668 | -7.278 | 1351.882 | 21.105 | 83.006 | 147.98
5900 | 2.379 | 1.728 | -7.06 | 1455.873 | 22.317 | 82.248 | 150.253
6000 | 2.419 | 1.691 | -6.741 | 1351.882 | 24.135 | 81.188 | 152.526
6100 | 2.419 | 1.648 | -6.456 | 1975.821 | 23.908 | 81.642 | 154.648
6200 | 2.419 | 1.588 | -6.154 | 1767.844 | 21.257 | 84.142 | 153.587
6300 | 2.419 | 1.595 | -5.919 | 1871.832 | 18.909 | 86.946 | 151.162
6400 | 2.419 | 1.586 | -5.668 | 1455.87 | 18.606 | 87.627 | 149.95
6500 | 2.419 | 1.576 | -5.416 | 1559.861 | 18.379 | 86.946 | 148.89
6600 | 2.419 | 1.583 | -5.181 | 1559.858 | 18 | 87.476 | 148.587
6700 | 2.419 | 1.557 | -4.913 | 1455.87 | 18.076 | 86.87 | 148.435
6800 | 2.419 | 1.564 | -4.678 | 1663.856 | 17.394 | 87.249 | 148.132
6900 | 2.419 | 1.537 | -4.41 | 1455.87 | 16.939 | 87.779 | 147.829
7000 | 2.419 | 1.528 | -4.158 | 1663.85 | 16.712 | 88.461 | 147.223
7100 | 2.419 | 1.552 | -3.94 | 1559.858 | 16.106 | 88.84 | 146.768
7200 | 2.419 | 1.576 | -3.722 | 1351.883 | 16.788 | 88.006 | 146.768
7300 | 2.419 | 1.548 | -3.453 | 1351.882 | 17.848 | 86.34 | 147.526
7400 | 2.419 | 1.538 | -3.201 | 1670.348 | 17.091 | 87.324 | 147.526
7500 | 2.419 | 1.546 | -2.967 | 1559.86 | 16.409 | 88.158 | 146.768
7600 | 2.419 | 1.553 | -2.732 | 1455.871 | 16.864 | 88.158 | 146.768
7700 | 2.419 | 1.526 | -2.464 | 1455.87 | 17.015 | 87.476 | 146.92
7800 | 2.298 | 1.429 | -2.246 | 1663.854 | 16.258 | 88.309 | 146.768
7900 | 2.177 | 1.303 | -2.011 | 1351.879 | 13.001 | 92.249 | 143.435
8000 | 2.056 | 1.199 | -1.81 | 1455.871 | 9.819 | 93.916 | 141.01
8100 | 1.935 | 1.116 | -1.642 | 1247.889 | 7.774 | 97.174 | 136.313
8200 | 1.814 | 1.004 | -1.457 | 1039.906 | 5.043 | 96.34 | 133.434
8300 | 1.693 | 0.93 | -1.323 | 1143.897 | 3.604 | 96.34 | 128.737
8400 | 1.572 | 0.878 | -1.223 | 831.927 | 2.467 | 94.749 | 123.736
8500 | 1.451 | 0.83 | -1.139 | 623.944 | 1.861 | 91.491 | 118.736
8600 | 1.33 | 0.771 | -1.055 | 519.954 | 1.558 | 89.143 | 113.887
8700 | 1.209 | 0.732 | -1.005 | 519.955 | 0.801 | 85.885 | 109.948
8800 | 1.089 | 0.665 | -0.938 | 311.973 | 1.028 | 81.794 | 105.099
8900 | 0.968 | 0.586 | -0.87 | 415.962 | 0.649 | 78.309 | 99.947
9000 | 0.847 | 0.512 | -0.82 | 415.962 | 0.346 | 73.839 | 93.583
9100 | 0.726 | 0.442 | -0.787 | 311.973 | 0.119 | 69.823 | 88.128
9200 | 0.605 | 0.36 | -0.753 | 207.981 | 0.044 | 65.353 | 81.915
9300 | 0.484 | 0.299 | -0.753 | 207.981 | -0.108 | 62.02 | 77.521
9400 | 0.363 | 0.193 | -0.72 | 0 | -0.184 | 58.61 | 73.43
9500 | 0.242 | 0.109 | -0.72 | 207.981 | -0.184 | 55.504 | 69.49
9600 | 0.121 | 0 | -0.703 | 0 | -0.108 | 53.004 | 66.157