## Data
Log File Data
2007-08-29 11:05 | MERIT Configuration Data
Test Description: System testing after 8/28 access.
Mode = Manual
LogFile = C:\MERIT Data\070829 logfile.txt
Trigger-Pulse Delay (s) = 16.500000
FlatTop Pct = 0.800000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 2000.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -19.523 | 0 | 0 | 1.182 | -0.363
100 | 0.054 | 0.054 | -19.523 | 0 | 0.044 | 1.182 | -0.363
200 | 0.108 | 0.108 | -19.523 | 0 | 0.044 | 1.182 | -0.363
300 | 0.161 | 0.163 | -19.523 | 0 | -0.032 | 1.182 | 0.243
400 | 0.215 | 0.238 | -19.523 | 0 | -0.032 | 1.031 | 0.243
500 | 0.269 | 0.302 | -19.506 | 0 | -0.032 | 1.031 | 0.092
600 | 0.323 | 0.404 | -19.523 | 104 | -0.032 | 0.879 | 0.395
700 | 0.376 | 0.496 | -19.523 | -104 | -0.108 | 0.804 | 0.849
800 | 0.43 | 0.593 | -19.523 | 0 | -0.032 | 1.107 | 0.849
900 | 0.484 | 0.695 | -19.523 | 0 | -0.032 | 0.955 | 0.698
1000 | 0.538 | 0.785 | -19.506 | 0 | -0.032 | 1.561 | 2.365
1100 | 0.591 | 0.898 | -19.506 | 104 | -0.032 | 2.546 | 4.941
1200 | 0.645 | 0.966 | -19.456 | 0 | -0.184 | 4.819 | 8.274
1300 | 0.699 | 1.023 | -19.389 | 311.977 | 0.044 | 9.289 | 14.032
1400 | 0.753 | 1.068 | -19.305 | 415.954 | 0.044 | 15.274 | 21.608
1500 | 0.806 | 1.102 | -19.204 | 519.954 | -0.032 | 25.578 | 33.579
1600 | 0.86 | 1.124 | -19.087 | 623.954 | -0.108 | 34.518 | 45.095
1700 | 0.914 | 1.152 | -18.969 | 727.931 | -0.108 | 43.988 | 57.065
1800 | 0.968 | 1.135 | -18.802 | 727.931 | 0.044 | 52.474 | 68.127
1900 | 1.021 | 1.173 | -18.684 | 1039.908 | -0.184 | 60.201 | 77.067
2000 | 1.075 | 1.2 | -18.55 | 727.931 | -0.184 | 65.884 | 84.794
2100 | 1.129 | 1.233 | -18.416 | 831.943 | -0.108 | 71.035 | 91.765
2200 | 1.183 | 1.237 | -18.248 | 831.919 | -0.108 | 76.415 | 98.28
2300 | 1.236 | 1.23 | -18.064 | 1039.908 | -0.108 | 81.642 | 103.887
2400 | 1.29 | 1.262 | -17.913 | 1143.896 | -0.108 | 84.521 | 107.826
2500 | 1.344 | 1.282 | -17.745 | 935.919 | -0.108 | 87.097 | 111.463
2600 | 1.398 | 1.325 | -17.594 | 1039.908 | 0.044 | 89.219 | 113.887
2700 | 1.451 | 1.323 | -17.393 | 935.919 | -0.108 | 91.643 | 116.918
2800 | 1.505 | 1.309 | -17.175 | 1247.884 | -0.032 | 93.537 | 119.645
2900 | 1.559 | 1.351 | -17.007 | 1351.873 | -0.032 | 94.976 | 121.009
3000 | 1.613 | 1.348 | -16.789 | 1039.908 | 0.044 | 95.204 | 122.979
3100 | 1.666 | 1.4 | -16.621 | 1351.885 | -0.032 | 96.567 | 124.039
3200 | 1.72 | 1.407 | -16.402 | 1039.908 | -0.032 | 96.795 | 124.949
3300 | 1.774 | 1.454 | -16.218 | 1358.39 | -0.032 | 97.704 | 127.07
3400 | 1.828 | 1.422 | -15.95 | 1143.884 | -0.108 | 99.598 | 127.221
3500 | 1.881 | 1.479 | -15.765 | 1663.85 | -0.184 | 99.75 | 128.585
3600 | 1.935 | 1.475 | -15.514 | 1143.908 | -0.108 | 100.659 | 128.737
3700 | 1.989 | 1.461 | -15.245 | 1559.855 | -0.108 | 100.734 | 130.252
3800 | 2.043 | 1.499 | -15.027 | 1663.85 | -0.108 | 101.037 | 131.01
3900 | 2.096 | 1.495 | -14.759 | 1351.885 | -0.184 | 101.189 | 131.161
4000 | 2.15 | 1.545 | -14.541 | 1663.85 | -0.032 | 101.568 | 131.767
4100 | 2.204 | 1.534 | -14.256 | 1351.879 | -0.108 | 101.416 | 131.919
4200 | 2.258 | 1.562 | -14.004 | 1767.85 | -0.032 | 102.098 | 133.282
4300 | 2.311 | 1.612 | -13.77 | 1559.861 | -0.032 | 102.325 | 133.586
4400 | 2.365 | 1.584 | -13.451 | 1455.867 | -0.108 | 103.159 | 133.737
4500 | 2.419 | 1.611 | -13.183 | 1975.821 | 0.044 | 103.841 | 133.889
4600 | 2.473 | 1.611 | -12.881 | 1663.856 | -0.032 | 103.765 | 134.949
4700 | 2.526 | 1.665 | -12.629 | 1871.826 | -0.108 | 103.538 | 135.101
4800 | 2.58 | 1.675 | -12.327 | 1559.861 | -0.108 | 102.628 | 136.616
4900 | 2.634 | 1.69 | -12.024 | 1871.838 | -0.108 | 103.613 | 136.616
5000 | 2.688 | 1.71 | -11.723 | 1878.326 | -0.032 | 103.31 | 136.919
5100 | 2.741 | 1.72 | -11.404 | 1871.838 | -0.108 | 104.068 | 137.374
5200 | 2.795 | 1.701 | -11.052 | 1975.821 | -0.032 | 104.295 | 138.131
5300 | 2.849 | 1.771 | -10.784 | 2183.803 | -0.032 | 104.598 | 138.283
5400 | 2.903 | 1.813 | -10.482 | 1663.862 | -0.032 | 104.068 | 138.737
5500 | 2.956 | 1.794 | -10.113 | 1871.826 | 0.044 | 101.719 | 140.253
5600 | 3.01 | 1.847 | -9.811 | 2287.798 | 2.013 | 100.962 | 141.465
5700 | 3.064 | 1.871 | -9.475 | 1871.832 | 3.376 | 99.371 | 142.98
5800 | 3.118 | 1.868 | -9.107 | 2079.815 | 4.285 | 96.946 | 142.98
5900 | 3.171 | 1.887 | -8.754 | 2287.792 | 3.679 | 96.416 | 142.374
6000 | 3.225 | 1.877 | -8.369 | 2183.809 | 4.058 | 95.507 | 140.556
6100 | 3.225 | 1.948 | -8.117 | 2391.786 | 25.423 | 77.172 | 152.223
6200 | 3.225 | 1.934 | -7.781 | 1559.861 | 34.669 | 71.945 | 161.163
6300 | 3.225 | 1.955 | -7.479 | 2086.317 | 35.578 | 71.49 | 164.345
6400 | 3.225 | 1.925 | -7.127 | 1871.832 | 35.35 | 72.93 | 164.648
6500 | 3.225 | 1.912 | -6.791 | 2183.806 | 35.199 | 73.46 | 165.103
6600 | 3.225 | 1.933 | -6.489 | 2079.809 | 32.926 | 75.354 | 163.739
6700 | 3.225 | 1.87 | -6.104 | 1871.832 | 33.381 | 74.748 | 164.497
6800 | 3.225 | 1.84 | -5.752 | 2391.792 | 31.866 | 75.733 | 164.194
6900 | 3.225 | 1.878 | -5.466 | 2183.806 | 29.897 | 78.006 | 162.981
7000 | 3.225 | 1.848 | -5.114 | 1767.838 | 30.654 | 76.566 | 161.921
7100 | 3.225 | 1.852 | -4.796 | 2183.803 | 30.275 | 77.324 | 161.921
7200 | 3.225 | 1.839 | -4.46 | 1975.83 | 29.897 | 78.006 | 161.769
7300 | 3.225 | 1.893 | -4.192 | 2079.809 | 29.897 | 78.233 | 161.466
7400 | 3.225 | 1.864 | -3.84 | 1663.856 | 31.033 | 75.657 | 162.527
7500 | 3.225 | 1.883 | -3.537 | 2183.805 | 31.563 | 76.415 | 162.224
7600 | 3.225 | 1.887 | -3.218 | 1878.333 | 31.26 | 76.642 | 162.678
7700 | 3.064 | 1.68 | -2.849 | 1975.822 | 31.563 | 76.112 | 162.83
7800 | 2.903 | 1.506 | -2.531 | 2287.795 | 26.564 | 80.809 | 160.709
7900 | 2.741 | 1.383 | -2.279 | 1975.824 | 17.621 | 91.719 | 154.648
8000 | 2.58 | 1.228 | -2.011 | 1559.863 | 13.001 | 94.749 | 148.283
8100 | 2.419 | 1.14 | -1.826 | 1663.853 | 8.304 | 98.386 | 142.98
8200 | 2.258 | 1.07 | -1.675 | 1143.897 | 5.497 | 99.522 | 136.465
8300 | 2.096 | 0.984 | -1.524 | 935.916 | 4.588 | 97.325 | 132.828
8400 | 1.935 | 0.915 | -1.407 | 935.916 | 3.528 | 95.886 | 128.282
8500 | 1.774 | 0.829 | -1.29 | 727.936 | 2.164 | 94.522 | 123.433
8600 | 1.613 | 0.745 | -1.189 | 727.935 | 2.013 | 91.188 | 117.675
8700 | 1.451 | 0.678 | -1.122 | 623.944 | 1.331 | 88.006 | 112.372
8800 | 1.29 | 0.611 | -1.072 | 415.965 | 0.574 | 84.445 | 107.675
8900 | 1.129 | 0.529 | -1.021 | 311.97 | 0.422 | 79.521 | 101.614
9000 | 0.968 | 0.447 | -0.988 | 311.973 | 0.044 | 75.809 | 96.007
9100 | 0.806 | 0.349 | -0.954 | 207.981 | 0.119 | 70.884 | 89.34
9200 | 0.645 | 0.252 | -0.938 | 207.981 | -0.108 | 67.778 | 85.249
9300 | 0.484 | 0.155 | -0.938 | 103.992 | -0.184 | 63.99 | 79.946
9400 | 0.323 | 0.008 | -0.904 | 0 | -0.184 | 60.808 | 76.157
9500 | 0.161 | 0 | -0.904 | 207.981 | -0.108 | 57.929 | 72.521