## Data
Log File Data
2007-08-29 11:05 | MERIT Configuration Data
Test Description: System testing after 8/28 access.
Mode = Manual
LogFile = C:\MERIT Data\070829 logfile.txt
Trigger-Pulse Delay (s) = 16.500000
FlatTop Pct = 0.800000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 2000.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -20.445 | 0 | 0 | 1.182 | -0.969
100 | 0.054 | 0.054 | -20.445 | 0 | -0.032 | 1.182 | -0.969
200 | 0.108 | 0.108 | -20.445 | 0 | -0.108 | 1.182 | -0.666
300 | 0.161 | 0.193 | -20.462 | 0 | 0.044 | 0.955 | -0.514
400 | 0.215 | 0.269 | -20.462 | -104 | -0.108 | 0.879 | -0.363
500 | 0.269 | 0.332 | -20.445 | 0 | -0.032 | 0.576 | -0.363
600 | 0.323 | 0.418 | -20.445 | 104 | -0.108 | 0.728 | 0.395
700 | 0.376 | 0.51 | -20.445 | 0 | -0.032 | 0.425 | 0.395
800 | 0.43 | 0.607 | -20.445 | 0 | -0.032 | 0.425 | 0.849
900 | 0.484 | 0.709 | -20.445 | 0 | -0.032 | 0.425 | 1.001
1000 | 0.538 | 0.816 | -20.445 | 0 | -0.032 | 0.955 | 2.213
1100 | 0.591 | 0.912 | -20.428 | 0 | -0.108 | 2.167 | 4.638
1200 | 0.645 | 0.997 | -20.395 | 103.988 | -0.108 | 4.592 | 8.729
1300 | 0.699 | 1.054 | -20.328 | 207.977 | -0.108 | 9.365 | 15.244
1400 | 0.753 | 1.099 | -20.244 | 415.977 | -0.108 | 15.577 | 22.366
1500 | 0.806 | 1.133 | -20.143 | 519.942 | -0.032 | 25.275 | 34.336
1600 | 0.86 | 1.138 | -20.009 | 623.942 | -0.032 | 35.048 | 46.762
1700 | 0.914 | 1.166 | -19.892 | 831.931 | -0.184 | 44.215 | 58.581
1800 | 0.968 | 1.182 | -19.757 | 727.931 | -0.032 | 52.019 | 69.036
1900 | 1.021 | 1.154 | -19.573 | 831.931 | -0.108 | 62.02 | 80.097
2000 | 1.075 | 1.198 | -19.456 | 1143.896 | -0.108 | 67.702 | 87.219
2100 | 1.129 | 1.213 | -19.305 | 727.942 | -0.184 | 72.626 | 93.583
2200 | 1.183 | 1.251 | -19.171 | 935.907 | -0.032 | 76.869 | 98.735
2300 | 1.236 | 1.261 | -19.003 | 831.931 | -0.032 | 80.733 | 104.644
2400 | 1.29 | 1.259 | -18.818 | 1039.908 | -0.108 | 84.521 | 109.493
2500 | 1.344 | 1.28 | -18.651 | 1143.896 | -0.108 | 87.476 | 112.372
2600 | 1.398 | 1.272 | -18.449 | 1039.908 | -0.184 | 90.355 | 114.948
2700 | 1.451 | 1.337 | -18.315 | 1247.884 | -0.032 | 91.264 | 116.615
2800 | 1.505 | 1.306 | -18.08 | 831.931 | -0.108 | 93.537 | 118.888
2900 | 1.559 | 1.348 | -17.913 | 1455.861 | -0.032 | 94.825 | 120.403
3000 | 1.613 | 1.395 | -17.745 | 1039.919 | -0.108 | 95.507 | 121.918
3100 | 1.666 | 1.381 | -17.51 | 1039.908 | -0.108 | 95.583 | 124.949
3200 | 1.72 | 1.422 | -17.326 | 1455.861 | -0.184 | 96.189 | 127.07
3300 | 1.774 | 1.469 | -17.141 | 1143.908 | 0.877 | 95.961 | 128.434
3400 | 1.828 | 1.456 | -16.89 | 1143.896 | 0.877 | 96.34 | 129.949
3500 | 1.881 | 1.494 | -16.689 | 1559.849 | 1.483 | 96.492 | 131.464
3600 | 1.935 | 1.506 | -16.453 | 1247.896 | 1.483 | 97.855 | 132.07
3700 | 1.989 | 1.507 | -16.201 | 1462.366 | 1.634 | 97.477 | 133.737
3800 | 2.043 | 1.513 | -15.95 | 1559.861 | 1.483 | 98.462 | 133.889
3900 | 2.096 | 1.509 | -15.681 | 1559.861 | 1.861 | 98.537 | 134.949
4000 | 2.15 | 1.576 | -15.48 | 1663.862 | 10.274 | 92.779 | 139.495
4100 | 2.204 | 1.649 | -15.279 | 1247.884 | 18.757 | 85.355 | 146.92
4200 | 2.258 | 1.694 | -15.044 | 1247.89 | 21.333 | 83.385 | 149.041
4300 | 2.311 | 1.694 | -14.759 | 1455.873 | 22.923 | 82.021 | 151.465
4400 | 2.365 | 1.732 | -14.507 | 1767.838 | 23.302 | 82.021 | 153.435
4500 | 2.419 | 1.726 | -14.206 | 1559.855 | 24.211 | 81.794 | 153.738
4600 | 2.473 | 1.742 | -13.921 | 1871.838 | 24.287 | 81.794 | 154.799
4700 | 2.526 | 1.797 | -13.669 | 1767.838 | 24.059 | 81.415 | 155.102
4800 | 2.58 | 1.79 | -13.35 | 1559.861 | 26.337 | 80.582 | 157.223
4900 | 2.634 | 1.772 | -13.015 | 1975.827 | 26.943 | 79.597 | 157.981
5000 | 2.688 | 1.876 | -12.797 | 2079.815 | 26.412 | 80.279 | 158.133
5100 | 2.741 | 1.852 | -12.445 | 1351.885 | 28.76 | 79.066 | 158.436
5200 | 2.795 | 1.866 | -12.125 | 2183.803 | 29.745 | 76.793 | 161.163
5300 | 2.849 | 1.902 | -11.823 | 1982.32 | 30.048 | 77.096 | 161.163
5400 | 2.903 | 1.894 | -11.471 | 1871.838 | 31.26 | 76.112 | 161.769
5500 | 2.956 | 1.942 | -11.169 | 2183.803 | 31.715 | 75.809 | 162.678
5600 | 3.01 | 1.961 | -10.834 | 1871.826 | 33.078 | 74.748 | 163.891
5700 | 3.064 | 2.003 | -10.515 | 2079.815 | 34.214 | 73.157 | 164.8
5800 | 3.118 | 1.983 | -10.129 | 1975.833 | 35.653 | 71.717 | 165.254
5900 | 3.171 | 2.035 | -9.811 | 2391.78 | 35.426 | 71.263 | 165.86
6000 | 3.225 | 2.025 | -9.425 | 1975.827 | 36.865 | 70.202 | 166.012
6100 | 3.225 | 2.063 | -9.14 | 2391.786 | 36.865 | 69.369 | 166.315
6200 | 3.225 | 2 | -8.754 | 1767.844 | 37.623 | 68.081 | 165.254
6300 | 3.225 | 1.92 | -8.352 | 2391.786 | 36.865 | 68.763 | 164.497
6400 | 3.225 | 1.94 | -8.05 | 2495.775 | 33.911 | 72.02 | 164.042
6500 | 3.225 | 1.876 | -7.663 | 1871.838 | 33.381 | 73.763 | 164.042
6600 | 3.225 | 1.897 | -7.361 | 2398.285 | 31.942 | 75.505 | 164.042
6700 | 3.225 | 1.917 | -7.06 | 1871.832 | 31.26 | 76.263 | 162.981
6800 | 3.225 | 1.905 | -6.724 | 1871.835 | 32.32 | 75.127 | 163.891
6900 | 3.225 | 1.875 | -6.372 | 2079.809 | 32.245 | 75.202 | 164.194
7000 | 3.225 | 1.862 | -6.037 | 2183.806 | 31.033 | 76.187 | 163.588
7100 | 3.225 | 1.866 | -5.718 | 2079.818 | 30.427 | 77.4 | 161.466
7200 | 3.225 | 1.836 | -5.366 | 1975.821 | 30.503 | 76.945 | 162.527
7300 | 3.225 | 1.874 | -5.081 | 2183.806 | 30.2 | 78.081 | 161.769
7400 | 3.225 | 1.844 | -4.729 | 1767.844 | 30.2 | 77.551 | 161.012
7500 | 3.225 | 1.865 | -4.427 | 2183.806 | 29.745 | 77.248 | 162.072
7600 | 3.225 | 1.902 | -4.142 | 1871.832 | 30.124 | 77.324 | 161.315
7700 | 3.064 | 1.711 | -3.789 | 1767.844 | 31.715 | 75.733 | 162.527
7800 | 2.903 | 1.52 | -3.453 | 2183.805 | 26.791 | 81.415 | 160.709
7900 | 2.741 | 1.381 | -3.185 | 2086.31 | 18.303 | 90.658 | 154.799
8000 | 2.58 | 1.242 | -2.933 | 1663.854 | 12.925 | 93.992 | 148.132
8100 | 2.419 | 1.154 | -2.749 | 1559.86 | 8.229 | 98.689 | 142.374
8200 | 2.258 | 1.067 | -2.581 | 1143.897 | 6.027 | 98.159 | 137.374
8300 | 2.096 | 0.981 | -2.43 | 1039.909 | 4.361 | 97.325 | 132.828
8400 | 1.935 | 0.912 | -2.313 | 935.916 | 2.77 | 96.189 | 127.221
8500 | 1.774 | 0.844 | -2.212 | 727.935 | 2.164 | 93.385 | 123.282
8600 | 1.613 | 0.793 | -2.145 | 623.944 | 1.558 | 91.188 | 118.281
8700 | 1.451 | 0.692 | -2.044 | 415.962 | 1.028 | 88.082 | 113.584
8800 | 1.29 | 0.609 | -1.977 | 623.947 | 0.422 | 84.749 | 108.584
8900 | 1.129 | 0.526 | -1.927 | 415.962 | 0.271 | 80.43 | 101.765
9000 | 0.968 | 0.444 | -1.893 | 311.973 | -0.259 | 75.96 | 95.856
9100 | 0.806 | 0.346 | -1.86 | 207.981 | -0.184 | 71.035 | 89.189
9200 | 0.645 | 0.249 | -1.843 | 207.981 | -0.108 | 67.323 | 84.794
9300 | 0.484 | 0.135 | -1.826 | 103.989 | -0.108 | 63.914 | 80.703
9400 | 0.323 | 0.006 | -1.81 | 103.992 | -0.259 | 60.656 | 76.309
9500 | 0.161 | 0 | -1.81 | 103.991 | -0.184 | 57.701 | 71.763