## Data
Log File Data
2007-10-26 11:36 | MERIT Configuration Data
Test Description: Vertical scanning. Shot 4006. 2500A (5T), with beam.
Mode = Triggered
LogFile = C:\MERIT Data\071026 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.893 | 0 | 0 | 0.728 | -0.06
100 | 0 | 0 | -14.893 | 0 | 0 | 0.576 | 0.243
200 | 0 | 0 | -14.893 | 0 | 0 | 0.425 | 0.546
300 | 0 | 0 | -14.893 | 0 | 0 | 0.425 | 0.243
400 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | -0.363
500 | 0 | 0 | -14.91 | 0 | 0 | 0.5 | 0.395
600 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | -0.06
700 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | -0.363
800 | 0 | 0 | -14.91 | 0 | 0 | 0.349 | 0.092
900 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | -0.06
1000 | 0 | 0 | -14.91 | 0 | 0 | 0.5 | -0.363
1100 | 0 | 0 | -14.91 | 0 | 0 | 0.804 | 0.243
1200 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | 0.092
1300 | 0 | 0 | -14.91 | 0 | 0 | 0.576 | 0.092
1400 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | -0.06
1500 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | -0.363
1600 | 0 | 0 | -14.91 | 0 | 0 | 0.804 | 0.395
1700 | 0 | 0 | -14.91 | 0 | 0 | 0.576 | -0.06
1800 | 0 | 0 | -14.927 | 0 | 0 | 0.5 | 0.698
1900 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | 0.243
2000 | 0 | 0 | -14.91 | 0 | 0 | 0.576 | -0.363
2100 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | -0.363
2200 | 0 | 0 | -14.91 | 0 | 0 | 0.576 | 0.546
2300 | 0 | 0 | -14.91 | 0 | 0 | 0.425 | 0.698
2400 | 0 | 0 | -14.91 | 0 | 0 | 0.5 | -0.06
2500 | 0 | 0 | -14.927 | 0 | 0 | 0.576 | -0.363
2600 | 0 | 0 | -14.927 | 0 | 0 | 0.728 | -0.06
2700 | 0 | 0 | -14.927 | 0 | 0 | 0.5 | 0.243
2800 | 0 | 0 | -14.927 | 0 | 0 | 0.804 | 0.395
2900 | 0 | 0 | -14.927 | 0 | 0 | 0.728 | -0.363
3000 | 0 | 0 | -14.927 | 0 | 0 | 0.804 | -0.363
3100 | 0 | 0 | -14.927 | 0 | 0 | 0.804 | 0.092
3200 | 0 | 0 | -14.927 | 0 | 0 | 0.425 | 0.395
3300 | 0 | 0 | -14.927 | 0 | 0 | 0.425 | 0.395
3400 | 0 | 0 | -14.927 | 0 | 0 | 0.576 | 0.243
3500 | 0 | 0 | -14.927 | 0 | 0 | 0.425 | -0.06
3600 | 0 | 0 | -14.943 | 0 | 0 | 0.349 | 0.092
3700 | 0 | 0 | -14.927 | 0 | 0 | 0.5 | 0.092
3800 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | 0.092
3900 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | 0.243
4000 | 0 | 0 | -14.943 | 0 | 0 | 0.425 | 0.698
4100 | 0 | 0 | -14.943 | 0 | 0 | 0.349 | -0.06
4200 | 0 | 0 | -14.927 | 0 | 0 | 0.5 | 0.243
4300 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | 0.243
4400 | 0 | 0 | -14.927 | 0 | 0 | 0.5 | 0.092
4500 | 0 | 0 | -14.943 | 0 | 0 | 0.425 | 0.546
4600 | 0 | 0 | -14.927 | 0 | 0 | 0.728 | -0.363
4700 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | 0.395
4800 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | 0.243
4900 | 0 | 0 | -14.943 | 0 | 0 | 0.425 | 0.395
5000 | 0 | 0 | -14.943 | 0 | 0 | 0.425 | 0.546
5100 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | 0.698
5200 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | 0.243
5300 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.06
5400 | 0 | 0 | -14.943 | 0 | 0 | 0.425 | -0.06
5500 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | 0.243
5600 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | 0.243
5700 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.363
5800 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | 0.395
5900 | 0 | 0 | -14.96 | 0 | 0 | 0.425 | 0.243
6000 | 0 | 0 | -14.943 | 0 | 0 | 0.5 | 0.092
6100 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | 0.092
6200 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.06
6300 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | 0.092
6400 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | -0.363
6500 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | -0.06
6600 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.546
6700 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.363
6800 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | -0.363
6900 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | -0.363
7000 | 0 | 0 | -14.96 | 0 | 0 | 0.425 | -0.06
7100 | 0 | 0 | -14.96 | 0 | 0 | 0.5 | -0.06
7200 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | 0.849
7300 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.243
7400 | 0 | 0 | -14.96 | 0 | 0 | 0.5 | 0.546
7500 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | -0.06
7600 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | 0.243
7700 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | -0.06
7800 | 0 | 0 | -14.977 | 0 | 0 | 0.349 | 0.243
7900 | 0 | 0 | -14.977 | 0 | 0 | 0.576 | -0.363
8000 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | 0.395
8100 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | 0.395
8200 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | 0.546
8300 | 0 | 0 | -14.977 | 0 | 0 | 0.5 | -0.363
8400 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | 0.092
8500 | 0 | 0 | -14.977 | 0 | 0 | 0.576 | 0.092
8600 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | -0.06
8700 | 0 | 0 | -14.977 | 0 | 0 | 0.576 | 0.698
8800 | 0 | 0 | -14.977 | 0 | 0 | 0.425 | 0.395
8900 | 0 | 0 | -14.977 | 0 | 0 | 0.425 | -0.363
9000 | 0 | 0 | -14.96 | 0 | 0 | 0.5 | -0.06
9100 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.06
9200 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | 0.092
9300 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.06
9400 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.514
9500 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.363
9600 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | 0.698
9700 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | 0.698
9800 | 0 | 0 | -14.977 | 0 | 0 | 0.349 | -0.363
9900 | 0 | 0 | -14.977 | 0 | 0 | 0.425 | -0.363
10000 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | 0.092
10100 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.06
10200 | 0 | 0 | -14.977 | 0 | 0 | 0.425 | 0.243
10300 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.06
10400 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.363
10500 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | 0.092
10600 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | 0.243
10700 | 0 | 0 | -14.994 | 0 | 0 | 0.5 | -0.514
10800 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | -0.363
10900 | 0 | 0 | -14.994 | 0 | 0 | 0.5 | -0.363
11000 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.06
11100 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | 0.092
11200 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | 0.546
11300 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.06
11400 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | 0.092
11500 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | -0.514
11600 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | -0.363
11700 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.06
11800 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | 0.395
11900 | 0 | 0 | -14.994 | 0 | 0 | 0.5 | 0.698
12000 | 0 | 0 | -15.011 | 0 | 0 | 0.425 | 0.546
12100 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.363
12200 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.06
12300 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | 0.092
12400 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.092
12500 | 0 | 0 | -15.011 | 0 | 0 | 0.349 | 0.243
12600 | 0 | 0 | -15.011 | 0 | 0 | 0.5 | 0.092
12700 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.363
12800 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | 0.092
12900 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | 0.092
13000 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | 0.546
13100 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.363
13200 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.514
13300 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.395
13400 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.243
13500 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | 0.243
13600 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.092
13700 | 0 | 0 | -15.011 | 0 | 0 | 0.349 | 0.092
13800 | 0 | 0 | -15.011 | 0 | 0 | 0.425 | 0.092
13900 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.363
14000 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.363
14100 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.363
14200 | 0 | 0 | -15.027 | 0 | 0 | 0.425 | -0.06
14300 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | 0.243
14400 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.06
14500 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.363
14600 | 0 | 0 | -15.027 | 0 | 0 | 0.5 | -0.363
14700 | 0 | 0 | -15.027 | 0 | 0 | 0.425 | 0.546
14800 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | 0.243
14900 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.243
15000 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | 0.092
15100 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.06
15200 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | 0.092
15300 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.092
15400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.395
15500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.06
15600 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.363
15700 | 0 | 0 | -15.027 | 0 | 0 | 0.5 | 0.092
15800 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | 0.849
15900 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | 0.546
16000 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.363
16100 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.363
16200 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | 0.243
16300 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | 0.395
16400 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.06
16500 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.363
16600 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.363
16700 | 0 | 0 | -15.027 | 0 | 0 | 0.5 | -0.06
16800 | 0 | 0 | -15.044 | 0 | 0 | 0.5 | 0.092
16900 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | 0.243
17000 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | 0.395
17100 | 0 | 0 | -15.044 | 0 | 0 | 0.5 | -0.363
17200 | 0 | 0 | -15.044 | 0 | 0 | 0.5 | -0.363
17300 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | 0.243
17400 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | 0.092
17500 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.363
17600 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.363
17700 | 0 | 0 | -15.061 | 0 | 0 | 0.425 | 0.092
17800 | 0 | 0 | -15.061 | 0 | 0 | 0.349 | -0.06
17900 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.06
18000 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | 0.395
18100 | 0 | 0 | -15.044 | 0 | 0 | 0.5 | -0.363
18200 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.363
18300 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | 0.092
18400 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | 0.243
18500 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | 0.092
18600 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.363
18700 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | 0.395
18800 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.06
18900 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | 0.092
19000 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.363
19100 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | 0.092
19200 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | 0.092
19300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | 0.395
19400 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | 0.092
19500 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.363
19600 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.06
19700 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.363
19800 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.363
19900 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | 0.092
20000 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | 0.395
20100 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | 0.092
20200 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | 0.092
20300 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | 0.546
20400 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | 0.546
20500 | 0 | 0 | -15.061 | 0 | 0 | 0.5 | 0.243
20600 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.06
20700 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | 0.092
20800 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.363
20900 | 0 | 0 | -15.078 | 0 | 0 | 0.5 | 0.698
21000 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | 0.092
21100 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.06
21200 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.06
21300 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | 0.243
21400 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.363
21500 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | 0.092
21600 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | 0.092
21700 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.363
21800 | 0 | 0 | -15.078 | 0 | 0 | 0.5 | -0.363
21900 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.363
22000 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | 0.243
22100 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.395
22200 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.243
22300 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.092
22400 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | 0.092
22500 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | 0.092
22600 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
22700 | 0 | 0 | -15.078 | 0 | 0 | 0.5 | 0.243
22800 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | 0.395
22900 | 0 | 0 | -15.078 | 0 | 0 | 0.425 | -0.06
23000 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | 0.243
23100 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.363
23200 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | 0.092
23300 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.363
23400 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.092
23500 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.546
23600 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | 0.395
23700 | 0.04 | 0.04 | -15.094 | 0 | 0.044 | 0.804 | 0.092
23800 | 0.081 | 0.081 | -15.094 | 0 | 0.044 | 0.879 | 0.092
23900 | 0.121 | 0.133 | -15.094 | 0 | -0.032 | 0.804 | 0.092
24000 | 0.161 | 0.189 | -15.094 | 0 | 0.195 | 0.728 | 0.092
24100 | 0.202 | 0.25 | -15.094 | 0 | 0.195 | 0.425 | 0.698
24200 | 0.242 | 0.314 | -15.094 | 0 | 0.119 | 0.425 | 0.849
24300 | 0.282 | 0.383 | -15.094 | 0 | 0.195 | 0.425 | 0.546
24400 | 0.323 | 0.456 | -15.094 | 0 | 0.195 | 0.576 | 0.849
24500 | 0.363 | 0.532 | -15.094 | 0 | 0.119 | 0.349 | 0.698
24600 | 0.403 | 0.613 | -15.094 | 0 | 0.119 | 0.425 | 1.304
24700 | 0.443 | 0.697 | -15.094 | 0 | 0.195 | 0.728 | 2.213
24800 | 0.484 | 0.769 | -15.078 | 0 | 0.346 | 0.879 | 4.183
24900 | 0.524 | 0.862 | -15.078 | 104 | 0.346 | 2.091 | 6.153
25000 | 0.564 | 0.909 | -15.027 | 0 | 0.649 | 3.607 | 9.183
25100 | 0.605 | 0.959 | -14.977 | 311.971 | 0.801 | 7.319 | 13.729
25200 | 0.645 | 0.997 | -14.91 | 311.965 | 0.574 | 11.789 | 19.032
25300 | 0.685 | 1.022 | -14.826 | 415.965 | 0.498 | 19.593 | 28.579
25400 | 0.726 | 1.017 | -14.709 | 519.96 | 0.498 | 27.472 | 38.125
25500 | 0.766 | 1.034 | -14.608 | 727.936 | 0.422 | 34.972 | 47.974
25600 | 0.806 | 1.054 | -14.507 | 623.948 | 0.498 | 42.624 | 57.065
25700 | 0.847 | 1.061 | -14.39 | 623.93 | 0.574 | 49.216 | 65.702
25800 | 0.887 | 1.073 | -14.273 | 727.936 | 0.801 | 55.807 | 73.582
25900 | 0.927 | 1.106 | -14.172 | 727.936 | 1.104 | 61.565 | 80.855
26000 | 0.968 | 1.142 | -14.071 | 623.948 | 3.604 | 63.838 | 88.734
26100 | 1.008 | 1.166 | -13.954 | 623.942 | 6.103 | 65.959 | 96.462
26200 | 1.048 | 1.16 | -13.803 | 727.936 | 6.103 | 70.051 | 102.068
26300 | 1.089 | 1.175 | -13.669 | 935.913 | 5.952 | 74.975 | 107.22
26400 | 1.129 | 1.177 | -13.518 | 831.925 | 6.027 | 77.703 | 110.251
26500 | 1.169 | 1.183 | -13.367 | 935.925 | 6.33 | 79.748 | 114.039
26600 | 1.209 | 1.211 | -13.233 | 935.913 | 6.33 | 81.945 | 116.615
26700 | 1.25 | 1.225 | -13.082 | 831.925 | 7.244 | 83.082 | 118.736
26800 | 1.29 | 1.26 | -12.948 | 935.913 | 7.774 | 83.536 | 121.615
26900 | 1.33 | 1.232 | -12.747 | 831.925 | 8.456 | 84.673 | 123.888
27000 | 1.371 | 1.242 | -12.579 | 1247.89 | 8.001 | 86.415 | 125.706
27100 | 1.411 | 1.306 | -12.462 | 1039.913 | 7.926 | 87.097 | 126.918
27200 | 1.451 | 1.273 | -12.244 | 727.936 | 9.441 | 86.946 | 128.737
27300 | 1.492 | 1.311 | -12.092 | 1351.873 | 9.289 | 87.703 | 130.252
27400 | 1.532 | 1.32 | -11.907 | 942.424 | 9.441 | 88.688 | 130.555
27500 | 1.572 | 1.333 | -11.723 | 1143.89 | 10.047 | 88.158 | 132.979
27600 | 1.613 | 1.367 | -11.555 | 1143.902 | 10.274 | 88.612 | 133.434
27700 | 1.653 | 1.355 | -11.337 | 1039.902 | 11.031 | 88.612 | 134.798
27800 | 1.693 | 1.38 | -11.152 | 1351.885 | 11.183 | 88.915 | 135.858
27900 | 1.734 | 1.392 | -10.951 | 1143.902 | 11.334 | 88.991 | 135.858
28000 | 1.774 | 1.442 | -10.784 | 1247.884 | 12.167 | 89.219 | 137.525
28100 | 1.814 | 1.429 | -10.549 | 1039.913 | 13.455 | 87.4 | 139.343
28200 | 1.855 | 1.47 | -10.364 | 1455.867 | 13.531 | 88.158 | 140.707
28300 | 1.895 | 1.432 | -10.096 | 1143.896 | 14.44 | 87.779 | 141.465
28400 | 1.935 | 1.448 | -9.878 | 1663.85 | 14.44 | 89.522 | 141.919
28500 | 1.975 | 1.484 | -9.677 | 1351.879 | 13.531 | 89.976 | 141.616
28600 | 2.016 | 1.475 | -9.425 | 1247.89 | 14.894 | 87.931 | 143.132
28700 | 2.056 | 1.519 | -9.224 | 1559.861 | 15.046 | 88.385 | 143.435
28800 | 2.096 | 1.501 | -8.956 | 1247.884 | 16.106 | 87.855 | 144.495
28900 | 2.137 | 1.571 | -8.771 | 1663.856 | 16.182 | 87.627 | 145.101
29000 | 2.177 | 1.577 | -8.52 | 1143.902 | 17.697 | 86.264 | 146.768
29100 | 2.217 | 1.588 | -8.268 | 1559.855 | 18.985 | 85.658 | 147.98
29200 | 2.258 | 1.602 | -8.016 | 1559.861 | 19.363 | 85.885 | 148.435
29300 | 2.298 | 1.586 | -7.73 | 1559.867 | 19.818 | 85.506 | 149.496
29400 | 2.338 | 1.642 | -7.512 | 1774.334 | 19.515 | 85.733 | 149.95
29500 | 2.379 | 1.635 | -7.227 | 1351.882 | 20.954 | 83.839 | 150.708
29600 | 2.419 | 1.683 | -6.992 | 1767.844 | 21.484 | 84.067 | 152.223
29700 | 2.419 | 1.623 | -6.691 | 1455.873 | 22.772 | 82.627 | 152.678
29800 | 2.419 | 1.63 | -6.456 | 1871.832 | 21.863 | 83.764 | 153.132
29900 | 2.419 | 1.57 | -6.154 | 1455.87 | 20.878 | 85.582 | 151.617
30000 | 2.419 | 1.56 | -5.902 | 1871.832 | 19.363 | 86.794 | 151.314
30100 | 2.419 | 1.534 | -5.634 | 1559.858 | 18.227 | 88.082 | 149.95
30200 | 2.419 | 1.507 | -5.366 | 1663.856 | 17.394 | 88.158 | 148.587
30300 | 2.419 | 1.531 | -5.148 | 1663.85 | 16.258 | 88.84 | 147.829
30400 | 2.419 | 1.555 | -4.93 | 1351.882 | 17.091 | 88.234 | 146.768
30500 | 2.419 | 1.545 | -4.678 | 1351.876 | 17.318 | 87.779 | 147.071
30600 | 2.419 | 1.553 | -4.443 | 1559.864 | 17.091 | 87.097 | 147.223
30700 | 2.419 | 1.56 | -4.209 | 1455.87 | 17.924 | 86.643 | 147.98
30800 | 2.419 | 1.533 | -3.94 | 1455.873 | 16.485 | 86.567 | 148.132
30900 | 2.419 | 1.557 | -3.722 | 1663.848 | 17.394 | 87.097 | 148.283
31000 | 2.419 | 1.53 | -3.453 | 1351.882 | 17.621 | 87.097 | 148.132
31100 | 2.419 | 1.52 | -3.201 | 1670.348 | 17.318 | 87.476 | 147.829
31200 | 2.419 | 1.527 | -2.967 | 1559.86 | 16.712 | 88.234 | 147.374
31300 | 2.298 | 1.397 | -2.715 | 1455.871 | 17.091 | 88.082 | 146.92
31400 | 2.177 | 1.304 | -2.514 | 1559.864 | 13.682 | 90.203 | 146.465
31500 | 2.056 | 1.166 | -2.279 | 1247.887 | 9.971 | 94.067 | 141.465
31600 | 1.935 | 1.05 | -2.078 | 1455.87 | 6.638 | 96.719 | 137.677
31700 | 1.814 | 1.005 | -1.961 | 1247.89 | 4.134 | 97.401 | 132.676
31800 | 1.693 | 0.948 | -1.843 | 727.935 | 3.452 | 95.583 | 128.434
31900 | 1.572 | 0.879 | -1.726 | 727.933 | 3.073 | 93.082 | 124.494
32000 | 1.451 | 0.815 | -1.625 | 727.935 | 2.013 | 91.34 | 119.948
32100 | 1.33 | 0.755 | -1.541 | 623.947 | 1.18 | 88.991 | 116.16
32200 | 1.209 | 0.683 | -1.457 | 519.954 | 0.725 | 85.582 | 110.402
32300 | 1.089 | 0.616 | -1.39 | 519.952 | 0.346 | 81.718 | 105.402
32400 | 0.968 | 0.57 | -1.357 | 415.965 | 0.271 | 79.142 | 100.401
32500 | 0.847 | 0.479 | -1.29 | 207.981 | 0.044 | 74.066 | 94.189
32600 | 0.726 | 0.409 | -1.256 | 415.962 | 0.195 | 70.581 | 88.583
32700 | 0.605 | 0.344 | -1.239 | 207.981 | 0.044 | 65.808 | 83.431
32800 | 0.484 | 0.267 | -1.223 | 103.992 | -0.032 | 62.55 | 79.491
32900 | 0.363 | 0.178 | -1.206 | 103.989 | -0.108 | 59.368 | 75.097
33000 | 0.242 | 0.076 | -1.189 | 103.992 | -0.032 | 56.338 | 71.46
33100 | 0.121 | 0 | -1.189 | 103.989 | -0.032 | 53.913 | 68.127