## Data
Log File Data
2007-10-26 15:41 | MERIT Configuration Data
Test Description: Shot 4014, 5T field, high intensity beam.
Mode = Triggered
LogFile = C:\MERIT Data\071026 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.597 | 0 | 0 | 0.879 | -0.06
100 | 0 | 0 | -15.597 | 0 | 0 | 0.879 | -0.514
200 | 0 | 0 | -15.597 | 0 | 0 | 0.5 | -0.514
300 | 0 | 0 | -15.597 | 0 | 0 | 0.5 | -0.363
400 | 0 | 0 | -15.597 | 0 | 0 | 1.031 | -0.06
500 | 0 | 0 | -15.597 | 0 | 0 | 1.031 | -0.363
600 | 0 | 0 | -15.597 | 0 | 0 | 0.955 | 0.092
700 | 0 | 0 | -15.597 | 0 | 0 | 0.879 | -0.514
800 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | -0.817
900 | 0 | 0 | -15.597 | 0 | 0 | 1.031 | -0.514
1000 | 0 | 0 | -15.597 | 0 | 0 | 0.879 | -0.514
1100 | 0 | 0 | -15.597 | 0 | 0 | 0.728 | -0.514
1200 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.817
1300 | 0 | 0 | -15.597 | 0 | 0 | 0.955 | -0.817
1400 | 0 | 0 | -15.597 | 0 | 0 | 0.955 | -0.817
1500 | 0 | 0 | -15.597 | 0 | 0 | 0.955 | -0.363
1600 | 0 | 0 | -15.597 | 0 | 0 | 1.031 | -0.363
1700 | 0 | 0 | -15.597 | 0 | 0 | 0.804 | -0.514
1800 | 0 | 0 | -15.614 | 0 | 0 | 0.425 | -0.817
1900 | 0 | 0 | -15.597 | 0 | 0 | 0.728 | -0.666
2000 | 0 | 0 | -15.614 | 0 | 0 | 1.031 | -0.514
2100 | 0 | 0 | -15.597 | 0 | 0 | 0.879 | -0.514
2200 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.514
2300 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.817
2400 | 0 | 0 | -15.614 | 0 | 0 | 0.576 | -0.969
2500 | 0 | 0 | -15.614 | 0 | 0 | 1.031 | -0.666
2600 | 0 | 0 | -15.597 | 0 | 0 | 0.955 | -0.514
2700 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.514
2800 | 0 | 0 | -15.614 | 0 | 0 | 0.879 | -0.666
2900 | 0 | 0 | -15.614 | 0 | 0 | 1.107 | -0.666
3000 | 0 | 0 | -15.614 | 0 | 0 | 0.879 | -0.514
3100 | 0 | 0 | -15.614 | 0 | 0 | 0.879 | 0.092
3200 | 0 | 0 | -15.614 | 0 | 0 | 0.879 | -0.06
3300 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.363
3400 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | -0.514
3500 | 0 | 0 | -15.614 | 0 | 0 | 0.804 | -0.666
3600 | 0 | 0 | -15.614 | 0 | 0 | 0.879 | -0.969
3700 | 0 | 0 | -15.614 | 0 | 0 | 0.955 | -0.666
3800 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.514
3900 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | -0.514
4000 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | 0.092
4100 | 0 | 0 | -15.614 | 0 | 0 | 0.576 | -0.06
4200 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.817
4300 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | -0.969
4400 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | 0.092
4500 | 0 | 0 | -15.614 | 0 | 0 | 0.728 | -0.06
4600 | 0 | 0 | -15.631 | 0 | 0 | 0.728 | -0.514
4700 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.363
4800 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.666
4900 | 0 | 0 | -15.631 | 0 | 0 | 0.5 | -0.06
5000 | 0 | 0 | -15.631 | 0 | 0 | 0.5 | -0.514
5100 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.817
5200 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.817
5300 | 0 | 0 | -15.631 | 0 | 0 | 0.728 | -0.06
5400 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.06
5500 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.969
5600 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.514
5700 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.363
5800 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.514
5900 | 0 | 0 | -15.631 | 0 | 0 | 0.576 | -0.363
6000 | 0 | 0 | -15.631 | 0 | 0 | 0.728 | -0.363
6100 | 0 | 0 | -15.631 | 0 | 0 | 0.576 | -0.514
6200 | 0 | 0 | -15.631 | 0 | 0 | 0.955 | -0.363
6300 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.666
6400 | 0 | 0 | -15.631 | 0 | 0 | 0.728 | -0.666
6500 | 0 | 0 | -15.631 | 0 | 0 | 0.425 | 0.395
6600 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.514
6700 | 0 | 0 | -15.631 | 0 | 0 | 0.879 | -0.817
6800 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.666
6900 | 0 | 0 | -15.631 | 0 | 0 | 0.576 | -0.363
7000 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.514
7100 | 0 | 0 | -15.648 | 0 | 0 | 1.031 | 0.243
7200 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.817
7300 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.06
7400 | 0 | 0 | -15.648 | 0 | 0 | 0.728 | -0.06
7500 | 0 | 0 | -15.648 | 0 | 0 | 0.879 | -0.363
7600 | 0 | 0 | -15.631 | 0 | 0 | 0.804 | -0.514
7700 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.363
7800 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.666
7900 | 0 | 0 | -15.648 | 0 | 0 | 0.879 | -0.817
8000 | 0 | 0 | -15.648 | 0 | 0 | 0.728 | -0.817
8100 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.514
8200 | 0 | 0 | -15.648 | 0 | 0 | 1.031 | -0.363
8300 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.817
8400 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.514
8500 | 0 | 0 | -15.648 | 0 | 0 | 0.728 | -0.363
8600 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.666
8700 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | 0.092
8800 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | 0.092
8900 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.363
9000 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.666
9100 | 0 | 0 | -15.648 | 0 | 0 | 0.804 | -0.666
9200 | 0 | 0 | -15.648 | 0 | 0 | 0.728 | -0.363
9300 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.514
9400 | 0 | 0 | -15.665 | 0 | 0 | 1.031 | -0.363
9500 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | 0.092
9600 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.666
9700 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.363
9800 | 0 | 0 | -15.665 | 0 | 0 | 0.804 | -0.666
9900 | 0 | 0 | -15.648 | 0 | 0 | 0.955 | -0.514
10000 | 0 | 0 | -15.665 | 0 | 0 | 0.955 | -0.514
10100 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.817
10200 | 0 | 0 | -15.665 | 0 | 0 | 0.576 | -0.666
10300 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.666
10400 | 0 | 0 | -15.665 | 0 | 0 | 0.955 | -0.666
10500 | 0 | 0 | -15.665 | 0 | 0 | 0.955 | 0.243
10600 | 0 | 0 | -15.665 | 0 | 0 | 0.804 | -0.514
10700 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.514
10800 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.817
10900 | 0 | 0 | -15.665 | 0 | 0 | 0.955 | -0.06
11000 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.363
11100 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.514
11200 | 0 | 0 | -15.665 | 0 | 0 | 0.804 | -0.363
11300 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.363
11400 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.514
11500 | 0 | 0 | -15.681 | 0 | 0 | 0.728 | -0.514
11600 | 0 | 0 | -15.681 | 0 | 0 | 0.879 | -0.817
11700 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.514
11800 | 0 | 0 | -15.665 | 0 | 0 | 0.955 | -0.06
11900 | 0 | 0 | -15.665 | 0 | 0 | 0.804 | 0.243
12000 | 0 | 0 | -15.665 | 0 | 0 | 0.728 | -0.817
12100 | 0 | 0 | -15.681 | 0 | 0 | 0.804 | -0.666
12200 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.817
12300 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.514
12400 | 0 | 0 | -15.665 | 0 | 0 | 0.879 | -0.363
12500 | 0 | 0 | -15.681 | 0 | 0 | 0.804 | -0.514
12600 | 0 | 0 | -15.665 | 0 | 0 | 1.031 | -0.817
12700 | 0 | 0 | -15.681 | 0 | 0 | 1.031 | -0.817
12800 | 0 | 0 | -15.681 | 0 | 0 | 0.879 | -0.514
12900 | 0 | 0 | -15.681 | 0 | 0 | 0.576 | -0.666
13000 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.817
13100 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.817
13200 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.666
13300 | 0 | 0 | -15.681 | 0 | 0 | 0.879 | -0.514
13400 | 0 | 0 | -15.681 | 0 | 0 | 0.804 | -0.817
13500 | 0 | 0 | -15.681 | 0 | 0 | 1.031 | -0.817
13600 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.817
13700 | 0 | 0 | -15.681 | 0 | 0 | 0.879 | -0.06
13800 | 0 | 0 | -15.681 | 0 | 0 | 0.879 | -0.514
13900 | 0 | 0 | -15.681 | 0 | 0 | 0.728 | -0.666
14000 | 0 | 0 | -15.681 | 0 | 0 | 0.728 | -0.514
14100 | 0 | 0 | -15.681 | 0 | 0 | 0.804 | -0.817
14200 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | -0.514
14300 | 0 | 0 | -15.681 | 0 | 0 | 0.955 | 0.092
14400 | 0 | 0 | -15.698 | 0 | 0 | 0.728 | 0.092
14500 | 0 | 0 | -15.681 | 0 | 0 | 0.728 | -0.363
14600 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.514
14700 | 0 | 0 | -15.681 | 0 | 0 | 1.031 | -0.666
14800 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.666
14900 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | -0.363
15000 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.817
15100 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | -0.817
15200 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.666
15300 | 0 | 0 | -15.698 | 0 | 0 | 0.804 | -0.666
15400 | 0 | 0 | -15.698 | 0 | 0 | 0.576 | -0.363
15500 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | 0.092
15600 | 0 | 0 | -15.698 | 0 | 0 | 1.107 | -0.363
15700 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | -0.514
15800 | 0 | 0 | -15.715 | 0 | 0 | 0.955 | -0.514
15900 | 0 | 0 | -15.698 | 0 | 0 | 0.728 | -0.817
16000 | 0 | 0 | -15.698 | 0 | 0 | 0.728 | -0.514
16100 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | 0.243
16200 | 0 | 0 | -15.698 | 0 | 0 | 1.031 | -0.817
16300 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | -0.514
16400 | 0 | 0 | -15.698 | 0 | 0 | 0.728 | -0.514
16500 | 0 | 0 | -15.715 | 0 | 0 | 0.728 | -0.363
16600 | 0 | 0 | -15.698 | 0 | 0 | 1.107 | -0.666
16700 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.514
16800 | 0 | 0 | -15.715 | 0 | 0 | 1.031 | -0.666
16900 | 0 | 0 | -15.698 | 0 | 0 | 1.031 | -0.817
17000 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.817
17100 | 0 | 0 | -15.715 | 0 | 0 | 0.879 | -0.06
17200 | 0 | 0 | -15.698 | 0 | 0 | 0.804 | -0.06
17300 | 0 | 0 | -15.698 | 0 | 0 | 0.879 | 0.092
17400 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.817
17500 | 0 | 0 | -15.698 | 0 | 0 | 0.955 | -0.666
17600 | 0 | 0 | -15.698 | 0 | 0 | 0.804 | -0.666
17700 | 0 | 0 | -15.715 | 0 | 0 | 1.031 | -0.666
17800 | 0 | 0 | -15.715 | 0 | 0 | 0.955 | -0.363
17900 | 0 | 0 | -15.715 | 0 | 0 | 0.879 | -0.514
18000 | 0 | 0 | -15.715 | 0 | 0 | 0.955 | -0.817
18100 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.817
18200 | 0 | 0 | -15.715 | 0 | 0 | 0.728 | -0.363
18300 | 0 | 0 | -15.715 | 0 | 0 | 0.576 | -0.666
18400 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.514
18500 | 0 | 0 | -15.715 | 0 | 0 | 1.258 | -0.06
18600 | 0 | 0 | -15.715 | 0 | 0 | 0.879 | -0.363
18700 | 0 | 0 | -15.715 | 0 | 0 | 0.955 | -0.06
18800 | 0 | 0 | -15.715 | 0 | 0 | 0.879 | -0.514
18900 | 0 | 0 | -15.715 | 0 | 0 | 0.728 | -0.817
19000 | 0 | 0 | -15.715 | 0 | 0 | 0.576 | -0.363
19100 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.817
19200 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.666
19300 | 0 | 0 | -15.715 | 0 | 0 | 1.031 | 0.092
19400 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.363
19500 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.666
19600 | 0 | 0 | -15.715 | 0 | 0 | 0.955 | -0.06
19700 | 0 | 0 | -15.732 | 0 | 0 | 1.031 | -0.363
19800 | 0 | 0 | -15.715 | 0 | 0 | 1.107 | 0.092
19900 | 0 | 0 | -15.715 | 0 | 0 | 0.728 | -0.514
20000 | 0 | 0 | -15.715 | 0 | 0 | 0.804 | -0.514
20100 | 0 | 0 | -15.732 | 0 | 0 | 0.804 | -0.514
20200 | 0 | 0 | -15.732 | 0 | 0 | 0.804 | -0.514
20300 | 0 | 0 | -15.732 | 0 | 0 | 0.804 | -0.514
20400 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.363
20500 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.363
20600 | 0 | 0 | -15.732 | 0 | 0 | 0.804 | -0.363
20700 | 0 | 0 | -15.732 | 0 | 0 | 1.107 | -0.514
20800 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.666
20900 | 0 | 0 | -15.715 | 0 | 0 | 1.031 | 0.395
21000 | 0 | 0 | -15.732 | 0 | 0 | 1.107 | -0.363
21100 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.817
21200 | 0 | 0 | -15.732 | 0 | 0 | 1.182 | -0.666
21300 | 0 | 0 | -15.732 | 0 | 0 | 0.728 | -0.817
21400 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.514
21500 | 0 | 0 | -15.732 | 0 | 0 | 1.031 | -0.514
21600 | 0 | 0 | -15.732 | 0 | 0 | 1.107 | -0.514
21700 | 0 | 0 | -15.732 | 0 | 0 | 1.031 | -0.666
21800 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.817
21900 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.817
22000 | 0 | 0 | -15.748 | 0 | 0 | 1.182 | -0.514
22100 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.817
22200 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | 0.395
22300 | 0 | 0 | -15.748 | 0 | 0 | 0.728 | 0.243
22400 | 0 | 0 | -15.748 | 0 | 0 | 0.955 | -0.514
22500 | 0 | 0 | -15.732 | 0 | 0 | 1.107 | -0.06
22600 | 0 | 0 | -15.732 | 0 | 0 | 1.258 | -0.666
22700 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.363
22800 | 0 | 0 | -15.748 | 0 | 0 | 0.879 | -0.514
22900 | 0 | 0 | -15.732 | 0 | 0 | 0.879 | -0.514
23000 | 0 | 0 | -15.748 | 0 | 0 | 1.031 | -0.817
23100 | 0 | 0 | -15.732 | 0 | 0 | 0.955 | -0.817
23200 | 0 | 0 | -15.748 | 0 | 0 | 0.955 | 0.092
23300 | 0 | 0 | -15.748 | 0 | 0 | 0.728 | -0.363
23400 | 0 | 0 | -15.748 | 0 | 0 | 0.879 | -0.817
23500 | 0 | 0 | -15.748 | 0 | 0 | 0.955 | -0.817
23600 | 0 | 0 | -15.748 | 0 | 0 | 0.879 | -0.06
23700 | 0.04 | 0.04 | -15.748 | 0 | -0.108 | 0.576 | -0.514
23800 | 0.081 | 0.081 | -15.748 | 0 | 0.119 | 0.804 | -0.06
23900 | 0.121 | 0.133 | -15.748 | 0 | 0.119 | 0.879 | -0.969
24000 | 0.161 | 0.189 | -15.748 | 0 | -0.108 | 0.879 | 0.092
24100 | 0.202 | 0.25 | -15.748 | 0 | 0.044 | 0.728 | 0.243
24200 | 0.242 | 0.314 | -15.748 | 0 | 0.044 | 0.879 | 0.243
24300 | 0.282 | 0.383 | -15.748 | 0 | -0.108 | 0.728 | -0.06
24400 | 0.323 | 0.456 | -15.748 | 0 | -0.032 | 0.728 | -0.06
24500 | 0.363 | 0.532 | -15.748 | 0 | -0.032 | 0.728 | 0.546
24600 | 0.403 | 0.613 | -15.748 | 0 | -0.032 | 0.349 | 0.849
24700 | 0.443 | 0.697 | -15.748 | 0 | -0.108 | 0.197 | 1.91
24800 | 0.484 | 0.769 | -15.732 | 0 | 0.119 | 0.576 | 2.365
24900 | 0.524 | 0.845 | -15.715 | 103.988 | 0.044 | 1.258 | 5.092
25000 | 0.564 | 0.909 | -15.681 | 103.988 | 0.044 | 3.076 | 7.668
25100 | 0.605 | 0.976 | -15.648 | 207.989 | 0.044 | 5.425 | 10.85
25200 | 0.645 | 1.014 | -15.581 | 207.977 | 0.119 | 9.137 | 16.002
25300 | 0.685 | 1.022 | -15.48 | 415.959 | 0.271 | 14.365 | 22.366
25400 | 0.726 | 1.034 | -15.379 | 623.948 | 0.195 | 21.562 | 30.7
25500 | 0.766 | 1.05 | -15.279 | 623.942 | 0.195 | 29.063 | 40.094
25600 | 0.806 | 1.071 | -15.178 | 623.948 | 0.422 | 37.321 | 51.459
25700 | 0.847 | 1.078 | -15.061 | 623.948 | 0.498 | 45.503 | 62.369
25800 | 0.887 | 1.09 | -14.943 | 727.931 | 0.422 | 51.792 | 70.248
25900 | 0.927 | 1.122 | -14.843 | 727.936 | 0.649 | 57.474 | 76.764
26000 | 0.968 | 1.108 | -14.692 | 623.948 | 0.574 | 63.838 | 84.946
26100 | 1.008 | 1.132 | -14.575 | 935.913 | 0.649 | 68.384 | 90.552
26200 | 1.048 | 1.126 | -14.424 | 727.936 | 0.649 | 72.702 | 96.159
26300 | 1.089 | 1.141 | -14.289 | 935.913 | 0.574 | 75.884 | 100.401
26400 | 1.129 | 1.16 | -14.155 | 831.925 | 0.725 | 78.687 | 104.644
26500 | 1.169 | 1.167 | -14.004 | 831.925 | 0.877 | 81.188 | 107.069
26600 | 1.209 | 1.211 | -13.887 | 935.925 | 1.18 | 82.779 | 110.251
26700 | 1.25 | 1.242 | -13.753 | 727.931 | 6.714 | 81.188 | 115.706
26800 | 1.29 | 1.277 | -13.619 | 831.925 | 8.304 | 80.885 | 121.464
26900 | 1.33 | 1.283 | -13.451 | 831.925 | 8.456 | 82.779 | 123.585
27000 | 1.371 | 1.259 | -13.25 | 1039.908 | 9.138 | 83.839 | 127.07
27100 | 1.411 | 1.289 | -13.099 | 1247.89 | 8.532 | 85.582 | 128.434
27200 | 1.451 | 1.324 | -12.948 | 935.913 | 8.91 | 86.188 | 129.494
27300 | 1.492 | 1.346 | -12.78 | 935.913 | 9.819 | 86.415 | 131.464
27400 | 1.532 | 1.338 | -12.579 | 1039.913 | 10.577 | 86.643 | 133.434
27500 | 1.572 | 1.368 | -12.411 | 1247.89 | 10.35 | 87.476 | 134.495
27600 | 1.613 | 1.368 | -12.21 | 1039.908 | 11.334 | 88.082 | 135.555
27700 | 1.653 | 1.388 | -12.024 | 1247.89 | 11.183 | 88.082 | 136.768
27800 | 1.693 | 1.413 | -11.84 | 1150.389 | 11.41 | 88.385 | 137.677
27900 | 1.734 | 1.409 | -11.622 | 1143.908 | 12.319 | 88.082 | 138.434
28000 | 1.774 | 1.409 | -11.404 | 1351.879 | 12.395 | 88.612 | 139.798
28100 | 1.814 | 1.429 | -11.203 | 1351.873 | 12.243 | 88.764 | 139.647
28200 | 1.855 | 1.454 | -11.002 | 1247.89 | 13.001 | 88.84 | 140.556
28300 | 1.895 | 1.482 | -10.8 | 1247.89 | 13.455 | 88.234 | 141.465
28400 | 1.935 | 1.498 | -10.582 | 1247.896 | 14.591 | 88.082 | 142.98
28500 | 1.975 | 1.518 | -10.364 | 1351.867 | 15.122 | 87.931 | 143.889
28600 | 2.016 | 1.525 | -10.129 | 1351.885 | 15.803 | 87.249 | 145.253
28700 | 2.056 | 1.486 | -9.844 | 1455.867 | 16.182 | 86.87 | 145.859
28800 | 2.096 | 1.551 | -9.66 | 1767.844 | 15.425 | 87.552 | 146.162
28900 | 2.137 | 1.554 | -9.408 | 1143.896 | 16.788 | 85.582 | 146.768
29000 | 2.177 | 1.611 | -9.207 | 1559.861 | 17.47 | 86.264 | 147.829
29100 | 2.217 | 1.571 | -8.905 | 1247.896 | 18.909 | 84.9 | 148.435
29200 | 2.258 | 1.585 | -8.654 | 1871.832 | 19.515 | 85.809 | 149.95
29300 | 2.298 | 1.654 | -8.453 | 1559.855 | 18.606 | 86.264 | 149.193
29400 | 2.338 | 1.626 | -8.151 | 1247.89 | 20.651 | 83.991 | 151.162
29500 | 2.379 | 1.67 | -7.916 | 1871.832 | 20.802 | 84.067 | 152.072
29600 | 2.419 | 1.666 | -7.63 | 1455.87 | 21.484 | 83.764 | 153.132
29700 | 2.419 | 1.639 | -7.361 | 1774.343 | 22.014 | 83.612 | 153.435
29800 | 2.419 | 1.596 | -7.076 | 1663.853 | 21.257 | 84.37 | 152.981
29900 | 2.419 | 1.603 | -6.842 | 1767.838 | 19.591 | 86.036 | 151.769
30000 | 2.419 | 1.577 | -6.573 | 1455.873 | 19.591 | 86.188 | 151.617
30100 | 2.419 | 1.567 | -6.322 | 1663.853 | 18.833 | 86.491 | 150.405
30200 | 2.419 | 1.574 | -6.087 | 1559.861 | 18.076 | 87.173 | 150.102
30300 | 2.419 | 1.514 | -5.785 | 1455.87 | 18.227 | 86.946 | 149.95
30400 | 2.419 | 1.538 | -5.567 | 1871.832 | 16.939 | 88.158 | 148.738
30500 | 2.419 | 1.545 | -5.332 | 1351.882 | 16.636 | 88.537 | 147.98
30600 | 2.419 | 1.536 | -5.081 | 1455.87 | 17.167 | 87.173 | 147.829
30700 | 2.419 | 1.543 | -4.846 | 1559.861 | 16.864 | 87.627 | 147.677
30800 | 2.419 | 1.533 | -4.594 | 1455.87 | 17.015 | 87.779 | 147.829
30900 | 2.419 | 1.557 | -4.376 | 1559.858 | 16.788 | 87.627 | 147.829
31000 | 2.419 | 1.531 | -4.108 | 1351.882 | 17.167 | 86.794 | 148.283
31100 | 2.419 | 1.555 | -3.89 | 1663.85 | 17.318 | 87.4 | 148.283
31200 | 2.419 | 1.579 | -3.672 | 1351.882 | 17.242 | 87.627 | 147.98
31300 | 2.419 | 1.534 | -3.386 | 1351.882 | 18.53 | 86.036 | 149.041
31400 | 2.298 | 1.454 | -3.185 | 1774.337 | 18 | 87.476 | 148.587
31500 | 2.177 | 1.278 | -2.9 | 1247.892 | 14.44 | 91.567 | 146.162
31600 | 2.056 | 1.173 | -2.698 | 1767.844 | 12.395 | 95.128 | 141.616
31700 | 1.935 | 1.057 | -2.497 | 1247.887 | 5.952 | 98.689 | 136.616
31800 | 1.814 | 0.995 | -2.363 | 1247.889 | 4.134 | 97.325 | 132.676
31900 | 1.693 | 0.938 | -2.246 | 831.925 | 3.225 | 95.734 | 128.434
32000 | 1.572 | 0.886 | -2.145 | 727.935 | 2.695 | 93.234 | 123.888
32100 | 1.451 | 0.805 | -2.028 | 623.944 | 1.861 | 91.264 | 119.797
32200 | 1.33 | 0.762 | -1.961 | 727.935 | 1.558 | 89.522 | 114.493
32300 | 1.209 | 0.69 | -1.877 | 415.965 | 1.028 | 85.127 | 109.645
32400 | 1.089 | 0.64 | -1.826 | 519.952 | 0.649 | 81.415 | 105.25
32500 | 0.968 | 0.561 | -1.759 | 311.973 | 0.422 | 77.703 | 98.583
32600 | 0.847 | 0.503 | -1.726 | 415.962 | 0.044 | 73.536 | 93.734
32700 | 0.726 | 0.433 | -1.692 | 207.981 | -0.108 | 68.99 | 87.067
32800 | 0.605 | 0.368 | -1.675 | 207.984 | -0.032 | 64.747 | 82.522
32900 | 0.484 | 0.274 | -1.642 | 103.989 | -0.108 | 61.414 | 77.673
33000 | 0.363 | 0.201 | -1.642 | 207.981 | -0.184 | 58.307 | 73.582
33100 | 0.242 | 0.1 | -1.625 | 0 | -0.184 | 55.201 | 70.096
33200 | 0.121 | 0 | -1.608 | 103.992 | -0.108 | 52.171 | 66.46