## Data
Log File Data
2007-10-26 16:24 | MERIT Configuration Data
Test Description: Shot 4015, 5T field, high intensity beam.
Mode = Triggered
LogFile = C:\MERIT Data\071026 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.06
100 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.06
200 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.514
300 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.06
400 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | 0.243
500 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.243
600 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | 0.092
700 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.363
800 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
900 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.363
1000 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.363
1100 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.363
1200 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.514
1300 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.06
1400 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.363
1500 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.666
1600 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.363
1700 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.243
1800 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.06
1900 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.666
2000 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.363
2100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
2200 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.363
2300 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.666
2400 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.092
2500 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.243
2600 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.514
2700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
2800 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
2900 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.243
3000 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.243
3100 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.363
3200 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.363
3300 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.06
3400 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.363
3500 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.06
3600 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.363
3700 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
3800 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.666
3900 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
4000 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
4100 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.666
4200 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
4300 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.092
4400 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.363
4500 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
4600 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.363
4700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.514
4800 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.363
4900 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
5000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
5100 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
5200 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.969
5300 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.666
5400 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.092
5500 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
5600 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
5700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.666
5800 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.06
5900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.666
6000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
6100 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.363
6200 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
6300 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.243
6400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.514
6500 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.06
6600 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
6700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
6800 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.363
6900 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.666
7000 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.363
7100 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
7200 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.092
7300 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
7400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
7500 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.363
7600 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
7700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
7800 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
7900 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
8000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.666
8100 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.666
8200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
8300 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.514
8400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.06
8500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
8600 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.666
8700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.514
8800 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.092
8900 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.514
9000 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
9100 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
9200 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.514
9300 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.363
9400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.666
9500 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.06
9600 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
9700 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.666
9800 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
9900 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.243
10000 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.363
10100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.514
10200 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.666
10300 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.06
10400 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.243
10500 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.514
10600 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.092
10700 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.666
10800 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.092
10900 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
11000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
11100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
11200 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.363
11300 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.514
11400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
11500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
11600 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
11700 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.514
11800 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | 0.395
11900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
12000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
12100 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.363
12200 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | 0.243
12300 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.06
12400 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.363
12500 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.817
12600 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.363
12700 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.092
12800 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
12900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
13000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.817
13100 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.666
13200 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.06
13300 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
13400 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.092
13500 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.06
13600 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.514
13700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.092
13800 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
13900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.363
14000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.363
14100 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.817
14200 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
14300 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.092
14400 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
14500 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.06
14600 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | -0.363
14700 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
14800 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.363
14900 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
15000 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.514
15100 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
15200 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.363
15300 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | -0.06
15400 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.243
15500 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.666
15600 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.363
15700 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.06
15800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
15900 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.06
16000 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.363
16100 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
16200 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.363
16300 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
16400 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | -0.06
16500 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
16600 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.243
16700 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
16800 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.243
16900 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.514
17000 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.817
17100 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.514
17200 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.666
17300 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
17400 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | 0.092
17500 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
17600 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.666
17700 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.514
17800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
17900 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
18000 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.666
18100 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.363
18200 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | 0.395
18300 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | 0.092
18400 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
18500 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.363
18600 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | 0.092
18700 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | 0.243
18800 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | -0.06
18900 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.363
19000 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
19100 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | -0.514
19200 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.666
19300 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | 0.395
19400 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.06
19500 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.514
19600 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | 0.092
19700 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.514
19800 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | 0.092
19900 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | -0.817
20000 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | -0.363
20100 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | -0.06
20200 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
20300 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.666
20400 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.817
20500 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.06
20600 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | 0.243
20700 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | 0.243
20800 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.817
20900 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | -0.666
21000 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | -0.06
21100 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.666
21200 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.363
21300 | 0 | 0 | -15.094 | 0 | 0 | 1.107 | -0.06
21400 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | -0.363
21500 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.363
21600 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.06
21700 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.06
21800 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | 0.092
21900 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.06
22000 | 0 | 0 | -15.094 | 0 | 0 | 1.561 | -0.817
22100 | 0 | 0 | -15.111 | 0 | 0 | 0.955 | -0.06
22200 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | -0.817
22300 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.363
22400 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.06
22500 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | -0.363
22600 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | -0.666
22700 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | 0.092
22800 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.514
22900 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | -0.514
23000 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | 0.092
23100 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | -0.666
23200 | 0 | 0 | -15.111 | 0 | 0 | 1.031 | 0.092
23300 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
23400 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.363
23500 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | -0.363
23600 | 0 | 0 | -15.111 | 0 | 0 | 1.41 | -0.363
23700 | 0.04 | 0.04 | -15.111 | 0 | -0.184 | 0.955 | -0.363
23800 | 0.081 | 0.081 | -15.111 | 0 | -0.108 | 1.031 | -0.06
23900 | 0.121 | 0.133 | -15.111 | 0 | -0.108 | 1.031 | -0.363
24000 | 0.161 | 0.189 | -15.111 | 0 | -0.032 | 1.107 | -0.666
24100 | 0.202 | 0.25 | -15.111 | 0 | -0.032 | 0.728 | -0.363
24200 | 0.242 | 0.314 | -15.111 | 0 | -0.032 | 0.955 | 0.243
24300 | 0.282 | 0.383 | -15.111 | 0 | -0.032 | 0.728 | 0.546
24400 | 0.323 | 0.456 | -15.111 | 0 | 0.044 | 0.804 | 0.243
24500 | 0.363 | 0.515 | -15.094 | 0 | -0.032 | 0.728 | 0.698
24600 | 0.403 | 0.596 | -15.094 | 103.988 | -0.108 | 0.728 | 1.152
24700 | 0.443 | 0.681 | -15.094 | 0 | -0.108 | 0.5 | 1.001
24800 | 0.484 | 0.769 | -15.094 | 0 | -0.032 | 1.107 | 2.516
24900 | 0.524 | 0.862 | -15.094 | 0 | -0.032 | 1.713 | 4.486
25000 | 0.564 | 0.942 | -15.078 | 0 | -0.032 | 3.304 | 7.365
25100 | 0.605 | 0.993 | -15.027 | 104 | -0.032 | 6.334 | 10.85
25200 | 0.645 | 1.014 | -14.943 | 311.971 | -0.032 | 11.259 | 17.517
25300 | 0.685 | 1.039 | -14.86 | 519.954 | 0.044 | 17.774 | 25.7
25400 | 0.726 | 1.034 | -14.742 | 519.948 | -0.032 | 26.639 | 36.609
25500 | 0.766 | 1.05 | -14.642 | 727.936 | 0.271 | 33.836 | 46.458
25600 | 0.806 | 1.071 | -14.541 | 623.942 | 0.195 | 42.246 | 56.762
25700 | 0.847 | 1.078 | -14.424 | 623.948 | 0.044 | 48.231 | 63.732
25800 | 0.887 | 1.09 | -14.306 | 727.936 | 0.574 | 55.883 | 74.339
25900 | 0.927 | 1.122 | -14.206 | 727.936 | 0.649 | 60.05 | 79.794
26000 | 0.968 | 1.125 | -14.071 | 623.942 | 0.649 | 65.581 | 87.067
26100 | 1.008 | 1.132 | -13.937 | 831.925 | 0.725 | 70.202 | 92.977
26200 | 1.048 | 1.143 | -13.803 | 831.925 | 0.725 | 74.596 | 98.129
26300 | 1.089 | 1.175 | -13.686 | 831.925 | 0.574 | 77.627 | 101.462
26400 | 1.129 | 1.144 | -13.501 | 727.936 | 0.649 | 80.809 | 105.553
26500 | 1.169 | 1.183 | -13.384 | 1143.902 | 0.574 | 83.006 | 108.735
26600 | 1.209 | 1.177 | -13.216 | 727.936 | 1.028 | 84.294 | 111.008
26700 | 1.25 | 1.208 | -13.082 | 1039.902 | 0.877 | 86.415 | 112.978
26800 | 1.29 | 1.227 | -12.931 | 831.925 | 2.013 | 87.552 | 115.402
26900 | 1.33 | 1.283 | -12.814 | 935.925 | 7.32 | 84.067 | 120.403
27000 | 1.371 | 1.309 | -12.663 | 727.936 | 9.138 | 83.764 | 124.342
27100 | 1.411 | 1.323 | -12.495 | 935.913 | 9.819 | 84.749 | 127.525
27200 | 1.451 | 1.34 | -12.327 | 1039.902 | 10.35 | 85.809 | 130.1
27300 | 1.492 | 1.328 | -12.125 | 1039.913 | 11.107 | 86.264 | 131.767
27400 | 1.532 | 1.337 | -11.941 | 1254.384 | 11.334 | 87.4 | 133.434
27500 | 1.572 | 1.333 | -11.739 | 1143.902 | 11.334 | 88.082 | 134.343
27600 | 1.613 | 1.35 | -11.555 | 1247.89 | 11.259 | 88.612 | 134.949
27700 | 1.653 | 1.371 | -11.37 | 1143.89 | 11.334 | 88.764 | 135.101
27800 | 1.693 | 1.396 | -11.186 | 1143.908 | 11.107 | 88.385 | 136.616
27900 | 1.734 | 1.392 | -10.968 | 1143.89 | 12.167 | 88.612 | 137.222
28000 | 1.774 | 1.425 | -10.784 | 1351.885 | 12.319 | 88.764 | 138.131
28100 | 1.814 | 1.446 | -10.582 | 1143.902 | 12.47 | 88.234 | 139.04
28200 | 1.855 | 1.454 | -10.364 | 1247.878 | 13.682 | 88.006 | 140.404
28300 | 1.895 | 1.465 | -10.146 | 1351.885 | 13.682 | 88.158 | 140.859
28400 | 1.935 | 1.464 | -9.911 | 1351.879 | 14.213 | 88.612 | 141.919
28500 | 1.975 | 1.501 | -9.71 | 1455.873 | 14.288 | 88.612 | 142.374
28600 | 2.016 | 1.508 | -9.475 | 1247.884 | 15.425 | 87.249 | 143.889
28700 | 2.056 | 1.519 | -9.241 | 1455.873 | 15.955 | 87.552 | 144.344
28800 | 2.096 | 1.551 | -9.023 | 1455.867 | 16.106 | 87.249 | 145.253
28900 | 2.137 | 1.571 | -8.788 | 1351.885 | 17.242 | 86.946 | 145.405
29000 | 2.177 | 1.577 | -8.536 | 1455.867 | 18.151 | 86.491 | 147.223
29100 | 2.217 | 1.571 | -8.268 | 1559.861 | 18.757 | 86.036 | 148.283
29200 | 2.258 | 1.602 | -8.033 | 1663.85 | 18.53 | 86.34 | 148.738
29300 | 2.298 | 1.586 | -7.747 | 1455.873 | 19.439 | 85.506 | 149.496
29400 | 2.338 | 1.625 | -7.512 | 1774.34 | 19.136 | 85.961 | 149.496
29500 | 2.379 | 1.618 | -7.227 | 1455.87 | 20.272 | 85.658 | 150.102
29600 | 2.419 | 1.683 | -7.009 | 1767.844 | 20.575 | 85.127 | 151.011
29700 | 2.419 | 1.656 | -6.741 | 1351.882 | 22.09 | 84.218 | 151.314
29800 | 2.419 | 1.613 | -6.456 | 1663.85 | 22.166 | 83.536 | 153.284
29900 | 2.419 | 1.553 | -6.154 | 1767.844 | 20.651 | 84.976 | 152.981
30000 | 2.419 | 1.611 | -5.97 | 1871.832 | 18.379 | 87.324 | 151.465
30100 | 2.419 | 1.551 | -5.668 | 1143.899 | 19.136 | 87.173 | 150.102
30200 | 2.419 | 1.541 | -5.416 | 1871.832 | 18.833 | 86.264 | 150.102
30300 | 2.419 | 1.548 | -5.181 | 1559.858 | 17.091 | 88.385 | 148.435
30400 | 2.419 | 1.538 | -4.93 | 1455.87 | 17.47 | 87.779 | 148.435
30500 | 2.419 | 1.545 | -4.695 | 1559.861 | 17.242 | 87.779 | 147.829
30600 | 2.419 | 1.519 | -4.427 | 1455.87 | 17.242 | 87.552 | 147.829
30700 | 2.419 | 1.56 | -4.225 | 1663.856 | 16.712 | 88.006 | 147.829
30800 | 2.419 | 1.567 | -3.991 | 1247.887 | 16.485 | 87.097 | 147.526
30900 | 2.419 | 1.54 | -3.722 | 1455.868 | 18.227 | 86.34 | 148.132
31000 | 2.419 | 1.53 | -3.47 | 1663.856 | 17.697 | 87.324 | 148.587
31100 | 2.419 | 1.537 | -3.235 | 1566.359 | 17.015 | 88.158 | 147.677
31200 | 2.419 | 1.527 | -2.983 | 1455.87 | 17.015 | 87.703 | 147.071
31300 | 2.298 | 1.413 | -2.749 | 1559.86 | 16.636 | 87.855 | 147.223
31400 | 2.177 | 1.287 | -2.514 | 1455.87 | 13.682 | 91.34 | 145.101
31500 | 2.056 | 1.2 | -2.329 | 1455.871 | 9.668 | 94.446 | 141.919
31600 | 1.935 | 1.1 | -2.145 | 1143.897 | 7.017 | 96.34 | 137.525
31700 | 1.814 | 0.988 | -1.961 | 1143.897 | 4.967 | 96.34 | 133.586
31800 | 1.693 | 0.948 | -1.86 | 1143.9 | 3.225 | 96.189 | 129.343
31900 | 1.572 | 0.879 | -1.743 | 623.944 | 2.543 | 93.537 | 124.191
32000 | 1.451 | 0.815 | -1.642 | 727.935 | 1.71 | 91.34 | 119.797
32100 | 1.33 | 0.738 | -1.541 | 623.944 | 1.18 | 88.537 | 115.099
32200 | 1.209 | 0.683 | -1.474 | 623.946 | 0.649 | 85.506 | 110.251
32300 | 1.089 | 0.633 | -1.424 | 415.962 | 0.574 | 81.718 | 105.099
32400 | 0.968 | 0.57 | -1.374 | 311.973 | 0.195 | 78.46 | 99.947
32500 | 0.847 | 0.479 | -1.306 | 311.97 | 0.044 | 73.46 | 93.734
32600 | 0.726 | 0.426 | -1.29 | 415.962 | -0.108 | 69.596 | 88.279
32700 | 0.605 | 0.344 | -1.256 | 103.992 | 0.044 | 65.505 | 82.976
32800 | 0.484 | 0.267 | -1.239 | 207.981 | -0.184 | 61.717 | 78.43
32900 | 0.363 | 0.178 | -1.223 | 103.992 | -0.108 | 58.61 | 74.642
33000 | 0.242 | 0.093 | -1.223 | 103.989 | -0.259 | 55.883 | 70.248
33100 | 0.121 | 0 | -1.206 | 0 | -0.184 | 53.004 | 66.914