## Data
Log File Data
2007-10-27 15:21 | MERIT Configuration Data
Test Description: Shot 5015, 5T field, 15TP.
Mode = Triggered
LogFile = C:\MERIT Data\071027 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.363
100 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.363
200 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.514
300 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.817
400 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.666
500 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.514
600 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.514
700 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.514
800 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.666
900 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.969
1000 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.817
1100 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.514
1200 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.817
1300 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.969
1400 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.817
1500 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.666
1600 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.514
1700 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.363
1800 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.666
1900 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.666
2000 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.817
2100 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.817
2200 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.514
2300 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.514
2400 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.666
2500 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.817
2600 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.969
2700 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.666
2800 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.817
2900 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | -0.666
3000 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.514
3100 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.514
3200 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.817
3300 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.817
3400 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.514
3500 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.514
3600 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.666
3700 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.666
3800 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.817
3900 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.817
4000 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.666
4100 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.817
4200 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.363
4300 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.666
4400 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.969
4500 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.969
4600 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.817
4700 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.363
4800 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.666
4900 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.817
5000 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.514
5100 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | -0.514
5200 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.666
5300 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.817
5400 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.969
5500 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.817
5600 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.514
5700 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.817
5800 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.363
5900 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.514
6000 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.817
6100 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | -0.817
6200 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.514
6300 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.363
6400 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
6500 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.666
6600 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.817
6700 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
6800 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
6900 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.969
7000 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.666
7100 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
7200 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.817
7300 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.817
7400 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
7500 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.817
7600 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
7700 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.514
7800 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | 0.243
7900 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.363
8000 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
8100 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
8200 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.514
8300 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.363
8400 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
8500 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.666
8600 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.666
8700 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.817
8800 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
8900 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.092
9000 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
9100 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
9200 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.969
9300 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.514
9400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
9500 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.666
9600 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
9700 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.363
9800 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.666
9900 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
10000 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
10100 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.666
10200 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.817
10300 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
10400 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.817
10500 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.969
10600 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.666
10700 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.363
10800 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.969
10900 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.817
11000 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.514
11100 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.666
11200 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.817
11300 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
11400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.06
11500 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.969
11600 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.969
11700 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.363
11800 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.817
11900 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.666
12000 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
12100 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.514
12200 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.363
12300 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.514
12400 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.363
12500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.514
12600 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.817
12700 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
12800 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.514
12900 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.969
13000 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.817
13100 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.817
13200 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.666
13300 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.363
13400 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.092
13500 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
13600 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.817
13700 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.363
13800 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.817
13900 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.969
14000 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
14100 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.514
14200 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.969
14300 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.363
14400 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.666
14500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.969
14600 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.817
14700 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.666
14800 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | 0.092
14900 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.666
15000 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.817
15100 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.817
15200 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.666
15300 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
15400 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
15500 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.666
15600 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.666
15700 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.514
15800 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
15900 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
16000 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.666
16100 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.666
16200 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.514
16300 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.817
16400 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.817
16500 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
16600 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
16700 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
16800 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.969
16900 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
17000 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.514
17100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.666
17200 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.969
17300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
17400 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
17500 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
17600 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
17700 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.363
17800 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
17900 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
18000 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.06
18100 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
18200 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.363
18300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.969
18400 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
18500 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.666
18600 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.363
18700 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.06
18800 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.514
18900 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.969
19000 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.969
19100 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.817
19200 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.817
19300 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.514
19400 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
19500 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
19600 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
19700 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.666
19800 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
19900 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.666
20000 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
20100 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.363
20200 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
20300 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
20400 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
20500 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.666
20600 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.514
20700 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.514
20800 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.817
20900 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
21000 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.666
21100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.514
21200 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.514
21300 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
21400 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.969
21500 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.969
21600 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.969
21700 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.363
21800 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.363
21900 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | -0.666
22000 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
22100 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.514
22200 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
22300 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.817
22400 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.969
22500 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.817
22600 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.666
22700 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.514
22800 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
22900 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.817
23000 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
23100 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.969
23200 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.514
23300 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.514
23400 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
23500 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
23600 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.817
23700 | 0.04 | 0.04 | -15.061 | 0 | -0.032 | 1.182 | -0.817
23800 | 0.081 | 0.097 | -15.078 | 0 | -0.032 | 1.031 | -0.514
23900 | 0.121 | 0.15 | -15.078 | -103.988 | 0.044 | 0.955 | -0.514
24000 | 0.161 | 0.206 | -15.078 | 0 | -0.032 | 0.728 | -0.363
24100 | 0.202 | 0.267 | -15.078 | 0 | -0.032 | 0.879 | -0.363
24200 | 0.242 | 0.331 | -15.078 | 0 | -0.108 | 0.804 | -0.363
24300 | 0.282 | 0.4 | -15.078 | 0 | -0.032 | 0.576 | -0.363
24400 | 0.323 | 0.472 | -15.078 | 0 | -0.032 | 0.5 | 0.546
24500 | 0.363 | 0.549 | -15.078 | 0 | 0.044 | 0.576 | 0.243
24600 | 0.403 | 0.63 | -15.078 | 0 | 0.044 | 0.5 | 0.698
24700 | 0.443 | 0.697 | -15.061 | 0 | 0.044 | 0.349 | 1.304
24800 | 0.484 | 0.786 | -15.061 | 103.988 | 0.044 | 1.182 | 2.668
24900 | 0.524 | 0.879 | -15.061 | 0 | -0.032 | 1.94 | 4.486
25000 | 0.564 | 0.959 | -15.044 | 0 | -0.032 | 3.682 | 7.517
25100 | 0.605 | 1.009 | -14.994 | 103.994 | -0.108 | 6.637 | 11.456
25200 | 0.645 | 1.03 | -14.91 | 311.965 | -0.108 | 11.789 | 18.123
25300 | 0.685 | 1.039 | -14.809 | 519.954 | 0.044 | 18.38 | 26.609
25400 | 0.726 | 1.034 | -14.692 | 623.948 | 0.044 | 27.169 | 37.064
25500 | 0.766 | 1.067 | -14.608 | 727.936 | 0.346 | 34.215 | 47.065
25600 | 0.806 | 1.071 | -14.491 | 519.96 | 0.649 | 42.094 | 57.823
25700 | 0.847 | 1.078 | -14.373 | 727.931 | 0.044 | 50.049 | 66.308
25800 | 0.887 | 1.107 | -14.273 | 727.936 | 0.346 | 55.883 | 74.794
25900 | 0.927 | 1.106 | -14.139 | 623.936 | 0.649 | 61.641 | 80.855
26000 | 0.968 | 1.125 | -14.021 | 831.937 | 0.877 | 65.884 | 87.673
26100 | 1.008 | 1.149 | -13.904 | 727.925 | 0.574 | 70.202 | 92.825
26200 | 1.048 | 1.143 | -13.753 | 727.931 | 0.649 | 74.445 | 97.826
26300 | 1.089 | 1.158 | -13.619 | 935.925 | 0.574 | 78.233 | 101.765
26400 | 1.129 | 1.16 | -13.468 | 831.925 | 0.725 | 80.582 | 105.553
26500 | 1.169 | 1.183 | -13.334 | 935.913 | 0.725 | 83.006 | 108.432
26600 | 1.209 | 1.194 | -13.183 | 831.925 | 1.104 | 84.673 | 111.16
26700 | 1.25 | 1.191 | -13.015 | 935.925 | 1.104 | 86.415 | 113.736
26800 | 1.29 | 1.26 | -12.914 | 1039.902 | 2.846 | 87.249 | 115.099
26900 | 1.33 | 1.266 | -12.747 | 623.948 | 8.759 | 82.779 | 121.615
27000 | 1.371 | 1.309 | -12.612 | 1039.902 | 9.289 | 83.536 | 125.1
27100 | 1.411 | 1.323 | -12.445 | 831.925 | 9.819 | 84.9 | 126.918
27200 | 1.451 | 1.307 | -12.244 | 1039.913 | 10.577 | 85.658 | 129.494
27300 | 1.492 | 1.344 | -12.092 | 1247.884 | 10.047 | 87.097 | 131.01
27400 | 1.532 | 1.337 | -11.89 | 942.424 | 10.956 | 87.173 | 132.979
27500 | 1.572 | 1.35 | -11.706 | 1247.878 | 11.107 | 87.552 | 134.04
27600 | 1.613 | 1.384 | -11.538 | 1143.902 | 11.486 | 88.082 | 135.101
27700 | 1.653 | 1.405 | -11.354 | 1039.908 | 12.622 | 87.476 | 136.768
27800 | 1.693 | 1.38 | -11.119 | 1143.902 | 12.622 | 87.476 | 137.828
27900 | 1.734 | 1.392 | -10.918 | 1455.867 | 11.94 | 88.991 | 137.98
28000 | 1.774 | 1.409 | -10.716 | 1247.896 | 11.94 | 89.749 | 137.677
28100 | 1.814 | 1.429 | -10.515 | 1247.878 | 12.47 | 88.915 | 138.889
28200 | 1.855 | 1.454 | -10.314 | 1247.896 | 13.076 | 88.915 | 139.495
28300 | 1.895 | 1.449 | -10.079 | 1247.89 | 13.682 | 88.309 | 140.859
28400 | 1.935 | 1.481 | -9.878 | 1455.867 | 13.758 | 88.688 | 141.313
28500 | 1.975 | 1.501 | -9.66 | 1247.884 | 14.516 | 88.612 | 141.919
28600 | 2.016 | 1.559 | -9.475 | 1351.879 | 15.576 | 88.082 | 143.283
28700 | 2.056 | 1.536 | -9.207 | 1143.902 | 17.318 | 86.87 | 145.101
28800 | 2.096 | 1.518 | -8.939 | 1663.856 | 17.318 | 86.415 | 146.465
28900 | 2.137 | 1.571 | -8.738 | 1663.844 | 16.333 | 88.006 | 146.465
29000 | 2.177 | 1.56 | -8.469 | 1247.896 | 17.924 | 85.658 | 147.071
29100 | 2.217 | 1.604 | -8.251 | 1663.85 | 18.303 | 86.567 | 147.677
29200 | 2.258 | 1.619 | -8 | 1351.879 | 19.212 | 85.733 | 148.435
29300 | 2.298 | 1.62 | -7.73 | 1559.861 | 20.121 | 84.824 | 149.95
29400 | 2.338 | 1.642 | -7.479 | 1670.346 | 20.196 | 84.673 | 150.405
29500 | 2.379 | 1.635 | -7.194 | 1559.867 | 21.03 | 84.521 | 151.465
29600 | 2.419 | 1.666 | -6.942 | 1767.838 | 21.03 | 84.521 | 152.072
29700 | 2.419 | 1.623 | -6.657 | 1559.864 | 21.787 | 83.839 | 152.526
29800 | 2.419 | 1.58 | -6.372 | 1767.838 | 20.954 | 84.521 | 152.223
29900 | 2.419 | 1.587 | -6.137 | 1767.844 | 19.06 | 86.87 | 151.617
30000 | 2.419 | 1.594 | -5.902 | 1455.87 | 18.606 | 86.794 | 150.102
30100 | 2.419 | 1.551 | -5.617 | 1455.87 | 19.288 | 86.264 | 149.95
30200 | 2.419 | 1.541 | -5.366 | 1767.844 | 18 | 87.4 | 149.95
30300 | 2.419 | 1.531 | -5.114 | 1559.861 | 17.091 | 88.385 | 147.98
30400 | 2.419 | 1.538 | -4.88 | 1559.858 | 17.091 | 88.082 | 147.829
30500 | 2.419 | 1.562 | -4.661 | 1455.873 | 16.864 | 87.703 | 147.829
30600 | 2.419 | 1.553 | -4.41 | 1351.879 | 17.848 | 87.097 | 147.98
30700 | 2.419 | 1.543 | -4.158 | 1559.861 | 17.545 | 87.097 | 148.435
30800 | 2.419 | 1.533 | -3.907 | 1559.858 | 14.061 | 87.552 | 148.283
30900 | 2.419 | 1.557 | -3.689 | 1559.867 | 16.864 | 87.703 | 147.677
31000 | 2.419 | 1.546 | -3.436 | 1351.876 | 17.318 | 86.946 | 148.283
31100 | 2.419 | 1.537 | -3.185 | 1566.365 | 17.394 | 87.097 | 148.435
31200 | 2.419 | 1.544 | -2.95 | 1559.858 | 16.864 | 87.324 | 147.98
31300 | 2.298 | 1.43 | -2.715 | 1455.871 | 17.242 | 87.249 | 147.829
31400 | 2.177 | 1.287 | -2.464 | 1455.87 | 13.758 | 91.946 | 145.253
31500 | 2.056 | 1.183 | -2.262 | 1559.86 | 9.819 | 93.688 | 142.526
31600 | 1.935 | 1.083 | -2.078 | 1247.887 | 6.33 | 96.946 | 137.828
31700 | 1.814 | 0.988 | -1.91 | 1143.9 | 4.588 | 96.492 | 132.979
31800 | 1.693 | 0.931 | -1.793 | 1039.905 | 3.376 | 96.037 | 128.737
31900 | 1.572 | 0.896 | -1.709 | 727.935 | 2.543 | 93.84 | 124.342
32000 | 1.451 | 0.831 | -1.608 | 519.955 | 2.013 | 91.188 | 119.342
32100 | 1.33 | 0.755 | -1.508 | 623.944 | 1.558 | 88.309 | 115.554
32200 | 1.209 | 0.7 | -1.441 | 623.946 | 1.104 | 86.718 | 109.948
32300 | 1.089 | 0.633 | -1.374 | 415.962 | 0.725 | 83.461 | 105.402
32400 | 0.968 | 0.554 | -1.306 | 415.962 | 0.119 | 78.233 | 100.25
32500 | 0.847 | 0.496 | -1.273 | 415.962 | 0.044 | 73.839 | 93.734
32600 | 0.726 | 0.409 | -1.223 | 207.984 | 0.044 | 69.52 | 88.128
32700 | 0.605 | 0.344 | -1.206 | 311.97 | -0.032 | 65.353 | 83.734
32800 | 0.484 | 0.267 | -1.189 | 103.992 | -0.184 | 62.399 | 78.582
32900 | 0.363 | 0.178 | -1.172 | 103.989 | -0.184 | 58.535 | 75.097
33000 | 0.242 | 0.076 | -1.156 | 103.991 | 0.119 | 56.262 | 70.399
33100 | 0.121 | 0 | -1.156 | 103.992 | -0.032 | 53.459 | 67.521