## Data
Log File Data
2007-10-27 18:06 | MERIT Configuration Data
Test Description: Shot 5019, 5T field, 20TP.
Mode = Triggered
LogFile = C:\MERIT Data\071027 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.666
100 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
200 | 0 | 0 | -14.994 | 0 | 0 | 0.425 | -0.666
300 | 0 | 0 | -15.011 | 0 | 0 | 0.5 | -0.06
400 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.817
500 | 0 | 0 | -15.011 | 0 | 0 | 0.349 | -0.817
600 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.363
700 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.514
800 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.969
900 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.817
1000 | 0 | 0 | -14.994 | 0 | 0 | 0.576 | -0.817
1100 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.514
1200 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.514
1300 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.969
1400 | 0 | 0 | -15.011 | 0 | 0 | 0.425 | -0.817
1500 | 0 | 0 | -15.011 | 0 | 0 | 0.349 | -0.666
1600 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.666
1700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.514
1800 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.817
1900 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
2000 | 0 | 0 | -15.011 | 0 | 0 | 0.5 | -0.817
2100 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
2200 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.514
2300 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.363
2400 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.817
2500 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.817
2600 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
2700 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
2800 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.666
2900 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
3000 | 0 | 0 | -15.011 | 0 | 0 | 0.576 | -0.969
3100 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.514
3200 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.514
3300 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.817
3400 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
3500 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.363
3600 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.363
3700 | 0 | 0 | -15.027 | 0 | 0 | 0.5 | -0.817
3800 | 0 | 0 | -15.011 | 0 | 0 | 0.5 | -0.817
3900 | 0 | 0 | -15.027 | 0 | 0 | 0.425 | -0.817
4000 | 0 | 0 | -15.011 | 0 | 0 | 0.5 | -0.817
4100 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
4200 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.666
4300 | 0 | 0 | -15.027 | 0 | 0 | 0.425 | -0.969
4400 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | -0.817
4500 | 0 | 0 | -15.011 | 0 | 0 | 0.804 | -0.666
4600 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.666
4700 | 0 | 0 | -15.027 | 0 | 0 | 0.5 | -0.514
4800 | 0 | 0 | -15.027 | 0 | 0 | 0.349 | -0.969
4900 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.969
5000 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
5100 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.666
5200 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.514
5300 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.817
5400 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
5500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
5600 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.514
5700 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.817
5800 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.817
5900 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
6000 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.666
6100 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.666
6200 | 0 | 0 | -15.027 | 0 | 0 | 0.425 | -0.514
6300 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.969
6400 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
6500 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.06
6600 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.514
6700 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.514
6800 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.817
6900 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.969
7000 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
7100 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.817
7200 | 0 | 0 | -15.027 | 0 | 0 | 0.804 | -0.666
7300 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.514
7400 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.514
7500 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | -0.666
7600 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.363
7700 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.666
7800 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.817
7900 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.817
8000 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.666
8100 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.363
8200 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
8300 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.817
8400 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.666
8500 | 0 | 0 | -15.044 | 0 | 0 | 0.425 | -0.363
8600 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.514
8700 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.666
8800 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.817
8900 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.969
9000 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.514
9100 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
9200 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.817
9300 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.817
9400 | 0 | 0 | -15.027 | 0 | 0 | 0.728 | -0.817
9500 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.06
9600 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.666
9700 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.817
9800 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
9900 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.514
10000 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.363
10100 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.514
10200 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.969
10300 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.817
10400 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.363
10500 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
10600 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.969
10700 | 0 | 0 | -15.044 | 0 | 0 | 0.804 | -0.514
10800 | 0 | 0 | -15.044 | 0 | 0 | 0.576 | -0.817
10900 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.666
11000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.969
11100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.666
11200 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
11300 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.514
11400 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.969
11500 | 0 | 0 | -15.044 | 0 | 0 | 0.5 | -0.969
11600 | 0 | 0 | -15.061 | 0 | 0 | 0.5 | -0.666
11700 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.363
11800 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
11900 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.817
12000 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.969
12100 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.969
12200 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.514
12300 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
12400 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
12500 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
12600 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.817
12700 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.666
12800 | 0 | 0 | -15.044 | 0 | 0 | 0.728 | -0.514
12900 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.514
13000 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.666
13100 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
13200 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
13300 | 0 | 0 | -15.061 | 0 | 0 | 0.5 | -0.817
13400 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.666
13500 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.514
13600 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.666
13700 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
13800 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
13900 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.817
14000 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.514
14100 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.514
14200 | 0 | 0 | -15.061 | 0 | 0 | 0.425 | -0.817
14300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.514
14400 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.817
14500 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
14600 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.06
14700 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.514
14800 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.969
14900 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.817
15000 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | -0.666
15100 | 0 | 0 | -15.061 | 0 | 0 | 0.576 | -0.817
15200 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.969
15300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.969
15400 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.666
15500 | 0 | 0 | -15.061 | 0 | 0 | 0.425 | -0.514
15600 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.969
15700 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.969
15800 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
15900 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
16000 | 0 | 0 | -15.061 | 0 | 0 | 0.879 | -0.817
16100 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.514
16200 | 0 | 0 | -15.061 | 0 | 0 | 0.425 | -0.817
16300 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.817
16400 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
16500 | 0 | 0 | -15.061 | 0 | 0 | 0.804 | -0.514
16600 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.363
16700 | 0 | 0 | -15.078 | 0 | 0 | 0.425 | -0.666
16800 | 0 | 0 | -15.061 | 0 | 0 | 0.728 | -0.514
16900 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.666
17000 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.666
17100 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.666
17200 | 0 | 0 | -15.078 | 0 | 0 | 0.425 | -0.06
17300 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | -0.817
17400 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
17500 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.666
17600 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.969
17700 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
17800 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
17900 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.666
18000 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.363
18100 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.514
18200 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
18300 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
18400 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.514
18500 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
18600 | 0 | 0 | -15.078 | 0 | 0 | 0.349 | -0.514
18700 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.666
18800 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
18900 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.817
19000 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.666
19100 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.666
19200 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.363
19300 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
19400 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.817
19500 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.817
19600 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.363
19700 | 0 | 0 | -15.094 | 0 | 0 | 0.804 | -0.363
19800 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.817
19900 | 0 | 0 | -15.078 | 0 | 0 | 0.955 | -0.666
20000 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.817
20100 | 0 | 0 | -15.094 | 0 | 0 | 0.5 | -0.817
20200 | 0 | 0 | -15.078 | 0 | 0 | 0.425 | -0.817
20300 | 0 | 0 | -15.078 | 0 | 0 | 0.576 | -0.666
20400 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.514
20500 | 0 | 0 | -15.078 | 0 | 0 | 0.804 | -0.969
20600 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.817
20700 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.817
20800 | 0 | 0 | -15.094 | 0 | 0 | 0.804 | -0.06
20900 | 0 | 0 | -15.078 | 0 | 0 | 0.879 | -0.514
21000 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.817
21100 | 0 | 0 | -15.094 | 0 | 0 | 0.5 | -0.817
21200 | 0 | 0 | -15.078 | 0 | 0 | 0.728 | -0.666
21300 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.666
21400 | 0 | 0 | -15.094 | 0 | 0 | 0.804 | -0.514
21500 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
21600 | 0 | 0 | -15.078 | 0 | 0 | 0.5 | -0.817
21700 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.817
21800 | 0 | 0 | -15.094 | 0 | 0 | 0.576 | -0.666
21900 | 0 | 0 | -15.094 | 0 | 0 | 0.804 | -0.514
22000 | 0 | 0 | -15.094 | 0 | 0 | 0.576 | -0.666
22100 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.514
22200 | 0 | 0 | -15.094 | 0 | 0 | 1.031 | -0.817
22300 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.969
22400 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.666
22500 | 0 | 0 | -15.094 | 0 | 0 | 0.804 | -0.666
22600 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.514
22700 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.817
22800 | 0 | 0 | -15.094 | 0 | 0 | 0.576 | -0.969
22900 | 0 | 0 | -15.094 | 0 | 0 | 0.576 | -0.817
23000 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.363
23100 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.666
23200 | 0 | 0 | -15.094 | 0 | 0 | 0.955 | -0.514
23300 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.969
23400 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.817
23500 | 0 | 0 | -15.094 | 0 | 0 | 0.728 | -0.666
23600 | 0 | 0 | -15.094 | 0 | 0 | 0.879 | -0.363
23700 | 0.04 | 0.04 | -15.094 | 0 | 0.044 | 0.879 | -0.666
23800 | 0.081 | 0.081 | -15.094 | 0 | 0.044 | 0.728 | -0.817
23900 | 0.121 | 0.133 | -15.094 | 0 | 0.044 | 0.955 | -0.363
24000 | 0.161 | 0.189 | -15.094 | 0 | -0.032 | 0.879 | -0.514
24100 | 0.202 | 0.25 | -15.094 | 0 | -0.108 | 0.728 | -0.363
24200 | 0.242 | 0.314 | -15.094 | 0 | -0.032 | 0.728 | -0.363
24300 | 0.282 | 0.383 | -15.094 | 0 | -0.108 | 0.728 | -0.363
24400 | 0.323 | 0.456 | -15.094 | 0 | 0.044 | 0.349 | 0.243
24500 | 0.363 | 0.532 | -15.094 | 0 | 0.044 | 0.5 | 0.395
24600 | 0.403 | 0.613 | -15.094 | 0 | -0.032 | 0.425 | 0.849
24700 | 0.443 | 0.697 | -15.094 | 0 | -0.108 | 0.349 | 0.698
24800 | 0.484 | 0.769 | -15.078 | 0 | 0.044 | 0.728 | 2.213
24900 | 0.524 | 0.862 | -15.078 | 104 | -0.032 | 2.319 | 3.728
25000 | 0.564 | 0.959 | -15.078 | 0 | 0.044 | 3.076 | 7.365
25100 | 0.605 | 1.009 | -15.027 | 0 | -0.032 | 5.728 | 10.699
25200 | 0.645 | 1.03 | -14.943 | 311.971 | -0.032 | 9.819 | 15.85
25300 | 0.685 | 1.072 | -14.876 | 519.954 | 0.044 | 16.562 | 24.033
25400 | 0.726 | 1.068 | -14.759 | 415.959 | 0.044 | 24.214 | 33.882
25500 | 0.766 | 1.05 | -14.625 | 727.936 | 0.271 | 33.76 | 46.458
25600 | 0.806 | 1.087 | -14.541 | 831.919 | 0.346 | 41.412 | 55.247
25700 | 0.847 | 1.095 | -14.424 | 519.96 | 0.044 | 48.761 | 64.945
25800 | 0.887 | 1.09 | -14.289 | 727.936 | 0.346 | 55.883 | 73.43
25900 | 0.927 | 1.122 | -14.189 | 831.925 | 0.649 | 61.111 | 80.097
26000 | 0.968 | 1.142 | -14.071 | 623.942 | 0.725 | 65.884 | 86.31
26100 | 1.008 | 1.132 | -13.921 | 727.936 | 0.725 | 70.126 | 93.886
26200 | 1.048 | 1.16 | -13.803 | 935.913 | 0.725 | 74.445 | 97.977
26300 | 1.089 | 1.158 | -13.652 | 727.936 | 0.725 | 77.551 | 101.614
26400 | 1.129 | 1.177 | -13.518 | 935.925 | 0.725 | 80.279 | 105.25
26500 | 1.169 | 1.2 | -13.384 | 831.925 | 0.801 | 83.006 | 108.432
26600 | 1.209 | 1.211 | -13.233 | 831.925 | 0.801 | 84.142 | 111.463
26700 | 1.25 | 1.208 | -13.065 | 935.913 | 1.104 | 86.415 | 113.736
26800 | 1.29 | 1.227 | -12.914 | 1039.913 | 2.316 | 87.779 | 115.857
26900 | 1.33 | 1.283 | -12.797 | 935.913 | 7.774 | 83.006 | 121.464
27000 | 1.371 | 1.326 | -12.663 | 727.936 | 9.062 | 83.764 | 123.888
27100 | 1.411 | 1.306 | -12.462 | 831.925 | 9.744 | 84.9 | 127.828
27200 | 1.451 | 1.34 | -12.311 | 1247.89 | 9.819 | 85.733 | 130.252
27300 | 1.492 | 1.344 | -12.125 | 935.913 | 10.501 | 86.643 | 131.616
27400 | 1.532 | 1.32 | -11.907 | 1150.395 | 11.183 | 87.097 | 133.586
27500 | 1.572 | 1.367 | -11.756 | 1351.879 | 10.728 | 88.082 | 133.737
27600 | 1.613 | 1.367 | -11.555 | 935.913 | 11.259 | 88.082 | 134.798
27700 | 1.653 | 1.388 | -11.37 | 1247.89 | 11.865 | 87.855 | 136.01
27800 | 1.693 | 1.38 | -11.152 | 1143.908 | 12.167 | 88.385 | 136.919
27900 | 1.734 | 1.392 | -10.951 | 1351.879 | 11.713 | 88.688 | 137.525
28000 | 1.774 | 1.442 | -10.784 | 1247.884 | 11.789 | 89.219 | 137.98
28100 | 1.814 | 1.446 | -10.566 | 1039.913 | 12.773 | 88.309 | 139.192
28200 | 1.855 | 1.47 | -10.364 | 1351.867 | 13.607 | 88.006 | 140.556
28300 | 1.895 | 1.449 | -10.113 | 1247.896 | 13.985 | 87.855 | 141.616
28400 | 1.935 | 1.464 | -9.895 | 1559.861 | 13.531 | 88.385 | 142.374
28500 | 1.975 | 1.501 | -9.693 | 1351.879 | 13.531 | 88.84 | 142.222
28600 | 2.016 | 1.542 | -9.492 | 1247.89 | 15.197 | 88.234 | 142.677
28700 | 2.056 | 1.536 | -9.241 | 1247.89 | 16.409 | 87.249 | 144.192
28800 | 2.096 | 1.568 | -9.023 | 1559.855 | 16.939 | 86.718 | 145.556
28900 | 2.137 | 1.554 | -8.754 | 1351.885 | 17.697 | 86.567 | 146.92
29000 | 2.177 | 1.594 | -8.536 | 1663.85 | 17.621 | 86.34 | 147.526
29100 | 2.217 | 1.621 | -8.302 | 1351.879 | 17.697 | 85.733 | 148.587
29200 | 2.258 | 1.619 | -8.033 | 1455.873 | 19.818 | 85.203 | 148.89
29300 | 2.298 | 1.586 | -7.73 | 1663.85 | 19.969 | 84.9 | 150.102
29400 | 2.338 | 1.625 | -7.496 | 1878.329 | 18.985 | 86.112 | 150.405
29500 | 2.379 | 1.652 | -7.244 | 1455.873 | 19.818 | 85.658 | 149.95
29600 | 2.419 | 1.683 | -6.992 | 1559.864 | 21.333 | 84.142 | 151.617
29700 | 2.419 | 1.623 | -6.691 | 1559.861 | 22.242 | 83.536 | 153.132
29800 | 2.419 | 1.613 | -6.439 | 1871.832 | 20.802 | 85.279 | 152.526
29900 | 2.419 | 1.603 | -6.188 | 1559.858 | 19.818 | 86.34 | 151.617
30000 | 2.419 | 1.56 | -5.902 | 1559.861 | 19.666 | 86.34 | 151.162
30100 | 2.419 | 1.567 | -5.668 | 1767.841 | 18.303 | 87.627 | 150.405
30200 | 2.419 | 1.574 | -5.433 | 1455.873 | 17.697 | 87.476 | 149.041
30300 | 2.419 | 1.548 | -5.165 | 1455.87 | 18.151 | 86.946 | 149.193
30400 | 2.419 | 1.555 | -4.93 | 1663.856 | 17.545 | 87.855 | 148.738
30500 | 2.419 | 1.545 | -4.678 | 1455.864 | 17.242 | 87.627 | 148.435
30600 | 2.419 | 1.536 | -4.427 | 1559.864 | 17.394 | 87.779 | 148.283
30700 | 2.419 | 1.526 | -4.175 | 1559.861 | 16.864 | 88.158 | 147.829
30800 | 2.419 | 1.533 | -3.94 | 1559.858 | 16.409 | 88.082 | 147.223
30900 | 2.419 | 1.557 | -3.722 | 1455.871 | 16.636 | 87.855 | 147.374
31000 | 2.419 | 1.546 | -3.47 | 1351.882 | 17.394 | 86.946 | 147.223
31100 | 2.419 | 1.554 | -3.235 | 1566.359 | 17.621 | 87.097 | 148.132
31200 | 2.419 | 1.561 | -3 | 1455.87 | 17.394 | 87.097 | 147.98
31300 | 2.419 | 1.551 | -2.749 | 1455.871 | 17.621 | 86.491 | 148.132
31400 | 2.298 | 1.437 | -2.514 | 1559.858 | 17.545 | 87.173 | 148.435
31500 | 2.177 | 1.295 | -2.262 | 1455.871 | 14.44 | 90.961 | 146.617
31600 | 2.056 | 1.157 | -2.028 | 1559.86 | 9.819 | 95.128 | 142.677
31700 | 1.935 | 1.073 | -1.86 | 1455.87 | 6.33 | 96.795 | 137.98
31800 | 1.814 | 0.995 | -1.709 | 1039.909 | 4.209 | 97.325 | 132.676
31900 | 1.693 | 0.955 | -1.608 | 935.916 | 3.225 | 95.658 | 128.434
32000 | 1.572 | 0.886 | -1.491 | 623.944 | 2.77 | 93.613 | 124.342
32100 | 1.451 | 0.822 | -1.39 | 727.935 | 2.013 | 91.264 | 119.797
32200 | 1.33 | 0.762 | -1.306 | 623.946 | 1.255 | 88.915 | 115.706
32300 | 1.209 | 0.69 | -1.223 | 519.952 | 0.952 | 85.279 | 110.402
32400 | 1.089 | 0.64 | -1.172 | 519.955 | 0.649 | 81.945 | 105.25
32500 | 0.968 | 0.578 | -1.122 | 311.973 | 0.649 | 77.854 | 98.432
32600 | 0.847 | 0.52 | -1.088 | 311.973 | 0.044 | 73.839 | 93.583
32700 | 0.726 | 0.433 | -1.038 | 207.981 | -0.108 | 69.369 | 86.916
32800 | 0.605 | 0.368 | -1.021 | 311.97 | 0.044 | 65.05 | 82.37
32900 | 0.484 | 0.291 | -1.005 | 103.992 | -0.108 | 61.792 | 78.43
33000 | 0.363 | 0.201 | -0.988 | 103.992 | -0.032 | 58.535 | 74.036
33100 | 0.242 | 0.1 | -0.971 | 103.989 | -0.108 | 55.428 | 70.551
33200 | 0.121 | 0.003 | -0.971 | 103.992 | -0.108 | 52.701 | 67.369