## Data
Log File Data
2007-11-02 11:02 | MERIT Configuration Data
Test Description: Shot 9006, 5T field, 24GeV, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
100 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
200 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
400 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.092
500 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
600 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
700 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.546
800 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
900 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
1000 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
1100 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
1200 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
1300 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.698
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
1500 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
1600 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
1700 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.546
1800 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
1900 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
2000 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
2100 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.546
2200 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.092
2400 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.092
2500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.849
2600 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.06
2700 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | -0.06
2800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
2900 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.243
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
3100 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.698
3200 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
3300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
3400 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
3500 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
3600 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
3700 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
3800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
4000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.395
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
4200 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.849
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.243
4400 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
4500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
4600 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | -0.06
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
4800 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.546
4900 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
5000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.698
5100 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.698
5200 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.06
5300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
5400 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.395
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
5700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.06
5800 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.06
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
6100 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.546
6200 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.698
6300 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.363
6400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.395
6500 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
6600 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.698
6700 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
6800 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.243
6900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.243
7000 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.243
7100 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
7200 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.546
7300 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.698
7400 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
7500 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
7600 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.243
7900 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.698
8000 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.698
8100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.06
8200 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.243
8300 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
8400 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.698
8500 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.546
8600 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
8700 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
8800 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.06
8900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
9000 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.546
9100 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.395
9200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
9300 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.243
9400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
9500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
9600 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.698
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
9900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
10000 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
10100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.698
10300 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.546
10400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
10500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
10600 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
10900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
11000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
11100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
11200 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
11300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
11400 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.06
11700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
11800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
11900 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.546
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.546
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.243
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.092
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.546
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
12900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
13000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
13100 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.698
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.849
13300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
13400 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.06
13500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
13600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.698
13700 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.849
13800 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.243
13900 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.243
14000 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
14100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | -0.06
14200 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
14300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
14400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
14500 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
14600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
14700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.546
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
14900 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.092
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.243
15100 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
15200 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.698
15300 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.243
15400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.698
15500 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.698
15600 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.395
15700 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
15800 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.395
15900 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.849
16000 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
16100 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
16200 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.698
16300 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.698
16400 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.546
16500 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
16600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.546
16700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.546
16800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
16900 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.698
17000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.06
17100 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
17200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
17300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
17400 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.092
17500 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
17600 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
17700 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.546
17800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
17900 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
18000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
18100 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.546
18200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
18300 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
18400 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.395
18500 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
18600 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.546
18700 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
18800 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
18900 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.243
19000 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
19100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
19200 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.395
19300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
19400 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
19500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
19600 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
19700 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 1.001
19800 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.092
19900 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
20000 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.698
20100 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.092
20200 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.698
20300 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.698
20400 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
20500 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.092
20600 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.243
20700 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.243
20800 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.395
20900 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.092
21000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.698
21100 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
21200 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.698
21300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.546
21400 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.395
21500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
21600 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
21700 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.698
21800 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.546
21900 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.092
22000 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
22100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.092
22200 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.243
22300 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.546
22400 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.395
22500 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.395
22600 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
22700 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.849
22800 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.849
22900 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.395
23000 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
23100 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.395
23200 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.395
23300 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.395
23400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
23500 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
23600 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.092
23700 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.546
23800 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
23900 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.849
24000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
24100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
24200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
24300 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
24400 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.698
24500 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.849
24600 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
24700 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.546
24800 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
24900 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.395
25000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.546
25100 | 0.04 | 0.04 | -15.027 | 0 | 100.808 | 1.334 | 0.395
25200 | 0.081 | 0.081 | -15.027 | 0 | 100.581 | 1.258 | 0.395
25300 | 0.121 | 0.133 | -15.027 | 0 | 100.808 | 1.258 | 0.395
25400 | 0.161 | 0.189 | -15.027 | 0 | 101.414 | 1.258 | 0.698
25500 | 0.202 | 0.25 | -15.027 | 0 | 100.733 | 1.41 | 0.849
25600 | 0.242 | 0.314 | -15.027 | 0 | 100.733 | 1.41 | 1.001
25700 | 0.282 | 0.383 | -15.027 | 0 | 100.43 | 1.182 | 1.304
25800 | 0.323 | 0.455 | -15.027 | 0 | 101.717 | 1.182 | 1.001
25900 | 0.363 | 0.532 | -15.027 | 0 | 101.414 | 1.182 | 1.152
26000 | 0.403 | 0.613 | -15.027 | 0 | 101.111 | 1.107 | 1.152
26100 | 0.443 | 0.697 | -15.027 | 0 | 101.339 | 1.182 | 1.91
26200 | 0.484 | 0.786 | -15.027 | 0 | 100.808 | 2.243 | 3.122
26300 | 0.524 | 0.879 | -15.027 | 0 | 100.733 | 3.304 | 5.85
26400 | 0.564 | 0.959 | -15.011 | 0 | 100.581 | 4.667 | 8.426
26500 | 0.605 | 1.009 | -14.96 | 103.988 | 101.414 | 8.683 | 14.032
26600 | 0.645 | 1.013 | -14.86 | 311.977 | 100.657 | 15.047 | 22.821
26700 | 0.685 | 1.022 | -14.759 | 623.936 | 101.49 | 23.229 | 32.518
26800 | 0.726 | 1.051 | -14.675 | 623.948 | 100.884 | 30.881 | 42.367
26900 | 0.766 | 1.067 | -14.575 | 519.954 | 101.49 | 38.912 | 52.52
27000 | 0.806 | 1.087 | -14.474 | 623.948 | 99.899 | 46.564 | 61.914
27100 | 0.847 | 1.061 | -14.323 | 623.942 | 99.899 | 53.837 | 72.218
27200 | 0.887 | 1.073 | -14.206 | 935.913 | 99.975 | 60.656 | 79.643
27300 | 0.927 | 1.105 | -14.105 | 727.936 | 100.051 | 64.596 | 84.491
27400 | 0.968 | 1.108 | -13.971 | 623.948 | 99.975 | 68.914 | 90.249
27500 | 1.008 | 1.115 | -13.837 | 831.925 | 100.808 | 73.157 | 95.704
27600 | 1.048 | 1.143 | -13.719 | 831.925 | 101.414 | 76.263 | 99.947
27700 | 1.089 | 1.141 | -13.568 | 727.936 | 101.263 | 79.597 | 104.19
27800 | 1.129 | 1.144 | -13.417 | 935.913 | 100.733 | 81.945 | 107.22
27900 | 1.169 | 1.167 | -13.283 | 935.925 | 101.339 | 83.839 | 109.19
28000 | 1.209 | 1.194 | -13.149 | 831.925 | 99.899 | 85.203 | 111.766
28100 | 1.25 | 1.208 | -12.998 | 831.925 | 98.991 | 87.173 | 114.19
28200 | 1.29 | 1.21 | -12.83 | 935.913 | 98.536 | 88.385 | 116.16
28300 | 1.33 | 1.249 | -12.696 | 1039.902 | 92.022 | 85.809 | 121.16
28400 | 1.371 | 1.292 | -12.562 | 831.937 | 91.189 | 84.445 | 124.342
28500 | 1.411 | 1.323 | -12.411 | 831.925 | 90.128 | 84.597 | 127.07
28600 | 1.451 | 1.34 | -12.244 | 935.913 | 89.219 | 85.355 | 129.797
28700 | 1.492 | 1.277 | -11.991 | 1039.902 | 89.75 | 86.87 | 132.07
28800 | 1.532 | 1.32 | -11.84 | 1566.367 | 89.219 | 88.385 | 132.676
28900 | 1.572 | 1.35 | -11.672 | 935.919 | 89.522 | 88.158 | 133.282
29000 | 1.613 | 1.333 | -11.454 | 1039.902 | 89.219 | 87.324 | 135.101
29100 | 1.653 | 1.371 | -11.287 | 1351.879 | 89.144 | 87.627 | 136.616
29200 | 1.693 | 1.38 | -11.085 | 1039.902 | 89.295 | 88.84 | 136.313
29300 | 1.734 | 1.392 | -10.884 | 1247.896 | 90.507 | 88.612 | 137.828
29400 | 1.774 | 1.409 | -10.683 | 1247.89 | 90.128 | 88.915 | 137.98
29500 | 1.814 | 1.429 | -10.482 | 1247.884 | 90.204 | 88.915 | 139.192
29600 | 1.855 | 1.437 | -10.264 | 1247.89 | 89.674 | 88.84 | 139.95
29700 | 1.895 | 1.465 | -10.062 | 1351.879 | 88.992 | 88.764 | 141.01
29800 | 1.935 | 1.448 | -9.811 | 1247.89 | 101.717 | 88.537 | 141.465
29900 | 1.975 | 1.501 | -9.626 | 1559.861 | 89.522 | 88.84 | 142.526
30000 | 2.016 | 1.491 | -9.375 | 1143.902 | 100.127 | 87.173 | 143.889
30100 | 2.056 | 1.519 | -9.157 | 1559.855 | 99.142 | 87.855 | 144.495
30200 | 2.096 | 1.518 | -8.905 | 1351.885 | 98.46 | 87.324 | 145.556
30300 | 2.137 | 1.537 | -8.671 | 1559.861 | 99.975 | 87.476 | 145.405
30400 | 2.177 | 1.56 | -8.436 | 1455.867 | 98.536 | 87.249 | 145.708
30500 | 2.217 | 1.571 | -8.184 | 1455.873 | 97.779 | 86.34 | 146.92
30600 | 2.258 | 1.619 | -7.966 | 1559.861 | 100.657 | 86.112 | 148.132
30700 | 2.298 | 1.619 | -7.697 | 1351.879 | 99.066 | 84.9 | 149.95
30800 | 2.338 | 1.609 | -7.412 | 1670.349 | 99.066 | 84.445 | 150.708
30900 | 2.379 | 1.635 | -7.16 | 1767.844 | 96.415 | 85.506 | 151.162
31000 | 2.419 | 1.666 | -6.909 | 1559.858 | 98.233 | 84.673 | 151.617
31100 | 2.419 | 1.606 | -6.607 | 1559.861 | 95.658 | 83.839 | 152.375
31200 | 2.419 | 1.596 | -6.355 | 1871.832 | 96.567 | 85.506 | 151.465
31300 | 2.419 | 1.587 | -6.104 | 1559.864 | 98.006 | 86.415 | 150.556
31400 | 2.419 | 1.56 | -5.835 | 1559.861 | 98.46 | 86.188 | 151.314
31500 | 2.419 | 1.534 | -5.567 | 1663.847 | 99.975 | 86.87 | 150.405
31600 | 2.419 | 1.541 | -5.332 | 1663.856 | 98.233 | 88.234 | 149.344
31700 | 2.419 | 1.548 | -5.098 | 1455.87 | 98.082 | 88.158 | 148.587
31800 | 2.419 | 1.505 | -4.812 | 1455.87 | 98.233 | 87.173 | 148.283
31900 | 2.419 | 1.529 | -4.594 | 1767.838 | 99.521 | 88.309 | 147.526
32000 | 2.419 | 1.536 | -4.36 | 1351.882 | 99.596 | 88.006 | 147.071
32100 | 2.419 | 1.526 | -4.108 | 1455.873 | 98.309 | 87.097 | 147.071
32200 | 2.419 | 1.533 | -3.873 | 1559.858 | 99.899 | 87.4 | 147.374
32300 | 2.419 | 1.574 | -3.672 | 1455.871 | 102.854 | 87.097 | 147.374
32400 | 2.419 | 1.53 | -3.386 | 1247.892 | 101.642 | 86.036 | 148.132
32500 | 2.419 | 1.537 | -3.151 | 1774.337 | 101.339 | 86.264 | 148.283
32600 | 2.419 | 1.561 | -2.933 | 1455.87 | 103.081 | 87.4 | 148.132
32700 | 2.419 | 1.534 | -2.665 | 1351.882 | 101.414 | 86.34 | 148.435
32800 | 2.298 | 1.37 | -2.38 | 1663.85 | 101.036 | 86.87 | 148.283
32900 | 2.177 | 1.311 | -2.212 | 1767.844 | 92.931 | 90.506 | 146.768
33000 | 2.056 | 1.156 | -1.961 | 1039.908 | 92.325 | 94.901 | 141.616
33100 | 1.935 | 1.057 | -1.776 | 1559.863 | 95.128 | 98.159 | 136.01
33200 | 1.814 | 0.995 | -1.642 | 1143.897 | 103.919 | 97.174 | 132.979
33300 | 1.693 | 0.938 | -1.524 | 831.925 | 102.854 | 96.113 | 128.434
33400 | 1.572 | 0.869 | -1.407 | 727.935 | 105.509 | 93.613 | 124.191
33500 | 1.451 | 0.805 | -1.306 | 727.936 | 105.509 | 91.264 | 119.797
33600 | 1.33 | 0.745 | -1.223 | 623.943 | 101.187 | 88.84 | 115.099
33700 | 1.209 | 0.69 | -1.156 | 519.955 | 103.767 | 85.355 | 110.554
33800 | 1.089 | 0.623 | -1.088 | 415.965 | 103.919 | 82.779 | 105.25
33900 | 0.968 | 0.577 | -1.055 | 415.962 | 104.07 | 78.915 | 100.25
34000 | 0.847 | 0.503 | -1.005 | 207.981 | 105.509 | 74.596 | 94.795
34100 | 0.726 | 0.433 | -0.971 | 311.973 | 104.828 | 69.975 | 89.037
34200 | 0.605 | 0.351 | -0.938 | 207.981 | 105.434 | 66.035 | 84.037
34300 | 0.484 | 0.291 | -0.938 | 207.981 | 105.434 | 62.399 | 79.188
34400 | 0.363 | 0.185 | -0.904 | 0 | 104.979 | 59.444 | 75.551
34500 | 0.242 | 0.1 | -0.904 | 207.981 | 105.585 | 56.262 | 71.763
34600 | 0.121 | 0 | -0.887 | 0 | 105.888 | 54.14 | 67.824