## Data
Log File Data
2007-11-02 15:44 | MERIT Configuration Data
Test Description: Shot 9014, 5T field, 24GeV, 3TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.346 | 0 | 0 | 1.485 | 1.152
100 | 0 | 0 | -15.346 | 0 | 0 | 1.713 | 1.001
200 | 0 | 0 | -15.346 | 0 | 0 | 1.94 | 0.849
300 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 0.698
400 | 0 | 0 | -15.346 | 0 | 0 | 1.485 | 1.304
500 | 0 | 0 | -15.346 | 0 | 0 | 1.713 | 0.698
600 | 0 | 0 | -15.346 | 0 | 0 | 2.091 | 0.546
700 | 0 | 0 | -15.346 | 0 | 0 | 1.713 | 1.455
800 | 0 | 0 | -15.346 | 0 | 0 | 1.485 | 1.304
900 | 0 | 0 | -15.346 | 0 | 0 | 1.637 | 1.304
1000 | 0 | 0 | -15.346 | 0 | 0 | 1.485 | 0.849
1100 | 0 | 0 | -15.363 | 0 | 0 | 1.561 | 0.849
1200 | 0 | 0 | -15.346 | 0 | 0 | 1.561 | 1.455
1300 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 1.001
1400 | 0 | 0 | -15.363 | 0 | 0 | 1.561 | 1.152
1500 | 0 | 0 | -15.363 | 0 | 0 | 1.485 | 1.304
1600 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 1.152
1700 | 0 | 0 | -15.363 | 0 | 0 | 1.713 | 1.304
1800 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.698
1900 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.546
2000 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 0.546
2100 | 0 | 0 | -15.363 | 0 | 0 | 1.713 | 0.849
2200 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.849
2300 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 1.001
2400 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.849
2500 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.849
2600 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 1.001
2700 | 0 | 0 | -15.363 | 0 | 0 | 1.561 | 1.152
2800 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 0.849
2900 | 0 | 0 | -15.363 | 0 | 0 | 1.561 | 1.001
3000 | 0 | 0 | -15.363 | 0 | 0 | 1.713 | 0.698
3100 | 0 | 0 | -15.363 | 0 | 0 | 1.713 | 0.698
3200 | 0 | 0 | -15.379 | 0 | 0 | 1.561 | 0.698
3300 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 0.698
3400 | 0 | 0 | -15.363 | 0 | 0 | 1.561 | 0.698
3500 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.546
3600 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 1.001
3700 | 0 | 0 | -15.379 | 0 | 0 | 1.637 | 0.546
3800 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 1.001
3900 | 0 | 0 | -15.379 | 0 | 0 | 1.864 | 0.546
4000 | 0 | 0 | -15.379 | 0 | 0 | 1.637 | 1.152
4100 | 0 | 0 | -15.379 | 0 | 0 | 1.41 | 1.152
4200 | 0 | 0 | -15.379 | 0 | 0 | 1.485 | 0.698
4300 | 0 | 0 | -15.379 | 0 | 0 | 1.713 | 1.001
4400 | 0 | 0 | -15.379 | 0 | 0 | 1.788 | 1.152
4500 | 0 | 0 | -15.379 | 0 | 0 | 1.485 | 1.152
4600 | 0 | 0 | -15.379 | 0 | 0 | 1.485 | 0.698
4700 | 0 | 0 | -15.379 | 0 | 0 | 1.485 | 0.698
4800 | 0 | 0 | -15.379 | 0 | 0 | 1.788 | 0.546
4900 | 0 | 0 | -15.379 | 0 | 0 | 2.091 | 1.001
5000 | 0 | 0 | -15.379 | 0 | 0 | 1.561 | 0.849
5100 | 0 | 0 | -15.379 | 0 | 0 | 1.864 | 1.001
5200 | 0 | 0 | -15.379 | 0 | 0 | 1.637 | 0.546
5300 | 0 | 0 | -15.379 | 0 | 0 | 1.637 | 0.698
5400 | 0 | 0 | -15.379 | 0 | 0 | 1.561 | 0.849
5500 | 0 | 0 | -15.363 | 0 | 0 | 1.713 | 1.001
5600 | 0 | 0 | -15.379 | 0 | 0 | 1.637 | 1.001
5700 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 0.698
5800 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 0.849
5900 | 0 | 0 | -15.396 | 0 | 0 | 1.561 | 0.698
6000 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 1.304
6100 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 0.849
6200 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 1.152
6300 | 0 | 0 | -15.379 | 0 | 0 | 1.713 | 1.001
6400 | 0 | 0 | -15.379 | 0 | 0 | 1.864 | 0.849
6500 | 0 | 0 | -15.396 | 0 | 0 | 1.561 | 0.849
6600 | 0 | 0 | -15.379 | 0 | 0 | 1.561 | 0.849
6700 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 1.001
6800 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 1.152
6900 | 0 | 0 | -15.396 | 0 | 0 | 1.637 | 1.304
7000 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 1.001
7100 | 0 | 0 | -15.379 | 0 | 0 | 1.713 | 0.698
7200 | 0 | 0 | -15.396 | 0 | 0 | 1.788 | 0.546
7300 | 0 | 0 | -15.396 | 0 | 0 | 1.94 | 1.001
7400 | 0 | 0 | -15.396 | 0 | 0 | 1.94 | 1.304
7500 | 0 | 0 | -15.396 | 0 | 0 | 1.485 | 1.001
7600 | 0 | 0 | -15.396 | 0 | 0 | 1.713 | 0.698
7700 | 0 | 0 | -15.396 | 0 | 0 | 1.561 | 1.152
7800 | 0 | 0 | -15.396 | 0 | 0 | 1.94 | 0.546
7900 | 0 | 0 | -15.396 | 0 | 0 | 1.864 | 0.849
8000 | 0 | 0 | -15.396 | 0 | 0 | 1.637 | 1.152
8100 | 0 | 0 | -15.396 | 0 | 0 | 1.485 | 1.001
8200 | 0 | 0 | -15.396 | 0 | 0 | 1.561 | 0.849
8300 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 0.849
8400 | 0 | 0 | -15.413 | 0 | 0 | 1.864 | 1.152
8500 | 0 | 0 | -15.396 | 0 | 0 | 1.788 | 1.001
8600 | 0 | 0 | -15.413 | 0 | 0 | 1.485 | 0.546
8700 | 0 | 0 | -15.396 | 0 | 0 | 1.637 | 0.546
8800 | 0 | 0 | -15.396 | 0 | 0 | 1.788 | 0.698
8900 | 0 | 0 | -15.413 | 0 | 0 | 1.788 | 0.546
9000 | 0 | 0 | -15.396 | 0 | 0 | 1.788 | 1.152
9100 | 0 | 0 | -15.396 | 0 | 0 | 1.637 | 0.849
9200 | 0 | 0 | -15.413 | 0 | 0 | 1.485 | 0.849
9300 | 0 | 0 | -15.396 | 0 | 0 | 1.561 | 1.152
9400 | 0 | 0 | -15.413 | 0 | 0 | 1.788 | 0.849
9500 | 0 | 0 | -15.413 | 0 | 0 | 1.637 | 1.001
9600 | 0 | 0 | -15.396 | 0 | 0 | 1.485 | 0.849
9700 | 0 | 0 | -15.413 | 0 | 0 | 1.713 | 0.546
9800 | 0 | 0 | -15.413 | 0 | 0 | 2.091 | 0.698
9900 | 0 | 0 | -15.413 | 0 | 0 | 1.713 | 0.849
10000 | 0 | 0 | -15.413 | 0 | 0 | 1.637 | 1.001
10100 | 0 | 0 | -15.413 | 0 | 0 | 1.561 | 1.152
10200 | 0 | 0 | -15.413 | 0 | 0 | 1.485 | 1.152
10300 | 0 | 0 | -15.413 | 0 | 0 | 1.788 | 1.001
10400 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 0.849
10500 | 0 | 0 | -15.413 | 0 | 0 | 1.561 | 0.546
10600 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 1.001
10700 | 0 | 0 | -15.413 | 0 | 0 | 1.485 | 0.849
10800 | 0 | 0 | -15.413 | 0 | 0 | 1.485 | 0.395
10900 | 0 | 0 | -15.413 | 0 | 0 | 1.561 | 1.001
11000 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 0.698
11100 | 0 | 0 | -15.413 | 0 | 0 | 2.091 | 1.001
11200 | 0 | 0 | -15.413 | 0 | 0 | 1.864 | 1.152
11300 | 0 | 0 | -15.413 | 0 | 0 | 1.637 | 1.304
11400 | 0 | 0 | -15.413 | 0 | 0 | 1.637 | 0.698
11500 | 0 | 0 | -15.413 | 0 | 0 | 1.788 | 1.001
11600 | 0 | 0 | -15.43 | 0 | 0 | 1.637 | 0.698
11700 | 0 | 0 | -15.43 | 0 | 0 | 1.788 | 0.546
11800 | 0 | 0 | -15.43 | 0 | 0 | 1.864 | 0.698
11900 | 0 | 0 | -15.43 | 0 | 0 | 1.713 | 0.546
12000 | 0 | 0 | -15.43 | 0 | 0 | 1.637 | 1.001
12100 | 0 | 0 | -15.43 | 0 | 0 | 1.561 | 1.152
12200 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 0.698
12300 | 0 | 0 | -15.43 | 0 | 0 | 1.94 | 1.455
12400 | 0 | 0 | -15.43 | 0 | 0 | 2.091 | 1.152
12500 | 0 | 0 | -15.43 | 0 | 0 | 1.788 | 0.698
12600 | 0 | 0 | -15.43 | 0 | 0 | 1.94 | 0.546
12700 | 0 | 0 | -15.43 | 0 | 0 | 1.713 | 0.698
12800 | 0 | 0 | -15.43 | 0 | 0 | 1.561 | 0.698
12900 | 0 | 0 | -15.43 | 0 | 0 | 1.637 | 1.152
13000 | 0 | 0 | -15.43 | 0 | 0 | 1.485 | 1.152
13100 | 0 | 0 | -15.43 | 0 | 0 | 1.637 | 1.001
13200 | 0 | 0 | -15.43 | 0 | 0 | 2.091 | 1.001
13300 | 0 | 0 | -15.43 | 0 | 0 | 1.561 | 0.849
13400 | 0 | 0 | -15.43 | 0 | 0 | 1.485 | 0.849
13500 | 0 | 0 | -15.43 | 0 | 0 | 1.485 | 1.152
13600 | 0 | 0 | -15.43 | 0 | 0 | 1.788 | 1.152
13700 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 0.698
13800 | 0 | 0 | -15.447 | 0 | 0 | 1.788 | 0.698
13900 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 0.546
14000 | 0 | 0 | -15.447 | 0 | 0 | 1.561 | 0.698
14100 | 0 | 0 | -15.447 | 0 | 0 | 1.713 | 0.849
14200 | 0 | 0 | -15.447 | 0 | 0 | 1.788 | 0.849
14300 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 1.304
14400 | 0 | 0 | -15.447 | 0 | 0 | 1.713 | 0.546
14500 | 0 | 0 | -15.447 | 0 | 0 | 1.561 | 0.243
14600 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 1.152
14700 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 1.001
14800 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 1.152
14900 | 0 | 0 | -15.447 | 0 | 0 | 1.713 | 0.698
15000 | 0 | 0 | -15.447 | 0 | 0 | 1.561 | 0.698
15100 | 0 | 0 | -15.447 | 0 | 0 | 1.788 | 1.001
15200 | 0 | 0 | -15.447 | 0 | 0 | 1.713 | 0.698
15300 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 0.546
15400 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 1.304
15500 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | 0.849
15600 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 1.152
15700 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 0.849
15800 | 0 | 0 | -15.447 | 0 | 0 | 1.561 | 0.698
15900 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 0.698
16000 | 0 | 0 | -15.463 | 0 | 0 | 1.637 | 0.698
16100 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 0.698
16200 | 0 | 0 | -15.447 | 0 | 0 | 1.864 | 1.001
16300 | 0 | 0 | -15.447 | 0 | 0 | 1.637 | 0.546
16400 | 0 | 0 | -15.463 | 0 | 0 | 1.485 | 0.698
16500 | 0 | 0 | -15.447 | 0 | 0 | 1.561 | 1.152
16600 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 1.304
16700 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 1.001
16800 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.546
16900 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.698
17000 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | 0.849
17100 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.698
17200 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 1.304
17300 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.698
17400 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.849
17500 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | 0.546
17600 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 1.304
17700 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | 1.304
17800 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 1.304
17900 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 1.001
18000 | 0 | 0 | -15.463 | 0 | 0 | 1.561 | 0.698
18100 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.698
18200 | 0 | 0 | -15.463 | 0 | 0 | 1.561 | 0.698
18300 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | 1.304
18400 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 1.304
18500 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | 1.152
18600 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 1.152
18700 | 0 | 0 | -15.463 | 0 | 0 | 1.637 | 0.698
18800 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.546
18900 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 1.001
19000 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 1.001
19100 | 0 | 0 | -15.48 | 0 | 0 | 1.485 | 0.849
19200 | 0 | 0 | -15.48 | 0 | 0 | 1.485 | 0.243
19300 | 0 | 0 | -15.48 | 0 | 0 | 1.561 | 0.698
19400 | 0 | 0 | -15.48 | 0 | 0 | 1.637 | 0.849
19500 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.849
19600 | 0 | 0 | -15.48 | 0 | 0 | 1.637 | 1.607
19700 | 0 | 0 | -15.48 | 0 | 0 | 1.561 | 1.152
19800 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.698
19900 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 1.001
20000 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.698
20100 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | 0.698
20200 | 0 | 0 | -15.48 | 0 | 0 | 1.637 | 0.698
20300 | 0 | 0 | -15.48 | 0 | 0 | 1.561 | 0.698
20400 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 0.395
20500 | 0 | 0 | -15.48 | 0 | 0 | 1.637 | 0.546
20600 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.849
20700 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 0.546
20800 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | 0.698
20900 | 0 | 0 | -15.497 | 0 | 0 | 1.637 | 1.001
21000 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 0.546
21100 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | 0.546
21200 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | 0.546
21300 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | 0.698
21400 | 0 | 0 | -15.48 | 0 | 0 | 1.637 | 1.001
21500 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | 1.001
21600 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.546
21700 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 0.698
21800 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 1.304
21900 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 0.698
22000 | 0 | 0 | -15.48 | 0 | 0 | 1.561 | 1.304
22100 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 0.849
22200 | 0 | 0 | -15.497 | 0 | 0 | 1.561 | 1.001
22300 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 1.001
22400 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | 0.546
22500 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | 1.152
22600 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 1.152
22700 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 1.152
22800 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 1.001
22900 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.698
23000 | 0 | 0 | -15.497 | 0 | 0 | 2.167 | 1.152
23100 | 0 | 0 | -15.497 | 0 | 0 | 1.637 | 0.698
23200 | 0 | 0 | -15.497 | 0 | 0 | 1.561 | 1.304
23300 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 0.849
23400 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 1.001
23500 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 1.001
23600 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 1.001
23700 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | 1.152
23800 | 0 | 0 | -15.514 | 0 | 0 | 1.637 | 0.849
23900 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 1.001
24000 | 0 | 0 | -15.514 | 0 | 0 | 2.091 | 1.001
24100 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 1.001
24200 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 1.001
24300 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.849
24400 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.849
24500 | 0 | 0 | -15.514 | 0 | 0 | 1.864 | 0.849
24600 | 0 | 0 | -15.514 | 0 | 0 | 1.637 | 0.698
24700 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 1.152
24800 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 1.455
24900 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.849
25000 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.698
25100 | 0.04 | 0.04 | -15.514 | 0 | 134.903 | 1.788 | 1.001
25200 | 0.081 | 0.097 | -15.53 | 0 | 134.6 | 1.637 | 1.304
25300 | 0.121 | 0.133 | -15.514 | -103.988 | 134.6 | 1.94 | 1.304
25400 | 0.161 | 0.189 | -15.514 | 103.988 | 135.585 | 1.864 | 1.304
25500 | 0.202 | 0.25 | -15.514 | 0 | 135.888 | 1.334 | 1.001
25600 | 0.242 | 0.314 | -15.514 | 0 | 135.131 | 1.41 | 1.001
25700 | 0.282 | 0.383 | -15.514 | 0 | 135.509 | 1.41 | 1.304
25800 | 0.323 | 0.456 | -15.514 | 0 | 134.676 | 1.334 | 1.001
25900 | 0.363 | 0.549 | -15.53 | 0 | 136.039 | 1.258 | 1.455
26000 | 0.403 | 0.613 | -15.514 | -103.988 | 136.797 | 1.334 | 1.91
26100 | 0.443 | 0.697 | -15.514 | 103.988 | 135.358 | 1.182 | 2.516
26200 | 0.484 | 0.786 | -15.514 | 0 | 135.888 | 2.091 | 3.88
26300 | 0.524 | 0.879 | -15.514 | 0 | 136.721 | 3.531 | 6.001
26400 | 0.564 | 0.959 | -15.497 | 0 | 134.828 | 5.425 | 10.699
26500 | 0.605 | 1.009 | -15.447 | 103.988 | 134.676 | 10.122 | 16.608
26600 | 0.645 | 1.03 | -15.363 | 311.983 | 135.661 | 18.153 | 26.306
26700 | 0.685 | 1.022 | -15.245 | 519.942 | 136.57 | 25.805 | 35.7
26800 | 0.726 | 1.051 | -15.161 | 727.936 | 134.979 | 34.442 | 46.155
26900 | 0.766 | 1.05 | -15.044 | 519.96 | 133.616 | 42.473 | 57.065
27000 | 0.806 | 1.054 | -14.927 | 727.936 | 134.676 | 49.367 | 65.551
27100 | 0.847 | 1.095 | -14.843 | 727.931 | 134.222 | 55.05 | 72.521
27200 | 0.887 | 1.073 | -14.692 | 519.96 | 132.555 | 61.641 | 80.552
27300 | 0.927 | 1.089 | -14.575 | 935.913 | 133.085 | 66.187 | 86.461
27400 | 0.968 | 1.092 | -14.44 | 727.936 | 133.161 | 70.657 | 91.765
27500 | 1.008 | 1.115 | -14.323 | 831.925 | 132.479 | 73.914 | 96.31
27600 | 1.048 | 1.126 | -14.189 | 727.931 | 131.57 | 76.869 | 100.098
27700 | 1.089 | 1.141 | -14.055 | 831.925 | 130.813 | 79.294 | 104.038
27800 | 1.129 | 1.144 | -13.904 | 831.925 | 134.752 | 81.945 | 106.766
27900 | 1.169 | 1.167 | -13.77 | 935.913 | 133.388 | 83.764 | 109.038
28000 | 1.209 | 1.177 | -13.619 | 831.937 | 133.237 | 86.188 | 111.917
28100 | 1.25 | 1.191 | -13.468 | 935.913 | 132.555 | 87.324 | 113.736
28200 | 1.29 | 1.227 | -13.334 | 935.913 | 133.464 | 88.006 | 116.009
28300 | 1.33 | 1.266 | -13.199 | 831.925 | 118.916 | 85.658 | 120.251
28400 | 1.371 | 1.275 | -13.032 | 831.925 | 118.765 | 84.37 | 124.797
28500 | 1.411 | 1.289 | -12.864 | 1039.913 | 117.326 | 86.264 | 127.221
28600 | 1.451 | 1.307 | -12.696 | 1039.908 | 117.78 | 87.173 | 128.888
28700 | 1.492 | 1.329 | -12.529 | 1039.913 | 117.932 | 86.87 | 130.858
28800 | 1.532 | 1.338 | -12.344 | 1039.902 | 118.386 | 87.552 | 132.222
28900 | 1.572 | 1.35 | -12.159 | 1143.902 | 118.765 | 87.931 | 134.192
29000 | 1.613 | 1.35 | -11.957 | 1150.389 | 118.235 | 88.309 | 135.404
29100 | 1.653 | 1.355 | -11.756 | 1247.896 | 117.704 | 88.612 | 135.858
29200 | 1.693 | 1.38 | -11.572 | 1247.878 | 117.553 | 89.219 | 136.768
29300 | 1.734 | 1.409 | -11.387 | 1143.902 | 116.72 | 88.84 | 137.374
29400 | 1.774 | 1.392 | -11.152 | 1143.908 | 118.841 | 88.764 | 138.283
29500 | 1.814 | 1.429 | -10.968 | 1455.867 | 118.992 | 89.37 | 139.192
29600 | 1.855 | 1.454 | -10.767 | 1143.896 | 117.326 | 89.37 | 139.798
29700 | 1.895 | 1.449 | -10.532 | 1247.89 | 115.659 | 88.309 | 141.768
29800 | 1.935 | 1.464 | -10.314 | 1455.867 | 115.583 | 88.84 | 141.919
29900 | 1.975 | 1.484 | -10.096 | 1351.885 | 114.902 | 88.764 | 142.677
30000 | 2.016 | 1.475 | -9.844 | 1351.873 | 132.631 | 88.537 | 142.98
30100 | 2.056 | 1.519 | -9.643 | 1559.861 | 132.707 | 88.461 | 144.041
30200 | 2.096 | 1.535 | -9.408 | 1247.89 | 130.662 | 88.461 | 143.738
30300 | 2.137 | 1.571 | -9.19 | 1455.867 | 130.662 | 86.946 | 145.859
30400 | 2.177 | 1.577 | -8.939 | 1351.885 | 129.677 | 86.491 | 147.071
30500 | 2.217 | 1.571 | -8.671 | 1559.855 | 132.328 | 85.961 | 148.132
30600 | 2.258 | 1.569 | -8.402 | 1663.856 | 130.889 | 86.264 | 148.587
30700 | 2.298 | 1.621 | -8.184 | 1663.85 | 128.313 | 86.718 | 148.587
30800 | 2.338 | 1.66 | -7.949 | 1351.885 | 130.813 | 85.355 | 150.102
30900 | 2.379 | 1.635 | -7.647 | 1455.867 | 129.753 | 84.218 | 151.162
31000 | 2.419 | 1.616 | -7.345 | 1878.335 | 128.465 | 84.824 | 151.769
31100 | 2.419 | 1.623 | -7.11 | 1871.832 | 130.737 | 85.43 | 151.617
31200 | 2.419 | 1.596 | -6.842 | 1455.87 | 128.465 | 85.658 | 152.072
31300 | 2.419 | 1.553 | -6.556 | 1663.85 | 130.434 | 86.036 | 151.162
31400 | 2.419 | 1.56 | -6.322 | 1767.844 | 131.192 | 88.006 | 150.253
31500 | 2.419 | 1.551 | -6.07 | 1455.87 | 128.919 | 88.082 | 148.738
31600 | 2.419 | 1.507 | -5.785 | 1559.858 | 128.768 | 87.703 | 148.89
31700 | 2.419 | 1.498 | -5.534 | 1767.844 | 133.843 | 88.915 | 148.132
31800 | 2.419 | 1.538 | -5.332 | 1559.861 | 132.328 | 89.673 | 147.223
31900 | 2.419 | 1.529 | -5.081 | 1247.89 | 131.798 | 88.309 | 146.465
32000 | 2.419 | 1.519 | -4.829 | 1559.861 | 131.419 | 87.627 | 147.829
32100 | 2.419 | 1.509 | -4.578 | 1559.858 | 131.268 | 88.006 | 147.223
32200 | 2.419 | 1.533 | -4.36 | 1559.861 | 135.131 | 88.537 | 147.071
32300 | 2.419 | 1.507 | -4.091 | 1351.882 | 136.494 | 87.855 | 147.071
32400 | 2.419 | 1.531 | -3.873 | 1663.853 | 135.964 | 88.158 | 147.071
32500 | 2.419 | 1.521 | -3.622 | 1351.877 | 135.206 | 87.931 | 146.314
32600 | 2.419 | 1.544 | -3.403 | 1559.86 | 136.418 | 87.779 | 147.071
32700 | 2.298 | 1.397 | -3.134 | 1358.381 | 132.404 | 87.097 | 146.768
32800 | 2.177 | 1.304 | -2.933 | 1663.854 | 119.371 | 91.34 | 146.617
32900 | 2.056 | 1.183 | -2.715 | 1247.886 | 119.598 | 94.143 | 141.919
33000 | 1.935 | 1.066 | -2.514 | 1351.882 | 123.541 | 96.264 | 138.586
33100 | 1.814 | 1.005 | -2.38 | 1247.887 | 135.888 | 97.174 | 134.04
33200 | 1.693 | 0.914 | -2.229 | 831.925 | 135.736 | 95.507 | 129.04
33300 | 1.572 | 0.879 | -2.145 | 935.919 | 136.191 | 94.295 | 124.646
33400 | 1.451 | 0.798 | -2.028 | 519.951 | 137.706 | 91.946 | 120.251
33500 | 1.33 | 0.738 | -1.944 | 727.935 | 134.373 | 88.915 | 116.16
33600 | 1.209 | 0.683 | -1.877 | 519.955 | 136.191 | 86.415 | 111.311
33700 | 1.089 | 0.633 | -1.826 | 415.962 | 137.327 | 83.006 | 106.311
33800 | 0.968 | 0.57 | -1.776 | 311.973 | 136.418 | 78.915 | 100.401
33900 | 0.847 | 0.513 | -1.743 | 311.973 | 139.069 | 74.445 | 94.644
34000 | 0.726 | 0.426 | -1.692 | 207.981 | 138.388 | 70.202 | 89.189
34100 | 0.605 | 0.361 | -1.675 | 311.973 | 142.937 | 66.262 | 84.794
34200 | 0.484 | 0.284 | -1.659 | 103.989 | 134.449 | 63.005 | 80.4
34300 | 0.363 | 0.194 | -1.642 | 103.992 | 137.782 | 59.595 | 75.551
34400 | 0.242 | 0.11 | -1.642 | 103.989 | 140.054 | 56.944 | 72.521
34500 | 0.121 | 0 | -1.625 | 0 | 134.903 | 54.292 | 68.884