## Data
Log File Data
2007-11-03 10:29 | MERIT Configuration Data
Test Description: shot 10007, 5T, 10TP
Mode = Triggered
LogFile = C:\MERIT Data\071103 logfile.txt
Trigger-Pulse Delay (s) = 22.620000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -17.678 | 0 | 0 | 1.713 | 0.395
100 | 0 | 0 | -17.678 | 0 | 0 | 1.864 | 0.243
200 | 0 | 0 | -17.695 | 0 | 0 | 1.94 | 0.698
300 | 0 | 0 | -17.695 | 0 | 0 | 1.864 | 1.001
400 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.546
500 | 0 | 0 | -17.695 | 0 | 0 | 1.864 | 0.546
600 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.849
700 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.698
800 | 0 | 0 | -17.695 | 0 | 0 | 1.864 | 0.849
900 | 0 | 0 | -17.678 | 0 | 0 | 1.637 | 0.546
1000 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.395
1100 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.243
1200 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.395
1300 | 0 | 0 | -17.695 | 0 | 0 | 1.94 | 0.546
1400 | 0 | 0 | -17.695 | 0 | 0 | 1.864 | 1.001
1500 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.395
1600 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.698
1700 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.395
1800 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.698
1900 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.849
2000 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.395
2100 | 0 | 0 | -17.695 | 0 | 0 | 1.788 | 0.243
2200 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.546
2300 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.698
2400 | 0 | 0 | -17.695 | 0 | 0 | 1.561 | 0.849
2500 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
2600 | 0 | 0 | -17.695 | 0 | 0 | 1.713 | 0.698
2700 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.395
2800 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 0.395
2900 | 0 | 0 | -17.695 | 0 | 0 | 1.94 | 0.395
3000 | 0 | 0 | -17.728 | 0 | 0 | 1.94 | 0.546
3100 | 0 | 0 | -17.728 | 0 | 0 | 1.94 | 0.698
3200 | 0 | 0 | -17.728 | 0 | 0 | 1.561 | 0.546
3300 | 0 | 0 | -17.728 | 0 | 0 | 1.485 | 0.092
3400 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
3500 | 0 | 0 | -17.728 | 0 | 0 | 1.94 | 0.698
3600 | 0 | 0 | -17.728 | 0 | 0 | 1.864 | 1.001
3700 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
3800 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
3900 | 0 | 0 | -17.728 | 0 | 0 | 2.091 | 0.546
4000 | 0 | 0 | -17.728 | 0 | 0 | 1.94 | 0.546
4100 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.849
4200 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 0.849
4300 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
4400 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.243
4500 | 0 | 0 | -17.728 | 0 | 0 | 1.864 | 0.395
4600 | 0 | 0 | -17.728 | 0 | 0 | 1.94 | 0.546
4700 | 0 | 0 | -17.745 | 0 | 0 | 1.864 | 0.698
4800 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 1.001
4900 | 0 | 0 | -17.728 | 0 | 0 | 1.864 | 1.001
5000 | 0 | 0 | -17.728 | 0 | 0 | 2.091 | 0.395
5100 | 0 | 0 | -17.728 | 0 | 0 | 1.788 | 0.546
5200 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 0.546
5300 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 1.001
5400 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.546
5500 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.395
5600 | 0 | 0 | -17.745 | 0 | 0 | 1.864 | 0.243
5700 | 0 | 0 | -17.728 | 0 | 0 | 1.637 | 0.395
5800 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 0.546
5900 | 0 | 0 | -17.745 | 0 | 0 | 1.713 | 0.849
6000 | 0 | 0 | -17.728 | 0 | 0 | 1.713 | 0.698
6100 | 0 | 0 | -17.745 | 0 | 0 | 2.091 | 1.001
6200 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.849
6300 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.698
6400 | 0 | 0 | -17.745 | 0 | 0 | 1.637 | 0.395
6500 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.698
6600 | 0 | 0 | -17.745 | 0 | 0 | 1.864 | 0.849
6700 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.698
6800 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.698
6900 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.546
7000 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 1.001
7100 | 0 | 0 | -17.745 | 0 | 0 | 1.637 | 0.849
7200 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.243
7300 | 0 | 0 | -17.745 | 0 | 0 | 1.637 | 0.395
7400 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.546
7500 | 0 | 0 | -17.745 | 0 | 0 | 1.788 | 0.849
7600 | 0 | 0 | -17.745 | 0 | 0 | 1.637 | 0.546
7700 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.546
7800 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 1.001
7900 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.395
8000 | 0 | 0 | -17.762 | 0 | 0 | 1.485 | 0.546
8100 | 0 | 0 | -17.762 | 0 | 0 | 1.561 | 1.152
8200 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 1.001
8300 | 0 | 0 | -17.762 | 0 | 0 | 1.864 | 0.698
8400 | 0 | 0 | -17.745 | 0 | 0 | 1.864 | 0.698
8500 | 0 | 0 | -17.762 | 0 | 0 | 1.864 | 0.395
8600 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | 0.395
8700 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | 0.546
8800 | 0 | 0 | -17.762 | 0 | 0 | 1.864 | 0.546
8900 | 0 | 0 | -17.745 | 0 | 0 | 1.94 | 0.546
9000 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.849
9100 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.395
9200 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | 0.395
9300 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.546
9400 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.546
9500 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.849
9600 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.546
9700 | 0 | 0 | -17.762 | 0 | 0 | 1.864 | 0.698
9800 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | 0.395
9900 | 0 | 0 | -17.762 | 0 | 0 | 1.485 | 0.395
10000 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.698
10100 | 0 | 0 | -17.762 | 0 | 0 | 2.091 | 0.698
10200 | 0 | 0 | -17.779 | 0 | 0 | 1.864 | 0.849
10300 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | 0.395
10400 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.546
10500 | 0 | 0 | -17.779 | 0 | 0 | 1.561 | 0.395
10600 | 0 | 0 | -17.762 | 0 | 0 | 1.788 | 0.092
10700 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.243
10800 | 0 | 0 | -17.762 | 0 | 0 | 1.713 | -0.06
10900 | 0 | 0 | -17.779 | 0 | 0 | 1.713 | 0.395
11000 | 0 | 0 | -17.779 | 0 | 0 | 1.788 | 0.395
11100 | 0 | 0 | -17.762 | 0 | 0 | 1.94 | 0.698
11200 | 0 | 0 | -17.779 | 0 | 0 | 1.485 | 0.395
11300 | 0 | 0 | -17.779 | 0 | 0 | 1.864 | 0.698
11400 | 0 | 0 | -17.795 | 0 | 0 | 1.788 | 0.395
11500 | 0 | 0 | -17.779 | 0 | 0 | 1.561 | 0.092
11600 | 0 | 0 | -17.762 | 0 | 0 | 2.091 | 0.698
11700 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.395
11800 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.849
11900 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.546
12000 | 0 | 0 | -17.779 | 0 | 0 | 1.788 | 0.849
12100 | 0 | 0 | -17.779 | 0 | 0 | 1.713 | 0.395
12200 | 0 | 0 | -17.779 | 0 | 0 | 1.788 | 0.395
12300 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.395
12400 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.243
12500 | 0 | 0 | -17.779 | 0 | 0 | 1.788 | 0.546
12600 | 0 | 0 | -17.795 | 0 | 0 | 1.713 | 0.546
12700 | 0 | 0 | -17.779 | 0 | 0 | 1.788 | 0.395
12800 | 0 | 0 | -17.779 | 0 | 0 | 2.091 | 0.395
12900 | 0 | 0 | -17.795 | 0 | 0 | 1.94 | 0.698
13000 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.395
13100 | 0 | 0 | -17.779 | 0 | 0 | 1.713 | 0.698
13200 | 0 | 0 | -17.779 | 0 | 0 | 1.713 | 0.849
13300 | 0 | 0 | -17.779 | 0 | 0 | 1.94 | 0.546
13400 | 0 | 0 | -17.795 | 0 | 0 | 1.94 | 0.243
13500 | 0 | 0 | -17.795 | 0 | 0 | 1.864 | 0.546
13600 | 0 | 0 | -17.795 | 0 | 0 | 1.713 | 0.849
13700 | 0 | 0 | -17.795 | 0 | 0 | 1.713 | 0.698
13800 | 0 | 0 | -17.795 | 0 | 0 | 1.637 | 0.395
13900 | 0 | 0 | -17.795 | 0 | 0 | 1.864 | 0.395
14000 | 0 | 0 | -17.779 | 0 | 0 | 1.864 | 0.698
14100 | 0 | 0 | -17.795 | 0 | 0 | 1.864 | 0.092
14200 | 0 | 0 | -17.795 | 0 | 0 | 1.485 | 0.546
14300 | 0 | 0 | -17.795 | 0 | 0 | 1.637 | 0.395
14400 | 0 | 0 | -17.795 | 0 | 0 | 1.485 | 0.849
14500 | 0 | 0 | -17.812 | 0 | 0 | 1.94 | 0.395
14600 | 0 | 0 | -17.795 | 0 | 0 | 2.091 | 0.546
14700 | 0 | 0 | -17.795 | 0 | 0 | 1.94 | 0.395
14800 | 0 | 0 | -17.795 | 0 | 0 | 1.713 | 0.698
14900 | 0 | 0 | -17.795 | 0 | 0 | 1.788 | 0.849
15000 | 0 | 0 | -17.795 | 0 | 0 | 1.94 | 0.395
15100 | 0 | 0 | -17.795 | 0 | 0 | 1.561 | 0.546
15200 | 0 | 0 | -17.795 | 0 | 0 | 1.485 | 0.698
15300 | 0 | 0 | -17.795 | 0 | 0 | 1.788 | 0.849
15400 | 0 | 0 | -17.795 | 0 | 0 | 1.788 | 0.546
15500 | 0.04 | 0.04 | -17.795 | 0 | 193.469 | 1.864 | 0.546
15600 | 0.081 | 0.081 | -17.795 | 0 | 193.847 | 1.713 | 0.092
15700 | 0.121 | 0.133 | -17.795 | 0 | 194.605 | 1.637 | 0.698
15800 | 0.161 | 0.189 | -17.795 | 0 | 193.09 | 1.485 | 0.698
15900 | 0.202 | 0.25 | -17.795 | 0 | 193.09 | 1.485 | 1.152
16000 | 0.242 | 0.314 | -17.795 | 0 | 193.393 | 1.258 | 1.001
16100 | 0.282 | 0.4 | -17.812 | 0 | 195.135 | 1.334 | 0.849
16200 | 0.323 | 0.456 | -17.795 | -103.988 | 196.65 | 1.41 | 1.001
16300 | 0.363 | 0.549 | -17.812 | 103.988 | 193.166 | 1.334 | 1.001
16400 | 0.403 | 0.63 | -17.812 | -103.988 | 193.09 | 1.41 | 1.455
16500 | 0.443 | 0.697 | -17.795 | 0 | 195.059 | 1.485 | 2.365
16600 | 0.484 | 0.786 | -17.795 | 103.988 | 193.544 | 2.091 | 3.274
16700 | 0.524 | 0.879 | -17.795 | 0 | 193.469 | 3.607 | 6.001
16800 | 0.564 | 0.976 | -17.795 | 0 | 196.65 | 5.274 | 9.789
16900 | 0.605 | 1.026 | -17.745 | 0 | 193.09 | 8.759 | 15.244
17000 | 0.645 | 1.03 | -17.644 | 311.977 | 193.09 | 15.047 | 22.972
17100 | 0.685 | 1.039 | -17.544 | 623.942 | 194.453 | 24.669 | 34.488
17200 | 0.726 | 1.068 | -17.46 | 623.942 | 194.15 | 31.639 | 43.125
17300 | 0.766 | 1.05 | -17.326 | 519.954 | 193.166 | 40.806 | 55.247
17400 | 0.806 | 1.054 | -17.208 | 831.931 | 194.075 | 49.064 | 64.338
17500 | 0.847 | 1.078 | -17.108 | 727.931 | 193.014 | 55.201 | 72.824
17600 | 0.887 | 1.09 | -16.99 | 623.954 | 193.09 | 59.671 | 79.491
17700 | 0.927 | 1.106 | -16.873 | 727.931 | 193.09 | 65.732 | 86.613
17800 | 0.968 | 1.092 | -16.722 | 727.931 | 193.09 | 70.126 | 91.765
17900 | 1.008 | 1.115 | -16.605 | 935.919 | 193.317 | 73.763 | 96.159
18000 | 1.048 | 1.126 | -16.471 | 727.931 | 193.09 | 76.793 | 100.401
18100 | 1.089 | 1.14 | -16.335 | 831.931 | 194.756 | 79.597 | 104.341
18200 | 1.129 | 1.176 | -16.218 | 838.424 | 195.059 | 81.112 | 106.766
18300 | 1.169 | 1.166 | -16.05 | 727.931 | 194.378 | 82.93 | 109.341
18400 | 1.209 | 1.176 | -15.899 | 1039.908 | 193.166 | 85.43 | 112.22
18500 | 1.25 | 1.224 | -15.782 | 935.925 | 194.15 | 86.643 | 113.584
18600 | 1.29 | 1.226 | -15.614 | 727.931 | 194.832 | 87.855 | 116.615
18700 | 1.33 | 1.265 | -15.48 | 1039.908 | 193.166 | 84.9 | 121.767
18800 | 1.371 | 1.291 | -15.329 | 831.925 | 193.166 | 84.597 | 125.403
18900 | 1.411 | 1.271 | -15.128 | 935.925 | 193.393 | 85.733 | 127.373
19000 | 1.451 | 1.289 | -14.96 | 1247.878 | 193.09 | 86.415 | 129.04
19100 | 1.492 | 1.294 | -14.776 | 1039.913 | 193.166 | 87.097 | 130.1
19200 | 1.532 | 1.337 | -14.625 | 1143.89 | 194.681 | 87.552 | 131.919
19300 | 1.572 | 1.35 | -14.44 | 935.913 | 193.166 | 88.006 | 132.979
19400 | 1.613 | 1.367 | -14.256 | 1143.908 | 193.09 | 87.476 | 134.798
19500 | 1.653 | 1.39 | -14.071 | 1143.902 | 194.529 | 87.855 | 136.01
19600 | 1.693 | 1.363 | -13.837 | 1143.89 | 193.166 | 87.476 | 137.525
19700 | 1.734 | 1.392 | -13.652 | 1455.873 | 193.393 | 88.991 | 137.828
19800 | 1.774 | 1.409 | -13.451 | 1143.902 | 193.317 | 89.219 | 137.828
19900 | 1.814 | 1.412 | -13.233 | 1247.884 | 193.999 | 88.84 | 138.889
20000 | 1.855 | 1.437 | -13.032 | 1351.879 | 193.847 | 88.915 | 139.647
20100 | 1.895 | 1.482 | -12.847 | 1247.89 | 194.756 | 88.915 | 140.253
20200 | 1.935 | 1.5 | -12.629 | 1143.896 | 193.166 | 87.173 | 141.616
20300 | 1.975 | 1.501 | -12.394 | 1351.879 | 193.166 | 87.324 | 143.283
20400 | 2.016 | 1.507 | -12.159 | 1455.873 | 193.393 | 86.946 | 144.798
20500 | 2.056 | 1.518 | -11.924 | 1462.366 | 194.15 | 87.249 | 145.253
20600 | 2.096 | 1.55 | -11.706 | 1455.873 | 194.832 | 87.249 | 145.708
20700 | 2.137 | 1.553 | -11.454 | 1351.879 | 194.983 | 86.264 | 147.071
20800 | 2.177 | 1.559 | -11.203 | 1559.861 | 193.317 | 86.264 | 147.374
20900 | 2.217 | 1.603 | -10.985 | 1559.861 | 194.378 | 86.34 | 147.98
21000 | 2.258 | 1.567 | -10.683 | 1351.879 | 193.166 | 85.355 | 148.587
21100 | 2.298 | 1.619 | -10.465 | 1871.832 | 193.014 | 85.582 | 148.89
21200 | 2.338 | 1.642 | -10.213 | 1351.879 | 193.166 | 85.43 | 149.496
21300 | 2.379 | 1.685 | -9.979 | 1559.867 | 193.014 | 83.991 | 151.617
21400 | 2.419 | 1.666 | -9.677 | 1455.867 | 194.756 | 83.006 | 152.223
21500 | 2.419 | 1.639 | -9.408 | 1871.832 | 196.423 | 83.082 | 153.89
21600 | 2.419 | 1.596 | -9.123 | 1663.85 | 193.544 | 84.597 | 153.587
21700 | 2.419 | 1.57 | -8.855 | 1767.844 | 193.09 | 85.658 | 151.617
21800 | 2.419 | 1.527 | -8.57 | 1663.856 | 196.801 | 87.552 | 150.556
21900 | 2.419 | 1.55 | -8.352 | 1767.838 | 194.302 | 88.309 | 149.193
22000 | 2.419 | 1.541 | -8.1 | 1351.879 | 193.09 | 88.082 | 148.435
22100 | 2.419 | 1.513 | -7.831 | 1559.861 | 193.393 | 87.4 | 148.435
22200 | 2.419 | 1.537 | -7.613 | 1670.355 | 193.544 | 88.082 | 147.526
22300 | 2.419 | 1.544 | -7.378 | 1351.876 | 193.166 | 87.855 | 146.768
22400 | 2.419 | 1.535 | -7.127 | 1455.87 | 193.166 | 86.946 | 147.223
22500 | 2.419 | 1.542 | -6.892 | 1559.867 | 193.317 | 87.324 | 147.677
22600 | 2.419 | 1.515 | -6.624 | 1455.87 | 197.256 | 87.324 | 147.374
22700 | 2.419 | 1.523 | -6.389 | 1663.85 | 192.863 | 87.476 | 147.677
22800 | 2.419 | 1.53 | -6.154 | 1455.87 | 194.529 | 88.082 | 146.92
22900 | 2.419 | 1.554 | -5.936 | 1455.87 | 194.756 | 87.627 | 147.071
23000 | 2.419 | 1.527 | -5.668 | 1351.882 | 209.153 | 86.87 | 147.223
23100 | 2.298 | 1.413 | -5.433 | 1663.85 | 206.577 | 87.173 | 147.829
23200 | 2.177 | 1.304 | -5.215 | 1455.87 | 206.426 | 89.9 | 145.253
23300 | 2.056 | 1.183 | -4.997 | 1351.882 | 206.502 | 94.522 | 141.465
23400 | 1.935 | 1.083 | -4.812 | 1351.876 | 206.35 | 96.189 | 137.677
23500 | 1.814 | 0.988 | -4.645 | 1143.896 | 210.819 | 96.416 | 132.676
23600 | 1.693 | 0.931 | -4.527 | 1039.911 | 211.046 | 95.961 | 128.585
23700 | 1.572 | 0.862 | -4.41 | 727.934 | 209.38 | 93.613 | 123.433
23800 | 1.451 | 0.831 | -4.343 | 727.936 | 206.502 | 92.097 | 118.888
23900 | 1.33 | 0.772 | -4.259 | 415.962 | 206.426 | 88.461 | 115.251
24000 | 1.209 | 0.7 | -4.175 | 519.957 | 206.502 | 85.203 | 109.796
24100 | 1.089 | 0.633 | -4.108 | 519.951 | 206.653 | 82.021 | 105.25
24200 | 0.968 | 0.57 | -4.058 | 415.962 | 206.426 | 78.384 | 98.735
24300 | 0.847 | 0.513 | -4.024 | 311.974 | 211.501 | 74.445 | 93.734
24400 | 0.726 | 0.443 | -3.991 | 207.983 | 209.91 | 70.051 | 89.037
24500 | 0.605 | 0.378 | -3.974 | 207.978 | 206.35 | 65.656 | 83.128
24600 | 0.484 | 0.284 | -3.94 | 103.99 | 206.426 | 62.55 | 77.673
24700 | 0.363 | 0.211 | -3.94 | 207.984 | 206.502 | 58.913 | 74.491
24800 | 0.242 | 0.11 | -3.924 | 0 | 206.274 | 56.489 | 71.006
24900 | 0.121 | 0 | -3.907 | 103.988 | 209.607 | 53.459 | 67.824