## Data
Log File Data
2007-11-03 12:07 | MERIT Configuration Data
Test Description: shot 10010, 5T, 6TP, 4 bunches, 2+2, SMD = 25 microsec
Mode = Triggered
LogFile = C:\MERIT Data\071103 logfile.txt
Trigger-Pulse Delay (s) = 22.620000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.546
100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
200 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
300 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.849
400 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.546
500 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
600 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.698
700 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 1.304
800 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 1.152
900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
1000 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
1100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
1200 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.546
1300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 1.001
1400 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
1500 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
1600 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.698
1700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 1.152
1800 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
1900 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.546
2000 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
2100 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 1.304
2200 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.849
2300 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.698
2400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 1.152
2500 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
2600 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.849
2700 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
2800 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
2900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
3000 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
3100 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
3200 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.546
3300 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.698
3400 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 1.304
3500 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
3600 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 1.001
3700 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.849
3800 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.698
3900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 1.152
4000 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.849
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
4200 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
4300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 1.152
4400 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
4500 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
4600 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.849
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
4800 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.395
4900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.395
5000 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
5100 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 1.001
5200 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 1.001
5300 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 1.152
5400 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
5500 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.849
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.849
5700 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.849
5800 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
5900 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
6000 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.546
6100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.849
6200 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
6300 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
6400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 1.001
6500 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.849
6600 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.243
6700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
6800 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.849
6900 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
7000 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
7100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
7200 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 1.001
7300 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
7400 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 1.001
7500 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.849
7600 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 1.001
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.395
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.546
7900 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
8000 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.849
8100 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 1.152
8200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
8300 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.546
8400 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 1.001
8500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
8600 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.546
8700 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.849
8800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
8900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
9000 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.395
9100 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.698
9200 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 1.304
9300 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 1.001
9400 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.849
9500 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
9600 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 1.001
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.849
9900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.698
10000 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.698
10100 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.698
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 1.001
10300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
10400 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.698
10500 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.546
10600 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.546
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.849
10800 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 1.152
10900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
11000 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
11100 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.546
11200 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 1.001
11300 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.698
11400 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 1.001
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.698
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.849
11700 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.546
11800 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 1.001
11900 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.698
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.243
12100 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.546
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.546
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.698
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 1.152
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.849
12900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
13000 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.698
13100 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.849
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
13300 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.849
13400 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
13500 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.849
13600 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.698
13700 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.243
13800 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.849
13900 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 1.304
14000 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.698
14100 | 0 | 0 | -14.96 | 0 | 0 | 1.864 | 0.546
14200 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.243
14300 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.546
14400 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
14500 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
14600 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.698
14700 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.698
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.864 | 0.849
14900 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.698
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.395
15100 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.698
15200 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.698
15300 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.395
15400 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
15500 | 0.04 | 0.04 | -14.96 | 0 | 237.941 | 1.788 | 1.001
15600 | 0.081 | 0.081 | -14.96 | 0 | 239.077 | 1.485 | 0.395
15700 | 0.121 | 0.133 | -14.96 | 0 | 239.536 | 1.485 | 0.546
15800 | 0.161 | 0.206 | -14.977 | 0 | 237.941 | 1.485 | 0.243
15900 | 0.202 | 0.267 | -14.977 | -104 | 238.016 | 1.334 | 0.849
16000 | 0.242 | 0.314 | -14.96 | 0 | 238.622 | 1.182 | 0.849
16100 | 0.282 | 0.4 | -14.977 | 104 | 239.99 | 1.41 | 1.001
16200 | 0.323 | 0.456 | -14.96 | -104 | 238.395 | 1.41 | 1.304
16300 | 0.363 | 0.532 | -14.96 | 104 | 238.092 | 1.334 | 0.849
16400 | 0.403 | 0.613 | -14.96 | 0 | 238.319 | 1.334 | 1.759
16500 | 0.443 | 0.697 | -14.96 | 0 | 240.824 | 1.258 | 1.91
16600 | 0.484 | 0.786 | -14.96 | 0 | 241.127 | 2.091 | 2.971
16700 | 0.524 | 0.879 | -14.96 | 0 | 238.016 | 3.455 | 5.244
16800 | 0.564 | 0.976 | -14.96 | 0 | 238.774 | 5.274 | 9.335
16900 | 0.605 | 1.009 | -14.893 | 0 | 238.471 | 9.668 | 16.153
17000 | 0.645 | 1.03 | -14.809 | 415.959 | 239.077 | 15.805 | 24.033
17100 | 0.685 | 1.022 | -14.692 | 519.954 | 239.839 | 25.578 | 35.094
17200 | 0.726 | 1.034 | -14.591 | 727.936 | 238.395 | 33.684 | 45.246
17300 | 0.766 | 1.067 | -14.507 | 623.948 | 237.865 | 40.73 | 54.186
17400 | 0.806 | 1.054 | -14.373 | 519.942 | 238.622 | 48.307 | 64.49
17500 | 0.847 | 1.078 | -14.273 | 831.937 | 238.395 | 54.974 | 72.218
17600 | 0.887 | 1.09 | -14.155 | 623.936 | 238.622 | 60.201 | 79.491
17700 | 0.927 | 1.089 | -14.021 | 727.936 | 238.395 | 65.884 | 87.067
17800 | 0.968 | 1.092 | -13.887 | 831.925 | 238.395 | 70.581 | 92.371
17900 | 1.008 | 1.115 | -13.77 | 831.931 | 238.698 | 73.763 | 96.613
18000 | 1.048 | 1.126 | -13.635 | 727.936 | 238.244 | 77.248 | 100.401
18100 | 1.089 | 1.141 | -13.501 | 831.925 | 242.717 | 79.748 | 103.735
18200 | 1.129 | 1.177 | -13.384 | 831.925 | 238.244 | 81.415 | 107.22
18300 | 1.169 | 1.167 | -13.216 | 727.936 | 238.622 | 83.612 | 110.099
18400 | 1.209 | 1.194 | -13.082 | 1039.902 | 238.471 | 86.188 | 113.13
18500 | 1.25 | 1.191 | -12.914 | 831.925 | 238.622 | 87.627 | 114.948
18600 | 1.29 | 1.227 | -12.78 | 1039.913 | 238.547 | 88.006 | 117.675
18700 | 1.33 | 1.249 | -12.629 | 831.925 | 237.789 | 83.991 | 123.282
18800 | 1.371 | 1.275 | -12.478 | 935.913 | 238.168 | 84.673 | 125.1
18900 | 1.411 | 1.289 | -12.311 | 935.913 | 238.395 | 85.582 | 128.434
19000 | 1.451 | 1.306 | -12.142 | 1039.913 | 238.471 | 86.491 | 129.646
19100 | 1.492 | 1.294 | -11.941 | 1046.401 | 238.319 | 87.097 | 131.616
19200 | 1.532 | 1.32 | -11.773 | 1247.896 | 238.016 | 88.006 | 132.828
19300 | 1.572 | 1.333 | -11.588 | 1039.902 | 237.941 | 88.082 | 133.131
19400 | 1.613 | 1.35 | -11.404 | 1143.902 | 238.092 | 88.158 | 134.798
19500 | 1.653 | 1.388 | -11.236 | 1143.896 | 238.016 | 88.082 | 135.404
19600 | 1.693 | 1.413 | -11.052 | 1039.913 | 238.092 | 87.4 | 137.071
19700 | 1.734 | 1.409 | -10.834 | 1143.89 | 238.092 | 87.703 | 138.283
19800 | 1.774 | 1.392 | -10.599 | 1351.879 | 238.244 | 88.158 | 139.192
19900 | 1.814 | 1.429 | -10.415 | 1455.873 | 238.547 | 89.294 | 139.647
20000 | 1.855 | 1.42 | -10.18 | 1143.902 | 238.395 | 89.143 | 139.798
20100 | 1.895 | 1.465 | -9.995 | 1455.867 | 238.244 | 88.461 | 141.465
20200 | 1.935 | 1.464 | -9.761 | 1143.902 | 238.698 | 88.234 | 141.919
20300 | 1.975 | 1.501 | -9.559 | 1455.867 | 237.865 | 87.855 | 143.132
20400 | 2.016 | 1.491 | -9.308 | 1247.89 | 238.319 | 87.552 | 144.041
20500 | 2.056 | 1.519 | -9.09 | 1559.861 | 238.395 | 87.097 | 145.253
20600 | 2.096 | 1.501 | -8.821 | 1351.879 | 238.319 | 87.173 | 145.253
20700 | 2.137 | 1.554 | -8.62 | 1663.85 | 238.168 | 87.173 | 145.859
20800 | 2.177 | 1.594 | -8.402 | 1247.896 | 237.941 | 87.324 | 146.162
20900 | 2.217 | 1.571 | -8.117 | 1351.873 | 238.016 | 85.355 | 147.829
21000 | 2.258 | 1.584 | -7.865 | 1767.844 | 238.168 | 85.506 | 148.89
21100 | 2.298 | 1.603 | -7.613 | 1566.361 | 238.395 | 85.733 | 149.496
21200 | 2.338 | 1.609 | -7.345 | 1559.858 | 238.092 | 85.127 | 150.253
21300 | 2.379 | 1.652 | -7.11 | 1663.856 | 238.395 | 84.749 | 151.314
21400 | 2.419 | 1.649 | -6.825 | 1455.87 | 238.395 | 83.839 | 151.769
21500 | 2.419 | 1.623 | -6.556 | 1767.844 | 238.092 | 83.385 | 153.284
21600 | 2.419 | 1.596 | -6.288 | 1663.85 | 237.941 | 84.673 | 152.981
21700 | 2.419 | 1.57 | -6.02 | 1663.853 | 238.244 | 85.885 | 151.617
21800 | 2.419 | 1.527 | -5.735 | 1663.85 | 238.547 | 86.643 | 151.465
21900 | 2.419 | 1.551 | -5.517 | 1767.844 | 238.168 | 88.309 | 150.102
22000 | 2.419 | 1.507 | -5.232 | 1351.882 | 238.547 | 87.097 | 149.041
22100 | 2.419 | 1.548 | -5.03 | 1767.838 | 237.865 | 88.006 | 148.435
22200 | 2.419 | 1.522 | -4.762 | 1247.89 | 238.547 | 86.491 | 147.98
22300 | 2.419 | 1.562 | -4.561 | 1663.85 | 238.547 | 87.4 | 148.435
22400 | 2.419 | 1.536 | -4.293 | 1247.893 | 237.941 | 86.491 | 147.677
22500 | 2.419 | 1.526 | -4.041 | 1663.85 | 238.168 | 86.643 | 148.89
22600 | 2.419 | 1.55 | -3.823 | 1559.858 | 239.536 | 87.627 | 148.435
22700 | 2.419 | 1.523 | -3.554 | 1351.882 | 235.138 | 86.794 | 148.435
22800 | 2.419 | 1.53 | -3.319 | 1670.353 | 187.182 | 86.718 | 148.435
22900 | 2.419 | 1.52 | -3.067 | 1455.866 | 250.973 | 87.4 | 147.829
23000 | 2.419 | 1.527 | -2.833 | 1559.866 | 252.413 | 87.324 | 146.92
23100 | 2.298 | 1.43 | -2.615 | 1455.87 | 253.852 | 87.097 | 148.132
23200 | 2.177 | 1.271 | -2.346 | 1351.879 | 252.337 | 88.764 | 146.92
23300 | 2.056 | 1.183 | -2.162 | 1663.851 | 254.534 | 95.734 | 142.829
23400 | 1.935 | 1.083 | -1.977 | 1143.899 | 252.64 | 96.946 | 137.677
23500 | 1.814 | 1.005 | -1.826 | 1143.897 | 251.352 | 96.264 | 133.889
23600 | 1.693 | 0.931 | -1.692 | 935.917 | 255.594 | 95.583 | 129.191
23700 | 1.572 | 0.845 | -1.558 | 831.927 | 253.17 | 93.916 | 125.252
23800 | 1.451 | 0.798 | -1.474 | 831.924 | 252.867 | 92.097 | 120.706
23900 | 1.33 | 0.755 | -1.407 | 519.955 | 251.731 | 88.612 | 115.251
24000 | 1.209 | 0.683 | -1.323 | 415.962 | 251.731 | 85.658 | 111.16
24100 | 1.089 | 0.616 | -1.256 | 519.954 | 252.564 | 81.718 | 105.705
24200 | 0.968 | 0.57 | -1.223 | 415.962 | 251.504 | 78.006 | 100.098
24300 | 0.847 | 0.496 | -1.172 | 207.981 | 254.155 | 74.066 | 94.037
24400 | 0.726 | 0.426 | -1.139 | 311.973 | 255.67 | 69.596 | 88.886
24500 | 0.605 | 0.344 | -1.105 | 207.981 | 257.639 | 65.656 | 84.037
24600 | 0.484 | 0.284 | -1.105 | 207.981 | 252.413 | 62.55 | 79.036
24700 | 0.363 | 0.194 | -1.088 | 0 | 251.579 | 59.292 | 75.097
24800 | 0.242 | 0.093 | -1.072 | 103.992 | 254.609 | 56.489 | 71.763
24900 | 0.121 | 0 | -1.055 | 103.989 | 251.807 | 54.292 | 68.884