## Data
Log File Data
2007-11-05 10:38 | MERIT Configuration Data
Test Description: 11006 6TP 4bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071105 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.698
100 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.698
200 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
300 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
400 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
500 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.849
600 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
700 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
800 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
900 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
1000 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
1100 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
1200 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.546
1300 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.698
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
1500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
1600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.546
1700 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.698
1800 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.546
1900 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.698
2000 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
2100 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.243
2200 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.243
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.243
2400 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | -0.06
2500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | -0.06
2600 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
2700 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
2800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.849
2900 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
3100 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
3200 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.698
3300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
3400 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.092
3500 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.698
3600 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
3700 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
3800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.849
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.698
4000 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
4200 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.243
4400 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
4500 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
4600 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.698
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
4800 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
4900 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
5000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.243
5100 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.395
5200 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.698
5300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
5400 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.243
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
5700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
5800 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.395
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
6100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
6200 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.698
6300 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.395
6400 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
6500 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
6600 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.546
6700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
6800 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
6900 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
7000 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
7100 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.546
7200 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
7300 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.698
7400 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
7500 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
7600 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.395
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
7900 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.849
8000 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
8100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
8200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
8300 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
8400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
8500 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.06
8600 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
8700 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.849
8800 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
8900 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.698
9000 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.698
9100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
9200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
9300 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.395
9400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.698
9500 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
9600 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.698
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.698
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.698
9900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
10000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
10100 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | -0.363
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.092
10300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
10400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
10500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
10600 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.395
10900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.546
11000 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.698
11100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
11200 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
11300 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.243
11400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.849
11700 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 1.001
11800 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.698
11900 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.363
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.546
12200 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.698
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.546
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.698
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
12900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
13000 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
13100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.092
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.698
13300 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
13400 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.243
13500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
13600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
13700 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
13800 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
13900 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
14000 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
14100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.395
14200 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.546
14300 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.395
14400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
14500 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
14600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.092
14700 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
14900 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.546
15100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
15200 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.698
15300 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
15400 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.395
15500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
15600 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.698
15700 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.395
15800 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
15900 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
16000 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.849
16100 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.698
16200 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
16300 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.092
16400 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
16500 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
16600 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | 0.698
16700 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.698
16800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.698
16900 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
17000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
17100 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.849
17200 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.395
17300 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.849
17400 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.849
17500 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
17600 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
17700 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.698
17800 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.546
17900 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.546
18000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
18100 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.243
18200 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.698
18300 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.06
18400 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
18500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.546
18600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.849
18700 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
18800 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
18900 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
19000 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.698
19100 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 1.001
19200 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
19300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.395
19400 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
19500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
19600 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
19700 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.395
19800 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
19900 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.546
20000 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
20100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
20200 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
20300 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
20400 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
20500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
20600 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
20700 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
20800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
20900 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | -0.06
21000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
21100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.546
21200 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
21300 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.546
21400 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
21500 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.092
21600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.06
21700 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.546
21800 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
21900 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.243
22000 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.546
22100 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.395
22200 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
22300 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.395
22400 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.092
22500 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
22600 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.698
22700 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.698
22800 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.243
22900 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.243
23000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
23100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
23200 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
23300 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.395
23400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.092
23500 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.092
23600 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.698
23700 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
23800 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.243
23900 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.395
24000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
24100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.546
24200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
24300 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
24400 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
24500 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 1.001
24600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.092
24700 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.698
24800 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
24900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
25000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
25100 | 0.04 | 0.04 | -15.027 | 0 | 257.185 | 1.182 | -0.06
25200 | 0.081 | 0.064 | -15.011 | 0 | 258.548 | 1.258 | 0.395
25300 | 0.121 | 0.133 | -15.027 | 103.988 | 258.397 | 1.182 | 0.546
25400 | 0.161 | 0.189 | -15.027 | -103.988 | 258.548 | 1.258 | 0.243
25500 | 0.202 | 0.25 | -15.027 | 0 | 258.548 | 1.41 | 0.395
25600 | 0.242 | 0.314 | -15.027 | 0 | 258.548 | 1.41 | 0.849
25700 | 0.282 | 0.383 | -15.027 | 0 | 258.548 | 1.182 | 1.001
25800 | 0.323 | 0.456 | -15.027 | 0 | 258.548 | 0.955 | 0.849
25900 | 0.363 | 0.532 | -15.027 | 0 | 258.548 | 0.955 | 0.849
26000 | 0.403 | 0.613 | -15.027 | 0 | 258.548 | 0.955 | 1.001
26100 | 0.443 | 0.697 | -15.027 | 0 | 258.472 | 1.182 | 1.607
26200 | 0.484 | 0.786 | -15.027 | 0 | 258.548 | 1.94 | 3.274
26300 | 0.524 | 0.879 | -15.027 | 0 | 258.548 | 3.001 | 4.789
26400 | 0.564 | 0.976 | -15.027 | 0 | 258.548 | 4.667 | 8.577
26500 | 0.605 | 1.009 | -14.96 | 0 | 258.548 | 9.213 | 14.335
26600 | 0.645 | 1.03 | -14.876 | 415.965 | 258.548 | 15.577 | 22.821
26700 | 0.685 | 1.039 | -14.776 | 519.948 | 258.548 | 23.153 | 32.215
26800 | 0.726 | 1.051 | -14.675 | 623.942 | 258.548 | 32.397 | 44.034
26900 | 0.766 | 1.067 | -14.575 | 623.948 | 258.548 | 39.594 | 53.58
27000 | 0.806 | 1.054 | -14.44 | 623.948 | 258.548 | 47.852 | 63.278
27100 | 0.847 | 1.095 | -14.357 | 831.925 | 258.548 | 53.837 | 70.703
27200 | 0.887 | 1.09 | -14.222 | 519.954 | 258.094 | 59.823 | 78.582
27300 | 0.927 | 1.122 | -14.122 | 831.925 | 258.548 | 63.686 | 84.34
27400 | 0.968 | 1.108 | -13.971 | 623.948 | 258.548 | 68.763 | 90.401
27500 | 1.008 | 1.132 | -13.853 | 935.913 | 258.548 | 72.551 | 95.098
27600 | 1.048 | 1.16 | -13.736 | 727.936 | 258.548 | 75.96 | 99.189
27700 | 1.089 | 1.175 | -13.602 | 727.936 | 255.064 | 79.066 | 104.038
27800 | 1.129 | 1.16 | -13.434 | 831.919 | 256.427 | 81.718 | 107.22
27900 | 1.169 | 1.167 | -13.283 | 1039.908 | 254.685 | 84.294 | 110.251
28000 | 1.209 | 1.194 | -13.149 | 935.925 | 257.109 | 85.733 | 111.766
28100 | 1.25 | 1.191 | -12.981 | 831.925 | 258.245 | 87.627 | 114.039
28200 | 1.29 | 1.243 | -12.864 | 1039.902 | 257.412 | 88.006 | 116.009
28300 | 1.33 | 1.266 | -12.713 | 727.936 | 258.548 | 84.067 | 121.918
28400 | 1.371 | 1.292 | -12.562 | 935.913 | 258.548 | 84.142 | 124.797
28500 | 1.411 | 1.289 | -12.378 | 935.925 | 258.548 | 85.582 | 127.525
28600 | 1.451 | 1.307 | -12.21 | 1143.89 | 258.548 | 86.567 | 129.04
28700 | 1.492 | 1.328 | -12.041 | 1039.913 | 258.548 | 87.4 | 130.555
28800 | 1.532 | 1.32 | -11.84 | 1046.401 | 258.548 | 87.4 | 132.525
28900 | 1.572 | 1.35 | -11.672 | 1247.896 | 258.548 | 88.688 | 133.282
29000 | 1.613 | 1.35 | -11.471 | 1039.902 | 258.548 | 88.006 | 134.343
29100 | 1.653 | 1.388 | -11.303 | 1247.89 | 258.548 | 88.082 | 135.555
29200 | 1.693 | 1.396 | -11.102 | 1039.902 | 258.548 | 88.385 | 136.313
29300 | 1.734 | 1.426 | -10.918 | 1247.896 | 258.397 | 88.158 | 137.677
29400 | 1.774 | 1.409 | -10.683 | 1143.902 | 258.548 | 88.612 | 138.283
29500 | 1.814 | 1.412 | -10.465 | 1455.861 | 258.548 | 88.84 | 139.798
29600 | 1.855 | 1.47 | -10.297 | 1351.879 | 258.548 | 89.37 | 139.798
29700 | 1.895 | 1.449 | -10.046 | 1039.913 | 258.548 | 88.309 | 141.01
29800 | 1.935 | 1.464 | -9.828 | 1559.861 | 258.548 | 88.006 | 141.768
29900 | 1.975 | 1.484 | -9.61 | 1351.873 | 258.548 | 88.915 | 141.919
30000 | 2.016 | 1.491 | -9.375 | 1351.885 | 257.033 | 88.234 | 143.132
30100 | 2.056 | 1.553 | -9.19 | 1455.867 | 257.866 | 88.082 | 143.435
30200 | 2.096 | 1.535 | -8.922 | 1143.902 | 255.897 | 85.658 | 145.405
30300 | 2.137 | 1.537 | -8.671 | 1663.856 | 258.548 | 86.794 | 146.617
30400 | 2.177 | 1.577 | -8.453 | 1559.855 | 258.548 | 87.324 | 146.617
30500 | 2.217 | 1.638 | -8.251 | 1351.879 | 258.245 | 86.415 | 147.071
30600 | 2.258 | 1.602 | -7.949 | 1247.89 | 258.548 | 85.203 | 148.587
30700 | 2.298 | 1.586 | -7.663 | 1871.832 | 258.548 | 85.43 | 150.405
30800 | 2.338 | 1.659 | -7.462 | 1774.343 | 258.548 | 86.264 | 149.647
30900 | 2.379 | 1.635 | -7.16 | 1247.887 | 258.548 | 85.43 | 150.405
31000 | 2.419 | 1.649 | -6.892 | 1871.832 | 258.548 | 83.764 | 151.617
31100 | 2.419 | 1.623 | -6.624 | 1663.856 | 258.548 | 84.749 | 152.072
31200 | 2.419 | 1.596 | -6.355 | 1663.85 | 254.988 | 85.43 | 151.769
31300 | 2.419 | 1.57 | -6.087 | 1663.853 | 255.518 | 86.112 | 151.162
31400 | 2.419 | 1.577 | -5.852 | 1663.85 | 257.563 | 87.173 | 150.102
31500 | 2.419 | 1.567 | -5.601 | 1455.87 | 255.897 | 87.173 | 149.344
31600 | 2.419 | 1.541 | -5.332 | 1559.861 | 258.548 | 86.87 | 149.496
31700 | 2.419 | 1.514 | -5.064 | 1663.853 | 258.548 | 88.082 | 148.283
31800 | 2.419 | 1.522 | -4.829 | 1663.85 | 258.548 | 88.688 | 147.526
31900 | 2.419 | 1.495 | -4.561 | 1455.87 | 258.548 | 88.385 | 146.768
32000 | 2.419 | 1.519 | -4.343 | 1663.856 | 258.397 | 88.84 | 146.768
32100 | 2.419 | 1.509 | -4.091 | 1351.876 | 258.548 | 88.082 | 146.617
32200 | 2.419 | 1.55 | -3.89 | 1559.864 | 258.548 | 88.158 | 146.314
32300 | 2.419 | 1.574 | -3.672 | 1247.887 | 225.215 | 87.173 | 146.92
32400 | 2.419 | 1.563 | -3.419 | 1351.882 | 253.397 | 85.582 | 147.829
32500 | 2.419 | 1.537 | -3.151 | 1566.359 | 226.579 | 86.264 | 148.435
32600 | 2.419 | 1.544 | -2.916 | 1663.848 | 257.563 | 87.173 | 148.283
32700 | 2.298 | 1.397 | -2.648 | 1455.871 | 244.232 | 87.476 | 148.132
32800 | 2.177 | 1.271 | -2.413 | 1663.854 | 256.503 | 91.491 | 146.465
32900 | 2.056 | 1.183 | -2.229 | 1455.868 | 250.67 | 96.037 | 141.01
33000 | 1.935 | 1.066 | -2.028 | 1143.9 | 247.641 | 96.416 | 137.071
33100 | 1.814 | 1.005 | -1.893 | 1247.886 | 244.611 | 96.719 | 133.434
33200 | 1.693 | 0.948 | -1.776 | 831.928 | 252.413 | 96.037 | 128.737
33300 | 1.572 | 0.879 | -1.659 | 727.935 | 244.99 | 93.916 | 123.433
33400 | 1.451 | 0.815 | -1.558 | 727.936 | 247.262 | 91.794 | 119.948
33500 | 1.33 | 0.755 | -1.474 | 623.943 | 242.111 | 88.764 | 116.009
33600 | 1.209 | 0.7 | -1.407 | 519.955 | 239.763 | 85.506 | 110.402
33700 | 1.089 | 0.65 | -1.357 | 415.962 | 246.959 | 82.173 | 105.705
33800 | 0.968 | 0.57 | -1.29 | 311.973 | 258.548 | 78.991 | 99.947
33900 | 0.847 | 0.513 | -1.256 | 415.962 | 226.2 | 74.521 | 94.947
34000 | 0.726 | 0.426 | -1.206 | 207.981 | 257.639 | 70.354 | 89.34
34100 | 0.605 | 0.361 | -1.189 | 311.973 | 255.139 | 66.111 | 83.734
34200 | 0.484 | 0.284 | -1.172 | 103.989 | 249.686 | 62.702 | 79.339
34300 | 0.363 | 0.194 | -1.156 | 103.991 | 241.127 | 59.368 | 75.4
34400 | 0.242 | 0.093 | -1.139 | 103.992 | 258.548 | 56.716 | 72.066
34500 | 0.121 | 0 | -1.139 | 103.989 | 228.624 | 54.368 | 68.127