## Data
Log File Data
2007-11-05 14:36 | MERIT Configuration Data
Test Description: 11021 3.75TP 16bunches 10T
Mode = Triggered
LogFile = C:\MERIT Data\071105 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.092
100 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.243
200 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.363
300 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
400 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.243
500 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
600 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
700 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.092
800 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
900 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.666
1000 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.363
1100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
1200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
1300 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.092
1400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.395
1500 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
1600 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
1700 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
1800 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
1900 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
2000 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.363
2100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
2200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
2300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.514
2400 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
2500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.817
2600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.666
2700 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
2800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
2900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
3000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.514
3100 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
3200 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.06
3300 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.363
3400 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.092
3500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
3600 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.06
3700 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
3800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.06
3900 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.06
4000 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
4100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
4200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
4300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.363
4400 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
4500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
4600 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.363
4700 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
4800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
4900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
5000 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
5100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
5200 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
5300 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
5400 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.514
5500 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.363
5600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
5700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.514
5800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.395
5900 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
6000 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
6100 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
6200 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.514
6300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.514
6400 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.666
6500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
6600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
6700 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
6800 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.092
6900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
7000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
7100 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
7200 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
7300 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.092
7400 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.092
7500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.06
7600 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.092
7700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
7800 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
7900 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | -0.666
8000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
8100 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
8200 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
8300 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
8400 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
8500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
8600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
8700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
8800 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
8900 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.514
9000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.514
9100 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
9200 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.06
9300 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.092
9400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.092
9500 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
9600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
9700 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
9800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
9900 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
10000 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
10100 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.092
10200 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.06
10300 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
10400 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
10500 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
10600 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
10700 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
10800 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
10900 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
11000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.363
11100 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
11200 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.092
11300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
11400 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
11500 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.243
11600 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.243
11700 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.092
11800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
11900 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.363
12000 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.06
12100 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
12200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
12300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
12400 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
12500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
12600 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
12700 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
12800 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
12900 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
13000 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
13100 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.514
13200 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | -0.06
13300 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
13400 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
13500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
13600 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | -0.06
13700 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
13800 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
13900 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
14000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.092
14100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
14200 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
14300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.06
14400 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.092
14500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | -0.06
14600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.092
14700 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.243
14800 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.243
14900 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
15000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
15100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.666
15200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
15300 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.092
15400 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
15500 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.092
15600 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.363
15700 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
15800 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.243
15900 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.092
16000 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
16100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
16200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
16300 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | -0.06
16400 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | -0.363
16500 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | -0.363
16600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.243
16700 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
16800 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.243
16900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
17000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.092
17100 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
17200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
17300 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.243
17400 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
17500 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
17600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
17700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
17800 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
17900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
18000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
18100 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.06
18200 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
18300 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
18400 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.363
18500 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
18600 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
18700 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
18800 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.363
18900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
19000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
19100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
19200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
19300 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
19400 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
19500 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | -0.06
19600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.363
19700 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
19800 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.514
19900 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
20000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
20100 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
20200 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
20300 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
20400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.514
20500 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
20600 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
20700 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.395
20800 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.395
20900 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.363
21000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
21100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
21200 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.092
21300 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
21400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
21500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
21600 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
21700 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.546
21800 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
21900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.363
22000 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.363
22100 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | -0.06
22200 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.514
22300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.395
22400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
22500 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.092
22600 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
22700 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
22800 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
22900 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | -0.06
23000 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.092
23100 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
23200 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.363
23300 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.363
23400 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
23500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.243
23600 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
23700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
23800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.514
23900 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.06
24000 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
24100 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.363
24200 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.06
24300 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.363
24400 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.243
24500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
24600 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | -0.06
24700 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.06
24800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.363
24900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.092
25000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.092
25100 | 0.04 | 0.04 | -15.061 | 0 | 258.548 | 1.182 | 0.395
25200 | 0.081 | 0.081 | -15.061 | 0 | 258.548 | 1.182 | 0.092
25300 | 0.121 | 0.133 | -15.061 | 0 | 258.548 | 1.334 | -0.514
25400 | 0.161 | 0.189 | -15.061 | 0 | 248.928 | 1.41 | -0.363
25500 | 0.202 | 0.25 | -15.061 | 0 | 258.548 | 1.485 | 0.395
25600 | 0.242 | 0.331 | -15.078 | 0 | 234.911 | 1.258 | 1.001
25700 | 0.282 | 0.383 | -15.061 | -103.988 | 258.548 | 1.031 | 0.395
25800 | 0.323 | 0.456 | -15.061 | 103.988 | 258.548 | 0.804 | 1.001
25900 | 0.363 | 0.532 | -15.061 | 0 | 234.835 | 0.879 | 1.001
26000 | 0.403 | 0.613 | -15.061 | 0 | 258.548 | 0.804 | 0.849
26100 | 0.443 | 0.697 | -15.061 | 0 | 248.928 | 0.879 | 1.455
26200 | 0.484 | 0.786 | -15.061 | 0 | 258.548 | 1.334 | 2.365
26300 | 0.524 | 0.879 | -15.061 | 0 | 258.548 | 2.773 | 4.941
26400 | 0.564 | 0.976 | -15.061 | 0 | 248.853 | 4.44 | 7.668
26500 | 0.605 | 1.009 | -14.994 | 0 | 258.548 | 7.849 | 12.668
26600 | 0.645 | 1.047 | -14.927 | 415.959 | 258.548 | 12.926 | 19.487
26700 | 0.685 | 1.055 | -14.826 | 415.965 | 258.548 | 20.275 | 28.579
26800 | 0.726 | 1.051 | -14.709 | 623.948 | 258.548 | 30.199 | 40.549
26900 | 0.766 | 1.05 | -14.591 | 727.936 | 258.548 | 38.23 | 51.307
27000 | 0.806 | 1.071 | -14.491 | 727.936 | 258.548 | 46.261 | 61.308
27100 | 0.847 | 1.078 | -14.373 | 623.942 | 248.777 | 52.474 | 69.339
27200 | 0.887 | 1.107 | -14.273 | 727.936 | 258.548 | 58.307 | 76.764
27300 | 0.927 | 1.106 | -14.139 | 623.936 | 258.548 | 64.141 | 84.491
27400 | 0.968 | 1.108 | -14.004 | 831.937 | 249.004 | 68.687 | 90.249
27500 | 1.008 | 1.132 | -13.887 | 831.925 | 258.548 | 72.626 | 95.25
27600 | 1.048 | 1.16 | -13.77 | 727.931 | 234.759 | 76.112 | 98.886
27700 | 1.089 | 1.158 | -13.619 | 727.936 | 258.548 | 78.687 | 103.735
27800 | 1.129 | 1.177 | -13.484 | 935.913 | 258.548 | 81.415 | 106.614
27900 | 1.169 | 1.183 | -13.334 | 831.925 | 234.911 | 84.218 | 109.493
28000 | 1.209 | 1.177 | -13.166 | 935.913 | 258.548 | 86.112 | 112.372
28100 | 1.25 | 1.208 | -13.032 | 1039.913 | 258.548 | 87.627 | 114.493
28200 | 1.29 | 1.227 | -12.881 | 831.925 | 258.548 | 88.764 | 116.463
28300 | 1.33 | 1.232 | -12.713 | 935.913 | 258.548 | 89.294 | 118.433
28400 | 1.371 | 1.292 | -12.596 | 1039.908 | 234.911 | 85.43 | 123.585
28500 | 1.411 | 1.323 | -12.445 | 727.931 | 258.548 | 85.279 | 126.615
28600 | 1.451 | 1.307 | -12.244 | 935.925 | 248.928 | 86.112 | 129.646
28700 | 1.492 | 1.328 | -12.075 | 1247.884 | 258.548 | 87.097 | 131.313
28800 | 1.532 | 1.32 | -11.874 | 1046.413 | 258.548 | 88.158 | 132.525
28900 | 1.572 | 1.367 | -11.723 | 1247.89 | 248.853 | 88.537 | 133.434
29000 | 1.613 | 1.367 | -11.521 | 935.913 | 258.548 | 88.234 | 135.101
29100 | 1.653 | 1.388 | -11.337 | 1247.884 | 234.835 | 87.931 | 136.616
29200 | 1.693 | 1.396 | -11.136 | 1143.902 | 248.398 | 88.082 | 137.677
29300 | 1.734 | 1.392 | -10.918 | 1247.89 | 258.548 | 88.461 | 138.283
29400 | 1.774 | 1.442 | -10.75 | 1351.885 | 248.928 | 88.84 | 139.04
29500 | 1.814 | 1.412 | -10.498 | 1039.902 | 258.548 | 87.552 | 140.404
29600 | 1.855 | 1.454 | -10.314 | 1559.861 | 234.911 | 88.991 | 140.859
29700 | 1.895 | 1.449 | -10.079 | 1143.902 | 258.548 | 89.143 | 141.465
29800 | 1.935 | 1.464 | -9.861 | 1455.867 | 258.548 | 88.84 | 141.919
29900 | 1.975 | 1.518 | -9.677 | 1351.879 | 249.004 | 88.915 | 142.829
30000 | 2.016 | 1.491 | -9.408 | 1143.896 | 258.548 | 87.627 | 143.889
30100 | 2.056 | 1.553 | -9.224 | 1663.85 | 258.548 | 87.931 | 144.344
30200 | 2.096 | 1.551 | -8.972 | 1143.896 | 258.548 | 87.931 | 145.556
30300 | 2.137 | 1.554 | -8.721 | 1559.867 | 258.548 | 86.567 | 147.374
30400 | 2.177 | 1.577 | -8.486 | 1559.861 | 234.911 | 87.097 | 147.829
30500 | 2.217 | 1.604 | -8.251 | 1455.873 | 258.548 | 86.264 | 148.283
30600 | 2.258 | 1.585 | -7.966 | 1455.867 | 248.853 | 85.658 | 149.496
30700 | 2.298 | 1.603 | -7.714 | 1767.844 | 258.548 | 85.809 | 150.102
30800 | 2.338 | 1.625 | -7.462 | 1566.361 | 258.548 | 86.112 | 150.405
30900 | 2.379 | 1.669 | -7.227 | 1559.858 | 234.835 | 85.43 | 151.162
31000 | 2.419 | 1.716 | -6.992 | 1455.87 | 258.548 | 83.612 | 152.981
31100 | 2.419 | 1.623 | -6.657 | 1455.873 | 258.548 | 82.248 | 154.041
31200 | 2.419 | 1.58 | -6.372 | 2079.809 | 258.548 | 84.9 | 154.193
31300 | 2.419 | 1.553 | -6.104 | 1767.844 | 258.548 | 87.552 | 152.072
31400 | 2.419 | 1.56 | -5.869 | 1663.856 | 248.853 | 88.082 | 150.253
31500 | 2.419 | 1.567 | -5.634 | 1455.87 | 258.548 | 87.627 | 149.344
31600 | 2.419 | 1.524 | -5.349 | 1455.87 | 258.548 | 87.249 | 149.95
31700 | 2.419 | 1.514 | -5.098 | 1767.838 | 258.548 | 88.082 | 149.344
31800 | 2.419 | 1.538 | -4.88 | 1559.864 | 258.548 | 88.764 | 147.829
31900 | 2.419 | 1.562 | -4.661 | 1351.879 | 258.548 | 88.082 | 147.526
32000 | 2.419 | 1.553 | -4.41 | 1351.879 | 258.548 | 86.491 | 148.738
32100 | 2.419 | 1.543 | -4.158 | 1559.861 | 258.548 | 86.567 | 148.587
32200 | 2.419 | 1.55 | -3.924 | 1559.858 | 258.548 | 87.552 | 148.738
32300 | 2.419 | 1.574 | -3.706 | 1455.871 | 249.307 | 87.173 | 148.132
32400 | 2.419 | 1.546 | -3.436 | 1351.882 | 258.548 | 86.34 | 149.193
32500 | 2.419 | 1.52 | -3.168 | 1670.355 | 258.548 | 86.567 | 149.041
32600 | 2.419 | 1.561 | -2.967 | 1663.848 | 258.548 | 88.082 | 148.89
32700 | 2.419 | 1.551 | -2.715 | 1247.887 | 258.548 | 87.324 | 147.98
32800 | 2.298 | 1.404 | -2.447 | 1559.864 | 258.548 | 86.415 | 149.041
32900 | 2.177 | 1.295 | -2.229 | 1663.85 | 258.548 | 91.643 | 147.071
33000 | 2.056 | 1.173 | -2.011 | 1351.882 | 258.548 | 95.204 | 142.98
33100 | 1.935 | 1.09 | -1.843 | 1351.879 | 258.548 | 96.567 | 138.889
33200 | 1.814 | 0.995 | -1.675 | 1039.905 | 258.548 | 97.704 | 133.131
33300 | 1.693 | 0.921 | -1.541 | 1039.908 | 258.548 | 96.189 | 129.797
33400 | 1.572 | 0.869 | -1.441 | 831.927 | 258.548 | 93.916 | 125.252
33500 | 1.451 | 0.822 | -1.357 | 623.944 | 258.548 | 91.567 | 120.857
33600 | 1.33 | 0.745 | -1.256 | 519.954 | 241.505 | 88.688 | 115.706
33700 | 1.209 | 0.69 | -1.189 | 623.944 | 258.548 | 85.809 | 111.463
33800 | 1.089 | 0.64 | -1.139 | 415.962 | 248.853 | 82.097 | 106.159
33900 | 0.968 | 0.561 | -1.072 | 311.973 | 258.548 | 78.233 | 100.401
34000 | 0.847 | 0.503 | -1.038 | 415.962 | 258.548 | 74.596 | 95.401
34100 | 0.726 | 0.433 | -1.005 | 207.981 | 258.548 | 70.278 | 89.34
34200 | 0.605 | 0.351 | -0.971 | 207.984 | 258.548 | 65.581 | 84.037
34300 | 0.484 | 0.274 | -0.954 | 207.981 | 235.214 | 62.474 | 78.885
34400 | 0.363 | 0.201 | -0.954 | 103.989 | 258.548 | 59.368 | 75.097
34500 | 0.242 | 0.1 | -0.938 | 0 | 258.548 | 56.262 | 72.218
34600 | 0.121 | 0 | -0.921 | 103.992 | 258.548 | 54.14 | 69.036