## Data
Log File Data
2007-11-05 14:44 | MERIT Configuration Data
Test Description: 11022 15TP 16bunches 10T
Mode = Triggered
LogFile = C:\MERIT Data\071105 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.243
100 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
200 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.546
400 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
500 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.243
600 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.849
700 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
800 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.849
900 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.546
1000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.849
1100 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
1200 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
1300 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.243
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
1500 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.395
1600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
1700 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
1800 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.243
1900 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.698
2000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.849
2100 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
2200 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.395
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
2400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
2500 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
2600 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.698
2700 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.849
2800 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
2900 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
3100 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.395
3200 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
3300 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.698
3400 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
3500 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.395
3600 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.546
3700 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
3800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
4000 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.395
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
4200 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.698
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
4400 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.849
4500 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.395
4600 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.243
4800 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
4900 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
5000 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.698
5100 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.546
5200 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.243
5300 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.243
5400 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.395
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.698
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
5700 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
5800 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.546
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.546
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
6100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
6200 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.395
6300 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.546
6400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
6500 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.546
6600 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
6700 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
6800 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | -0.06
6900 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
7000 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.849
7100 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
7200 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
7300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.395
7400 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
7500 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.849
7600 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 1.304
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
7900 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.546
8000 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
8100 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
8200 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
8300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
8400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.395
8500 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.698
8600 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
8700 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.395
8800 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
8900 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
9000 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.395
9100 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
9200 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.395
9300 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.243
9400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
9500 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
9600 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.395
9800 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.243
9900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
10000 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.546
10100 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.849
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 1.001
10300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.092
10400 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
10500 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
10600 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.849
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
10900 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
11000 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
11100 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.092
11200 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
11300 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.698
11400 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
11600 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.698
11700 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
11800 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.243
11900 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.243
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.395
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.698
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.698
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
12900 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.092
13000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.849
13100 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.243
13300 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.698
13400 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
13500 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.092
13600 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
13700 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
13800 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
13900 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.849
14000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.849
14100 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.546
14200 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | -0.06
14300 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.395
14400 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.395
14500 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
14600 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.546
14700 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.849
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.698
14900 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 1.001
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | -0.06
15100 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.395
15200 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.395
15300 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.395
15400 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.698
15500 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.546
15600 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.546
15700 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | 0.395
15800 | 0 | 0 | -14.977 | 0 | 0 | 1.788 | 0.243
15900 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.243
16000 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
16100 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.698
16200 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.698
16300 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.395
16400 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.092
16500 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.395
16600 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.546
16700 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.849
16800 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.092
16900 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.243
17000 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.698
17100 | 0 | 0 | -14.977 | 0 | 0 | 1.637 | 0.395
17200 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.546
17300 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | 0.698
17400 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.698
17500 | 0 | 0 | -14.977 | 0 | 0 | 1.637 | 0.849
17600 | 0 | 0 | -14.977 | 0 | 0 | 1.637 | 0.395
17700 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.243
17800 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.546
17900 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.849
18000 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.243
18100 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.243
18200 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.546
18300 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.092
18400 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.243
18500 | 0 | 0 | -14.977 | 0 | 0 | 1.713 | 0.546
18600 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.395
18700 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.395
18800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
18900 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | 0.546
19000 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.395
19100 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.698
19200 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
19300 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.243
19400 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.698
19500 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.546
19600 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 1.152
19700 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.395
19800 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.546
19900 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.395
20000 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
20100 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
20200 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.243
20300 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.243
20400 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.395
20500 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.546
20600 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.395
20700 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | -0.06
20800 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.243
20900 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.546
21000 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.546
21100 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.698
21200 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.092
21300 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.395
21400 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.698
21500 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.698
21600 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.243
21700 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | -0.06
21800 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.243
21900 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.092
22000 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.395
22100 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
22200 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.092
22300 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.092
22400 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.395
22500 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.698
22600 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.092
22700 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.395
22800 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.698
22900 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.395
23000 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.546
23100 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.395
23200 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.698
23300 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.546
23400 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.698
23500 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.395
23600 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.243
23700 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.395
23800 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.849
23900 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.546
24000 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.395
24100 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.395
24200 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.243
24300 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.395
24400 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | -0.06
24500 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.546
24600 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.698
24700 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.849
24800 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.849
24900 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.849
25000 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.092
25100 | 0.04 | 0.04 | -15.027 | 0 | 258.548 | 1.713 | 0.698
25200 | 0.081 | 0.081 | -15.027 | 0 | 258.548 | 1.713 | 0.698
25300 | 0.121 | 0.133 | -15.027 | 0 | 235.214 | 1.713 | 0.546
25400 | 0.161 | 0.189 | -15.027 | 0 | 258.548 | 1.334 | 0.395
25500 | 0.202 | 0.25 | -15.027 | 0 | 249.156 | 1.41 | 0.849
25600 | 0.242 | 0.314 | -15.027 | 0 | 258.548 | 1.334 | 1.001
25700 | 0.282 | 0.383 | -15.027 | 0 | 258.548 | 1.41 | 1.001
25800 | 0.323 | 0.456 | -15.027 | 0 | 258.548 | 1.334 | 1.152
25900 | 0.363 | 0.532 | -15.027 | 0 | 258.548 | 1.258 | 1.304
26000 | 0.403 | 0.613 | -15.027 | 0 | 235.062 | 1.258 | 1.91
26100 | 0.443 | 0.681 | -15.011 | 0 | 258.548 | 1.334 | 1.91
26200 | 0.484 | 0.786 | -15.027 | 103.988 | 258.548 | 2.243 | 2.971
26300 | 0.524 | 0.879 | -15.027 | -103.988 | 258.548 | 3.152 | 5.092
26400 | 0.564 | 0.959 | -15.011 | 0 | 258.548 | 5.577 | 8.426
26500 | 0.605 | 1.009 | -14.96 | 103.988 | 258.548 | 8.986 | 14.638
26600 | 0.645 | 1.014 | -14.86 | 311.977 | 258.548 | 15.805 | 23.427
26700 | 0.685 | 1.039 | -14.776 | 623.936 | 258.548 | 23.684 | 32.367
26800 | 0.726 | 1.068 | -14.692 | 519.954 | 249.156 | 31.033 | 41.61
26900 | 0.766 | 1.067 | -14.575 | 519.96 | 258.548 | 39.897 | 53.883
27000 | 0.806 | 1.054 | -14.44 | 727.936 | 258.548 | 48.685 | 64.035
27100 | 0.847 | 1.078 | -14.34 | 831.925 | 258.548 | 54.974 | 71.157
27200 | 0.887 | 1.107 | -14.239 | 623.942 | 258.548 | 59.974 | 78.43
27300 | 0.927 | 1.106 | -14.105 | 623.948 | 258.548 | 65.278 | 85.552
27400 | 0.968 | 1.092 | -13.954 | 831.925 | 258.548 | 70.126 | 91.765
27500 | 1.008 | 1.115 | -13.837 | 935.913 | 249.004 | 73.536 | 96.31
27600 | 1.048 | 1.143 | -13.719 | 727.936 | 258.548 | 76.49 | 99.341
27700 | 1.089 | 1.158 | -13.585 | 727.936 | 258.548 | 79.597 | 103.887
27800 | 1.129 | 1.177 | -13.451 | 831.925 | 235.138 | 82.021 | 107.22
27900 | 1.169 | 1.167 | -13.283 | 831.925 | 258.548 | 83.991 | 110.402
28000 | 1.209 | 1.177 | -13.132 | 1039.913 | 249.156 | 86.036 | 112.675
28100 | 1.25 | 1.208 | -12.998 | 935.913 | 258.548 | 87.324 | 114.039
28200 | 1.29 | 1.21 | -12.83 | 831.925 | 258.548 | 88.688 | 115.706
28300 | 1.33 | 1.249 | -12.696 | 1039.902 | 249.156 | 88.461 | 118.281
28400 | 1.371 | 1.275 | -12.545 | 831.937 | 258.548 | 84.142 | 124.949
28500 | 1.411 | 1.306 | -12.394 | 935.913 | 258.548 | 84.976 | 127.07
28600 | 1.451 | 1.324 | -12.227 | 935.913 | 258.548 | 86.036 | 128.585
28700 | 1.492 | 1.328 | -12.041 | 1039.913 | 258.548 | 86.415 | 130.858
28800 | 1.532 | 1.337 | -11.857 | 1150.389 | 258.548 | 87.4 | 132.828
28900 | 1.572 | 1.35 | -11.672 | 1143.902 | 258.548 | 88.006 | 133.434
29000 | 1.613 | 1.333 | -11.454 | 1143.896 | 258.548 | 88.234 | 134.949
29100 | 1.653 | 1.388 | -11.303 | 1351.879 | 258.548 | 88.84 | 135.252
29200 | 1.693 | 1.363 | -11.069 | 935.913 | 258.548 | 88.309 | 136.919
29300 | 1.734 | 1.392 | -10.884 | 1455.873 | 258.548 | 89.219 | 136.919
29400 | 1.774 | 1.392 | -10.666 | 1143.902 | 258.548 | 88.915 | 138.131
29500 | 1.814 | 1.429 | -10.482 | 1351.885 | 258.548 | 89.294 | 138.283
29600 | 1.855 | 1.487 | -10.314 | 1143.89 | 258.548 | 89.143 | 138.586
29700 | 1.895 | 1.482 | -10.079 | 1039.913 | 258.548 | 87.779 | 141.465
29800 | 1.935 | 1.464 | -9.828 | 1455.867 | 258.548 | 87.324 | 142.829
29900 | 1.975 | 1.484 | -9.61 | 1559.855 | 258.548 | 88.612 | 143.132
30000 | 2.016 | 1.491 | -9.375 | 1351.885 | 249.156 | 88.84 | 143.738
30100 | 2.056 | 1.536 | -9.174 | 1455.867 | 258.548 | 88.082 | 144.041
30200 | 2.096 | 1.518 | -8.905 | 1247.89 | 258.548 | 87.627 | 145.253
30300 | 2.137 | 1.554 | -8.687 | 1663.856 | 258.548 | 87.324 | 146.162
30400 | 2.177 | 1.56 | -8.436 | 1351.873 | 258.548 | 87.324 | 146.92
30500 | 2.217 | 1.604 | -8.218 | 1559.867 | 258.548 | 86.264 | 148.132
30600 | 2.258 | 1.569 | -7.916 | 1351.873 | 258.548 | 84.673 | 149.193
30700 | 2.298 | 1.603 | -7.68 | 1871.835 | 258.548 | 86.112 | 149.496
30800 | 2.338 | 1.609 | -7.412 | 1462.369 | 258.548 | 85.582 | 149.95
30900 | 2.379 | 1.652 | -7.177 | 1663.856 | 258.548 | 85.582 | 150.253
31000 | 2.419 | 1.666 | -6.909 | 1455.87 | 258.548 | 84.37 | 151.769
31100 | 2.419 | 1.623 | -6.624 | 1663.85 | 258.548 | 83.612 | 152.526
31200 | 2.419 | 1.647 | -6.406 | 1767.844 | 258.548 | 84.218 | 152.981
31300 | 2.419 | 1.57 | -6.087 | 1351.882 | 249.231 | 84.824 | 152.375
31400 | 2.419 | 1.594 | -5.869 | 1975.821 | 258.548 | 86.264 | 151.617
31500 | 2.419 | 1.551 | -5.584 | 1351.882 | 235.138 | 86.87 | 150.859
31600 | 2.419 | 1.524 | -5.316 | 1767.838 | 258.548 | 86.491 | 150.405
31700 | 2.419 | 1.531 | -5.081 | 1663.856 | 258.548 | 88.309 | 149.041
31800 | 2.419 | 1.505 | -4.812 | 1455.87 | 258.548 | 88.082 | 147.98
31900 | 2.419 | 1.529 | -4.594 | 1663.847 | 258.548 | 88.234 | 147.071
32000 | 2.419 | 1.519 | -4.343 | 1351.882 | 258.548 | 88.006 | 147.071
32100 | 2.419 | 1.526 | -4.108 | 1559.861 | 258.548 | 87.779 | 147.374
32200 | 2.419 | 1.567 | -3.907 | 1455.87 | 258.548 | 87.552 | 146.92
32300 | 2.419 | 1.524 | -3.622 | 1247.893 | 258.548 | 86.264 | 147.829
32400 | 2.419 | 1.546 | -3.403 | 1767.838 | 258.548 | 87.249 | 147.98
32500 | 2.419 | 1.554 | -3.168 | 1358.381 | 258.548 | 86.946 | 147.829
32600 | 2.419 | 1.577 | -2.95 | 1455.87 | 258.548 | 86.643 | 148.435
32700 | 2.419 | 1.551 | -2.682 | 1351.882 | 258.548 | 85.809 | 148.738
32800 | 2.298 | 1.42 | -2.43 | 1663.848 | 258.548 | 86.34 | 149.193
32900 | 2.177 | 1.278 | -2.179 | 1559.863 | 258.548 | 89.446 | 147.374
33000 | 2.056 | 1.157 | -1.961 | 1559.86 | 258.548 | 95.658 | 143.132
33100 | 1.935 | 1.073 | -1.793 | 1351.882 | 258.548 | 97.477 | 137.98
33200 | 1.814 | 1.012 | -1.659 | 1039.905 | 258.548 | 97.174 | 134.495
33300 | 1.693 | 0.938 | -1.524 | 831.928 | 258.548 | 95.658 | 129.646
33400 | 1.572 | 0.869 | -1.407 | 831.924 | 258.548 | 93.84 | 125.403
33500 | 1.451 | 0.805 | -1.306 | 727.936 | 258.548 | 92.022 | 121.16
33600 | 1.33 | 0.745 | -1.223 | 623.943 | 258.548 | 90.506 | 115.099
33700 | 1.209 | 0.673 | -1.139 | 519.955 | 258.548 | 85.733 | 111.614
33800 | 1.089 | 0.623 | -1.088 | 519.954 | 258.548 | 81.945 | 105.705
33900 | 0.968 | 0.561 | -1.038 | 311.973 | 258.548 | 78.46 | 100.25
34000 | 0.847 | 0.503 | -1.005 | 311.97 | 258.548 | 74.293 | 93.886
34100 | 0.726 | 0.433 | -0.971 | 207.984 | 258.548 | 70.202 | 89.189
34200 | 0.605 | 0.368 | -0.954 | 207.981 | 258.548 | 66.262 | 84.188
34300 | 0.484 | 0.291 | -0.938 | 103.989 | 258.548 | 62.55 | 79.036
34400 | 0.363 | 0.201 | -0.921 | 103.992 | 258.548 | 59.368 | 75.703
34500 | 0.242 | 0.1 | -0.904 | 103.989 | 258.548 | 56.565 | 72.218
34600 | 0.121 | 0.003 | -0.904 | 103.992 | 258.548 | 54.595 | 68.581