## Data
Log File Data
2007-11-06 12:25 | MERIT Configuration Data
Test Description: 12010 4TP 4bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071106 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.994 | 0 | 0 | 2.319 | 1.001
100 | 0 | 0 | -14.994 | 0 | 0 | 2.167 | 0.849
200 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 1.001
300 | 0 | 0 | -14.994 | 0 | 0 | 2.243 | 0.849
400 | 0 | 0 | -15.011 | 0 | 0 | 2.167 | 0.698
500 | 0 | 0 | -15.011 | 0 | 0 | 2.243 | 1.001
600 | 0 | 0 | -15.011 | 0 | 0 | 2.167 | 0.698
700 | 0 | 0 | -14.994 | 0 | 0 | 2.319 | 0.395
800 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.698
900 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 1.001
1000 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.698
1100 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.849
1200 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.698
1300 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.698
1400 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.546
1500 | 0 | 0 | -15.011 | 0 | 0 | 2.243 | 1.001
1600 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.849
1700 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.546
1800 | 0 | 0 | -15.011 | 0 | 0 | 2.167 | 1.001
1900 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.546
2000 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.546
2100 | 0 | 0 | -15.011 | 0 | 0 | 2.167 | 0.698
2200 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 0.698
2300 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 1.001
2400 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 1.152
2500 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.698
2600 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.698
2700 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.395
2800 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.546
2900 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.243
3000 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.849
3100 | 0 | 0 | -15.011 | 0 | 0 | 2.243 | 0.849
3200 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.304
3300 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 1.001
3400 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.546
3500 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.849
3600 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 1.001
3700 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 1.001
3800 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 1.152
3900 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 0.243
4000 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.849
4100 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.001
4200 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.698
4300 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.698
4400 | 0 | 0 | -15.027 | 0 | 0 | 2.395 | 0.546
4500 | 0 | 0 | -15.011 | 0 | 0 | 2.243 | 0.849
4600 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 1.001
4700 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.152
4800 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.698
4900 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.395
5000 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.546
5100 | 0 | 0 | -15.011 | 0 | 0 | 2.167 | 1.152
5200 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 1.152
5300 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.395
5400 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 0.243
5500 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.243
5600 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 1.152
5700 | 0 | 0 | -15.027 | 0 | 0 | 2.395 | 0.849
5800 | 0 | 0 | -15.044 | 0 | 0 | 2.319 | 0.546
5900 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.395
6000 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 1.001
6100 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.849
6200 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.546
6300 | 0 | 0 | -15.044 | 0 | 0 | 2.243 | 0.698
6400 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 0.243
6500 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 0.243
6600 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.546
6700 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 0.546
6800 | 0 | 0 | -15.044 | 0 | 0 | 2.319 | 0.849
6900 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.849
7000 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.395
7100 | 0 | 0 | -15.044 | 0 | 0 | 2.319 | 0.698
7200 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 1.001
7300 | 0 | 0 | -15.044 | 0 | 0 | 2.319 | 1.304
7400 | 0 | 0 | -15.044 | 0 | 0 | 2.243 | 1.304
7500 | 0 | 0 | -15.044 | 0 | 0 | 2.243 | 0.546
7600 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.698
7700 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 1.001
7800 | 0 | 0 | -15.044 | 0 | 0 | 2.243 | 0.698
7900 | 0 | 0 | -15.044 | 0 | 0 | 2.319 | 1.152
8000 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 0.849
8100 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.849
8200 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.395
8300 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.849
8400 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 0.698
8500 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 0.546
8600 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.395
8700 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.849
8800 | 0 | 0 | -15.044 | 0 | 0 | 2.395 | 0.698
8900 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 0.698
9000 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.698
9100 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.395
9200 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | 0.849
9300 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.243
9400 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.001
9500 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.304
9600 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 1.001
9700 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.546
9800 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 0.698
9900 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.001
10000 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | 1.001
10100 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.849
10200 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 1.001
10300 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.001
10400 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | 0.395
10500 | 0 | 0 | -15.061 | 0 | 0 | 2.395 | 1.001
10600 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | 0.849
10700 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | 1.304
10800 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.698
10900 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.698
11000 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.849
11100 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.849
11200 | 0 | 0 | -15.061 | 0 | 0 | 2.395 | 1.001
11300 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.546
11400 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.698
11500 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.698
11600 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 0.849
11700 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.001
11800 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 1.001
11900 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.698
12000 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.395
12100 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.849
12200 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.546
12300 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.395
12400 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.698
12500 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 1.455
12600 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 1.152
12700 | 0 | 0 | -15.078 | 0 | 0 | 2.395 | 0.546
12800 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.849
12900 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 1.304
13000 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.698
13100 | 0 | 0 | -15.078 | 0 | 0 | 2.167 | 0.698
13200 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.849
13300 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.698
13400 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.546
13500 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.849
13600 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.849
13700 | 0 | 0 | -15.078 | 0 | 0 | 2.395 | 0.698
13800 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.698
13900 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.849
14000 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.849
14100 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 1.001
14200 | 0 | 0 | -15.094 | 0 | 0 | 2.243 | 0.698
14300 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.546
14400 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.395
14500 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.546
14600 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.698
14700 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.698
14800 | 0 | 0 | -15.078 | 0 | 0 | 2.167 | 1.001
14900 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.849
15000 | 0 | 0 | -15.078 | 0 | 0 | 2.167 | 1.001
15100 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 1.152
15200 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.849
15300 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 0.698
15400 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 0.698
15500 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.849
15600 | 0 | 0 | -15.078 | 0 | 0 | 2.167 | 1.152
15700 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 1.001
15800 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 1.001
15900 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.698
16000 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 0.698
16100 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.849
16200 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.395
16300 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.698
16400 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 1.152
16500 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 0.849
16600 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.546
16700 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.698
16800 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 0.395
16900 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 0.698
17000 | 0 | 0 | -15.111 | 0 | 0 | 2.167 | 0.698
17100 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.849
17200 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.698
17300 | 0 | 0 | -15.111 | 0 | 0 | 2.167 | 0.698
17400 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.849
17500 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.849
17600 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 0.849
17700 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.395
17800 | 0 | 0 | -15.094 | 0 | 0 | 2.243 | 0.546
17900 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.698
18000 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.395
18100 | 0 | 0 | -15.111 | 0 | 0 | 2.167 | 0.395
18200 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.849
18300 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 1.001
18400 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.849
18500 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 1.001
18600 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 1.152
18700 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 0.849
18800 | 0 | 0 | -15.111 | 0 | 0 | 1.94 | 1.001
18900 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 1.152
19000 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 0.546
19100 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 0.698
19200 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 1.304
19300 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.698
19400 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.395
19500 | 0 | 0 | -15.111 | 0 | 0 | 2.167 | 0.698
19600 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 0.698
19700 | 0 | 0 | -15.111 | 0 | 0 | 2.243 | 1.152
19800 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.849
19900 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 0.849
20000 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.849
20100 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 0.849
20200 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 1.152
20300 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 1.152
20400 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.546
20500 | 0 | 0 | -15.111 | 0 | 0 | 1.94 | 0.243
20600 | 0 | 0 | -15.111 | 0 | 0 | 2.091 | 0.395
20700 | 0 | 0 | -15.111 | 0 | 0 | 2.167 | 0.395
20800 | 0 | 0 | -15.111 | 0 | 0 | 2.319 | 0.698
20900 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 1.001
21000 | 0 | 0 | -15.128 | 0 | 0 | 2.091 | 0.546
21100 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 0.243
21200 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 1.001
21300 | 0 | 0 | -15.128 | 0 | 0 | 2.319 | 0.849
21400 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 1.001
21500 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 0.698
21600 | 0 | 0 | -15.128 | 0 | 0 | 1.94 | 1.152
21700 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.698
21800 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.698
21900 | 0 | 0 | -15.128 | 0 | 0 | 2.091 | 0.849
22000 | 0 | 0 | -15.128 | 0 | 0 | 2.091 | 0.849
22100 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.698
22200 | 0 | 0 | -15.128 | 0 | 0 | 2.319 | 0.243
22300 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.849
22400 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.395
22500 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 1.001
22600 | 0 | 0 | -15.128 | 0 | 0 | 2.167 | 0.698
22700 | 0 | 0 | -15.145 | 0 | 0 | 2.167 | 0.395
22800 | 0 | 0 | -15.128 | 0 | 0 | 2.319 | 0.849
22900 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.849
23000 | 0 | 0 | -15.145 | 0 | 0 | 2.319 | 0.849
23100 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.698
23200 | 0 | 0 | -15.128 | 0 | 0 | 2.243 | 0.849
23300 | 0 | 0 | -15.145 | 0 | 0 | 1.94 | 1.152
23400 | 0 | 0 | -15.145 | 0 | 0 | 2.167 | 0.849
23500 | 0 | 0 | -15.128 | 0 | 0 | 2.319 | 0.698
23600 | 0 | 0 | -15.128 | 0 | 0 | 2.395 | 0.395
23700 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 0.546
23800 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 1.152
23900 | 0 | 0 | -15.145 | 0 | 0 | 2.319 | 0.698
24000 | 0 | 0 | -15.145 | 0 | 0 | 2.395 | 1.001
24100 | 0 | 0 | -15.145 | 0 | 0 | 2.167 | 0.092
24200 | 0 | 0 | -15.145 | 0 | 0 | 1.94 | 1.001
24300 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 0.849
24400 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 1.152
24500 | 0 | 0 | -15.145 | 0 | 0 | 2.243 | 1.001
24600 | 0 | 0 | -15.145 | 0 | 0 | 2.319 | 0.698
24700 | 0 | 0 | -15.145 | 0 | 0 | 2.243 | 0.849
24800 | 0 | 0 | -15.161 | 0 | 0 | 2.243 | 0.849
24900 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 0.546
25000 | 0 | 0 | -15.145 | 0 | 0 | 2.091 | 0.546
25100 | 0.04 | 0.04 | -15.145 | 0 | 258.548 | 2.091 | 0.849
25200 | 0.081 | 0.081 | -15.145 | 0 | 258.548 | 2.167 | 1.152
25300 | 0.121 | 0.133 | -15.145 | 0 | 258.548 | 2.167 | 0.698
25400 | 0.161 | 0.189 | -15.145 | 0 | 258.548 | 2.167 | 0.849
25500 | 0.202 | 0.25 | -15.145 | 0 | 258.548 | 1.94 | 0.698
25600 | 0.242 | 0.314 | -15.145 | 0 | 258.548 | 1.637 | 1.152
25700 | 0.282 | 0.4 | -15.161 | 0 | 258.548 | 1.485 | 1.001
25800 | 0.323 | 0.456 | -15.145 | -103.988 | 258.548 | 1.561 | 1.607
25900 | 0.363 | 0.532 | -15.145 | 103.988 | 258.548 | 1.41 | 1.455
26000 | 0.403 | 0.613 | -15.145 | 0 | 258.548 | 1.41 | 1.91
26100 | 0.443 | 0.681 | -15.128 | 0 | 258.548 | 1.713 | 2.819
26200 | 0.484 | 0.786 | -15.145 | 103.988 | 258.548 | 2.849 | 4.334
26300 | 0.524 | 0.879 | -15.145 | -103.988 | 258.548 | 4.137 | 6.759
26400 | 0.564 | 0.959 | -15.128 | 0 | 258.548 | 7.168 | 10.699
26500 | 0.605 | 0.976 | -15.044 | 103.988 | 258.548 | 11.713 | 17.82
26600 | 0.645 | 1.014 | -14.977 | 519.96 | 258.548 | 18.759 | 25.7
26700 | 0.685 | 1.039 | -14.893 | 415.954 | 258.548 | 27.017 | 35.549
26800 | 0.726 | 1.017 | -14.759 | 519.96 | 258.548 | 36.26 | 47.216
26900 | 0.766 | 1.034 | -14.658 | 831.925 | 258.548 | 44.215 | 56.156
27000 | 0.806 | 1.037 | -14.541 | 623.942 | 258.548 | 51.716 | 65.854
27100 | 0.847 | 1.045 | -14.424 | 727.936 | 258.548 | 57.019 | 72.521
27200 | 0.887 | 1.073 | -14.323 | 727.936 | 258.548 | 61.944 | 78.43
27300 | 0.927 | 1.089 | -14.206 | 623.942 | 258.548 | 66.641 | 84.643
27400 | 0.968 | 1.092 | -14.071 | 727.936 | 258.548 | 71.49 | 90.249
27500 | 1.008 | 1.082 | -13.921 | 831.925 | 258.548 | 75.43 | 95.401
27600 | 1.048 | 1.126 | -13.82 | 935.913 | 258.548 | 78.081 | 99.189
27700 | 1.089 | 1.125 | -13.669 | 623.948 | 258.548 | 80.733 | 102.371
27800 | 1.129 | 1.16 | -13.552 | 935.913 | 258.548 | 83.082 | 105.553
27900 | 1.169 | 1.15 | -13.384 | 727.936 | 258.548 | 85.885 | 107.978
28000 | 1.209 | 1.16 | -13.233 | 1039.913 | 258.548 | 87.703 | 110.554
28100 | 1.25 | 1.191 | -13.099 | 935.913 | 258.548 | 88.537 | 112.978
28200 | 1.29 | 1.193 | -12.931 | 831.925 | 258.548 | 90.203 | 114.645
28300 | 1.33 | 1.215 | -12.78 | 1039.913 | 258.548 | 91.719 | 116.312
28400 | 1.371 | 1.208 | -12.596 | 935.913 | 258.548 | 93.234 | 117.524
28500 | 1.411 | 1.222 | -12.428 | 1143.89 | 258.548 | 93.688 | 118.585
28600 | 1.451 | 1.29 | -12.311 | 1039.913 | 258.548 | 94.37 | 119.797
28700 | 1.492 | 1.244 | -12.075 | 727.936 | 258.548 | 95.204 | 121.009
28800 | 1.532 | 1.253 | -11.89 | 1462.372 | 258.548 | 95.886 | 123.13
28900 | 1.572 | 1.3 | -11.739 | 1143.89 | 258.548 | 96.795 | 123.13
29000 | 1.613 | 1.3 | -11.538 | 935.925 | 258.548 | 97.022 | 124.191
29100 | 1.653 | 1.321 | -11.354 | 1247.884 | 258.548 | 98.083 | 124.494
29200 | 1.693 | 1.296 | -11.119 | 1143.902 | 258.548 | 98.765 | 125.403
29300 | 1.734 | 1.342 | -10.951 | 1455.867 | 258.548 | 98.916 | 126.009
29400 | 1.774 | 1.358 | -10.75 | 1039.908 | 258.548 | 98.84 | 127.07
29500 | 1.814 | 1.412 | -10.582 | 1247.89 | 258.548 | 98.234 | 128.585
29600 | 1.855 | 1.403 | -10.347 | 1039.902 | 258.548 | 98.083 | 129.191
29700 | 1.895 | 1.398 | -10.113 | 1455.873 | 258.548 | 98.386 | 131.464
29800 | 1.935 | 1.397 | -9.878 | 1455.873 | 258.548 | 98.234 | 131.919
29900 | 1.975 | 1.434 | -9.677 | 1455.867 | 258.548 | 99.068 | 132.07
30000 | 2.016 | 1.441 | -9.442 | 1247.89 | 258.548 | 98.31 | 132.979
30100 | 2.056 | 1.452 | -9.207 | 1455.873 | 258.548 | 99.446 | 133.282
30200 | 2.096 | 1.467 | -8.972 | 1455.873 | 258.548 | 99.901 | 133.586
30300 | 2.137 | 1.52 | -8.771 | 1455.867 | 258.548 | 97.325 | 135.404
30400 | 2.177 | 1.56 | -8.553 | 1247.89 | 258.548 | 85.506 | 143.586
30500 | 2.217 | 1.604 | -8.335 | 1351.879 | 258.548 | 83.991 | 146.92
30600 | 2.258 | 1.619 | -8.084 | 1351.879 | 258.548 | 83.233 | 149.193
30700 | 2.298 | 1.603 | -7.797 | 1559.861 | 258.548 | 81.945 | 151.011
30800 | 2.338 | 1.642 | -7.563 | 1774.34 | 258.548 | 83.839 | 151.465
30900 | 2.379 | 1.618 | -7.261 | 1455.87 | 258.548 | 83.536 | 151.617
31000 | 2.419 | 1.666 | -7.026 | 1871.832 | 258.548 | 84.521 | 152.526
31100 | 2.419 | 1.589 | -6.707 | 1455.87 | 258.548 | 84.294 | 152.375
31200 | 2.419 | 1.58 | -6.456 | 1975.827 | 258.548 | 85.582 | 152.981
31300 | 2.419 | 1.587 | -6.221 | 1559.861 | 258.548 | 86.643 | 151.162
31400 | 2.419 | 1.527 | -5.919 | 1455.87 | 258.548 | 86.415 | 151.162
31500 | 2.419 | 1.517 | -5.668 | 1871.832 | 258.548 | 87.931 | 150.102
31600 | 2.419 | 1.507 | -5.416 | 1559.861 | 258.548 | 88.688 | 148.283
31700 | 2.419 | 1.531 | -5.198 | 1559.858 | 258.548 | 88.537 | 147.677
31800 | 2.419 | 1.505 | -4.93 | 1351.882 | 258.548 | 87.249 | 148.132
31900 | 2.419 | 1.529 | -4.712 | 1663.85 | 258.548 | 88.158 | 146.92
32000 | 2.419 | 1.536 | -4.477 | 1351.882 | 258.548 | 87.703 | 147.223
32100 | 2.419 | 1.509 | -4.209 | 1455.87 | 258.548 | 86.87 | 148.132
32200 | 2.419 | 1.5 | -3.957 | 1663.856 | 258.548 | 87.476 | 148.132
32300 | 2.419 | 1.524 | -3.739 | 1559.858 | 258.548 | 88.612 | 146.768
32400 | 2.419 | 1.513 | -3.487 | 1351.876 | 258.548 | 87.627 | 147.374
32500 | 2.419 | 1.52 | -3.252 | 1566.365 | 258.548 | 87.4 | 147.526
32600 | 2.419 | 1.527 | -3.017 | 1455.871 | 258.548 | 87.324 | 147.223
32700 | 2.298 | 1.413 | -2.782 | 1455.87 | 258.548 | 87.173 | 147.98
32800 | 2.177 | 1.271 | -2.531 | 1455.866 | 258.548 | 89.143 | 146.617
32900 | 2.056 | 1.133 | -2.296 | 1559.861 | 258.548 | 95.431 | 142.374
33000 | 1.935 | 1.066 | -2.145 | 1455.871 | 258.548 | 98.386 | 136.919
33100 | 1.814 | 0.971 | -1.977 | 935.916 | 258.548 | 98.234 | 131.767
33200 | 1.693 | 0.931 | -1.877 | 1039.908 | 258.548 | 95.961 | 128.888
33300 | 1.572 | 0.862 | -1.759 | 623.944 | 258.548 | 94.522 | 124.494
33400 | 1.451 | 0.815 | -1.675 | 727.935 | 258.548 | 91.794 | 119.645
33500 | 1.33 | 0.721 | -1.558 | 519.955 | 258.548 | 89.37 | 115.099
33600 | 1.209 | 0.666 | -1.491 | 727.935 | 258.548 | 85.809 | 111.16
33700 | 1.089 | 0.616 | -1.441 | 415.962 | 258.548 | 83.158 | 105.856
33800 | 0.968 | 0.57 | -1.407 | 311.973 | 258.548 | 79.369 | 100.705
33900 | 0.847 | 0.496 | -1.357 | 207.981 | 258.548 | 74.748 | 94.795
34000 | 0.726 | 0.409 | -1.306 | 311.973 | 258.548 | 70.657 | 89.34
34100 | 0.605 | 0.327 | -1.273 | 311.97 | 258.548 | 66.717 | 84.643
34200 | 0.484 | 0.25 | -1.256 | 207.984 | 258.548 | 63.686 | 79.794
34300 | 0.363 | 0.161 | -1.239 | 103.989 | 258.548 | 60.05 | 76.157
34400 | 0.242 | 0.059 | -1.223 | 103.992 | 258.548 | 57.777 | 72.824
34500 | 0.121 | 0 | -1.223 | 103.989 | 258.548 | 54.898 | 69.642