## Data
Log File Data
2007-11-06 12:49 | MERIT Configuration Data
Test Description: 12011 4TP 4bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071106 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 0.698
100 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.698
200 | 0 | 0 | -14.809 | 0 | 0 | 2.167 | 0.849
300 | 0 | 0 | -14.809 | 0 | 0 | 2.319 | 1.152
400 | 0 | 0 | -14.809 | 0 | 0 | 2.091 | 1.001
500 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
600 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
700 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 1.001
800 | 0 | 0 | -14.826 | 0 | 0 | 2.091 | 0.849
900 | 0 | 0 | -14.826 | 0 | 0 | 2.319 | 1.001
1000 | 0 | 0 | -14.826 | 0 | 0 | 2.319 | 0.698
1100 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.849
1200 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
1300 | 0 | 0 | -14.826 | 0 | 0 | 2.091 | 0.849
1400 | 0 | 0 | -14.826 | 0 | 0 | 2.243 | 1.001
1500 | 0 | 0 | -14.826 | 0 | 0 | 2.243 | 1.152
1600 | 0 | 0 | -14.826 | 0 | 0 | 1.788 | 0.849
1700 | 0 | 0 | -14.826 | 0 | 0 | 2.091 | 0.849
1800 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 1.001
1900 | 0 | 0 | -14.826 | 0 | 0 | 2.091 | 0.698
2000 | 0 | 0 | -14.826 | 0 | 0 | 2.243 | 1.001
2100 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 0.698
2200 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
2300 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
2400 | 0 | 0 | -14.826 | 0 | 0 | 2.395 | 0.849
2500 | 0 | 0 | -14.826 | 0 | 0 | 2.319 | 1.001
2600 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.698
2700 | 0 | 0 | -14.826 | 0 | 0 | 2.243 | 1.152
2800 | 0 | 0 | -14.826 | 0 | 0 | 2.091 | 1.152
2900 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 0.849
3000 | 0 | 0 | -14.826 | 0 | 0 | 2.167 | 0.849
3100 | 0 | 0 | -14.843 | 0 | 0 | 2.319 | 0.395
3200 | 0 | 0 | -14.826 | 0 | 0 | 2.319 | 0.698
3300 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 1.152
3400 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 1.304
3500 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 0.698
3600 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 1.152
3700 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 0.698
3800 | 0 | 0 | -14.843 | 0 | 0 | 2.243 | 0.698
3900 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 1.001
4000 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 1.152
4100 | 0 | 0 | -14.843 | 0 | 0 | 1.864 | 0.395
4200 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 0.698
4300 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 0.546
4400 | 0 | 0 | -14.843 | 0 | 0 | 2.167 | 1.304
4500 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 1.152
4600 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 0.849
4700 | 0 | 0 | -14.843 | 0 | 0 | 2.319 | 0.698
4800 | 0 | 0 | -14.843 | 0 | 0 | 2.319 | 0.243
4900 | 0 | 0 | -14.86 | 0 | 0 | 2.319 | 0.546
5000 | 0 | 0 | -14.843 | 0 | 0 | 2.243 | 1.001
5100 | 0 | 0 | -14.843 | 0 | 0 | 2.243 | 1.304
5200 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 1.152
5300 | 0 | 0 | -14.86 | 0 | 0 | 2.167 | 0.698
5400 | 0 | 0 | -14.843 | 0 | 0 | 2.243 | 0.395
5500 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 0.395
5600 | 0 | 0 | -14.86 | 0 | 0 | 2.167 | 0.698
5700 | 0 | 0 | -14.86 | 0 | 0 | 2.167 | 0.849
5800 | 0 | 0 | -14.843 | 0 | 0 | 2.091 | 0.849
5900 | 0 | 0 | -14.843 | 0 | 0 | 2.243 | 0.395
6000 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 0.546
6100 | 0 | 0 | -14.86 | 0 | 0 | 1.94 | 0.395
6200 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 1.001
6300 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 1.152
6400 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 1.001
6500 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 0.546
6600 | 0 | 0 | -14.86 | 0 | 0 | 2.167 | 0.698
6700 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 0.849
6800 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 1.001
6900 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 1.152
7000 | 0 | 0 | -14.876 | 0 | 0 | 2.167 | 0.698
7100 | 0 | 0 | -14.86 | 0 | 0 | 2.319 | 1.001
7200 | 0 | 0 | -14.86 | 0 | 0 | 2.319 | 1.152
7300 | 0 | 0 | -14.86 | 0 | 0 | 1.94 | 0.698
7400 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 1.001
7500 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 0.546
7600 | 0 | 0 | -14.876 | 0 | 0 | 1.94 | 0.849
7700 | 0 | 0 | -14.86 | 0 | 0 | 2.319 | 0.698
7800 | 0 | 0 | -14.86 | 0 | 0 | 2.091 | 1.152
7900 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 0.395
8000 | 0 | 0 | -14.876 | 0 | 0 | 2.319 | 0.849
8100 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.395
8200 | 0 | 0 | -14.86 | 0 | 0 | 2.167 | 0.849
8300 | 0 | 0 | -14.86 | 0 | 0 | 2.243 | 0.698
8400 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 1.001
8500 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 0.849
8600 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.849
8700 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 1.001
8800 | 0 | 0 | -14.876 | 0 | 0 | 2.167 | 1.152
8900 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 1.152
9000 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 1.304
9100 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 1.152
9200 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 0.546
9300 | 0 | 0 | -14.876 | 0 | 0 | 2.395 | 1.152
9400 | 0 | 0 | -14.876 | 0 | 0 | 2.167 | 1.001
9500 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.849
9600 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.546
9700 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.395
9800 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.849
9900 | 0 | 0 | -14.876 | 0 | 0 | 2.319 | 1.304
10000 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 0.849
10100 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.698
10200 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.849
10300 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.698
10400 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 0.849
10500 | 0 | 0 | -14.876 | 0 | 0 | 2.319 | 0.849
10600 | 0 | 0 | -14.876 | 0 | 0 | 2.167 | 0.849
10700 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.698
10800 | 0 | 0 | -14.876 | 0 | 0 | 2.167 | 0.849
10900 | 0 | 0 | -14.876 | 0 | 0 | 2.243 | 0.546
11000 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.546
11100 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.243
11200 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.546
11300 | 0 | 0 | -14.893 | 0 | 0 | 2.167 | 0.546
11400 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 1.001
11500 | 0 | 0 | -14.893 | 0 | 0 | 2.167 | 0.546
11600 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.849
11700 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 0.849
11800 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 1.152
11900 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 0.849
12000 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 0.698
12100 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 1.001
12200 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.698
12300 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 0.849
12400 | 0 | 0 | -14.876 | 0 | 0 | 2.319 | 0.849
12500 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 0.698
12600 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.698
12700 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.243
12800 | 0 | 0 | -14.893 | 0 | 0 | 2.167 | 0.546
12900 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.395
13000 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 1.001
13100 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 0.698
13200 | 0 | 0 | -14.893 | 0 | 0 | 2.243 | 0.849
13300 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.849
13400 | 0 | 0 | -14.91 | 0 | 0 | 2.091 | 1.152
13500 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.243
13600 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.849
13700 | 0 | 0 | -14.91 | 0 | 0 | 2.319 | 0.849
13800 | 0 | 0 | -14.91 | 0 | 0 | 2.319 | 0.849
13900 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 1.152
14000 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 1.001
14100 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 1.152
14200 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.849
14300 | 0 | 0 | -14.893 | 0 | 0 | 2.319 | 0.849
14400 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 1.001
14500 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.849
14600 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 0.698
14700 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 1.001
14800 | 0 | 0 | -14.91 | 0 | 0 | 2.319 | 0.849
14900 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.546
15000 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 0.395
15100 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.698
15200 | 0 | 0 | -14.91 | 0 | 0 | 2.091 | 1.152
15300 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 0.849
15400 | 0 | 0 | -14.91 | 0 | 0 | 2.395 | 0.849
15500 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.395
15600 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.698
15700 | 0 | 0 | -14.91 | 0 | 0 | 2.167 | 0.849
15800 | 0 | 0 | -14.91 | 0 | 0 | 2.091 | 0.849
15900 | 0 | 0 | -14.91 | 0 | 0 | 2.091 | 1.304
16000 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 1.001
16100 | 0 | 0 | -14.91 | 0 | 0 | 2.319 | 1.001
16200 | 0 | 0 | -14.91 | 0 | 0 | 2.243 | 0.849
16300 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 1.304
16400 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 0.546
16500 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 0.698
16600 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 0.849
16700 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 0.849
16800 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 0.849
16900 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 1.001
17000 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 0.849
17100 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 0.395
17200 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 0.698
17300 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 0.395
17400 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.849
17500 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 0.849
17600 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 1.152
17700 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 0.849
17800 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 1.001
17900 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 1.455
18000 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 0.849
18100 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.546
18200 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 0.395
18300 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 1.304
18400 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 1.001
18500 | 0 | 0 | -14.927 | 0 | 0 | 2.319 | 1.001
18600 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 0.849
18700 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 1.001
18800 | 0 | 0 | -14.927 | 0 | 0 | 2.167 | 1.152
18900 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 0.849
19000 | 0 | 0 | -14.943 | 0 | 0 | 2.395 | 1.304
19100 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 0.698
19200 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.546
19300 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.152
19400 | 0 | 0 | -14.927 | 0 | 0 | 2.243 | 1.152
19500 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 1.001
19600 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.546
19700 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 0.849
19800 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 1.304
19900 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.152
20000 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 0.849
20100 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.546
20200 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.546
20300 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 0.546
20400 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.152
20500 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.152
20600 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.698
20700 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.849
20800 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 0.546
20900 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 0.849
21000 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 0.849
21100 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 0.395
21200 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.455
21300 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 1.304
21400 | 0 | 0 | -14.943 | 0 | 0 | 2.319 | 1.304
21500 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 0.849
21600 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 1.001
21700 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.698
21800 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.395
21900 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 0.395
22000 | 0 | 0 | -14.96 | 0 | 0 | 2.319 | 0.546
22100 | 0 | 0 | -14.96 | 0 | 0 | 2.319 | 1.152
22200 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 1.304
22300 | 0 | 0 | -14.943 | 0 | 0 | 2.167 | 0.395
22400 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.698
22500 | 0 | 0 | -14.96 | 0 | 0 | 2.319 | 0.849
22600 | 0 | 0 | -14.96 | 0 | 0 | 2.319 | 0.698
22700 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 1.304
22800 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 1.152
22900 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 1.152
23000 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 1.001
23100 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 0.698
23200 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 0.698
23300 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 1.001
23400 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.546
23500 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 1.152
23600 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 1.001
23700 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 0.698
23800 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 0.698
23900 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.546
24000 | 0 | 0 | -14.977 | 0 | 0 | 2.319 | 0.849
24100 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 1.152
24200 | 0 | 0 | -14.977 | 0 | 0 | 2.167 | 0.849
24300 | 0 | 0 | -14.96 | 0 | 0 | 2.091 | 0.546
24400 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.849
24500 | 0 | 0 | -14.96 | 0 | 0 | 2.243 | 0.849
24600 | 0 | 0 | -14.977 | 0 | 0 | 2.091 | 1.304
24700 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 0.546
24800 | 0 | 0 | -14.96 | 0 | 0 | 2.167 | 0.849
24900 | 0 | 0 | -14.977 | 0 | 0 | 2.243 | 0.546
25000 | 0 | 0 | -14.977 | 0 | 0 | 2.167 | 1.001
25100 | 0.04 | 0.04 | -14.977 | 0 | 258.548 | 2.091 | 1.304
25200 | 0.081 | 0.064 | -14.96 | 0 | 258.548 | 1.94 | 1.001
25300 | 0.121 | 0.133 | -14.977 | 104 | 258.548 | 2.243 | 0.546
25400 | 0.161 | 0.189 | -14.977 | -104 | 258.548 | 2.395 | 0.849
25500 | 0.202 | 0.25 | -14.977 | 0 | 258.548 | 1.94 | 0.546
25600 | 0.242 | 0.314 | -14.977 | 0 | 258.548 | 2.091 | 1.001
25700 | 0.282 | 0.383 | -14.977 | 0 | 258.548 | 1.485 | 1.152
25800 | 0.323 | 0.456 | -14.977 | 0 | 258.548 | 1.637 | 1.001
25900 | 0.363 | 0.532 | -14.977 | 0 | 258.548 | 1.41 | 1.304
26000 | 0.403 | 0.596 | -14.96 | 0 | 258.548 | 1.485 | 1.607
26100 | 0.443 | 0.681 | -14.96 | 104 | 258.548 | 1.788 | 2.365
26200 | 0.484 | 0.769 | -14.96 | 0 | 258.548 | 2.319 | 3.425
26300 | 0.524 | 0.862 | -14.96 | 0 | 258.548 | 3.986 | 6.153
26400 | 0.564 | 0.959 | -14.96 | 0 | 258.548 | 6.94 | 10.699
26500 | 0.605 | 1.009 | -14.91 | 0 | 258.548 | 10.047 | 16.305
26600 | 0.645 | 1.014 | -14.809 | 311.965 | 258.548 | 18.911 | 26.306
26700 | 0.685 | 0.988 | -14.675 | 623.948 | 258.548 | 28.608 | 37.519
26800 | 0.726 | 1.017 | -14.591 | 831.925 | 258.548 | 36.715 | 47.065
26900 | 0.766 | 1.034 | -14.491 | 519.96 | 258.548 | 43.609 | 55.398
27000 | 0.806 | 1.02 | -14.357 | 623.942 | 258.548 | 50.807 | 65.551
27100 | 0.847 | 1.045 | -14.256 | 831.925 | 258.548 | 56.565 | 71.763
27200 | 0.887 | 1.056 | -14.139 | 623.948 | 258.548 | 62.02 | 78.43
27300 | 0.927 | 1.055 | -14.004 | 727.936 | 258.548 | 66.717 | 83.885
27400 | 0.968 | 1.075 | -13.887 | 831.925 | 258.548 | 70.505 | 89.34
27500 | 1.008 | 1.115 | -13.786 | 727.931 | 258.548 | 74.217 | 93.28
27600 | 1.048 | 1.126 | -13.652 | 623.936 | 258.548 | 76.112 | 97.523
27700 | 1.089 | 1.125 | -13.501 | 831.937 | 258.548 | 80.051 | 102.068
27800 | 1.129 | 1.144 | -13.367 | 935.913 | 258.548 | 82.93 | 104.038
27900 | 1.169 | 1.15 | -13.216 | 831.925 | 258.548 | 85.43 | 106.766
28000 | 1.209 | 1.16 | -13.065 | 935.913 | 258.548 | 87.173 | 109.796
28100 | 1.25 | 1.175 | -12.914 | 935.925 | 258.548 | 88.915 | 111.917
28200 | 1.29 | 1.176 | -12.747 | 935.913 | 258.548 | 90.506 | 114.039
28300 | 1.33 | 1.199 | -12.596 | 1039.902 | 258.548 | 91.34 | 115.251
28400 | 1.371 | 1.242 | -12.462 | 935.913 | 258.548 | 92.628 | 116.918
28500 | 1.411 | 1.222 | -12.26 | 831.937 | 258.548 | 93.916 | 118.13
28600 | 1.451 | 1.256 | -12.108 | 1247.884 | 258.548 | 93.992 | 119.948
28700 | 1.492 | 1.244 | -11.907 | 942.424 | 258.548 | 95.734 | 120.403
28800 | 1.532 | 1.286 | -11.756 | 1247.878 | 258.548 | 96.113 | 121.767
28900 | 1.572 | 1.3 | -11.572 | 935.913 | 258.548 | 96.719 | 123.13
29000 | 1.613 | 1.3 | -11.37 | 1143.902 | 258.548 | 97.855 | 123.433
29100 | 1.653 | 1.321 | -11.186 | 1247.896 | 258.548 | 98.31 | 124.646
29200 | 1.693 | 1.346 | -11.002 | 1143.89 | 258.548 | 98.992 | 125.403
29300 | 1.734 | 1.342 | -10.784 | 1143.902 | 258.548 | 99.143 | 126.312
29400 | 1.774 | 1.358 | -10.582 | 1351.885 | 258.548 | 99.75 | 126.918
29500 | 1.814 | 1.362 | -10.364 | 1247.878 | 258.548 | 100.507 | 127.221
29600 | 1.855 | 1.37 | -10.146 | 1351.885 | 258.548 | 100.659 | 128.434
29700 | 1.895 | 1.398 | -9.945 | 1351.879 | 258.548 | 100.659 | 128.737
29800 | 1.935 | 1.397 | -9.71 | 1247.89 | 258.548 | 99.75 | 129.494
29900 | 1.975 | 1.451 | -9.526 | 1455.867 | 258.548 | 100.128 | 130.252
30000 | 2.016 | 1.441 | -9.274 | 1143.896 | 258.548 | 99.143 | 131.919
30100 | 2.056 | 1.486 | -9.073 | 1559.867 | 258.548 | 99.674 | 132.525
30200 | 2.096 | 1.484 | -8.821 | 1247.884 | 258.548 | 98.613 | 133.737
30300 | 2.137 | 1.47 | -8.553 | 1559.861 | 258.548 | 99.901 | 134.798
30400 | 2.177 | 1.51 | -8.335 | 1663.856 | 258.548 | 100.962 | 134.949
30500 | 2.217 | 1.52 | -8.084 | 1351.879 | 258.548 | 100.659 | 135.101
30600 | 2.258 | 1.5 | -7.797 | 1559.861 | 258.548 | 100.128 | 135.555
30700 | 2.298 | 1.569 | -7.596 | 1774.34 | 258.548 | 87.249 | 144.041
30800 | 2.338 | 1.625 | -7.378 | 1247.89 | 258.548 | 84.142 | 146.617
30900 | 2.379 | 1.669 | -7.143 | 1351.876 | 258.548 | 82.248 | 149.647
31000 | 2.419 | 1.666 | -6.858 | 1455.87 | 258.548 | 81.263 | 152.223
31100 | 2.419 | 1.606 | -6.556 | 1767.844 | 258.548 | 82.097 | 153.435
31200 | 2.419 | 1.58 | -6.288 | 1871.835 | 258.548 | 84.597 | 152.981
31300 | 2.419 | 1.553 | -6.02 | 1663.853 | 258.548 | 86.415 | 151.617
31400 | 2.419 | 1.543 | -5.768 | 1663.85 | 258.548 | 88.006 | 150.708
31500 | 2.419 | 1.534 | -5.517 | 1559.858 | 258.548 | 88.082 | 149.193
31600 | 2.419 | 1.524 | -5.265 | 1559.867 | 258.548 | 88.082 | 148.89
31700 | 2.419 | 1.514 | -5.014 | 1559.858 | 258.548 | 88.385 | 147.98
31800 | 2.419 | 1.522 | -4.779 | 1559.861 | 258.548 | 88.082 | 147.829
31900 | 2.419 | 1.512 | -4.527 | 1455.87 | 258.548 | 88.158 | 147.829
32000 | 2.419 | 1.536 | -4.309 | 1559.858 | 258.548 | 88.082 | 147.374
32100 | 2.419 | 1.526 | -4.058 | 1351.882 | 258.548 | 87.703 | 147.374
32200 | 2.419 | 1.517 | -3.806 | 1559.861 | 258.548 | 86.946 | 147.829
32300 | 2.419 | 1.489 | -3.537 | 1559.86 | 258.548 | 87.931 | 147.526
32400 | 2.419 | 1.496 | -3.302 | 1670.353 | 258.548 | 88.764 | 147.071
32500 | 2.419 | 1.52 | -3.084 | 1455.87 | 258.548 | 88.915 | 146.465
32600 | 2.419 | 1.51 | -2.833 | 1351.876 | 258.548 | 87.173 | 146.92
32700 | 2.298 | 1.413 | -2.615 | 1559.866 | 258.548 | 87.703 | 146.92
32800 | 2.177 | 1.271 | -2.363 | 1351.879 | 258.548 | 89.825 | 145.859
32900 | 2.056 | 1.133 | -2.128 | 1559.86 | 258.548 | 96.189 | 141.465
33000 | 1.935 | 1.066 | -1.977 | 1455.87 | 258.548 | 97.931 | 137.525
33100 | 1.814 | 0.988 | -1.826 | 935.917 | 258.548 | 97.477 | 132.828
33200 | 1.693 | 0.914 | -1.692 | 935.917 | 258.548 | 96.037 | 128.888
33300 | 1.572 | 0.879 | -1.608 | 831.927 | 258.548 | 94.143 | 124.646
33400 | 1.451 | 0.781 | -1.474 | 519.952 | 258.548 | 91.794 | 119.797
33500 | 1.33 | 0.738 | -1.407 | 831.927 | 258.548 | 89.37 | 115.857
33600 | 1.209 | 0.666 | -1.323 | 415.962 | 258.548 | 86.112 | 110.705
33700 | 1.089 | 0.599 | -1.256 | 519.954 | 258.548 | 83.006 | 105.856
33800 | 0.968 | 0.554 | -1.223 | 415.962 | 258.548 | 78.915 | 99.795
33900 | 0.847 | 0.479 | -1.172 | 207.981 | 258.548 | 74.672 | 94.644
34000 | 0.726 | 0.409 | -1.139 | 311.973 | 258.548 | 70.732 | 89.189
34100 | 0.605 | 0.344 | -1.122 | 207.981 | 258.548 | 66.944 | 84.188
34200 | 0.484 | 0.267 | -1.105 | 103.992 | 258.548 | 63.232 | 79.946
34300 | 0.363 | 0.178 | -1.088 | 103.989 | 258.548 | 59.823 | 76.006
34400 | 0.242 | 0.076 | -1.072 | 103.992 | 258.548 | 57.625 | 73.127
34500 | 0.121 | 0 | -1.072 | 103.989 | 258.548 | 54.974 | 69.793