## Data
Log File Data
************************
2007-11-08 12:18 | MERIT Configuration Data
Test Description: 14008 6TP 6bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071108 logfile.txt
Trigger-Pulse Delay (s) = 22.370000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.666
100 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | -0.514
200 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | -0.817
300 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.817
400 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.817
500 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.514
600 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.666
700 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | -0.969
800 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.817
900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.817
1000 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.514
1100 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.969
1200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.817
1300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.817
1400 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.817
1500 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.666
1600 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.817
1700 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.969
1800 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | -0.817
1900 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.817
2000 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.969
2100 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.666
2200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.666
2300 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.363
2400 | 0 | 0 | -14.893 | 0 | 0 | 0.576 | -0.817
2500 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.969
2600 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.969
2700 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.817
2800 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.666
2900 | 0 | 0 | -14.893 | 0 | 0 | 0.804 | -0.363
3000 | 0 | 0 | -14.893 | 0 | 0 | 0.804 | -0.969
3100 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | -0.817
3200 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.817
3300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.666
3400 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | -0.514
3500 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | -0.06
3600 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.514
3700 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.514
3800 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.969
3900 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.666
4000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.817
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.817
4200 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.969
4300 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | -0.817
4400 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.363
4500 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.666
4600 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.092
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.666
4800 | 0 | 0 | -14.91 | 0 | 0 | 0.879 | -0.969
4900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.817
5000 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.514
5100 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.666
5200 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.666
5300 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.969
5400 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.666
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.666
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.514
5700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.817
5800 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.666
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.969
6000 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.817
6100 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.666
6200 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.363
6300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.969
6400 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.817
6500 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.969
6600 | 0 | 0 | -14.91 | 0 | 0 | 0.879 | -0.969
6700 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.969
6800 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.514
6900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.666
7000 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.363
7100 | 0 | 0 | -14.91 | 0 | 0 | 0.879 | -0.817
7200 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.817
7300 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.969
7400 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.969
7500 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.666
7600 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.817
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.514
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.817
7900 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.969
8000 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.969
8100 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.817
8200 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.666
8300 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
8400 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.514
8500 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.666
8600 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.817
8700 | 0 | 0 | -14.927 | 0 | 0 | 0.879 | -0.969
8800 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.817
8900 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.817
9000 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.817
9100 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.363
9200 | 0 | 0 | -14.927 | 0 | 0 | 0.804 | -0.666
9300 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
9400 | 0 | 0 | -14.927 | 0 | 0 | 0.879 | -0.817
9500 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.969
9600 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.817
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.514
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.666
9900 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
10000 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.969
10100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.514
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
10300 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.666
10400 | 0 | 0 | -14.927 | 0 | 0 | 0.804 | -0.969
10500 | 0 | 0 | -14.927 | 0 | 0 | 0.879 | -0.969
10600 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -1.12
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.969
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.817
10900 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.514
11000 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.514
11100 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.514
11200 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.969
11300 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.969
11400 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.817
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.514
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.666
11700 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.363
11800 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.666
11900 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.969
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.817
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.969
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
12600 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.817
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.969
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.969
12900 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.666
13000 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.06
13100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.666
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.817
13300 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
13400 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.514
13500 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.06
13600 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.514
13700 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.666
13800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.817
13900 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.969
14000 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
14100 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.363
14200 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.514
14300 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.817
14400 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.817
14500 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.969
14600 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.817
14700 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.514
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.817
14900 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.817
15100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.817
15200 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.666
15300 | 0.04 | 0.04 | -14.943 | 0 | 203.699 | 1.107 | -0.514
15400 | 0.081 | 0.081 | -14.943 | 0 | 203.623 | 0.879 | -0.666
15500 | 0.121 | 0.133 | -14.943 | 0 | 203.623 | 1.031 | -0.817
15600 | 0.161 | 0.206 | -14.96 | 0 | 204.078 | 1.031 | -0.969
15700 | 0.202 | 0.25 | -14.943 | -103.988 | 203.017 | 0.728 | -0.969
15800 | 0.242 | 0.331 | -14.96 | 103.988 | 204.078 | 0.728 | -0.363
15900 | 0.282 | 0.4 | -14.96 | -103.988 | 203.623 | 0.728 | -0.06
16000 | 0.323 | 0.472 | -14.96 | 0 | 203.85 | 0.5 | 0.698
16100 | 0.363 | 0.549 | -14.96 | 0 | 204.381 | 0.349 | 0.243
16200 | 0.403 | 0.63 | -14.96 | 0 | 203.32 | 0.349 | 0.395
16300 | 0.443 | 0.698 | -14.943 | 0 | 204.532 | 0.5 | 0.849
16400 | 0.484 | 0.786 | -14.943 | 103.988 | 203.472 | 1.41 | 1.91
16500 | 0.524 | 0.879 | -14.943 | 0 | 203.85 | 2.546 | 4.183
16600 | 0.564 | 0.976 | -14.943 | 0 | 203.547 | 3.682 | 6.91
16700 | 0.605 | 1.043 | -14.91 | 0 | 203.85 | 6.258 | 11.002
16800 | 0.645 | 1.048 | -14.809 | 207.977 | 204.078 | 11.941 | 17.669
16900 | 0.685 | 1.055 | -14.709 | 623.948 | 203.699 | 19.062 | 26.609
17000 | 0.726 | 1.067 | -14.608 | 623.948 | 203.699 | 27.245 | 36.609
17100 | 0.766 | 1.084 | -14.507 | 623.948 | 203.547 | 36.488 | 47.671
17200 | 0.806 | 1.071 | -14.373 | 623.93 | 203.926 | 44.443 | 57.823
17300 | 0.847 | 1.096 | -14.273 | 831.937 | 203.775 | 51.716 | 66.46
17400 | 0.887 | 1.09 | -14.139 | 623.936 | 203.623 | 58.156 | 75.097
17500 | 0.927 | 1.089 | -14.004 | 831.937 | 203.775 | 63.611 | 81.461
17600 | 0.968 | 1.125 | -13.904 | 831.925 | 203.699 | 68.46 | 87.37
17700 | 1.008 | 1.149 | -13.786 | 623.93 | 203.244 | 71.717 | 92.068
17800 | 1.048 | 1.161 | -13.652 | 727.936 | 202.941 | 76.112 | 96.613
17900 | 1.089 | 1.175 | -13.518 | 831.937 | 203.472 | 78.612 | 101.614
18000 | 1.129 | 1.16 | -13.35 | 831.925 | 204.229 | 82.021 | 105.402
18100 | 1.169 | 1.167 | -13.199 | 1039.902 | 204.002 | 84.294 | 108.281
18200 | 1.209 | 1.194 | -13.065 | 935.913 | 203.926 | 85.809 | 110.251
18300 | 1.25 | 1.226 | -12.931 | 831.937 | 204.532 | 87.173 | 112.675
18400 | 1.29 | 1.26 | -12.797 | 831.925 | 204.456 | 86.946 | 115.706
18500 | 1.33 | 1.249 | -12.612 | 831.925 | 203.623 | 89.446 | 117.978
18600 | 1.371 | 1.258 | -12.445 | 1143.89 | 203.699 | 91.34 | 119.797
18700 | 1.411 | 1.272 | -12.277 | 1039.913 | 203.699 | 91.416 | 121.16
18800 | 1.451 | 1.274 | -12.092 | 1039.908 | 203.32 | 93.082 | 122.07
18900 | 1.492 | 1.277 | -11.907 | 1150.401 | 203.926 | 93.613 | 123.282
19000 | 1.532 | 1.303 | -11.739 | 1143.89 | 203.472 | 94.067 | 124.342
19100 | 1.572 | 1.333 | -11.572 | 1039.913 | 203.396 | 94.749 | 124.949
19200 | 1.613 | 1.333 | -11.37 | 1039.902 | 206.123 | 94.901 | 127.07
19300 | 1.653 | 1.356 | -11.186 | 1247.896 | 203.169 | 93.764 | 128.434
19400 | 1.693 | 1.413 | -11.035 | 1143.89 | 203.85 | 86.264 | 134.646
19500 | 1.734 | 1.442 | -10.851 | 935.925 | 204.229 | 86.415 | 136.768
19600 | 1.774 | 1.459 | -10.649 | 1143.89 | 203.396 | 86.491 | 138.737
19700 | 1.814 | 1.496 | -10.465 | 1247.896 | 204.381 | 87.097 | 140.253
19800 | 1.855 | 1.472 | -10.213 | 1143.89 | 204.153 | 86.87 | 142.222
19900 | 1.895 | 1.465 | -9.979 | 1559.867 | 203.775 | 87.173 | 143.738
20000 | 1.935 | 1.481 | -9.761 | 1455.867 | 202.941 | 88.84 | 142.98
20100 | 1.975 | 1.518 | -9.559 | 1351.879 | 203.169 | 88.84 | 143.738
20200 | 2.016 | 1.508 | -9.308 | 1247.89 | 204.002 | 88.082 | 144.647
20300 | 2.056 | 1.538 | -9.09 | 1559.861 | 204.002 | 87.855 | 145.556
20400 | 2.096 | 1.517 | -8.821 | 1351.879 | 204.153 | 87.097 | 146.617
20500 | 2.137 | 1.553 | -8.603 | 1663.85 | 203.85 | 87.476 | 146.768
20600 | 2.177 | 1.577 | -8.369 | 1351.885 | 203.623 | 87.627 | 146.768
20700 | 2.217 | 1.587 | -8.117 | 1455.867 | 203.472 | 86.491 | 147.98
20800 | 2.258 | 1.603 | -7.865 | 1559.861 | 203.093 | 85.809 | 148.435
20900 | 2.298 | 1.619 | -7.613 | 1566.361 | 203.699 | 85.355 | 149.496
21000 | 2.338 | 1.642 | -7.361 | 1559.858 | 203.926 | 85.506 | 150.102
21100 | 2.379 | 1.652 | -7.093 | 1559.864 | 203.169 | 84.673 | 151.769
21200 | 2.419 | 1.682 | -6.842 | 1663.85 | 204.305 | 84.37 | 152.072
21300 | 2.419 | 1.658 | -6.573 | 1559.861 | 204.305 | 83.764 | 152.981
21400 | 2.419 | 1.613 | -6.288 | 1663.853 | 204.002 | 83.839 | 154.344
21500 | 2.419 | 1.603 | -6.037 | 1767.844 | 203.775 | 85.809 | 153.132
21600 | 2.419 | 1.56 | -5.752 | 1559.861 | 203.775 | 86.718 | 151.617
21700 | 2.419 | 1.55 | -5.5 | 1767.844 | 203.85 | 87.855 | 150.859
21800 | 2.419 | 1.526 | -5.232 | 1559.858 | 203.244 | 88.158 | 149.193
21900 | 2.419 | 1.581 | -5.047 | 1663.85 | 203.32 | 88.688 | 148.89
22000 | 2.419 | 1.555 | -4.779 | 1143.896 | 203.85 | 87.552 | 148.587
22100 | 2.419 | 1.512 | -4.494 | 1663.856 | 204.229 | 87.097 | 148.89
22200 | 2.419 | 1.552 | -4.293 | 1767.844 | 204.002 | 88.688 | 148.132
22300 | 2.419 | 1.545 | -4.041 | 1247.887 | 203.017 | 88.158 | 146.92
22400 | 2.419 | 1.533 | -3.789 | 1559.858 | 203.472 | 87.703 | 148.132
22500 | 2.419 | 1.539 | -3.554 | 1559.866 | 200.745 | 88.158 | 148.283
22600 | 2.419 | 1.546 | -3.319 | 1462.369 | 201.654 | 88.082 | 147.526
22700 | 2.419 | 1.536 | -3.067 | 1455.866 | 201.73 | 87.476 | 147.829
22800 | 2.419 | 1.529 | -2.816 | 1559.866 | 201.124 | 87.855 | 147.526
22900 | 2.298 | 1.446 | -2.615 | 1559.86 | 202.411 | 88.234 | 147.829
23000 | 2.177 | 1.321 | -2.38 | 1247.889 | 202.639 | 89.597 | 146.314
23100 | 2.056 | 1.199 | -2.162 | 1455.868 | 202.184 | 93.385 | 142.98
23200 | 1.935 | 1.066 | -1.944 | 1351.882 | 202.26 | 96.264 | 139.495
23300 | 1.814 | 1.006 | -1.81 | 1351.878 | 201.578 | 97.78 | 134.495
23400 | 1.693 | 0.948 | -1.692 | 831.927 | 202.563 | 97.174 | 129.191
23500 | 1.572 | 0.862 | -1.558 | 727.936 | 202.411 | 94.598 | 124.646
23600 | 1.451 | 0.814 | -1.474 | 831.924 | 201.502 | 91.643 | 120.251
23700 | 1.33 | 0.755 | -1.39 | 519.955 | 201.805 | 88.764 | 114.796
23800 | 1.209 | 0.701 | -1.323 | 519.954 | 201.578 | 85.658 | 110.251
23900 | 1.089 | 0.633 | -1.256 | 415.962 | 202.184 | 83.158 | 104.644
24000 | 0.968 | 0.57 | -1.206 | 415.962 | 201.275 | 78.233 | 99.189
24100 | 0.847 | 0.512 | -1.172 | 311.973 | 201.578 | 75.051 | 94.492
24200 | 0.726 | 0.443 | -1.139 | 207.98 | 202.108 | 69.975 | 88.583
24300 | 0.605 | 0.361 | -1.105 | 207.981 | 201.957 | 65.808 | 83.279
24400 | 0.484 | 0.284 | -1.088 | 207.981 | 202.26 | 62.02 | 78.43
24500 | 0.363 | 0.211 | -1.088 | 103.992 | 201.881 | 58.762 | 74.188
24600 | 0.242 | 0.093 | -1.055 | 0 | 202.563 | 55.58 | 70.399
24700 | 0.121 | 0 | -1.055 | 207.981 | 202.184 | 52.928 | 67.066