## Data
Log File Data
************************
2007-11-08 20:12 | MERIT Configuration Data
Test Description: 14037 8TP 6+2bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071108 logfile.txt
Trigger-Pulse Delay (s) = 22.370000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | 0.243
100 | 0 | 0 | -14.625 | 0 | 0 | 1.637 | 0.546
200 | 0 | 0 | -14.625 | 0 | 0 | 1.637 | 0.243
300 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | 0.243
400 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | 0.395
500 | 0 | 0 | -14.625 | 0 | 0 | 1.637 | 0.546
600 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.395
700 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.546
800 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | 0.395
900 | 0 | 0 | -14.625 | 0 | 0 | 1.637 | -0.06
1000 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | -0.514
1100 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.092
1200 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.092
1300 | 0 | 0 | -14.625 | 0 | 0 | 1.485 | -0.363
1400 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.546
1500 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.395
1600 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.698
1700 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.395
1800 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.546
1900 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.092
2000 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | -0.363
2100 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.092
2200 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.546
2300 | 0 | 0 | -14.625 | 0 | 0 | 1.788 | 0.698
2400 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.395
2500 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.243
2600 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.395
2700 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.546
2800 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.698
2900 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.092
3000 | 0 | 0 | -14.642 | 0 | 0 | 1.334 | -0.06
3100 | 0 | 0 | -14.642 | 0 | 0 | 1.41 | 0.092
3200 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.849
3300 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.395
3400 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.546
3500 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.698
3600 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.092
3700 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.092
3800 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.243
3900 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | -0.06
4000 | 0 | 0 | -14.658 | 0 | 0 | 1.637 | 0.243
4100 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.546
4200 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.243
4300 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.546
4400 | 0 | 0 | -14.642 | 0 | 0 | 1.41 | 0.395
4500 | 0 | 0 | -14.642 | 0 | 0 | 1.334 | 0.243
4600 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.092
4700 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.243
4800 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 0.395
4900 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.092
5000 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.243
5100 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.546
5200 | 0 | 0 | -14.658 | 0 | 0 | 1.637 | 0.849
5300 | 0 | 0 | -14.658 | 0 | 0 | 1.41 | 0.395
5400 | 0 | 0 | -14.658 | 0 | 0 | 1.41 | 0.698
5500 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.092
5600 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.092
5700 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.243
5800 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.698
5900 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.092
6000 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.092
6100 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.092
6200 | 0 | 0 | -14.658 | 0 | 0 | 1.637 | 0.243
6300 | 0 | 0 | -14.658 | 0 | 0 | 1.258 | 0.395
6400 | 0 | 0 | -14.658 | 0 | 0 | 1.182 | 0.092
6500 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.546
6600 | 0 | 0 | -14.658 | 0 | 0 | 1.637 | 0.395
6700 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 0.243
6800 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.243
6900 | 0 | 0 | -14.658 | 0 | 0 | 1.334 | 0.243
7000 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.092
7100 | 0 | 0 | -14.658 | 0 | 0 | 1.334 | 0.546
7200 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | 0.243
7300 | 0 | 0 | -14.675 | 0 | 0 | 1.637 | 0.092
7400 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | -0.363
7500 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.243
7600 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.243
7700 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | -0.363
7800 | 0 | 0 | -14.675 | 0 | 0 | 1.713 | -0.514
7900 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | 0.092
8000 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.546
8100 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.698
8200 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | -0.06
8300 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 0.698
8400 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 0.243
8500 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 0.243
8600 | 0 | 0 | -14.675 | 0 | 0 | 1.637 | 0.395
8700 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.546
8800 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 0.243
8900 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 0.546
9000 | 0 | 0 | -14.675 | 0 | 0 | 1.713 | 0.092
9100 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | -0.06
9200 | 0 | 0 | -14.675 | 0 | 0 | 1.637 | 0.243
9300 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | 0.395
9400 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.092
9500 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.092
9600 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.092
9700 | 0 | 0 | -14.675 | 0 | 0 | 1.637 | 0.546
9800 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.092
9900 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | -0.363
10000 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.092
10100 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | 0.243
10200 | 0 | 0 | -14.675 | 0 | 0 | 1.713 | -0.06
10300 | 0 | 0 | -14.675 | 0 | 0 | 1.713 | 0.395
10400 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | 0.243
10500 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | 0.092
10600 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | -0.06
10700 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | -0.06
10800 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.698
10900 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | 0.243
11000 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | -0.06
11100 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.395
11200 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | -0.06
11300 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | -0.363
11400 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | 0.546
11500 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.698
11600 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | 0.546
11700 | 0 | 0 | -14.692 | 0 | 0 | 1.637 | -0.363
11800 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | -0.06
11900 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | -0.514
12000 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.092
12100 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | -0.363
12200 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | 0.395
12300 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | 0.546
12400 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.092
12500 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.06
12600 | 0 | 0 | -14.709 | 0 | 0 | 1.713 | -0.06
12700 | 0 | 0 | -14.709 | 0 | 0 | 1.561 | 0.243
12800 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | -0.363
12900 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 0.698
13000 | 0 | 0 | -14.692 | 0 | 0 | 1.713 | 0.546
13100 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.395
13200 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.363
13300 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | 0.243
13400 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 0.546
13500 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.395
13600 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.395
13700 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.363
13800 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
13900 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
14000 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | 0.395
14100 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.698
14200 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.546
14300 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | 0.243
14400 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.363
14500 | 0 | 0 | -14.709 | 0 | 0 | 1.561 | 0.395
14600 | 0 | 0 | -14.709 | 0 | 0 | 1.713 | -0.363
14700 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.243
14800 | 0 | 0 | -14.709 | 0 | 0 | 1.561 | -0.06
14900 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.243
15000 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.546
15100 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
15200 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
15300 | 0.04 | 0.04 | -14.709 | 0 | 171.043 | 1.713 | 0.092
15400 | 0.081 | 0.081 | -14.709 | 0 | 171.422 | 1.258 | 0.092
15500 | 0.121 | 0.15 | -14.725 | 0 | 170.892 | 1.41 | -0.06
15600 | 0.161 | 0.189 | -14.709 | -103.988 | 171.119 | 1.485 | 0.243
15700 | 0.202 | 0.267 | -14.725 | 103.988 | 171.043 | 1.485 | 0.395
15800 | 0.242 | 0.331 | -14.725 | -103.988 | 170.74 | 1.258 | 0.243
15900 | 0.282 | 0.4 | -14.725 | 0 | 171.043 | 1.182 | 1.304
16000 | 0.323 | 0.456 | -14.709 | 0 | 171.27 | 1.182 | 1.152
16100 | 0.363 | 0.532 | -14.709 | 103.988 | 171.649 | 1.031 | 1.152
16200 | 0.403 | 0.613 | -14.709 | 0 | 171.346 | 1.107 | 1.001
16300 | 0.443 | 0.697 | -14.709 | 0 | 171.043 | 1.485 | 1.607
16400 | 0.484 | 0.786 | -14.709 | 0 | 170.892 | 2.319 | 2.819
16500 | 0.524 | 0.879 | -14.709 | 0 | 170.665 | 3.607 | 5.395
16600 | 0.564 | 0.976 | -14.709 | 0 | 171.119 | 6.107 | 9.335
16700 | 0.605 | 0.992 | -14.625 | 0 | 170.74 | 9.895 | 15.547
16800 | 0.645 | 1.03 | -14.558 | 519.942 | 171.119 | 16.941 | 23.427
16900 | 0.685 | 1.005 | -14.424 | 415.971 | 173.694 | 26.032 | 34.488
17000 | 0.726 | 1.051 | -14.357 | 831.925 | 170.892 | 34.518 | 44.186
17100 | 0.766 | 1.05 | -14.239 | 415.965 | 171.27 | 42.776 | 54.944
17200 | 0.806 | 1.071 | -14.139 | 727.936 | 171.498 | 49.216 | 63.581
17300 | 0.847 | 1.045 | -13.988 | 623.948 | 171.422 | 56.868 | 71.763
17400 | 0.887 | 1.073 | -13.887 | 935.913 | 171.043 | 61.944 | 78.885
17500 | 0.927 | 1.09 | -13.77 | 623.942 | 171.498 | 66.565 | 84.037
17600 | 0.968 | 1.108 | -13.652 | 727.936 | 171.043 | 71.187 | 89.795
17700 | 1.008 | 1.098 | -13.501 | 727.936 | 171.346 | 75.43 | 94.795
17800 | 1.048 | 1.126 | -13.384 | 935.913 | 171.119 | 78.46 | 98.583
17900 | 1.089 | 1.124 | -13.233 | 727.936 | 170.816 | 80.733 | 101.462
18000 | 1.129 | 1.161 | -13.116 | 935.913 | 171.346 | 83.309 | 105.099
18100 | 1.169 | 1.166 | -12.965 | 727.936 | 171.422 | 85.279 | 107.826
18200 | 1.209 | 1.177 | -12.814 | 935.913 | 171.27 | 87.173 | 110.402
18300 | 1.25 | 1.208 | -12.68 | 935.925 | 170.74 | 88.84 | 113.13
18400 | 1.29 | 1.193 | -12.495 | 831.925 | 171.119 | 90.885 | 114.19
18500 | 1.33 | 1.217 | -12.344 | 1143.89 | 171.043 | 91.567 | 116.312
18600 | 1.371 | 1.225 | -12.176 | 935.925 | 171.195 | 92.097 | 118.281
18700 | 1.411 | 1.254 | -12.024 | 1039.902 | 170.967 | 93.916 | 118.281
18800 | 1.451 | 1.239 | -11.823 | 942.413 | 171.498 | 94.598 | 119.645
18900 | 1.492 | 1.26 | -11.656 | 1247.896 | 171.119 | 95.431 | 121.312
19000 | 1.532 | 1.271 | -11.471 | 1039.902 | 170.892 | 96.189 | 121.767
19100 | 1.572 | 1.282 | -11.287 | 1143.902 | 170.513 | 96.492 | 123.282
19200 | 1.613 | 1.316 | -11.119 | 1143.89 | 171.043 | 97.098 | 123.736
19300 | 1.653 | 1.337 | -10.934 | 1039.913 | 170.74 | 96.34 | 124.949
19400 | 1.693 | 1.363 | -10.75 | 1143.896 | 170.967 | 98.31 | 125.403
19500 | 1.734 | 1.343 | -10.515 | 1143.902 | 171.195 | 98.31 | 126.918
19600 | 1.774 | 1.358 | -10.314 | 1455.873 | 171.043 | 98.992 | 127.373
19700 | 1.814 | 1.412 | -10.146 | 1247.89 | 171.498 | 97.628 | 129.191
19800 | 1.855 | 1.386 | -9.895 | 1039.902 | 171.346 | 98.462 | 129.797
19900 | 1.895 | 1.398 | -9.677 | 1559.861 | 170.892 | 98.462 | 131.464
20000 | 1.935 | 1.433 | -9.475 | 1351.879 | 171.498 | 99.068 | 131.313
20100 | 1.975 | 1.434 | -9.241 | 1247.89 | 171.422 | 98.31 | 132.979
20200 | 2.016 | 1.441 | -9.006 | 1455.867 | 171.27 | 99.825 | 132.828
20300 | 2.056 | 1.469 | -8.788 | 1455.873 | 171.498 | 99.75 | 133.434
20400 | 2.096 | 1.45 | -8.52 | 1351.879 | 170.437 | 97.098 | 135.252
20500 | 2.137 | 1.539 | -8.352 | 1663.85 | 171.195 | 88.082 | 141.162
20600 | 2.177 | 1.577 | -8.134 | 1039.908 | 171.422 | 86.415 | 144.344
20700 | 2.217 | 1.621 | -7.916 | 1351.885 | 171.27 | 82.93 | 147.071
20800 | 2.258 | 1.634 | -7.663 | 1351.876 | 170.892 | 83.309 | 149.193
20900 | 2.298 | 1.619 | -7.378 | 1566.364 | 170.665 | 83.536 | 151.314
21000 | 2.338 | 1.627 | -7.11 | 1767.838 | 171.498 | 84.445 | 151.617
21100 | 2.379 | 1.635 | -6.842 | 1663.856 | 171.346 | 85.355 | 151.314
21200 | 2.419 | 1.615 | -6.54 | 1663.85 | 171.119 | 84.749 | 151.162
21300 | 2.419 | 1.622 | -6.305 | 1871.832 | 171.119 | 85.43 | 152.375
21400 | 2.419 | 1.562 | -6.003 | 1455.87 | 171.422 | 85.582 | 151.314
21500 | 2.419 | 1.538 | -5.735 | 1871.832 | 170.892 | 87.476 | 151.465
21600 | 2.419 | 1.56 | -5.517 | 1663.856 | 170.892 | 88.612 | 149.496
21700 | 2.419 | 1.517 | -5.232 | 1351.882 | 170.816 | 88.006 | 148.89
21800 | 2.419 | 1.54 | -5.014 | 1767.838 | 171.649 | 88.764 | 148.132
21900 | 2.419 | 1.514 | -4.745 | 1351.882 | 171.27 | 88.537 | 147.98
22000 | 2.419 | 1.524 | -4.511 | 1663.853 | 170.967 | 88.461 | 147.829
22100 | 2.419 | 1.495 | -4.242 | 1455.867 | 170.892 | 88.461 | 147.374
22200 | 2.419 | 1.519 | -4.024 | 1663.853 | 171.27 | 88.764 | 146.92
22300 | 2.419 | 1.542 | -3.806 | 1351.882 | 171.498 | 88.461 | 146.314
22400 | 2.419 | 1.532 | -3.554 | 1351.877 | 171.725 | 87.249 | 146.768
22500 | 2.419 | 1.525 | -3.302 | 1566.364 | 171.498 | 87.173 | 148.132
22600 | 2.419 | 1.512 | -3.051 | 1559.86 | 172.028 | 88.158 | 147.526
22700 | 2.419 | 1.52 | -2.816 | 1559.86 | 171.725 | 88.385 | 147.677
22800 | 2.419 | 1.493 | -2.547 | 1455.871 | 171.725 | 88.158 | 146.768
22900 | 2.298 | 1.396 | -2.329 | 1663.851 | 172.028 | 88.764 | 146.617
23000 | 2.177 | 1.289 | -2.111 | 1351.879 | 171.119 | 91.643 | 144.95
23100 | 2.056 | 1.149 | -1.877 | 1351.879 | 171.195 | 95.658 | 141.162
23200 | 1.935 | 1.049 | -1.692 | 1455.871 | 171.952 | 97.174 | 138.283
23300 | 1.814 | 0.988 | -1.558 | 1143.9 | 171.725 | 98.84 | 133.737
23400 | 1.693 | 0.897 | -1.407 | 831.924 | 171.725 | 95.886 | 128.434
23500 | 1.572 | 0.83 | -1.29 | 935.917 | 171.649 | 94.673 | 124.646
23600 | 1.451 | 0.798 | -1.223 | 727.935 | 171.876 | 93.082 | 119.342
23700 | 1.33 | 0.721 | -1.122 | 415.962 | 171.801 | 88.915 | 114.948
23800 | 1.209 | 0.683 | -1.072 | 623.946 | 171.952 | 85.582 | 110.554
23900 | 1.089 | 0.599 | -0.988 | 311.97 | 172.407 | 81.718 | 105.099
24000 | 0.968 | 0.554 | -0.954 | 519.954 | 171.498 | 78.081 | 99.795
24100 | 0.847 | 0.513 | -0.938 | 207.981 | 171.498 | 74.975 | 94.644
24200 | 0.726 | 0.426 | -0.887 | 103.992 | 171.498 | 69.975 | 88.431
24300 | 0.605 | 0.361 | -0.87 | 311.973 | 171.952 | 65.808 | 83.885
24400 | 0.484 | 0.284 | -0.854 | 103.989 | 171.952 | 62.55 | 79.188
24500 | 0.363 | 0.178 | -0.82 | 103.992 | 171.649 | 60.126 | 76.461
24600 | 0.242 | 0.076 | -0.803 | 207.981 | 171.876 | 57.019 | 72.218
24700 | 0.121 | 0 | -0.803 | 103.989 | 172.028 | 54.443 | 68.733