## Data
Log File Data
************************
2007-11-09 10:17 | MERIT Configuration Data
Test Description: 15008 16TP 8Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 18.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.395
100 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | -0.06
200 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.243
300 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.06
400 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | -0.06
500 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.092
600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.06
700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
800 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.243
900 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.363
1000 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.395
1100 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
1200 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.546
1300 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.698
1400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
1500 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
1600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
1700 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.092
1800 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | -0.363
1900 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.092
2000 | 0 | 0 | -15.044 | 0 | 0 | 1.561 | 0.092
2100 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.546
2200 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.395
2300 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
2400 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | -0.363
2500 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.092
2600 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.395
2700 | 0 | 0 | -15.044 | 0 | 0 | 1.637 | -0.363
2800 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.243
2900 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | -0.06
3000 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.092
3100 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.363
3200 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | -0.363
3300 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | -0.06
3400 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
3500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
3600 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.06
3700 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | -0.06
3800 | 0 | 0 | -15.044 | 0 | 0 | 1.637 | 0.243
3900 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.395
4000 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.395
4100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
4200 | 0 | 0 | -15.044 | 0 | 0 | 1.561 | 0.243
4300 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.243
4400 | 0 | 0 | -15.044 | 0 | 0 | 1.561 | -0.06
4500 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | 0.243
4600 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
4700 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | -0.06
4800 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | 0.092
4900 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | 0.243
5000 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.546
5100 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.546
5200 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
5300 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.092
5400 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.243
5500 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.546
5600 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.243
5700 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
5800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.092
5900 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.243
6000 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.243
6100 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | -0.514
6200 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | -0.06
6300 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | 0.092
6400 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.546
6500 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | -0.06
6600 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
6700 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | -0.06
6800 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | -0.06
6900 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | -0.363
7000 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | 0.092
7100 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.092
7200 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.243
7300 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.092
7400 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.243
7500 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
7600 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | -0.06
7700 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.092
7800 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.395
7900 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.092
8000 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | -0.06
8100 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
8200 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.698
8300 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
8400 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | -0.363
8500 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | -0.363
8600 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.395
8700 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | -0.06
8800 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.06
8900 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.363
9000 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.243
9100 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.395
9200 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.092
9300 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | -0.06
9400 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.243
9500 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | 0.092
9600 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | 0.092
9700 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.092
9800 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.06
9900 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.243
10000 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.363
10100 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.06
10200 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | -0.06
10300 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.698
10400 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | -0.06
10500 | 0 | 0 | -15.094 | 0 | 0 | 1.561 | -0.06
10600 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | -0.363
10700 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.092
10800 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | -0.06
10900 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | 0.092
11000 | 0 | 0 | -15.078 | 0 | 0 | 1.637 | 0.092
11100 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | 0.243
11200 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | -0.06
11300 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | -0.06
11400 | 0 | 0 | -15.094 | 0 | 0 | 1.864 | -0.363
11500 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.243
11600 | 0 | 0 | -15.094 | 0 | 0 | 1.561 | -0.06
11700 | 0.04 | 0.04 | -15.094 | 0 | 171.27 | 1.485 | 0.546
11800 | 0.081 | 0.081 | -15.094 | 0 | 171.876 | 1.561 | 0.243
11900 | 0.121 | 0.133 | -15.094 | 0 | 171.422 | 1.41 | 0.092
12000 | 0.161 | 0.189 | -15.094 | 0 | 171.801 | 1.485 | -0.06
12100 | 0.202 | 0.25 | -15.094 | 0 | 171.725 | 1.258 | 0.092
12200 | 0.242 | 0.314 | -15.094 | 0 | 171.043 | 1.182 | 0.698
12300 | 0.282 | 0.383 | -15.094 | 0 | 173.467 | 1.334 | 0.698
12400 | 0.323 | 0.456 | -15.094 | 0 | 170.967 | 1.107 | 1.001
12500 | 0.363 | 0.532 | -15.094 | 0 | 171.27 | 0.955 | 1.152
12600 | 0.403 | 0.596 | -15.078 | 0 | 171.422 | 0.804 | 0.849
12700 | 0.443 | 0.681 | -15.078 | 104 | 170.74 | 1.334 | 1.455
12800 | 0.484 | 0.769 | -15.078 | 0 | 171.27 | 1.864 | 2.365
12900 | 0.524 | 0.863 | -15.078 | 0 | 171.195 | 3.001 | 4.638
13000 | 0.564 | 0.959 | -15.078 | 0 | 171.725 | 4.97 | 7.82
13100 | 0.605 | 1.026 | -15.044 | 0 | 171.422 | 8.38 | 14.032
13200 | 0.645 | 1.081 | -14.994 | 207.983 | 171.043 | 13.229 | 20.851
13300 | 0.685 | 1.072 | -14.876 | 311.965 | 171.27 | 23.078 | 32.67
13400 | 0.726 | 1.051 | -14.742 | 727.936 | 171.043 | 34.291 | 45.398
13500 | 0.766 | 1.067 | -14.642 | 831.925 | 171.952 | 42.473 | 55.55
13600 | 0.806 | 1.071 | -14.524 | 623.942 | 171.27 | 50.277 | 65.399
13700 | 0.847 | 1.078 | -14.407 | 727.936 | 170.892 | 55.959 | 73.582
13800 | 0.887 | 1.106 | -14.306 | 727.936 | 171.043 | 60.959 | 80.249
13900 | 0.927 | 1.123 | -14.189 | 623.948 | 171.422 | 65.959 | 86.764
14000 | 0.968 | 1.075 | -14.004 | 727.931 | 171.346 | 71.263 | 92.522
14100 | 1.008 | 1.115 | -13.904 | 1143.908 | 171.649 | 74.748 | 97.068
14200 | 1.048 | 1.126 | -13.77 | 623.93 | 171.498 | 77.551 | 100.098
14300 | 1.089 | 1.141 | -13.635 | 831.937 | 171.195 | 80.127 | 103.735
14400 | 1.129 | 1.145 | -13.484 | 831.925 | 171.195 | 82.021 | 106.766
14500 | 1.169 | 1.183 | -13.367 | 935.913 | 170.967 | 83.764 | 109.493
14600 | 1.209 | 1.16 | -13.183 | 727.936 | 171.876 | 86.112 | 111.917
14700 | 1.25 | 1.191 | -13.048 | 1143.902 | 171.043 | 87.476 | 113.433
14800 | 1.29 | 1.226 | -12.914 | 831.925 | 171.346 | 88.006 | 115.099
14900 | 1.33 | 1.217 | -12.73 | 831.925 | 171.725 | 89.673 | 116.615
15000 | 1.371 | 1.292 | -12.629 | 1143.89 | 171.649 | 85.733 | 121.918
15100 | 1.411 | 1.306 | -12.462 | 623.948 | 171.27 | 85.203 | 125.706
15200 | 1.451 | 1.307 | -12.277 | 1039.913 | 171.876 | 85.961 | 128.434
15300 | 1.492 | 1.311 | -12.092 | 1143.896 | 171.876 | 87.097 | 130.555
15400 | 1.532 | 1.338 | -11.924 | 1150.401 | 171.346 | 88.006 | 131.313
15500 | 1.572 | 1.349 | -11.739 | 1039.902 | 171.801 | 88.006 | 133.282
15600 | 1.613 | 1.35 | -11.538 | 1143.902 | 171.195 | 88.082 | 134.798
15700 | 1.653 | 1.371 | -11.354 | 1247.884 | 171.119 | 88.385 | 135.707
15800 | 1.693 | 1.363 | -11.136 | 1143.902 | 171.346 | 88.915 | 136.313
15900 | 1.734 | 1.394 | -10.951 | 1351.879 | 170.892 | 89.749 | 136.616
16000 | 1.774 | 1.442 | -10.784 | 1143.896 | 171.952 | 88.84 | 137.525
16100 | 1.814 | 1.429 | -10.549 | 1039.913 | 171.27 | 88.612 | 138.586
16200 | 1.855 | 1.453 | -10.347 | 1455.867 | 171.043 | 88.385 | 140.253
16300 | 1.895 | 1.482 | -10.146 | 1247.884 | 171.043 | 88.915 | 140.859
16400 | 1.935 | 1.433 | -9.861 | 1247.89 | 171.725 | 88.385 | 142.222
16500 | 1.975 | 1.467 | -9.66 | 1767.844 | 171.27 | 88.688 | 142.829
16600 | 2.016 | 1.491 | -9.442 | 1247.884 | 171.649 | 89.673 | 142.526
16700 | 2.056 | 1.502 | -9.207 | 1351.885 | 171.195 | 87.931 | 143.132
16800 | 2.096 | 1.534 | -8.989 | 1455.873 | 171.422 | 87.779 | 143.889
16900 | 2.137 | 1.572 | -8.771 | 1351.873 | 171.346 | 87.249 | 145.253
17000 | 2.177 | 1.56 | -8.503 | 1351.885 | 171.195 | 86.415 | 146.617
17100 | 2.217 | 1.57 | -8.251 | 1663.85 | 171.27 | 86.264 | 147.526
17200 | 2.258 | 1.602 | -8.016 | 1559.861 | 171.043 | 86.794 | 148.132
17300 | 2.298 | 1.586 | -7.73 | 1455.873 | 171.346 | 85.43 | 149.344
17400 | 2.338 | 1.661 | -7.529 | 1774.334 | 171.498 | 85.809 | 149.496
17500 | 2.379 | 1.652 | -7.244 | 1247.893 | 170.74 | 84.9 | 150.102
17600 | 2.419 | 1.665 | -6.976 | 1767.844 | 171.649 | 83.536 | 151.465
17700 | 2.419 | 1.589 | -6.657 | 1663.85 | 171.725 | 83.612 | 153.132
17800 | 2.419 | 1.579 | -6.406 | 1975.821 | 171.952 | 85.279 | 152.678
17900 | 2.419 | 1.572 | -6.154 | 1559.867 | 171.119 | 87.476 | 150.708
18000 | 2.419 | 1.543 | -5.886 | 1559.858 | 170.816 | 87.249 | 149.647
18100 | 2.419 | 1.55 | -5.651 | 1663.85 | 171.27 | 88.006 | 149.041
18200 | 2.419 | 1.524 | -5.383 | 1455.87 | 171.649 | 88.082 | 148.283
18300 | 2.419 | 1.548 | -5.165 | 1663.856 | 171.422 | 88.158 | 148.132
18400 | 2.419 | 1.507 | -4.88 | 1351.882 | 171.876 | 88.006 | 146.92
18500 | 2.419 | 1.562 | -4.695 | 1767.838 | 171.725 | 88.082 | 147.677
18600 | 2.419 | 1.535 | -4.427 | 1143.896 | 171.043 | 88.006 | 146.617
18700 | 2.419 | 1.526 | -4.175 | 1663.856 | 171.952 | 87.324 | 147.374
18800 | 2.419 | 1.516 | -3.924 | 1559.858 | 171.043 | 88.158 | 146.92
18900 | 2.419 | 1.559 | -3.722 | 1559.86 | 172.785 | 88.158 | 146.617
19000 | 2.419 | 1.529 | -3.453 | 1247.893 | 172.71 | 86.188 | 147.677
19100 | 2.419 | 1.503 | -3.185 | 1670.348 | 172.028 | 87.552 | 147.374
19200 | 2.419 | 1.527 | -2.967 | 1663.854 | 172.558 | 88.688 | 146.92
19300 | 2.298 | 1.396 | -2.715 | 1351.877 | 172.634 | 88.158 | 146.768
19400 | 2.177 | 1.272 | -2.48 | 1559.864 | 172.861 | 91.188 | 145.556
19500 | 2.056 | 1.166 | -2.279 | 1455.868 | 173.088 | 95.583 | 140.556
19600 | 1.935 | 1.083 | -2.111 | 1247.889 | 173.164 | 96.871 | 136.465
19700 | 1.814 | 0.988 | -1.944 | 1039.906 | 172.937 | 96.643 | 132.828
19800 | 1.693 | 0.931 | -1.826 | 1039.908 | 172.937 | 95.583 | 128.434
19900 | 1.572 | 0.88 | -1.726 | 727.936 | 172.861 | 93.992 | 124.646
20000 | 1.451 | 0.814 | -1.625 | 623.943 | 172.558 | 91.34 | 119.645
20100 | 1.33 | 0.755 | -1.541 | 623.947 | 172.255 | 89.673 | 114.948
20200 | 1.209 | 0.683 | -1.457 | 519.954 | 173.088 | 85.582 | 110.554
20300 | 1.089 | 0.633 | -1.407 | 519.952 | 172.407 | 82.627 | 105.705
20400 | 0.968 | 0.571 | -1.357 | 311.973 | 172.179 | 79.294 | 100.401
20500 | 0.847 | 0.479 | -1.29 | 311.973 | 172.558 | 74.521 | 94.644
20600 | 0.726 | 0.409 | -1.256 | 415.962 | 172.634 | 70.202 | 89.189
20700 | 0.605 | 0.327 | -1.223 | 207.981 | 172.785 | 66.565 | 84.037
20800 | 0.484 | 0.267 | -1.223 | 207.981 | 172.634 | 63.459 | 80.097
20900 | 0.363 | 0.178 | -1.206 | 0 | 174.149 | 59.898 | 76.157
21000 | 0.242 | 0.076 | -1.189 | 103.992 | 172.407 | 57.398 | 73.127
21100 | 0.121 | 0 | -1.189 | 103.989 | 172.937 | 54.368 | 69.036
21200 | 0.121 | 0 | -0.636 | 0 | 172.255 | 53.837 | 68.581