## Data
Log File Data
************************
2007-11-09 11:18 | MERIT Configuration Data
Test Description: 15011 16TP 6+2Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 18.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | 1.607
100 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 1.455
200 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 1.455
300 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 1.91
400 | 0 | 0 | -14.658 | 0 | 0 | 2.167 | 1.607
500 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 1.607
600 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 1.152
700 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 1.304
800 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 1.455
900 | 0 | 0 | -14.658 | 0 | 0 | 1.94 | 1.455
1000 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 1.304
1100 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 1.455
1200 | 0 | 0 | -14.675 | 0 | 0 | 1.637 | 1.304
1300 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 1.455
1400 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 1.001
1500 | 0 | 0 | -14.658 | 0 | 0 | 1.637 | 1.304
1600 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | 1.455
1700 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.849
1800 | 0 | 0 | -14.658 | 0 | 0 | 1.41 | 1.001
1900 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.849
2000 | 0 | 0 | -14.675 | 0 | 0 | 1.788 | 0.849
2100 | 0 | 0 | -14.675 | 0 | 0 | 1.561 | 1.152
2200 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 1.152
2300 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.698
2400 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 1.152
2500 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | 1.001
2600 | 0 | 0 | -14.675 | 0 | 0 | 1.485 | 0.698
2700 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | 0.849
2800 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 1.152
2900 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | 1.152
3000 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 0.849
3100 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | 0.849
3200 | 0 | 0 | -14.692 | 0 | 0 | 1.561 | 0.849
3300 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 1.001
3400 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 1.001
3500 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 1.001
3600 | 0 | 0 | -14.675 | 0 | 0 | 1.182 | 1.152
3700 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 1.001
3800 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | 0.849
3900 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 0.849
4000 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.849
4100 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 1.152
4200 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 1.304
4300 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 1.152
4400 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 0.849
4500 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 1.001
4600 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.849
4700 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 1.304
4800 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.001
4900 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.849
5000 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.698
5100 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 1.152
5200 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.849
5300 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 1.152
5400 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.698
5500 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.001
5600 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.001
5700 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 1.304
5800 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 1.001
5900 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.849
6000 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.001
6100 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.152
6200 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.849
6300 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.698
6400 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.849
6500 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 1.001
6600 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.849
6700 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 1.152
6800 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 1.304
6900 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.698
7000 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.698
7100 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.849
7200 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.698
7300 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 1.152
7400 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 1.455
7500 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 1.152
7600 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.546
7700 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.849
7800 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.849
7900 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.849
8000 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.849
8100 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 1.152
8200 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.395
8300 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.849
8400 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 1.001
8500 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 1.304
8600 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.849
8700 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.849
8800 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.849
8900 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.698
9000 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.698
9100 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.849
9200 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.698
9300 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.698
9400 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.395
9500 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.395
9600 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.698
9700 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 1.001
9800 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 1.152
9900 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.395
10000 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | 0.243
10100 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.546
10200 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.698
10300 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.849
10400 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
10500 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.698
10600 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.698
10700 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 1.152
10800 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.395
10900 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.243
11000 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.243
11100 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 1.001
11200 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.698
11300 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 0.395
11400 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.243
11500 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.395
11600 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.395
11700 | 0.04 | 0.04 | -14.759 | 0 | 174.073 | 1.258 | 1.001
11800 | 0.081 | 0.081 | -14.759 | 0 | 173.467 | 1.334 | 1.001
11900 | 0.121 | 0.133 | -14.759 | 0 | 174.831 | 1.182 | 1.152
12000 | 0.161 | 0.19 | -14.759 | 0 | 173.77 | 1.031 | 0.849
12100 | 0.202 | 0.25 | -14.759 | 0 | 174.376 | 0.879 | 1.152
12200 | 0.242 | 0.314 | -14.759 | 0 | 173.846 | 0.879 | 1.152
12300 | 0.282 | 0.383 | -14.759 | 0 | 174.528 | 0.879 | 1.001
12400 | 0.323 | 0.456 | -14.759 | 0 | 174.528 | 1.031 | 1.001
12500 | 0.363 | 0.532 | -14.759 | 0 | 174.452 | 0.576 | 1.304
12600 | 0.403 | 0.613 | -14.759 | 0 | 174.225 | 0.576 | 1.759
12700 | 0.443 | 0.697 | -14.759 | 0 | 174.679 | 0.576 | 2.668
12800 | 0.484 | 0.769 | -14.742 | 0 | 174.149 | 1.258 | 4.183
12900 | 0.524 | 0.845 | -14.725 | 103.988 | 174.225 | 2.47 | 6.304
13000 | 0.564 | 0.909 | -14.692 | 104 | 173.922 | 4.667 | 9.335
13100 | 0.605 | 0.959 | -14.642 | 207.977 | 174.376 | 7.925 | 14.335
13200 | 0.645 | 0.98 | -14.558 | 311.965 | 174.679 | 12.774 | 20.093
13300 | 0.685 | 1.005 | -14.474 | 519.96 | 174.679 | 20.578 | 29.639
13400 | 0.726 | 1 | -14.357 | 519.954 | 174.149 | 28.533 | 39.943
13500 | 0.766 | 1.034 | -14.273 | 727.936 | 174.603 | 36.033 | 48.883
13600 | 0.806 | 1.054 | -14.172 | 519.948 | 173.619 | 43.761 | 58.732
13700 | 0.847 | 1.078 | -14.071 | 623.948 | 175.058 | 49.898 | 67.066
13800 | 0.887 | 1.09 | -13.954 | 623.942 | 173.77 | 56.034 | 74.945
13900 | 0.927 | 1.089 | -13.82 | 727.936 | 174.452 | 62.626 | 82.673
14000 | 0.968 | 1.126 | -13.719 | 831.925 | 174.225 | 67.323 | 88.431
14100 | 1.008 | 1.132 | -13.585 | 623.948 | 174.831 | 71.793 | 93.583
14200 | 1.048 | 1.16 | -13.468 | 831.925 | 173.77 | 72.702 | 101.008
14300 | 1.089 | 1.158 | -13.317 | 727.931 | 174.149 | 74.142 | 108.281
14400 | 1.129 | 1.194 | -13.199 | 935.913 | 174.679 | 76.945 | 110.705
14500 | 1.169 | 1.201 | -13.048 | 727.936 | 174.679 | 79.9 | 114.039
14600 | 1.209 | 1.21 | -12.898 | 935.925 | 174.376 | 81.263 | 117.524
14700 | 1.25 | 1.208 | -12.73 | 935.913 | 174.376 | 83.536 | 120.251
14800 | 1.29 | 1.226 | -12.579 | 1039.902 | 174.3 | 84.824 | 121.464
14900 | 1.33 | 1.249 | -12.428 | 935.925 | 175.058 | 85.658 | 124.039
15000 | 1.371 | 1.26 | -12.26 | 935.913 | 174.679 | 86.491 | 125.252
15100 | 1.411 | 1.288 | -12.108 | 1039.908 | 174.149 | 86.643 | 127.828
15200 | 1.451 | 1.289 | -11.924 | 942.424 | 174.603 | 87.703 | 129.04
15300 | 1.492 | 1.294 | -11.739 | 1143.89 | 173.694 | 88.158 | 130.858
15400 | 1.532 | 1.32 | -11.572 | 1143.902 | 174.755 | 88.688 | 131.313
15500 | 1.572 | 1.351 | -11.404 | 1039.902 | 173.77 | 88.461 | 132.828
15600 | 1.613 | 1.333 | -11.186 | 1039.908 | 174.755 | 88.309 | 134.04
15700 | 1.653 | 1.354 | -11.002 | 1351.879 | 174.452 | 88.688 | 135.252
15800 | 1.693 | 1.379 | -10.817 | 1143.902 | 174.755 | 89.446 | 135.555
15900 | 1.734 | 1.392 | -10.616 | 1143.896 | 174.376 | 88.991 | 136.465
16000 | 1.774 | 1.41 | -10.415 | 1247.89 | 174.679 | 88.84 | 137.828
16100 | 1.814 | 1.412 | -10.197 | 1247.89 | 174.149 | 88.764 | 138.586
16200 | 1.855 | 1.437 | -9.995 | 1351.879 | 174.073 | 89.37 | 139.647
16300 | 1.895 | 1.448 | -9.777 | 1247.89 | 174.376 | 89.294 | 140.253
16400 | 1.935 | 1.498 | -9.593 | 1351.879 | 174.225 | 88.915 | 141.465
16500 | 1.975 | 1.486 | -9.341 | 1143.896 | 173.922 | 87.627 | 142.98
16600 | 2.016 | 1.491 | -9.107 | 1559.861 | 174.528 | 87.931 | 143.738
16700 | 2.056 | 1.536 | -8.905 | 1455.867 | 173.694 | 88.082 | 144.344
16800 | 2.096 | 1.501 | -8.62 | 1247.896 | 174.149 | 87.173 | 145.101
16900 | 2.137 | 1.537 | -8.402 | 1767.844 | 173.922 | 87.4 | 146.314
17000 | 2.177 | 1.545 | -8.151 | 1351.873 | 174.528 | 88.082 | 146.162
17100 | 2.217 | 1.554 | -7.899 | 1559.861 | 174.073 | 87.097 | 146.92
17200 | 2.258 | 1.584 | -7.663 | 1559.864 | 174.528 | 86.794 | 147.223
17300 | 2.298 | 1.602 | -7.412 | 1462.369 | 174.603 | 85.733 | 148.435
17400 | 2.338 | 1.658 | -7.194 | 1559.861 | 174.452 | 85.43 | 149.193
17500 | 2.379 | 1.654 | -6.909 | 1351.876 | 173.997 | 84.294 | 150.253
17600 | 2.419 | 1.682 | -6.657 | 1767.844 | 174.603 | 83.158 | 152.072
17700 | 2.419 | 1.656 | -6.389 | 1559.858 | 174.3 | 83.233 | 152.981
17800 | 2.419 | 1.613 | -6.104 | 1663.856 | 175.815 | 83.991 | 153.435
17900 | 2.419 | 1.519 | -5.768 | 1767.844 | 174.679 | 85.582 | 153.132
18000 | 2.419 | 1.512 | -5.517 | 2079.809 | 173.391 | 88.991 | 150.556
18100 | 2.419 | 1.533 | -5.299 | 1559.867 | 174.376 | 89.673 | 148.283
18200 | 2.419 | 1.524 | -5.047 | 1351.876 | 174.376 | 88.082 | 148.283
18300 | 2.419 | 1.514 | -4.796 | 1559.858 | 173.997 | 88.082 | 148.283
18400 | 2.419 | 1.538 | -4.578 | 1559.867 | 174.603 | 88.158 | 147.374
18500 | 2.419 | 1.514 | -4.309 | 1351.876 | 173.922 | 87.476 | 146.92
18600 | 2.419 | 1.535 | -4.091 | 1663.853 | 174.452 | 88.006 | 147.223
18700 | 2.419 | 1.559 | -3.873 | 1351.882 | 173.619 | 87.855 | 146.92
18800 | 2.419 | 1.516 | -3.588 | 1351.877 | 173.77 | 86.567 | 147.98
18900 | 2.419 | 1.522 | -3.352 | 1767.843 | 189.681 | 87.931 | 147.829
19000 | 2.419 | 1.532 | -3.118 | 1462.371 | 189.378 | 88.006 | 146.768
19100 | 2.419 | 1.503 | -2.849 | 1455.87 | 189.227 | 87.552 | 147.677
19200 | 2.419 | 1.527 | -2.631 | 1663.85 | 189.606 | 88.309 | 146.768
19300 | 2.298 | 1.396 | -2.38 | 1351.882 | 189.378 | 87.627 | 147.071
19400 | 2.177 | 1.304 | -2.179 | 1559.86 | 189.151 | 90.279 | 146.162
19500 | 2.056 | 1.168 | -1.944 | 1247.889 | 188.924 | 96.34 | 140.556
19600 | 1.935 | 1.066 | -1.759 | 1455.871 | 189.303 | 96.946 | 137.828
19700 | 1.814 | 1.021 | -1.642 | 1143.897 | 189.454 | 97.477 | 133.586
19800 | 1.693 | 0.948 | -1.508 | 727.936 | 189.53 | 96.416 | 129.04
19900 | 1.572 | 0.862 | -1.374 | 831.927 | 188.621 | 93.916 | 124.949
20000 | 1.451 | 0.799 | -1.273 | 831.924 | 189.227 | 93.537 | 119.797
20100 | 1.33 | 0.738 | -1.189 | 623.947 | 189.378 | 89.143 | 116.312
20200 | 1.209 | 0.683 | -1.122 | 519.952 | 188.924 | 86.264 | 111.614
20300 | 1.089 | 0.633 | -1.072 | 415.965 | 189.075 | 83.082 | 106.463
20400 | 0.968 | 0.57 | -1.021 | 311.97 | 189.075 | 78.991 | 100.25
20500 | 0.847 | 0.497 | -0.971 | 311.973 | 189.303 | 74.748 | 95.098
20600 | 0.726 | 0.443 | -0.954 | 311.973 | 188.697 | 70.808 | 89.946
20700 | 0.605 | 0.361 | -0.921 | 103.989 | 189.151 | 66.338 | 84.037
20800 | 0.484 | 0.284 | -0.904 | 207.981 | 188.848 | 62.853 | 79.339
20900 | 0.363 | 0.194 | -0.887 | 103.992 | 188.924 | 59.747 | 75.703
21000 | 0.242 | 0.093 | -0.87 | 103.992 | 188.924 | 56.944 | 72.218
21100 | 0.121 | 0 | -0.87 | 103.989 | 189.53 | 54.292 | 68.884
21200 | 0.121 | 0 | -0.636 | 0 | 172.255 | 53.837 | 68.581