## Data
Log File Data
************************
2007-11-09 13:07 | MERIT Configuration Data
Test Description: 15016 16TP 6+2Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 18.770000
FlatTop Pct = 0.100000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 0.395
100 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 0.243
200 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | -0.06
300 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.243
400 | 0 | 0 | -15.447 | 0 | 0 | 1.788 | -0.514
500 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 0.092
600 | 0 | 0 | -15.447 | 0 | 0 | 1.864 | 0.546
700 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 0.395
800 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.092
900 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.092
1000 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 0.092
1100 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.092
1200 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | -0.363
1300 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 0.698
1400 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 0.698
1500 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.243
1600 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.698
1700 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | -0.363
1800 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.243
1900 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.092
2000 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | -0.363
2100 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.395
2200 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.092
2300 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.243
2400 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | -0.06
2500 | 0 | 0 | -15.463 | 0 | 0 | 1.713 | -0.06
2600 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | -0.363
2700 | 0 | 0 | -15.463 | 0 | 0 | 1.864 | 0.243
2800 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 0.243
2900 | 0 | 0 | -15.463 | 0 | 0 | 1.637 | 0.546
3000 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | 0.546
3100 | 0 | 0 | -15.463 | 0 | 0 | 1.94 | 0.849
3200 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | -0.363
3300 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.092
3400 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | -0.06
3500 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | 0.243
3600 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.395
3700 | 0 | 0 | -15.463 | 0 | 0 | 1.788 | 0.395
3800 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.092
3900 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | -0.363
4000 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.546
4100 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 0.395
4200 | 0 | 0 | -15.48 | 0 | 0 | 2.243 | 0.395
4300 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.395
4400 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.092
4500 | 0 | 0 | -15.48 | 0 | 0 | 1.864 | -0.363
4600 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.395
4700 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.243
4800 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | -0.363
4900 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | -0.06
5000 | 0 | 0 | -15.48 | 0 | 0 | 2.243 | -0.363
5100 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | -0.363
5200 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.546
5300 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.243
5400 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | -0.363
5500 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.243
5600 | 0 | 0 | -15.48 | 0 | 0 | 1.713 | 0.395
5700 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | -0.06
5800 | 0 | 0 | -15.48 | 0 | 0 | 1.788 | 0.698
5900 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.546
6000 | 0 | 0 | -15.497 | 0 | 0 | 2.167 | -0.06
6100 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 0.395
6200 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.546
6300 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.243
6400 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.395
6500 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.546
6600 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | -0.06
6700 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | 0.395
6800 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 0.546
6900 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7000 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7100 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7200 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7300 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7400 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.06
7500 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
7600 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
7700 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
7800 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
7900 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
8000 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
8100 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
8200 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
8300 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.092
8400 | 0 | 0 | -15.497 | 0 | 0 | 2.167 | 0.395
8500 | 0 | 0 | -15.497 | 0 | 0 | 1.864 | 0.243
8600 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | -0.363
8700 | 0 | 0 | -15.497 | 0 | 0 | 2.243 | -0.06
8800 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.243
8900 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.698
9000 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | 0.243
9100 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | -0.514
9200 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | -0.06
9300 | 0 | 0 | -15.497 | 0 | 0 | 1.94 | -0.06
9400 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | -0.06
9500 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | -0.06
9600 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.395
9700 | 0 | 0 | -15.497 | 0 | 0 | 1.713 | -0.363
9800 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | 0.395
9900 | 0 | 0 | -15.497 | 0 | 0 | 1.788 | 0.395
10000 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | 0.395
10100 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | -0.06
10200 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.092
10300 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | -0.06
10400 | 0 | 0 | -15.514 | 0 | 0 | 2.167 | 0.243
10500 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.546
10600 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | -0.06
10700 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.395
10800 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | -0.363
10900 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.395
11000 | 0 | 0 | -15.514 | 0 | 0 | 2.091 | 0.092
11100 | 0 | 0 | -15.514 | 0 | 0 | 2.167 | 0.546
11200 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.092
11300 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.243
11400 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | 0.092
11500 | 0 | 0 | -15.514 | 0 | 0 | 1.864 | -0.06
11600 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | -0.06
11700 | 0 | 0 | -15.514 | 0 | 0 | 2.167 | 0.092
11800 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.092
11900 | 0 | 0 | -15.514 | 0 | 0 | 1.713 | -0.06
12000 | 0 | 0 | -15.514 | 0 | 0 | 2.091 | 0.698
12100 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.243
12200 | 0 | 0 | -15.514 | 0 | 0 | 1.788 | 0.243
12300 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | -0.363
12400 | 0 | 0 | -15.514 | 0 | 0 | 2.091 | 0.243
12500 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 0.092
12600 | 0 | 0 | -15.53 | 0 | 0 | 2.243 | 0.243
12700 | 0.04 | 0.04 | -15.53 | 0 | 190.287 | 1.94 | -0.514
12800 | 0.081 | 0.081 | -15.53 | 0 | 190.515 | 2.091 | -0.06
12900 | 0.121 | 0.133 | -15.53 | 0 | 190.666 | 1.94 | 0.243
13000 | 0.161 | 0.189 | -15.53 | 0 | 190.666 | 1.94 | 0.395
13100 | 0.202 | 0.25 | -15.53 | 0 | 190.06 | 1.637 | -0.06
13200 | 0.242 | 0.314 | -15.53 | 0 | 190.893 | 1.182 | 0.849
13300 | 0.282 | 0.383 | -15.53 | 0 | 190.212 | 1.258 | 0.698
13400 | 0.323 | 0.455 | -15.53 | 0 | 190.742 | 1.107 | 1.152
13500 | 0.363 | 0.515 | -15.514 | 0 | 190.742 | 1.334 | 0.849
13600 | 0.403 | 0.613 | -15.53 | 103.988 | 190.363 | 1.334 | 1.455
13700 | 0.443 | 0.697 | -15.53 | -103.988 | 190.136 | 1.41 | 2.062
13800 | 0.484 | 0.77 | -15.514 | 0 | 189.984 | 1.788 | 2.819
13900 | 0.524 | 0.862 | -15.514 | 103.988 | 190.817 | 3.228 | 4.941
14000 | 0.564 | 0.942 | -15.497 | 0 | 190.817 | 5.577 | 7.971
14100 | 0.605 | 1.009 | -15.463 | 103.988 | 190.59 | 8.834 | 13.881
14200 | 0.645 | 1.064 | -15.413 | 207.983 | 191.045 | 14.744 | 22.063
14300 | 0.685 | 1.039 | -15.279 | 311.977 | 190.742 | 23.229 | 31.912
14400 | 0.726 | 1.067 | -15.195 | 831.925 | 190.515 | 33.381 | 44.337
14500 | 0.766 | 1.067 | -15.078 | 519.954 | 190.742 | 41.715 | 54.186
14600 | 0.806 | 1.07 | -14.96 | 727.936 | 191.045 | 49.595 | 65.248
14700 | 0.847 | 1.078 | -14.843 | 727.936 | 190.666 | 55.807 | 73.127
14800 | 0.887 | 1.074 | -14.709 | 727.936 | 190.666 | 62.02 | 80.097
14900 | 0.927 | 1.105 | -14.608 | 831.925 | 191.12 | 66.187 | 85.855
15000 | 0.968 | 1.108 | -14.474 | 623.948 | 191.12 | 70.278 | 90.704
15100 | 1.008 | 1.115 | -14.34 | 831.919 | 190.666 | 73.99 | 96.462
15200 | 1.048 | 1.143 | -14.222 | 831.925 | 190.515 | 77.096 | 100.25
15300 | 1.089 | 1.142 | -14.071 | 727.936 | 190.287 | 80.506 | 103.887
15400 | 1.129 | 1.143 | -13.921 | 935.913 | 190.817 | 82.173 | 107.22
15500 | 1.169 | 1.166 | -13.786 | 935.913 | 190.666 | 84.37 | 109.645
15600 | 1.209 | 1.194 | -13.652 | 831.925 | 191.196 | 86.188 | 111.917
15700 | 1.25 | 1.174 | -13.468 | 831.937 | 190.363 | 87.855 | 114.039
15800 | 1.29 | 1.228 | -13.35 | 1143.89 | 190.893 | 89.143 | 115.402
15900 | 1.33 | 1.232 | -13.183 | 727.936 | 190.969 | 90.203 | 117.372
16000 | 1.371 | 1.242 | -13.015 | 1039.913 | 189.984 | 91.188 | 119.191
16100 | 1.411 | 1.272 | -12.864 | 1039.902 | 191.12 | 91.719 | 120.857
16200 | 1.451 | 1.273 | -12.68 | 935.919 | 190.893 | 90.203 | 124.039
16300 | 1.492 | 1.347 | -12.562 | 1143.902 | 190.59 | 86.188 | 128.434
16400 | 1.532 | 1.371 | -12.394 | 727.936 | 190.515 | 86.946 | 129.949
16500 | 1.572 | 1.35 | -12.176 | 1039.902 | 191.272 | 86.567 | 133.434
16600 | 1.613 | 1.333 | -11.957 | 1351.879 | 190.59 | 87.552 | 135.101
16700 | 1.653 | 1.354 | -11.773 | 1358.384 | 190.287 | 89.522 | 134.798
16800 | 1.693 | 1.398 | -11.605 | 1143.89 | 190.136 | 88.915 | 135.707
16900 | 1.734 | 1.392 | -11.387 | 1039.913 | 190.515 | 86.946 | 138.131
17000 | 1.774 | 1.408 | -11.186 | 1351.885 | 190.59 | 88.84 | 138.131
17100 | 1.814 | 1.429 | -10.985 | 1247.878 | 190.817 | 89.294 | 139.192
17200 | 1.855 | 1.453 | -10.784 | 1247.89 | 191.12 | 88.84 | 139.647
17300 | 1.895 | 1.45 | -10.549 | 1247.896 | 190.742 | 88.84 | 141.162
17400 | 1.935 | 1.481 | -10.347 | 1455.867 | 190.59 | 88.764 | 141.465
17500 | 1.975 | 1.501 | -10.129 | 1247.884 | 190.287 | 88.158 | 142.98
17600 | 2.016 | 1.508 | -9.895 | 1351.879 | 190.742 | 87.931 | 143.586
17700 | 2.056 | 1.502 | -9.643 | 1455.873 | 191.348 | 87.476 | 144.495
17800 | 2.096 | 1.503 | -9.392 | 1559.861 | 191.045 | 88.082 | 144.95
17900 | 2.137 | 1.536 | -9.174 | 1559.861 | 190.969 | 88.234 | 145.253
18000 | 2.177 | 1.543 | -8.922 | 1351.879 | 191.272 | 87.4 | 145.859
18100 | 2.217 | 1.604 | -8.721 | 1559.867 | 191.272 | 87.097 | 146.617
18200 | 2.258 | 1.585 | -8.436 | 1247.884 | 190.666 | 84.673 | 148.283
18300 | 2.298 | 1.606 | -8.184 | 1767.844 | 193.469 | 85.355 | 149.041
18400 | 2.338 | 1.643 | -7.949 | 1559.861 | 191.12 | 85.961 | 149.647
18500 | 2.379 | 1.618 | -7.647 | 1455.867 | 190.59 | 84.749 | 150.253
18600 | 2.419 | 1.649 | -7.395 | 1878.335 | 190.742 | 84.673 | 151.617
18700 | 2.419 | 1.622 | -7.127 | 1559.858 | 190.287 | 84.749 | 151.011
18800 | 2.419 | 1.598 | -6.858 | 1663.856 | 190.59 | 84.9 | 151.465
18900 | 2.419 | 1.536 | -6.556 | 1663.847 | 191.726 | 85.809 | 151.465
19000 | 2.419 | 1.543 | -6.322 | 1871.835 | 191.726 | 87.931 | 149.647
19100 | 2.419 | 1.55 | -6.087 | 1455.87 | 191.575 | 88.688 | 148.738
19200 | 2.419 | 1.54 | -5.835 | 1455.87 | 191.348 | 87.552 | 148.132
19300 | 2.419 | 1.533 | -5.584 | 1559.858 | 191.272 | 87.931 | 148.587
19400 | 2.419 | 1.521 | -5.332 | 1559.861 | 191.348 | 88.158 | 147.223
19500 | 2.419 | 1.545 | -5.114 | 1559.864 | 191.423 | 88.082 | 147.677
19600 | 2.419 | 1.552 | -4.88 | 1351.876 | 191.499 | 87.703 | 146.92
19700 | 2.419 | 1.509 | -4.594 | 1455.873 | 191.12 | 86.87 | 147.829
19800 | 2.419 | 1.535 | -4.376 | 1767.841 | 190.817 | 88.234 | 147.071
19900 | 2.419 | 1.506 | -4.108 | 1351.882 | 191.575 | 88.082 | 146.768
20000 | 2.419 | 1.53 | -3.89 | 1663.85 | 191.348 | 88.234 | 146.92
20100 | 2.419 | 1.537 | -3.655 | 1351.882 | 191.272 | 88.082 | 146.314
20200 | 2.419 | 1.543 | -3.419 | 1455.871 | 191.348 | 87.249 | 146.92
20300 | 2.298 | 1.415 | -3.168 | 1462.369 | 191.575 | 87.097 | 147.223
20400 | 2.177 | 1.304 | -2.95 | 1559.86 | 190.893 | 90.431 | 145.253
20500 | 2.056 | 1.166 | -2.715 | 1351.882 | 191.196 | 94.143 | 142.526
20600 | 1.935 | 1.066 | -2.531 | 1455.87 | 190.59 | 96.719 | 138.131
20700 | 1.814 | 0.988 | -2.38 | 1143.894 | 191.196 | 97.704 | 133.586
20800 | 1.693 | 0.916 | -2.246 | 935.918 | 191.12 | 96.113 | 128.888
20900 | 1.572 | 0.862 | -2.145 | 831.926 | 191.575 | 94.749 | 124.797
21000 | 1.451 | 0.797 | -2.044 | 623.944 | 191.348 | 92.097 | 120.1
21100 | 1.33 | 0.738 | -1.961 | 623.947 | 191.272 | 89.294 | 114.948
21200 | 1.209 | 0.666 | -1.877 | 519.954 | 191.272 | 85.658 | 110.402
21300 | 1.089 | 0.634 | -1.843 | 519.952 | 191.423 | 82.551 | 105.25
21400 | 0.968 | 0.553 | -1.776 | 207.981 | 191.499 | 78.46 | 99.341
21500 | 0.847 | 0.512 | -1.759 | 415.965 | 191.651 | 73.99 | 94.037
21600 | 0.726 | 0.426 | -1.709 | 103.989 | 191.423 | 70.354 | 88.734
21700 | 0.605 | 0.361 | -1.692 | 311.973 | 191.499 | 65.959 | 83.734
21800 | 0.484 | 0.284 | -1.675 | 103.992 | 191.196 | 63.08 | 79.643
21900 | 0.363 | 0.194 | -1.659 | 103.989 | 191.12 | 59.292 | 75.4
22000 | 0.242 | 0.093 | -1.642 | 103.992 | 190.969 | 56.641 | 72.066
22100 | 0.121 | 0 | -1.642 | 103.989 | 191.651 | 54.14 | 69.036