## Data
Log File Data
************************
2007-11-09 13:13 | MERIT Configuration Data
Test Description: 15019 16TP 6+2Bunches 5T (beam 0.8 sec before flat top)
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 19.770000
FlatTop Pct = 0.100000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.575 | 0 | 0 | 2.849 | 2.516
100 | 0 | 0 | -14.575 | 0 | 0 | 3.076 | 2.213
200 | 0 | 0 | -14.575 | 0 | 0 | 3.076 | 1.91
300 | 0 | 0 | -14.575 | 0 | 0 | 3.001 | 1.91
400 | 0 | 0 | -14.575 | 0 | 0 | 2.849 | 1.607
500 | 0 | 0 | -14.575 | 0 | 0 | 2.925 | 1.759
600 | 0 | 0 | -14.575 | 0 | 0 | 3.001 | 1.91
700 | 0 | 0 | -14.575 | 0 | 0 | 2.698 | 1.91
800 | 0 | 0 | -14.575 | 0 | 0 | 2.698 | 1.91
900 | 0 | 0 | -14.575 | 0 | 0 | 2.622 | 1.759
1000 | 0 | 0 | -14.575 | 0 | 0 | 2.622 | 2.062
1100 | 0 | 0 | -14.591 | 0 | 0 | 2.773 | 2.062
1200 | 0 | 0 | -14.575 | 0 | 0 | 2.698 | 1.607
1300 | 0 | 0 | -14.575 | 0 | 0 | 2.773 | 1.304
1400 | 0 | 0 | -14.575 | 0 | 0 | 2.47 | 1.304
1500 | 0 | 0 | -14.591 | 0 | 0 | 2.395 | 1.455
1600 | 0 | 0 | -14.591 | 0 | 0 | 2.319 | 1.304
1700 | 0 | 0 | -14.591 | 0 | 0 | 2.319 | 1.304
1800 | 0 | 0 | -14.575 | 0 | 0 | 2.622 | 1.91
1900 | 0 | 0 | -14.591 | 0 | 0 | 2.546 | 1.607
2000 | 0 | 0 | -14.575 | 0 | 0 | 2.319 | 1.304
2100 | 0 | 0 | -14.575 | 0 | 0 | 2.167 | 1.607
2200 | 0 | 0 | -14.591 | 0 | 0 | 2.091 | 1.152
2300 | 0 | 0 | -14.591 | 0 | 0 | 2.167 | 1.001
2400 | 0 | 0 | -14.591 | 0 | 0 | 2.395 | 1.607
2500 | 0 | 0 | -14.591 | 0 | 0 | 2.319 | 1.304
2600 | 0 | 0 | -14.591 | 0 | 0 | 2.395 | 1.152
2700 | 0 | 0 | -14.591 | 0 | 0 | 2.091 | 0.849
2800 | 0 | 0 | -14.591 | 0 | 0 | 2.091 | 1.001
2900 | 0 | 0 | -14.591 | 0 | 0 | 2.091 | 0.849
3000 | 0 | 0 | -14.591 | 0 | 0 | 2.091 | 1.001
3100 | 0 | 0 | -14.591 | 0 | 0 | 2.243 | 1.152
3200 | 0 | 0 | -14.591 | 0 | 0 | 2.243 | 1.455
3300 | 0 | 0 | -14.591 | 0 | 0 | 2.243 | 1.001
3400 | 0 | 0 | -14.591 | 0 | 0 | 2.167 | 0.849
3500 | 0 | 0 | -14.608 | 0 | 0 | 2.091 | 0.849
3600 | 0 | 0 | -14.591 | 0 | 0 | 2.167 | 1.001
3700 | 0 | 0 | -14.591 | 0 | 0 | 2.319 | 1.304
3800 | 0 | 0 | -14.608 | 0 | 0 | 2.243 | 1.152
3900 | 0 | 0 | -14.591 | 0 | 0 | 2.243 | 1.001
4000 | 0 | 0 | -14.608 | 0 | 0 | 2.091 | 0.698
4100 | 0 | 0 | -14.591 | 0 | 0 | 2.167 | 1.001
4200 | 0 | 0 | -14.591 | 0 | 0 | 2.243 | 1.001
4300 | 0 | 0 | -14.608 | 0 | 0 | 2.091 | 1.001
4400 | 0 | 0 | -14.608 | 0 | 0 | 2.243 | 1.304
4500 | 0 | 0 | -14.591 | 0 | 0 | 2.319 | 1.304
4600 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 1.152
4700 | 0 | 0 | -14.608 | 0 | 0 | 2.091 | 0.698
4800 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 0.849
4900 | 0 | 0 | -14.608 | 0 | 0 | 2.167 | 0.849
5000 | 0 | 0 | -14.608 | 0 | 0 | 2.319 | 0.849
5100 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 1.152
5200 | 0 | 0 | -14.608 | 0 | 0 | 2.091 | 0.849
5300 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 0.849
5400 | 0 | 0 | -14.608 | 0 | 0 | 1.864 | 0.849
5500 | 0 | 0 | -14.608 | 0 | 0 | 2.243 | 1.001
5600 | 0 | 0 | -14.608 | 0 | 0 | 2.167 | 1.455
5700 | 0 | 0 | -14.608 | 0 | 0 | 2.243 | 1.304
5800 | 0 | 0 | -14.608 | 0 | 0 | 1.788 | 1.001
5900 | 0 | 0 | -14.608 | 0 | 0 | 1.788 | 0.698
6000 | 0 | 0 | -14.608 | 0 | 0 | 1.713 | 0.849
6100 | 0 | 0 | -14.608 | 0 | 0 | 1.864 | 0.849
6200 | 0 | 0 | -14.608 | 0 | 0 | 2.243 | 0.849
6300 | 0 | 0 | -14.608 | 0 | 0 | 1.864 | 1.152
6400 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 1.001
6500 | 0 | 0 | -14.608 | 0 | 0 | 1.864 | 1.455
6600 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.395
6700 | 0 | 0 | -14.608 | 0 | 0 | 1.713 | 0.395
6800 | 0 | 0 | -14.608 | 0 | 0 | 2.167 | 0.698
6900 | 0 | 0 | -14.625 | 0 | 0 | 2.091 | 0.395
7000 | 0 | 0 | -14.608 | 0 | 0 | 1.94 | 0.849
7100 | 0 | 0 | -14.625 | 0 | 0 | 1.864 | 1.152
7200 | 0 | 0 | -14.608 | 0 | 0 | 1.788 | 0.698
7300 | 0 | 0 | -14.625 | 0 | 0 | 1.788 | 0.243
7400 | 0 | 0 | -14.608 | 0 | 0 | 1.864 | 0.698
7500 | 0 | 0 | -14.625 | 0 | 0 | 2.091 | 0.698
7600 | 0 | 0 | -14.625 | 0 | 0 | 1.94 | 0.698
7700 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.395
7800 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.849
7900 | 0 | 0 | -14.625 | 0 | 0 | 1.788 | 0.395
8000 | 0 | 0 | -14.625 | 0 | 0 | 1.788 | 0.243
8100 | 0 | 0 | -14.625 | 0 | 0 | 1.94 | 0.395
8200 | 0 | 0 | -14.625 | 0 | 0 | 1.561 | 0.849
8300 | 0 | 0 | -14.625 | 0 | 0 | 1.864 | 0.546
8400 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.849
8500 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.698
8600 | 0 | 0 | -14.625 | 0 | 0 | 1.637 | 0.395
8700 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.698
8800 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.698
8900 | 0 | 0 | -14.625 | 0 | 0 | 1.713 | 0.546
9000 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.395
9100 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.546
9200 | 0 | 0 | -14.642 | 0 | 0 | 1.864 | 0.395
9300 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.546
9400 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.849
9500 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.698
9600 | 0 | 0 | -14.642 | 0 | 0 | 1.94 | 0.243
9700 | 0 | 0 | -14.642 | 0 | 0 | 1.94 | 0.243
9800 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.395
9900 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.395
10000 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.395
10100 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.698
10200 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.698
10300 | 0 | 0 | -14.642 | 0 | 0 | 1.788 | 0.546
10400 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.546
10500 | 0 | 0 | -14.642 | 0 | 0 | 1.788 | 0.546
10600 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.243
10700 | 0 | 0 | -14.642 | 0 | 0 | 1.864 | 0.395
10800 | 0 | 0 | -14.642 | 0 | 0 | 1.864 | 0.395
10900 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.243
11000 | 0 | 0 | -14.642 | 0 | 0 | 1.713 | 0.395
11100 | 0 | 0 | -14.642 | 0 | 0 | 1.485 | 0.395
11200 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 0.698
11300 | 0 | 0 | -14.642 | 0 | 0 | 1.637 | 1.001
11400 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 0.698
11500 | 0 | 0 | -14.642 | 0 | 0 | 2.167 | 0.546
11600 | 0 | 0 | -14.642 | 0 | 0 | 1.94 | 0.698
11700 | 0 | 0 | -14.642 | 0 | 0 | 1.94 | 0.243
11800 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.546
11900 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.698
12000 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.395
12100 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | 0.546
12200 | 0 | 0 | -14.658 | 0 | 0 | 1.713 | 0.546
12300 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | -0.363
12400 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 0.546
12500 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.243
12600 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.395
12700 | 0 | 0 | -14.642 | 0 | 0 | 1.561 | 0.395
12800 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.395
12900 | 0 | 0 | -14.658 | 0 | 0 | 1.94 | 0.546
13000 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 0.395
13100 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.243
13200 | 0 | 0 | -14.658 | 0 | 0 | 1.864 | 0.698
13300 | 0 | 0 | -14.658 | 0 | 0 | 1.788 | 0.546
13400 | 0 | 0 | -14.658 | 0 | 0 | 1.485 | 0.243
13500 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.546
13600 | 0 | 0 | -14.658 | 0 | 0 | 1.561 | 0.395
13700 | 0.04 | 0.04 | -14.658 | 0 | 192.181 | 1.713 | 0.546
13800 | 0.081 | 0.097 | -14.675 | 0 | 191.272 | 1.637 | 0.395
13900 | 0.121 | 0.15 | -14.675 | -103.988 | 191.348 | 1.485 | 0.395
14000 | 0.161 | 0.189 | -14.658 | 0 | 191.575 | 1.713 | 0.395
14100 | 0.202 | 0.25 | -14.658 | 103.988 | 190.59 | 1.637 | 0.698
14200 | 0.242 | 0.314 | -14.658 | 0 | 190.666 | 1.561 | 1.001
14300 | 0.282 | 0.383 | -14.658 | 0 | 191.348 | 1.182 | 0.849
14400 | 0.323 | 0.473 | -14.675 | 0 | 191.575 | 1.258 | 0.849
14500 | 0.363 | 0.532 | -14.658 | -103.988 | 191.726 | 1.334 | 1.304
14600 | 0.403 | 0.613 | -14.658 | 103.988 | 193.544 | 1.334 | 1.304
14700 | 0.443 | 0.697 | -14.658 | 0 | 191.499 | 1.41 | 2.062
14800 | 0.484 | 0.786 | -14.658 | 0 | 190.817 | 2.243 | 3.122
14900 | 0.524 | 0.879 | -14.658 | 0 | 191.272 | 3.91 | 5.85
15000 | 0.564 | 0.976 | -14.658 | 0 | 191.575 | 5.88 | 8.729
15100 | 0.605 | 1.009 | -14.591 | 0 | 191.348 | 9.895 | 15.244
15200 | 0.645 | 1.03 | -14.507 | 415.971 | 191.348 | 18.077 | 24.942
15300 | 0.685 | 1.038 | -14.407 | 519.942 | 190.817 | 25.123 | 34.033
15400 | 0.726 | 1.051 | -14.306 | 623.948 | 191.651 | 34.897 | 45.701
15500 | 0.766 | 1.05 | -14.189 | 623.948 | 191.423 | 43.685 | 56.611
15600 | 0.806 | 1.071 | -14.088 | 727.931 | 191.878 | 50.655 | 65.702
15700 | 0.847 | 1.078 | -13.971 | 623.948 | 191.499 | 56.262 | 72.066
15800 | 0.887 | 1.056 | -13.82 | 727.936 | 191.196 | 63.156 | 79.946
15900 | 0.927 | 1.09 | -13.719 | 935.913 | 191.423 | 67.096 | 85.4
16000 | 0.968 | 1.125 | -13.619 | 623.948 | 191.348 | 70.808 | 89.492
16100 | 1.008 | 1.098 | -13.451 | 623.942 | 191.196 | 75.202 | 95.098
16200 | 1.048 | 1.143 | -13.35 | 1039.908 | 191.726 | 77.627 | 99.189
16300 | 1.089 | 1.124 | -13.183 | 623.942 | 191.726 | 81.339 | 101.614
16400 | 1.129 | 1.161 | -13.065 | 1039.913 | 193.09 | 83.006 | 105.402
16500 | 1.169 | 1.183 | -12.931 | 727.936 | 191.348 | 84.294 | 108.432
16600 | 1.209 | 1.16 | -12.747 | 831.925 | 191.045 | 87.476 | 109.948
16700 | 1.25 | 1.191 | -12.612 | 1143.89 | 191.726 | 88.461 | 112.372
16800 | 1.29 | 1.226 | -12.478 | 831.925 | 191.726 | 89.143 | 115.099
16900 | 1.33 | 1.2 | -12.277 | 831.925 | 191.196 | 91.719 | 115.251
17000 | 1.371 | 1.224 | -12.125 | 1247.896 | 194.302 | 92.704 | 117.372
17100 | 1.411 | 1.238 | -11.957 | 942.413 | 191.272 | 93.688 | 118.433
17200 | 1.451 | 1.255 | -11.79 | 1039.913 | 190.969 | 94.598 | 118.888
17300 | 1.492 | 1.26 | -11.605 | 1039.902 | 191.575 | 95.507 | 120.251
17400 | 1.532 | 1.304 | -11.454 | 1143.902 | 191.802 | 95.583 | 121.464
17500 | 1.572 | 1.333 | -11.287 | 935.913 | 191.423 | 95.204 | 123.13
17600 | 1.613 | 1.316 | -11.069 | 1039.902 | 191.12 | 96.946 | 124.191
17700 | 1.653 | 1.321 | -10.867 | 1351.885 | 191.802 | 97.477 | 125.252
17800 | 1.693 | 1.346 | -10.683 | 1247.89 | 191.802 | 97.931 | 125.555
17900 | 1.734 | 1.36 | -10.482 | 1143.896 | 190.893 | 97.098 | 127.525
18000 | 1.774 | 1.391 | -10.297 | 1247.89 | 191.499 | 97.855 | 128.282
18100 | 1.814 | 1.412 | -10.096 | 1143.902 | 191.12 | 97.174 | 129.343
18200 | 1.855 | 1.386 | -9.844 | 1247.884 | 190.969 | 97.174 | 130.707
18300 | 1.895 | 1.415 | -9.643 | 1559.861 | 191.651 | 98.386 | 131.464
18400 | 1.935 | 1.416 | -9.408 | 1247.89 | 191.726 | 98.916 | 131.616
18500 | 1.975 | 1.45 | -9.207 | 1455.867 | 191.726 | 99.143 | 131.767
18600 | 2.016 | 1.474 | -8.989 | 1247.896 | 191.272 | 99.371 | 132.07
18700 | 2.056 | 1.485 | -8.754 | 1351.873 | 190.969 | 95.052 | 135.252
18800 | 2.096 | 1.584 | -8.603 | 1455.873 | 190.742 | 87.476 | 141.616
18900 | 2.137 | 1.572 | -8.335 | 935.919 | 191.651 | 84.749 | 144.344
19000 | 2.177 | 1.56 | -8.067 | 1663.85 | 191.499 | 83.082 | 148.435
19100 | 2.217 | 1.569 | -7.814 | 1663.85 | 190.893 | 85.582 | 148.283
19200 | 2.258 | 1.617 | -7.596 | 1566.361 | 191.423 | 84.749 | 149.496
19300 | 2.298 | 1.602 | -7.311 | 1351.882 | 191.575 | 85.43 | 149.647
19400 | 2.338 | 1.644 | -7.076 | 1767.844 | 191.423 | 85.203 | 150.253
19500 | 2.379 | 1.668 | -6.825 | 1455.864 | 191.726 | 85.203 | 151.011
19600 | 2.419 | 1.665 | -6.54 | 1559.867 | 191.196 | 83.688 | 152.223
19700 | 2.419 | 1.622 | -6.255 | 1767.838 | 191.726 | 83.612 | 153.132
19800 | 2.419 | 1.562 | -5.953 | 1767.844 | 191.423 | 85.279 | 153.132
19900 | 2.419 | 1.555 | -5.701 | 1871.832 | 191.878 | 87.931 | 150.708
20000 | 2.419 | 1.526 | -5.433 | 1559.864 | 191.272 | 88.309 | 149.95
20100 | 2.419 | 1.533 | -5.198 | 1663.85 | 191.12 | 88.537 | 147.98
20200 | 2.419 | 1.557 | -4.98 | 1455.87 | 191.802 | 88.764 | 147.677
20300 | 2.419 | 1.514 | -4.695 | 1351.882 | 191.802 | 87.097 | 148.132
20400 | 2.419 | 1.507 | -4.443 | 1767.838 | 191.272 | 88.461 | 147.829
20500 | 2.419 | 1.562 | -4.259 | 1559.864 | 191.651 | 88.915 | 146.92
20600 | 2.419 | 1.519 | -3.974 | 1143.899 | 191.878 | 88.082 | 146.768
20700 | 2.419 | 1.509 | -3.722 | 1767.838 | 191.196 | 88.082 | 147.829
20800 | 2.419 | 1.515 | -3.487 | 1559.866 | 191.651 | 88.84 | 146.768
20900 | 2.419 | 1.525 | -3.252 | 1462.369 | 191.651 | 88.234 | 146.465
21000 | 2.419 | 1.512 | -3 | 1455.871 | 191.802 | 87.931 | 146.768
21100 | 2.419 | 1.553 | -2.799 | 1559.86 | 191.423 | 88.082 | 146.768
21200 | 2.419 | 1.493 | -2.497 | 1247.886 | 191.726 | 86.87 | 146.768
21300 | 2.298 | 1.396 | -2.279 | 1871.835 | 191.272 | 88.764 | 147.071
21400 | 2.177 | 1.289 | -2.061 | 1351.879 | 191.348 | 90.961 | 145.101
21500 | 2.056 | 1.183 | -1.86 | 1351.879 | 191.802 | 95.355 | 141.616
21600 | 1.935 | 1.083 | -1.675 | 1247.89 | 191.348 | 96.34 | 137.828
21700 | 1.814 | 1.004 | -1.524 | 1143.897 | 191.651 | 96.264 | 133.889
21800 | 1.693 | 0.931 | -1.39 | 935.916 | 192.181 | 95.583 | 129.494
21900 | 1.572 | 0.863 | -1.273 | 831.927 | 191.423 | 94.446 | 125.1
22000 | 1.451 | 0.814 | -1.189 | 727.936 | 191.651 | 92.022 | 120.1
22100 | 1.33 | 0.755 | -1.105 | 519.952 | 191.651 | 89.143 | 115.857
22200 | 1.209 | 0.683 | -1.021 | 519.954 | 191.272 | 87.097 | 110.402
22300 | 1.089 | 0.633 | -0.971 | 519.955 | 191.423 | 82.627 | 106.463
22400 | 0.968 | 0.571 | -0.921 | 311.973 | 191.726 | 79.445 | 101.311
22500 | 0.847 | 0.513 | -0.887 | 311.97 | 191.575 | 75.202 | 95.401
22600 | 0.726 | 0.409 | -0.82 | 207.984 | 191.802 | 70.96 | 89.643
22700 | 0.605 | 0.344 | -0.803 | 415.962 | 191.726 | 67.096 | 85.249
22800 | 0.484 | 0.267 | -0.787 | 103.989 | 191.802 | 63.156 | 80.097
22900 | 0.363 | 0.161 | -0.753 | 103.992 | 190.893 | 60.504 | 76.915
23000 | 0.242 | 0.076 | -0.753 | 207.981 | 191.499 | 57.777 | 73.43
23100 | 0.121 | 0 | -0.753 | 0 | 191.878 | 55.201 | 69.945