## Data
Log File Data
************************
2007-11-09 14:58 | MERIT Configuration Data
Test Description: 15021 16TP 8Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | -0.363
100 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.698
200 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.395
300 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.092
400 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.092
500 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | -0.363
600 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.092
700 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | -0.06
800 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.092
900 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.092
1000 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | -0.363
1100 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | -0.514
1200 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | -0.363
1300 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.243
1400 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.395
1500 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 0.092
1600 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.395
1700 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | -0.06
1800 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 0.395
1900 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.092
2000 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | -0.363
2100 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | -0.06
2200 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.243
2300 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.395
2400 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | -0.06
2500 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.243
2600 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | -0.363
2700 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.395
2800 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.395
2900 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.546
3000 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.092
3100 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.546
3200 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.092
3300 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | -0.363
3400 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | -0.363
3500 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.395
3600 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.092
3700 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.243
3800 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.243
3900 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | -0.06
4000 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.092
4100 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | -0.363
4200 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | -0.363
4300 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.092
4400 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.243
4500 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.06
4600 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.363
4700 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | -0.363
4800 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | -0.363
4900 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.698
5000 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.243
5100 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.395
5200 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | -0.06
5300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.395
5400 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | -0.06
5500 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.395
5600 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.243
5700 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | -0.06
5800 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.243
5900 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | -0.06
6000 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.092
6100 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | -0.06
6200 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | -0.06
6300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.243
6400 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | -0.06
6500 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | -0.363
6600 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | -0.363
6700 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.243
6800 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | -0.363
6900 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.243
7000 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
7100 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | -0.363
7200 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | -0.363
7300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.092
7400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | -0.06
7500 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.092
7600 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | -0.363
7700 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | -0.363
7800 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | -0.363
7900 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | -0.06
8000 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.092
8100 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.698
8200 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.092
8300 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.092
8400 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.092
8500 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | -0.363
8600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
8700 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
8800 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.092
8900 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.363
9000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.06
9100 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.363
9200 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.546
9300 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
9400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.243
9500 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | -0.363
9600 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.243
9700 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | -0.06
9800 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.243
9900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
10000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.363
10100 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.092
10200 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.092
10300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
10400 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | -0.363
10500 | 0.04 | 0.04 | -14.876 | 0 | 192.105 | 1.41 | -0.06
10600 | 0.081 | 0.081 | -14.876 | 0 | 191.651 | 1.485 | -0.06
10700 | 0.121 | 0.133 | -14.876 | 0 | 191.802 | 1.41 | -0.06
10800 | 0.161 | 0.189 | -14.876 | 0 | 191.954 | 1.334 | 0.092
10900 | 0.202 | 0.25 | -14.876 | 0 | 194.378 | 1.107 | 0.243
11000 | 0.242 | 0.315 | -14.876 | 0 | 191.726 | 1.334 | 0.546
11100 | 0.282 | 0.366 | -14.86 | 0 | 192.105 | 1.334 | 1.152
11200 | 0.323 | 0.456 | -14.876 | 103.988 | 191.878 | 1.182 | 0.849
11300 | 0.363 | 0.532 | -14.876 | -103.988 | 192.105 | 1.258 | 1.152
11400 | 0.403 | 0.613 | -14.876 | 0 | 192.257 | 1.107 | 1.304
11500 | 0.443 | 0.681 | -14.86 | 0 | 192.105 | 1.182 | 1.91
11600 | 0.484 | 0.769 | -14.86 | 103.988 | 191.954 | 1.713 | 2.819
11700 | 0.524 | 0.862 | -14.86 | 0 | 192.257 | 3.001 | 4.789
11800 | 0.564 | 0.959 | -14.86 | 0 | 191.954 | 4.516 | 7.668
11900 | 0.605 | 1.009 | -14.809 | 0 | 191.954 | 7.925 | 12.82
12000 | 0.645 | 1.031 | -14.725 | 311.977 | 191.878 | 13.304 | 20.396
12100 | 0.685 | 1.055 | -14.642 | 519.96 | 192.56 | 20.805 | 29.185
12200 | 0.726 | 1.051 | -14.524 | 519.942 | 191.726 | 31.26 | 41.913
12300 | 0.766 | 1.067 | -14.424 | 727.936 | 192.257 | 39.291 | 51.459
12400 | 0.806 | 1.071 | -14.306 | 623.948 | 192.181 | 47.094 | 60.702
12500 | 0.847 | 1.096 | -14.206 | 727.936 | 194.075 | 54.216 | 70.248
12600 | 0.887 | 1.09 | -14.071 | 623.942 | 191.726 | 60.504 | 77.218
12700 | 0.927 | 1.089 | -13.937 | 831.925 | 192.105 | 65.656 | 83.734
12800 | 0.968 | 1.108 | -13.82 | 831.925 | 191.726 | 69.899 | 89.795
12900 | 1.008 | 1.132 | -13.703 | 727.936 | 192.56 | 73.081 | 94.492
13000 | 1.048 | 1.161 | -13.585 | 727.936 | 192.181 | 76.642 | 98.583
13100 | 1.089 | 1.141 | -13.417 | 727.936 | 192.408 | 79.369 | 103.735
13200 | 1.129 | 1.177 | -13.3 | 1039.913 | 194.529 | 82.021 | 107.069
13300 | 1.169 | 1.167 | -13.132 | 727.931 | 191.878 | 83.764 | 109.038
13400 | 1.209 | 1.177 | -12.981 | 1039.908 | 192.332 | 86.264 | 111.766
13500 | 1.25 | 1.192 | -12.83 | 935.913 | 191.802 | 86.87 | 114.342
13600 | 1.29 | 1.21 | -12.68 | 935.913 | 191.802 | 88.537 | 115.706
13700 | 1.33 | 1.215 | -12.512 | 935.925 | 192.181 | 89.597 | 117.372
13800 | 1.371 | 1.275 | -12.394 | 1039.902 | 191.878 | 90.506 | 118.281
13900 | 1.411 | 1.255 | -12.193 | 727.936 | 192.105 | 91.264 | 120.251
14000 | 1.451 | 1.29 | -12.041 | 1247.89 | 192.332 | 92.097 | 122.221
14100 | 1.492 | 1.294 | -11.857 | 942.413 | 191.802 | 93.158 | 123.282
14200 | 1.532 | 1.32 | -11.689 | 1143.902 | 192.257 | 91.037 | 126.918
14300 | 1.572 | 1.383 | -11.555 | 1039.908 | 192.181 | 86.946 | 131.161
14400 | 1.613 | 1.383 | -11.354 | 831.919 | 192.181 | 86.946 | 133.586
14500 | 1.653 | 1.373 | -11.136 | 1247.896 | 191.878 | 86.491 | 135.555
14600 | 1.693 | 1.396 | -10.951 | 1351.879 | 191.802 | 88.158 | 136.768
14700 | 1.734 | 1.442 | -10.784 | 1143.896 | 192.484 | 88.309 | 137.071
14800 | 1.774 | 1.408 | -10.532 | 1039.913 | 191.575 | 87.931 | 139.192
14900 | 1.814 | 1.429 | -10.331 | 1559.855 | 191.802 | 88.537 | 139.647
15000 | 1.855 | 1.472 | -10.146 | 1247.884 | 192.408 | 88.84 | 139.798
15100 | 1.895 | 1.432 | -9.878 | 1143.902 | 191.651 | 88.158 | 141.616
15200 | 1.935 | 1.464 | -9.677 | 1663.85 | 192.56 | 89.294 | 142.374
15300 | 1.975 | 1.501 | -9.475 | 1247.89 | 191.802 | 88.84 | 142.222
15400 | 2.016 | 1.508 | -9.241 | 1247.89 | 191.726 | 88.006 | 143.132
15500 | 2.056 | 1.521 | -9.006 | 1455.867 | 191.878 | 87.173 | 145.101
15600 | 2.096 | 1.534 | -8.771 | 1455.873 | 191.423 | 87.4 | 144.95
15700 | 2.137 | 1.553 | -8.536 | 1455.873 | 192.332 | 87.097 | 145.405
15800 | 2.177 | 1.56 | -8.285 | 1455.867 | 191.651 | 86.643 | 147.071
15900 | 2.217 | 1.587 | -8.05 | 1559.861 | 191.651 | 86.188 | 147.223
16000 | 2.258 | 1.603 | -7.797 | 1455.873 | 192.105 | 85.506 | 148.283
16100 | 2.298 | 1.619 | -7.546 | 1566.358 | 192.181 | 85.203 | 149.344
16200 | 2.338 | 1.642 | -7.294 | 1559.864 | 192.56 | 84.597 | 149.95
16300 | 2.379 | 1.668 | -7.043 | 1559.858 | 191.954 | 84.521 | 151.314
16400 | 2.419 | 1.665 | -6.758 | 1559.861 | 192.484 | 83.461 | 151.769
16500 | 2.419 | 1.641 | -6.489 | 1767.844 | 192.408 | 83.385 | 153.435
16600 | 2.419 | 1.629 | -6.238 | 1663.847 | 192.181 | 84.294 | 153.132
16700 | 2.419 | 1.553 | -5.919 | 1559.867 | 191.651 | 85.279 | 152.375
16800 | 2.419 | 1.526 | -5.651 | 1975.821 | 192.332 | 87.931 | 150.859
16900 | 2.419 | 1.5 | -5.383 | 1663.85 | 192.257 | 89.294 | 148.435
17000 | 2.419 | 1.543 | -5.181 | 1663.856 | 191.726 | 89.37 | 147.223
17100 | 2.419 | 1.598 | -4.997 | 1247.884 | 191.954 | 88.158 | 147.223
17200 | 2.419 | 1.555 | -4.712 | 1143.899 | 191.575 | 85.43 | 148.435
17300 | 2.419 | 1.512 | -4.427 | 1767.844 | 192.257 | 86.34 | 148.587
17400 | 2.419 | 1.519 | -4.192 | 1767.844 | 191.878 | 89.294 | 147.223
17500 | 2.419 | 1.528 | -3.957 | 1455.87 | 192.408 | 88.385 | 147.223
17600 | 2.419 | 1.55 | -3.739 | 1455.87 | 191.423 | 87.552 | 147.374
17700 | 2.419 | 1.556 | -3.503 | 1351.876 | 191.651 | 86.794 | 147.071
17800 | 2.419 | 1.546 | -3.252 | 1462.371 | 191.878 | 86.264 | 147.526
17900 | 2.419 | 1.536 | -3 | 1559.866 | 191.651 | 87.097 | 148.132
18000 | 2.419 | 1.546 | -2.765 | 1559.86 | 191.878 | 87.476 | 148.132
18100 | 2.298 | 1.396 | -2.497 | 1455.87 | 191.802 | 87.097 | 147.98
18200 | 2.177 | 1.287 | -2.279 | 1663.851 | 192.105 | 91.567 | 145.859
18300 | 2.056 | 1.149 | -2.044 | 1351.879 | 191.802 | 94.143 | 142.374
18400 | 1.935 | 1.066 | -1.877 | 1455.871 | 192.635 | 96.871 | 137.828
18500 | 1.814 | 1.006 | -1.743 | 1039.905 | 191.575 | 97.325 | 133.282
18600 | 1.693 | 0.931 | -1.608 | 831.927 | 192.105 | 95.431 | 128.585
18700 | 1.572 | 0.862 | -1.491 | 831.925 | 192.105 | 94.598 | 123.282
18800 | 1.451 | 0.814 | -1.407 | 727.935 | 191.802 | 92.022 | 119.645
18900 | 1.33 | 0.738 | -1.306 | 519.955 | 191.878 | 88.537 | 115.099
19000 | 1.209 | 0.684 | -1.239 | 623.943 | 191.651 | 86.34 | 111.917
19100 | 1.089 | 0.633 | -1.189 | 415.965 | 192.332 | 82.4 | 106.159
19200 | 0.968 | 0.553 | -1.122 | 311.97 | 192.332 | 78.687 | 99.947
19300 | 0.847 | 0.496 | -1.088 | 415.965 | 191.954 | 74.066 | 94.644
19400 | 0.726 | 0.426 | -1.055 | 207.981 | 191.575 | 69.672 | 88.583
19500 | 0.605 | 0.361 | -1.038 | 207.981 | 192.635 | 65.884 | 84.037
19600 | 0.484 | 0.284 | -1.021 | 103.989 | 191.575 | 62.626 | 79.188
19700 | 0.363 | 0.177 | -0.988 | 103.992 | 191.802 | 59.368 | 75.551
19800 | 0.242 | 0.093 | -0.988 | 207.981 | 191.878 | 56.716 | 72.066
19900 | 0.121 | 0 | -0.988 | 0 | 192.332 | 53.61 | 68.581