## Data
Log File Data
************************
2007-11-09 17:49 | MERIT Configuration Data
Test Description: 15037 6TP 8Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.698
100 | 0 | 0 | -14.709 | 0 | 0 | 1.788 | 0.546
200 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | 0.243
300 | 0 | 0 | -14.709 | 0 | 0 | 1.561 | 0.395
400 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.243
500 | 0 | 0 | -14.725 | 0 | 0 | 1.713 | 0.849
600 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.395
700 | 0 | 0 | -14.725 | 0 | 0 | 1.713 | 0.698
800 | 0 | 0 | -14.709 | 0 | 0 | 1.637 | 0.698
900 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.243
1000 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.395
1100 | 0 | 0 | -14.725 | 0 | 0 | 1.561 | 0.243
1200 | 0 | 0 | -14.725 | 0 | 0 | 1.713 | 0.395
1300 | 0 | 0 | -14.725 | 0 | 0 | 1.713 | 0.546
1400 | 0 | 0 | -14.725 | 0 | 0 | 1.788 | 0.698
1500 | 0 | 0 | -14.725 | 0 | 0 | 1.788 | 0.243
1600 | 0 | 0 | -14.725 | 0 | 0 | 1.788 | 0.243
1700 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.546
1800 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.546
1900 | 0 | 0 | -14.725 | 0 | 0 | 1.788 | 0.395
2000 | 0 | 0 | -14.725 | 0 | 0 | 1.94 | 0.243
2100 | 0 | 0 | -14.725 | 0 | 0 | 1.94 | 0.849
2200 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.243
2300 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.243
2400 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.395
2500 | 0 | 0 | -14.725 | 0 | 0 | 1.864 | 0.395
2600 | 0 | 0 | -14.725 | 0 | 0 | 1.94 | 0.698
2700 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.395
2800 | 0 | 0 | -14.725 | 0 | 0 | 1.561 | 0.243
2900 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.395
3000 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.546
3100 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 1.001
3200 | 0 | 0 | -14.725 | 0 | 0 | 1.788 | 0.698
3300 | 0 | 0 | -14.742 | 0 | 0 | 1.788 | 0.849
3400 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 0.698
3500 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.395
3600 | 0 | 0 | -14.742 | 0 | 0 | 2.091 | 0.546
3700 | 0 | 0 | -14.742 | 0 | 0 | 1.788 | 0.243
3800 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.243
3900 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.698
4000 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.546
4100 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.395
4200 | 0 | 0 | -14.742 | 0 | 0 | 1.864 | 0.243
4300 | 0 | 0 | -14.742 | 0 | 0 | 2.091 | 0.395
4400 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 0.243
4500 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.546
4600 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.698
4700 | 0 | 0 | -14.742 | 0 | 0 | 2.091 | 0.395
4800 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.243
4900 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.243
5000 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.546
5100 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.395
5200 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.698
5300 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.698
5400 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.849
5500 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.243
5600 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.395
5700 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 0.395
5800 | 0 | 0 | -14.742 | 0 | 0 | 1.788 | 0.395
5900 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.395
6000 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.698
6100 | 0 | 0 | -14.759 | 0 | 0 | 1.788 | 0.395
6200 | 0 | 0 | -14.742 | 0 | 0 | 1.788 | 0.243
6300 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.395
6400 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | 0.395
6500 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.698
6600 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.698
6700 | 0 | 0 | -14.759 | 0 | 0 | 1.788 | 0.092
6800 | 0 | 0 | -14.759 | 0 | 0 | 1.637 | 0.243
6900 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.395
7000 | 0 | 0 | -14.759 | 0 | 0 | 1.637 | 0.698
7100 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 0.698
7200 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.395
7300 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.395
7400 | 0 | 0 | -14.759 | 0 | 0 | 1.864 | 0.243
7500 | 0 | 0 | -14.759 | 0 | 0 | 1.637 | -0.363
7600 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.243
7700 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.698
7800 | 0 | 0 | -14.759 | 0 | 0 | 1.94 | 0.546
7900 | 0 | 0 | -14.759 | 0 | 0 | 1.637 | 0.849
8000 | 0 | 0 | -14.759 | 0 | 0 | 1.788 | 0.698
8100 | 0 | 0 | -14.776 | 0 | 0 | 2.091 | 0.546
8200 | 0 | 0 | -14.759 | 0 | 0 | 1.713 | 0.546
8300 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.243
8400 | 0 | 0 | -14.759 | 0 | 0 | 1.637 | -0.06
8500 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.395
8600 | 0 | 0 | -14.759 | 0 | 0 | 1.864 | 0.698
8700 | 0 | 0 | -14.759 | 0 | 0 | 1.864 | 0.092
8800 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.243
8900 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.092
9000 | 0 | 0 | -14.776 | 0 | 0 | 1.788 | 0.243
9100 | 0 | 0 | -14.759 | 0 | 0 | 1.94 | 0.698
9200 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.546
9300 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 0.546
9400 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.395
9500 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.395
9600 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.546
9700 | 0 | 0 | -14.776 | 0 | 0 | 1.788 | 0.698
9800 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.698
9900 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.395
10000 | 0 | 0 | -14.776 | 0 | 0 | 2.091 | 0.698
10100 | 0 | 0 | -14.776 | 0 | 0 | 1.864 | 0.395
10200 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.395
10300 | 0 | 0 | -14.809 | 0 | 0 | 1.788 | 0.698
10400 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 1.001
10500 | 0.04 | 0.04 | -14.776 | 0 | 179.299 | 1.713 | 0.243
10600 | 0.081 | 0.114 | -14.809 | 0 | 179.981 | 1.864 | 0.395
10700 | 0.121 | 0.166 | -14.809 | -207.977 | 180.057 | 1.788 | 0.546
10800 | 0.161 | 0.189 | -14.776 | 0 | 179.375 | 1.637 | 0.698
10900 | 0.202 | 0.25 | -14.776 | 207.977 | 179.224 | 1.485 | 0.395
11000 | 0.242 | 0.348 | -14.809 | 0 | 179.83 | 1.485 | 1.001
11100 | 0.282 | 0.383 | -14.776 | -207.977 | 178.997 | 1.258 | 0.849
11200 | 0.323 | 0.489 | -14.809 | 207.977 | 179.754 | 1.258 | 0.849
11300 | 0.363 | 0.566 | -14.809 | -207.977 | 179.678 | 1.258 | 0.849
11400 | 0.403 | 0.613 | -14.776 | 0 | 179.905 | 1.182 | 1.91
11500 | 0.443 | 0.697 | -14.776 | 207.977 | 179.224 | 1.561 | 2.668
11600 | 0.484 | 0.786 | -14.776 | 0 | 180.057 | 2.395 | 3.728
11700 | 0.524 | 0.879 | -14.776 | 0 | 179.905 | 3.834 | 5.85
11800 | 0.564 | 0.975 | -14.776 | 0 | 179.224 | 5.728 | 8.88
11900 | 0.605 | 1.01 | -14.709 | 0 | 179.072 | 9.971 | 15.244
12000 | 0.645 | 1.03 | -14.625 | 415.971 | 179.678 | 16.789 | 24.639
12100 | 0.685 | 1.038 | -14.524 | 519.942 | 179.072 | 27.093 | 35.852
12200 | 0.726 | 1.051 | -14.424 | 623.948 | 179.299 | 35.503 | 46.913
12300 | 0.766 | 1.05 | -14.306 | 623.948 | 179.678 | 44.594 | 57.823
12400 | 0.806 | 1.071 | -14.206 | 727.936 | 180.057 | 50.049 | 65.399
12500 | 0.847 | 1.078 | -14.088 | 623.942 | 179.451 | 56.716 | 73.278
12600 | 0.887 | 1.073 | -13.954 | 727.936 | 179.451 | 62.853 | 80.703
12700 | 0.927 | 1.089 | -13.837 | 831.925 | 179.148 | 66.793 | 87.219
12800 | 0.968 | 1.108 | -13.719 | 727.936 | 179.299 | 71.414 | 92.068
12900 | 1.008 | 1.116 | -13.585 | 727.936 | 179.224 | 74.975 | 96.31
13000 | 1.048 | 1.126 | -13.451 | 831.925 | 179.678 | 77.854 | 101.008
13100 | 1.089 | 1.158 | -13.334 | 831.925 | 180.057 | 80.279 | 104.038
13200 | 1.129 | 1.143 | -13.166 | 727.931 | 179.299 | 83.082 | 107.523
13300 | 1.169 | 1.166 | -13.032 | 1039.913 | 179.224 | 84.749 | 110.251
13400 | 1.209 | 1.178 | -12.881 | 831.925 | 179.224 | 86.87 | 112.372
13500 | 1.25 | 1.191 | -12.73 | 935.913 | 179.072 | 88.082 | 113.584
13600 | 1.29 | 1.193 | -12.562 | 935.913 | 179.527 | 89.749 | 116.463
13700 | 1.33 | 1.232 | -12.428 | 1039.919 | 179.83 | 90.431 | 117.675
13800 | 1.371 | 1.225 | -12.244 | 831.919 | 179.981 | 91.264 | 119.645
13900 | 1.411 | 1.272 | -12.108 | 1143.896 | 179.451 | 87.097 | 124.646
14000 | 1.451 | 1.289 | -11.941 | 838.436 | 179.148 | 86.264 | 127.221
14100 | 1.492 | 1.327 | -11.79 | 1039.902 | 179.299 | 86.643 | 129.494
14200 | 1.532 | 1.353 | -11.622 | 935.913 | 179.602 | 87.324 | 130.858
14300 | 1.572 | 1.333 | -11.404 | 1039.913 | 179.451 | 87.552 | 133.434
14400 | 1.613 | 1.368 | -11.236 | 1351.873 | 179.527 | 88.082 | 134.949
14500 | 1.653 | 1.354 | -11.018 | 1039.913 | 180.057 | 88.84 | 135.404
14600 | 1.693 | 1.396 | -10.851 | 1351.879 | 179.451 | 88.688 | 136.768
14700 | 1.734 | 1.375 | -10.616 | 1039.902 | 179.981 | 88.915 | 137.525
14800 | 1.774 | 1.391 | -10.415 | 1455.873 | 179.224 | 89.37 | 138.131
14900 | 1.814 | 1.414 | -10.213 | 1247.89 | 179.375 | 90.052 | 138.131
15000 | 1.855 | 1.453 | -10.029 | 1247.89 | 179.299 | 89.446 | 139.495
15100 | 1.895 | 1.431 | -9.777 | 1143.896 | 180.133 | 88.84 | 140.859
15200 | 1.935 | 1.447 | -9.559 | 1559.861 | 179.602 | 88.915 | 141.313
15300 | 1.975 | 1.484 | -9.358 | 1351.879 | 180.133 | 89.37 | 141.768
15400 | 2.016 | 1.51 | -9.14 | 1247.89 | 179.527 | 88.537 | 142.526
15500 | 2.056 | 1.502 | -8.889 | 1351.879 | 179.981 | 87.931 | 144.041
15600 | 2.096 | 1.517 | -8.654 | 1559.861 | 179.527 | 87.855 | 145.101
15700 | 2.137 | 1.553 | -8.436 | 1455.867 | 179.83 | 87.931 | 145.253
15800 | 2.177 | 1.526 | -8.151 | 1351.885 | 179.905 | 86.643 | 146.617
15900 | 2.217 | 1.556 | -7.916 | 1767.838 | 179.83 | 86.946 | 147.526
16000 | 2.258 | 1.567 | -7.663 | 1455.87 | 179.148 | 86.643 | 147.374
16100 | 2.298 | 1.636 | -7.462 | 1566.364 | 179.451 | 86.34 | 148.283
16200 | 2.338 | 1.642 | -7.194 | 1247.887 | 178.997 | 84.673 | 149.193
16300 | 2.379 | 1.618 | -6.892 | 1663.85 | 179.299 | 83.764 | 151.617
16400 | 2.419 | 1.651 | -6.64 | 1871.838 | 179.83 | 84.445 | 152.072
16500 | 2.419 | 1.605 | -6.355 | 1559.858 | 179.148 | 84.445 | 151.465
16600 | 2.419 | 1.579 | -6.087 | 1767.844 | 180.284 | 85.127 | 151.769
16700 | 2.419 | 1.586 | -5.852 | 1663.85 | 179.602 | 86.643 | 150.859
16800 | 2.419 | 1.526 | -5.55 | 1455.87 | 180.057 | 86.415 | 150.556
16900 | 2.419 | 1.536 | -5.316 | 1871.832 | 179.981 | 87.855 | 149.344
17000 | 2.419 | 1.507 | -5.047 | 1455.873 | 179.83 | 88.234 | 148.283
17100 | 2.419 | 1.514 | -4.812 | 1663.847 | 179.83 | 88.309 | 147.677
17200 | 2.419 | 1.504 | -4.561 | 1455.87 | 179.83 | 88.309 | 146.465
17300 | 2.419 | 1.528 | -4.343 | 1559.867 | 179.678 | 88.461 | 147.071
17400 | 2.419 | 1.538 | -4.108 | 1351.876 | 179.527 | 87.779 | 146.162
17500 | 2.419 | 1.526 | -3.857 | 1455.87 | 179.299 | 87.173 | 147.677
17600 | 2.419 | 1.533 | -3.622 | 1559.86 | 178.921 | 87.476 | 147.677
17700 | 2.419 | 1.556 | -3.403 | 1455.871 | 181.122 | 87.552 | 147.374
17800 | 2.419 | 1.529 | -3.134 | 1358.381 | 181.728 | 86.567 | 147.526
17900 | 2.419 | 1.556 | -2.916 | 1663.854 | 180.966 | 87.173 | 147.374
18000 | 2.419 | 1.51 | -2.631 | 1351.876 | 180.966 | 87.173 | 147.98
18100 | 2.298 | 1.396 | -2.397 | 1767.844 | 181.652 | 88.006 | 148.283
18200 | 2.177 | 1.304 | -2.195 | 1455.87 | 181.046 | 91.567 | 146.162
18300 | 2.056 | 1.149 | -1.944 | 1247.89 | 181.198 | 94.673 | 141.616
18400 | 1.935 | 1.068 | -1.776 | 1559.859 | 181.425 | 96.492 | 137.98
18500 | 1.814 | 1.004 | -1.642 | 1039.908 | 181.425 | 97.78 | 133.131
18600 | 1.693 | 0.914 | -1.491 | 831.925 | 181.501 | 95.583 | 129.04
18700 | 1.572 | 0.845 | -1.374 | 935.916 | 181.728 | 94.901 | 125.252
18800 | 1.451 | 0.781 | -1.273 | 727.935 | 180.966 | 92.325 | 119.342
18900 | 1.33 | 0.739 | -1.206 | 623.947 | 181.274 | 89.219 | 115.251
19000 | 1.209 | 0.683 | -1.139 | 415.962 | 180.814 | 85.885 | 110.099
19100 | 1.089 | 0.633 | -1.088 | 415.962 | 180.587 | 81.945 | 105.25
19200 | 0.968 | 0.57 | -1.038 | 311.973 | 181.122 | 78.46 | 99.947
19300 | 0.847 | 0.496 | -0.988 | 311.97 | 181.652 | 74.293 | 94.492
19400 | 0.726 | 0.427 | -0.954 | 311.973 | 180.511 | 70.354 | 89.189
19500 | 0.605 | 0.361 | -0.938 | 207.981 | 181.046 | 66.338 | 84.037
19600 | 0.484 | 0.284 | -0.921 | 103.992 | 181.046 | 63.232 | 79.794
19700 | 0.363 | 0.194 | -0.904 | 103.989 | 180.814 | 60.126 | 76.309
19800 | 0.242 | 0.093 | -0.887 | 103.992 | 180.814 | 57.398 | 72.672
19900 | 0.121 | 0 | -0.887 | 103.992 | 181.425 | 54.747 | 69.036
20000 | 0.121 | 0 | -0.585 | 103.992 | 192.408 | 55.05 | 69.339