## Sheet1
Timestamp | Hg Sump Level (cm) | Hg Temp (C) | HydFluid Temp (C) | HgCylInlet Temp (C) | Sec Air Temp (C) | Dn Pri Win Temp (C) | Dn Bore Temp (C) | Up Bore Temp (C) | Flange Temp (C) | Jerome Hg Vapor (mg/m^3) | VM3000 Hg Vapor (mg/m^3) | Port A Pressure (bar) | Port B Pressure (bar)
2007-11-09 14:49 | 5.3 | 25.6 | 39 | 27 | 26.5 | 33.1 | 33 | 32.7 | 27.8 | 0.001 | 0.01 | 0.8 | 0.4
Timestamp | Hg Sump Level (cm) | Hg Temp (C) | HydFluid Temp (C) | HgCylInlet Temp (C) | Sec Air Temp (C) | Dn Pri Win Temp (C) | Dn Bore Temp (C) | Up Bore Temp (C) | Flange Temp (C) | Jerome Hg Vapor (mg/m^3) | VM3000 Hg Vapor (mg/m^3) | Port A Pressure (bar) | Port B Pressure (bar)
2:48:40 PM | 5.3 | 25.6 | 39 | 27 | 26.5 | 33.1 | 33 | 32.7 | 27.8 | 0.001 | 0.01 | 0.8 | 0.4 | 20
2007-11-09 14:51 | 5.3 | 25.8 | 38.4 | 27 | 26.5 | 33 | 32.9 | 32.4 | 27.8 | 0 | 0.009 | 1.3 | -0.4
2007-11-09 14:54 | 4.9 | 25.8 | 39.6 | 27.1 | 26.5 | 33 | 32.9 | 32.5 | 27.8 | 0.001 | 0.009 | 14.5 | 14.8
2007-11-09 14:55 | 1.7 | 25.8 | 44.3 | 27.4 | 26.6 | 33 | 32.9 | 32.5 | 27.8 | 0 | 0.009 | 1.8 | -0.5
2007-11-09 14:56 | 1.7 | 25.8 | 44.9 | 27.6 | 26.7 | 33 | 33 | 32.5 | 27.8 | 0.001 | 0.009 | 2.1 | -0.5
2007-11-09 14:57 | 1.7 | 25.8 | 45.1 | 27.5 | 26.7 | 33 | 33 | 32.5 | 27.8 | 0.001 | 0.009 | 1.9 | -0.4
2007-11-09 14:58 | 1.7 | 25.7 | 44.9 | 27.5 | 26.7 | 33 | 33 | 32.5 | 27.8 | 0.001 | 0.009 | 1.9 | -0.4 | 21
2007-11-09 14:59 | 1.7 | 25.8 | 44.6 | 27.5 | 26.8 | 33.1 | 33 | 32.5 | 27.7 | 0 | 0.009 | 2.2 | 0.2
2007-11-09 15:01 | 4.2 | 25.7 | 41.6 | 27.6 | 26.8 | 33.1 | 32.9 | 32.7 | 26.5 | 0.001 | 0.009 | 25.8 | 31.9
2007-11-09 15:02 | 5.3 | 25.8 | 40.6 | 27.5 | 26.8 | 33 | 32.9 | 32.5 | 27.8 | 0 | 0.011 | 1 | 0.1
2007-11-09 15:03 | 5.3 | 25.9 | 40.1 | 27.5 | 26.7 | 33 | 32.9 | 32.2 | 27.8 | 0.001 | 0.01 | 1.2 | 0.4
2007-11-09 15:04 | 4 | 25.9 | 46.1 | 27.5 | 26.8 | 33 | 32.9 | 32.2 | 27.8 | 0.001 | 0.009 | 2.2 | 0.5
2007-11-09 15:05 | 1.2 | 26 | 48.5 | 27.8 | 26.9 | 33 | 32.9 | 32.2 | 27.8 | 0.001 | 0.009 | 1.9 | 0.1
2007-11-09 15:06 | 1.2 | 25.9 | 48.6 | 27.8 | 27 | 33 | 32.9 | 32.2 | 27.7 | 0.001 | 0.009 | 2.2 | 0.4
2007-11-09 15:08 | 4.2 | 25.9 | 81.4 | 27.8 | 27 | 33 | 32.8 | 32.4 | 27.1 | 0 | 0.009 | 26.7 | 33.3 | 22
2007-11-09 15:09 | 5.3 | 26 | 79.7 | 27.7 | 27 | 33 | 32.9 | 32.2 | 27.7 | 0 | 0.011 | 1 | 0.4
2007-11-09 15:10 | 4 | 26.1 | 94.3 | 27.8 | 27 | 32.9 | 32.9 | 32 | 27.7 | 0.001 | 0.011 | 2.1 | 0.4
2007-11-09 15:11 | 1.7 | 26.1 | 95.7 | 27.9 | 27 | 32.9 | 32.8 | 32 | 27.7 | 0 | 0.01 | 1.9 | 0.1
2007-11-09 15:12 | 1.7 | 26.1 | 86.1 | 27.9 | 27.1 | 32.9 | 32.8 | 32 | 27.7 | 0.001 | 0.01 | 2.2 | 0.1 | 23
2007-11-09 15:13 | 1.7 | 26.1 | 72.3 | 27.9 | 27.1 | 32.9 | 32.8 | 32 | 27.7 | 0 | 0.01 | 2.2 | -0.4
2007-11-09 15:14 | 1.7 | 26.1 | 69.3 | 27.9 | 27.1 | 32.9 | 32.9 | 32.1 | 27.7 | 0.001 | 0.01 | 2.1 | -0.1
2007-11-09 15:15 | 4.2 | 26.1 | 55.1 | 27.9 | 27.2 | 32.9 | 32.8 | 32.2 | 27.1 | 0.001 | 0.01 | 26.5 | 33.4
2007-11-09 15:16 | 5.3 | 26.2 | 53.8 | 27.9 | 27.2 | 32.9 | 32.8 | 32 | 27.7 | 0 | 0.012 | 1.2 | 0.7
2007-11-09 15:17 | 5.3 | 26.2 | 53.1 | 27.9 | 27.1 | 32.8 | 32.8 | 31.9 | 27.7 | 0.001 | 0.012 | 1.4 | 0.7
2007-11-09 15:18 | 3.7 | 26.2 | 61.9 | 28 | 27.2 | 32.8 | 32.8 | 31.8 | 27.7 | 0 | 0.011 | 1.6 | 0.2
2007-11-09 15:19 | 3.7 | 26.2 | 62.6 | 28.1 | 27.2 | 32.8 | 32.8 | 31.8 | 27.7 | 0.001 | 0.011 | 1.8 | 0.4
2007-11-09 15:20 | 3.7 | 26.2 | 62.6 | 28.1 | 27.3 | 32.8 | 32.8 | 31.9 | 27.6 | 0.001 | 0.011 | 1.9 | 0.5
2007-11-09 15:21 | 2.3 | 26.2 | 62.1 | 28.1 | 27.2 | 32.9 | 32.8 | 31.9 | 27.6 | 0.001 | 0.01 | 2.2 | 0.5
2007-11-09 15:22 | 2.2 | 26.2 | 61.5 | 28.1 | 27.3 | 32.9 | 32.8 | 31.9 | 27.6 | 0 | 0.011 | 2.2 | 0.7
2007-11-09 15:23 | 1.8 | 26.2 | 60.9 | 28.1 | 27.3 | 32.9 | 32.8 | 32 | 27.6 | 0.001 | 0.011 | 2.3 | 0.2
2007-11-09 15:24 | 1.7 | 26.2 | 54.8 | 28.1 | 27.3 | 32.9 | 32.8 | 32.1 | 27.6 | 0 | 0.01 | 2.2 | 0.2
2007-11-09 15:25 | 1.7 | 26.2 | 54.3 | 28.1 | 27.4 | 32.9 | 32.8 | 32.1 | 27.6 | 0 | 0.01 | 2.1 | 0.5
2007-11-09 15:26 | 1.7 | 26.2 | 53.8 | 28.1 | 27.4 | 32.9 | 32.8 | 32.1 | 27.6 | 0.001 | 0.01 | 2.1 | 0.2
11/9/2007 3:27:45 P11/09/2007 15:28:45 5.3 26.2 64.6 28.0 27.4 32.9 32.8 32.0 27.6 0.001 0.012 1.3 0.8M | 4.2 | 26.2 | 65.9 | 28.1 | 27.5 | 32.9 | 32.8 | 32.2 | 27.1 | 0.001 | 0.01 | 26.5 | 33.4 | 25
2007-11-09 15:29 | 5.3 | 26.2 | 64.6 | 28 | 27.4 | 32.9 | 32.8 | 32 | 27.6 | 0.001 | 0.012 | 1.3 | 0.8
2007-11-09 15:30 | 4.9 | 26.3 | 66.8 | 28 | 27.3 | 32.8 | 32.8 | 31.8 | 27.6 | 0.001 | 0.011 | 13.6 | 13.9
2007-11-09 15:31 | 3.8 | 26.2 | 70.6 | 28.2 | 27.4 | 32.8 | 32.8 | 31.8 | 27.6 | 0.001 | 0.001 | 2.1 | 0.4
2007-11-09 15:32 | 3.7 | 26.3 | 55.5 | 28.2 | 27.4 | 32.8 | 32.7 | 31.9 | 27.6 | 0.001 | 0.011 | 2.2 | 0.4
2007-11-09 15:33 | 3.7 | 26.3 | 55.5 | 28.2 | 27.4 | 32.8 | 32.8 | 32 | 27.6 | 0.001 | 0.011 | 2.2 | 0.2
2007-11-09 15:34 | 2.3 | 26.4 | 55.5 | 28.2 | 27.5 | 32.8 | 32.8 | 31.9 | 27.6 | 0.001 | 0.01 | 2.1 | 0.5
2007-11-09 15:35 | 2.2 | 26.2 | 55.2 | 28.2 | 27.4 | 32.8 | 32.8 | 32 | 27.6 | 0 | 0.011 | 2.1 | 0.5
2007-11-09 15:40 | 5.6 | 26.5 | 48.5 | 28.2 | 27.5 | 32.8 | 32.6 | 31.7 | 27.6 | 0 | 0.012 | -0.2 | -0.7 | 26
2007-11-09 15:41 | 5.6 | 26.5 | 47.9 | 28.1 | 27.5 | 32.8 | 32.7 | 31.7 | 27.6 | 0.001 | 0.012 | -0.4 | -1
2007-11-09 15:42 | 5.6 | 26.5 | 47.6 | 28.1 | 27.5 | 32.8 | 32.7 | 31.7 | 27.6 | 0.001 | 0.011 | -0.4 | -0.8
2007-11-09 15:43 | 5.6 | 26.5 | 47.2 | 28 | 27.5 | 32.8 | 32.7 | 31.7 | 27.6 | 0 | 0.011 | -0.2 | -0.5
2007-11-09 15:44 | 5.6 | 26.5 | 46.8 | 28 | 27.5 | 32.8 | 32.7 | 31.7 | 27.6 | 0 | 0.011 | -0.4 | -1
2007-11-09 15:45 | 5.6 | 26.5 | 46.6 | 28 | 27.4 | 32.8 | 32.7 | 31.7 | 27.6 | 0 | 0.011 | -0.3 | -0.8
2007-11-09 15:46 | 5.6 | 26.5 | 46.3 | 27.9 | 27.4 | 32.8 | 32.7 | 31.8 | 27.6 | 0.001 | 0.011 | -0.3 | -1
2007-11-09 15:47 | 5.6 | 26.5 | 46 | 27.9 | 27.4 | 32.8 | 32.7 | 31.8 | 27.6 | 0.001 | 0.011 | -0.2 | -0.8
2007-11-09 15:48 | 134:24 | 26.5 | 45.7 | 27.9 | 27.4 | 32.8 | 32.8 | 31.8 | 27.6 | 0.001 | 0.011 | -0.3 | -1
2007-11-09 15:49 | 5.6 | 26.5 | 45.4 | 27.9 | 27.4 | 32.8 | 32.8 | 31.8 | 27.5 | 0.001 | 0.011 | -0.1 | -0.8
2007-11-09 15:50 | 5.6 | 26.4 | 45.2 | 27.8 | 27.4 | 32.8 | 32.8 | 31.8 | 27.6 | 0.001 | 0.011 | -0.2 | -0.5
2007-11-09 15:51 | 5.6 | 26.4 | 44.9 | 27.8 | 27.4 | 32.8 | 32.8 | 31.9 | 27.5 | 0 | 0.011 | -0.2 | -0.7
2007-11-09 15:52 | 5.6 | 26.4 | 44.7 | 27.8 | 27.4 | 32.8 | 32.8 | 31.9 | 27.5 | 0.001 | 0.011 | -0.3 | -0.8
2007-11-09 15:53 | 5.6 | 26.4 | 44.3 | 27.8 | 27.4 | 32.9 | 32.8 | 31.9 | 27.6 | 0 | 0.011 | -0.1 | -0.7
2007-11-09 15:54 | 5.6 | 26.4 | 44 | 27.8 | 27.3 | 32.9 | 32.8 | 31.9 | 27.5 | 0 | 0.011 | -0.3 | -1
2007-11-09 15:55 | 5.6 | 26.4 | 43.8 | 27.7 | 27.3 | 32.9 | 32.8 | 31.9 | 27.5 | 0.001 | 0.01 | -0.3 | -1
2007-11-09 15:56 | 5.6 | 26.4 | 43.6 | 27.8 | 27.3 | 32.9 | 32.8 | 31.9 | 27.5 | 0.001 | 0.011 | -0.1 | -1
2007-11-09 15:57 | 5.6 | 26.4 | 43.3 | 27.7 | 27.3 | 32.9 | 32.8 | 32 | 27.5 | 0 | 0.01 | -0.1 | -0.7
2007-11-09 15:58 | 5.6 | 26.4 | 43.5 | 27.7 | 27.2 | 32.9 | 32.8 | 32 | 27.5 | 0.001 | 0.011 | -0.2 | -0.8
2007-11-09 15:59 | 5.6 | 26.4 | 43.4 | 27.6 | 27.3 | 32.9 | 32.8 | 32 | 27.5 | 0.001 | 0.01 | -0.4 | -0.8
2007-11-09 16:00 | 5.6 | 26.3 | 47.6 | 27.6 | 27.2 | 32.9 | 32.9 | 32 | 27.5 | 0.001 | 0.01 | -0.3 | -0.5
2007-11-09 16:01 | 5.6 | 26.3 | 51.1 | 27.6 | 27.2 | 32.9 | 32.9 | 32 | 27.5 | 0.001 | 0.01 | -0.1 | -1
2007-11-09 16:02 | 5.6 | 26.3 | 54.4 | 27.6 | 27.1 | 32.9 | 32.9 | 32 | 27.5 | 0 | 0.01 | -0.3 | -0.8
2007-11-09 16:03 | 5.6 | 26.3 | 53.4 | 27.6 | 27.1 | 32.9 | 32.9 | 32 | 27.5 | 0 | 0.01 | -0.1 | -1
2007-11-09 16:04 | 5.6 | 26.3 | 52.7 | 27.5 | 27.1 | 32.9 | 32.9 | 32 | 27.5 | 0.001 | 0.01 | -0.2 | -1
2007-11-09 16:05 | 5.6 | 26.3 | 52.4 | 27.5 | 27.1 | 33 | 32.9 | 32 | 27.5 | 0.001 | 0.01 | -0.2 | -1
2007-11-09 16:06 | 5.6 | 26.4 | 52.1 | 27.5 | 27.1 | 33 | 32.9 | 32.1 | 27.5 | 0.001 | 0.01 | -0.2 | -1
2007-11-09 16:07 | 5.6 | 26.3 | 50.5 | 27.5 | 27.1 | 33 | 32.9 | 32.1 | 27.5 | 0.001 | 0.01 | -0.2 | -0.8
2007-11-09 16:08 | 5.6 | 26.3 | 46.5 | 27.5 | 27.1 | 33 | 32.9 | 32.1 | 27.5 | 0 | 0.01 | -0.1 | -0.8
2007-11-09 16:09 | 5.6 | 26.3 | 45.6 | 27.4 | 27.1 | 33 | 33 | 32.1 | 27.5 | 0.001 | 0.01 | -0.1 | -1
2007-11-09 16:10 | 5.6 | 26.3 | 45 | 27.4 | 27.1 | 33 | 32.9 | 32.1 | 27.5 | 0.001 | 0.01 | -0.3 | -0.7
2007-11-09 16:11 | 5.6 | 26.3 | 46.4 | 27.4 | 27 | 33 | 33 | 32.1 | 27.5 | 0.001 | 0.01 | -0.3 | -0.8
2007-11-09 16:12 | 5.6 | 26.3 | 41.6 | 27.4 | 27.1 | 33 | 32.9 | 32.2 | 27.5 | 0 | 0.01 | -0.3 | -1
2007-11-09 16:13 | 5.6 | 26.3 | 41.4 | 27.4 | 27 | 33 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.4 | -0.8
2007-11-09 16:14 | 5.6 | 26.2 | 41.2 | 27.4 | 27 | 33 | 32.9 | 32.1 | 27.5 | 0.001 | 0.01 | -0.2 | -0.7
2007-11-09 16:15 | 5.6 | 26.3 | 40.1 | 27.4 | 27 | 33 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.3 | -1
2007-11-09 16:16 | 5.6 | 26.2 | 39.9 | 27.3 | 27 | 33 | 33 | 32.2 | 27.5 | 0 | 0.01 | -0.3 | -0.8
2007-11-09 16:17 | 5.6 | 26.2 | 39.7 | 27.3 | 27 | 33 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.1 | -0.8
2007-11-09 16:18 | 5.6 | 26.2 | 39 | 27.3 | 27 | 33 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.1 | -0.7
2007-11-09 16:19 | 5.6 | 26.2 | 38.7 | 27.3 | 27 | 33.1 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.2 | -0.7
2007-11-09 16:20 | 5.6 | 26.2 | 38.6 | 27.3 | 26.9 | 33.1 | 33 | 32.2 | 27.5 | 0.001 | 0.01 | -0.4 | -1
2007-11-09 16:21 | 5.6 | 26.2 | 38.6 | 27.2 | 26.9 | 33.1 | 33 | 32.2 | 27.5 | 0.001 | 0.009 | -0.3 | -0.8
2007-11-09 16:22 | 5.6 | 26.2 | 40.9 | 27.2 | 26.9 | 33.1 | 33 | 32.3 | 27.5 | 0.001 | 0.009 | -0.3 | -1
2007-11-09 16:23 | 5.6 | 26.2 | 41.9 | 27.2 | 26.9 | 33.1 | 33 | 32.3 | 27.5 | 0.001 | 0.01 | -0.2 | -0.5
2007-11-09 16:24 | 5.6 | 26.2 | 43.1 | 27.2 | 26.9 | 33.1 | 33 | 32.3 | 27.6 | 0 | 0.01 | -0.2 | -0.5
2007-11-09 16:25 | 5.6 | 26.2 | 44.1 | 27.2 | 26.9 | 33.1 | 33 | 32.3 | 27.5 | 0 | 0.009 | -0.3 | -0.8
2007-11-09 16:26 | 5.6 | 26.2 | 44.2 | 27.1 | 26.9 | 33.1 | 33 | 32.3 | 27.5 | 0.001 | 0.01 | -0.2 | -0.7
2007-11-09 16:27 | 5.6 | 26.2 | 44.2 | 27.1 | 26.8 | 33.1 | 33 | 32.3 | 27.5 | 0 | 0.009 | -0.1 | -0.5
2007-11-09 16:28 | 5.6 | 26.2 | 45.6 | 27.1 | 26.9 | 33.1 | 33 | 32.3 | 27.5 | 0 | 0.009 | -0.1 | -0.5
2007-11-09 16:29 | 5.6 | 26.2 | 44.9 | 27.1 | 26.8 | 33.1 | 33 | 32.4 | 27.5 | 0.001 | 0.009 | -0.4 | -0.8
2007-11-09 16:30 | 5.6 | 26.1 | 41.5 | 27.1 | 26.8 | 33.1 | 33 | 32.3 | 27.5 | 0 | 0.01 | -0.1 | -0.5
2007-11-09 16:31 | 5.6 | 26.2 | 40.7 | 27.1 | 26.8 | 33.1 | 33 | 32.3 | 27.5 | 0 | 0.009 | -0.2 | -0.5
2007-11-09 16:32 | 5.6 | 26.1 | 39.1 | 27.1 | 26.8 | 33.1 | 33 | 32.4 | 27.6 | 0 | 0.009 | -0.3 | -0.7
2007-11-09 16:33 | 5.6 | 26.2 | 38.4 | 27 | 26.8 | 33.1 | 33 | 32.4 | 27.5 | 0.001 | 0.009 | -0.1 | -0.5
2007-11-09 16:34 | 5.6 | 26.1 | 38.8 | 27.1 | 26.8 | 33.1 | 33 | 32.4 | 27.5 | 0.001 | 0.009 | -0.2 | -0.8
2007-11-09 16:35 | 5.6 | 26.2 | 38.9 | 27 | 26.8 | 33.1 | 33.1 | 32.4 | 27.5 | 0.001 | 0.009 | -0.1 | -1
2007-11-09 16:36 | 5.6 | 26.2 | 39.3 | 27 | 26.8 | 33.1 | 33.1 | 32.4 | 27.5 | 0.001 | 0.009 | -0.3 | -0.8
2007-11-09 16:37 | 5.6 | 26.1 | 39.2 | 27 | 26.8 | 33.1 | 33.1 | 32.4 | 27.5 | 0 | 0.009 | -0.4 | -0.8
2007-11-09 16:38 | 5.6 | 26.1 | 39.2 | 27 | 26.7 | 33.1 | 33.1 | 32.4 | 27.5 | 0.001 | 0.009 | -0.3 | -1
2007-11-09 16:39 | 5.6 | 26.1 | 38.9 | 27 | 26.7 | 33.1 | 33.1 | 32.4 | 27.5 | 0.001 | 0.009 | -0.2 | -0.8
2007-11-09 16:40 | 5.6 | 26.1 | 39.2 | 27 | 26.7 | 33.1 | 33.1 | 32.4 | 27.5 | 0.001 | 0.009 | -0.3 | -0.8
2007-11-09 16:41 | 5.6 | 26.1 | 39.3 | 26.9 | 26.7 | 33.1 | 33 | 32.4 | 27.5 | 0.001 | 0.009 | -0.4 | -0.7
2007-11-09 16:42 | 5.6 | 26.1 | 38.4 | 27 | 26.7 | 33.2 | 33.1 | 32.4 | 27.5 | 0 | 0.009 | -0.4 | -0.7
2007-11-09 16:43 | 5.6 | 26.1 | 38.1 | 27 | 26.7 | 33.1 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.3 | -0.7
2007-11-09 16:44 | 5.6 | 26.1 | 37.4 | 26.9 | 26.7 | 33.2 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.2 | -1
2007-11-09 16:45 | 5.6 | 26.1 | 37.1 | 26.9 | 26.7 | 33.1 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.4 | -0.5
2007-11-09 16:46 | 5.6 | 26.1 | 37.1 | 26.9 | 26.7 | 33.1 | 33.1 | 32.5 | 27.5 | 0 | 0.009 | -0.3 | -0.5
2007-11-09 16:47 | 5.6 | 26.1 | 36.5 | 26.8 | 26.7 | 33.2 | 33.1 | 32.5 | 27.5 | 0 | 0.009 | -0.2 | -1
2007-11-09 16:48 | 5.6 | 26 | 35.9 | 26.8 | 26.6 | 33.2 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.4 | -0.5
2007-11-09 16:49 | 5.6 | 26.1 | 36 | 26.8 | 26.7 | 33.2 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.1 | -0.8
2007-11-09 16:50 | 5.6 | 26.1 | 36.3 | 26.8 | 26.7 | 33.2 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.3 | -1
2007-11-09 16:51 | 5.6 | 26.1 | 36.3 | 26.8 | 26.6 | 33.2 | 33.1 | 32.5 | 27.5 | 0 | 0.009 | -0.4 | -1
2007-11-09 16:52 | 5.6 | 26 | 35.9 | 26.8 | 26.6 | 33.2 | 33.1 | 32.5 | 27.5 | 0.001 | 0.009 | -0.2 | -0.5
2007-11-09 16:58 | 4 | 26 | 36.8 | 27 | 26.6 | 33.2 | 33.1 | 32.6 | 27.5 | 0.001 | 0.009 | 19.7 | 22.5
2007-11-09 16:59 | 1.2 | 26 | 40.9 | 27.6 | 26.8 | 33.2 | 33.2 | 32.6 | 27.5 | 0.001 | 0.009 | 1.3 | -0.4
2007-11-09 17:03 | 4.2 | 26 | 40.7 | 27.7 | 26.9 | 33.2 | 33 | 32.3 | 27.1 | 0 | 0.009 | 26.2 | 31.9
2007-11-09 17:04 | 5.3 | 26.1 | 40.1 | 27.6 | 26.9 | 33.1 | 33.1 | 32 | 27.5 | 0.001 | 0.011 | 0.6 | -0.1
2007-11-09 17:05 | 5.3 | 26.2 | 39.7 | 27.6 | 26.9 | 33.1 | 33.1 | 31.9 | 27.5 | 0.001 | 0.01 | 1 | 0.2