## Data
Log File Data
************************
2007-11-10 09:34 | MERIT Configuration Data
Test Description: 16002 10TP 4Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071110 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
100 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
200 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
300 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.817
400 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.514
500 | 0 | 0 | -14.927 | 0 | 0 | 0.879 | -0.817
600 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.514
700 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
800 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | -0.363
900 | 0 | 0 | -14.927 | 0 | 0 | 0.576 | -0.817
1000 | 0 | 0 | -14.927 | 0 | 0 | 0.728 | -0.666
1100 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.514
1200 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.514
1300 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.666
1400 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.817
1500 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
1600 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.363
1700 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.666
1800 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
1900 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.817
2000 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.06
2100 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.666
2200 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | -0.514
2300 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | -0.363
2400 | 0 | 0 | -14.943 | 0 | 0 | 0.576 | -0.666
2500 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
2600 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.817
2700 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.514
2800 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.817
2900 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.514
3000 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
3100 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
3200 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
3300 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.817
3400 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.817
3500 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.363
3600 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.666
3700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.666
3800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.363
3900 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.969
4000 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.817
4100 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.363
4200 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.666
4300 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
4400 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.969
4500 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.514
4600 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.514
4700 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.06
4800 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.243
4900 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.514
5000 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.817
5100 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.514
5200 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | -0.666
5300 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.363
5400 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
5500 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.514
5600 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.969
5700 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.817
5800 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.514
5900 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | -0.666
6000 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
6100 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.666
6200 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.514
6300 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.514
6400 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.363
6500 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | 0.092
6600 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.514
6700 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.817
6800 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.817
6900 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.666
7000 | 0 | 0 | -14.96 | 0 | 0 | 0.728 | -0.817
7100 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.666
7200 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.514
7300 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.969
7400 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.817
7500 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.817
7600 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.514
7700 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.06
7800 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.514
7900 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.817
8000 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.666
8100 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.06
8200 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.092
8300 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.514
8400 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.514
8500 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
8600 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.363
8700 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.817
8800 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.514
8900 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.514
9000 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
9100 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.514
9200 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.969
9300 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.06
9400 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | -0.817
9500 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.06
9600 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
9700 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.514
9800 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.969
9900 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.817
10000 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.363
10100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
10200 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.817
10300 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.817
10400 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.817
10500 | 0.04 | 0.04 | -14.977 | 0 | 196.271 | 0.955 | -0.514
10600 | 0.081 | 0.081 | -14.977 | 0 | 196.195 | 1.182 | -0.514
10700 | 0.121 | 0.133 | -14.977 | 0 | 196.12 | 0.804 | -0.514
10800 | 0.161 | 0.189 | -14.977 | 0 | 196.271 | 0.728 | -0.666
10900 | 0.202 | 0.233 | -14.96 | 0 | 195.968 | 0.576 | 0.092
11000 | 0.242 | 0.314 | -14.977 | 104 | 196.271 | 0.349 | 0.092
11100 | 0.282 | 0.383 | -14.977 | -104 | 196.044 | 0.728 | 0.092
11200 | 0.323 | 0.439 | -14.96 | 0 | 196.347 | 0.576 | 0.698
11300 | 0.363 | 0.515 | -14.96 | 104 | 195.892 | 0.576 | 0.546
11400 | 0.403 | 0.613 | -14.977 | 0 | 195.362 | 0.728 | 0.243
11500 | 0.443 | 0.697 | -14.977 | -104 | 196.044 | 0.804 | 1.001
11600 | 0.484 | 0.769 | -14.96 | 0 | 195.817 | 1.334 | 1.759
11700 | 0.524 | 0.863 | -14.96 | 104 | 196.347 | 2.47 | 3.274
11800 | 0.564 | 0.942 | -14.943 | 0 | 195.362 | 3.076 | 7.062
11900 | 0.605 | 0.992 | -14.893 | 103.988 | 195.741 | 5.652 | 10.547
12000 | 0.645 | 1.03 | -14.826 | 311.971 | 195.817 | 10.198 | 16.456
12100 | 0.685 | 1.038 | -14.725 | 415.965 | 196.044 | 16.486 | 25.396
12200 | 0.726 | 1.051 | -14.625 | 623.948 | 196.044 | 24.593 | 35.094
12300 | 0.766 | 1.084 | -14.541 | 623.93 | 195.817 | 32.397 | 44.792
12400 | 0.806 | 1.071 | -14.407 | 519.96 | 195.817 | 41.185 | 56.914
12500 | 0.847 | 1.095 | -14.306 | 831.925 | 196.12 | 48.458 | 65.854
12600 | 0.887 | 1.106 | -14.189 | 623.948 | 195.817 | 55.05 | 73.278
12700 | 0.927 | 1.123 | -14.071 | 727.931 | 195.741 | 61.186 | 81.006
12800 | 0.968 | 1.125 | -13.937 | 727.936 | 195.892 | 65.505 | 87.825
12900 | 1.008 | 1.132 | -13.803 | 831.925 | 195.741 | 70.126 | 93.128
13000 | 1.048 | 1.143 | -13.669 | 831.925 | 196.271 | 74.445 | 97.523
13100 | 1.089 | 1.175 | -13.552 | 831.925 | 195.968 | 77.4 | 101.462
13200 | 1.129 | 1.161 | -13.384 | 727.936 | 196.347 | 80.43 | 105.25
13300 | 1.169 | 1.183 | -13.25 | 1039.913 | 195.589 | 82.021 | 108.281
13400 | 1.209 | 1.21 | -13.116 | 831.925 | 195.968 | 84.067 | 110.099
13500 | 1.25 | 1.208 | -12.948 | 831.925 | 195.892 | 85.279 | 113.736
13600 | 1.29 | 1.277 | -12.847 | 1039.902 | 195.817 | 83.158 | 118.433
13700 | 1.33 | 1.3 | -12.696 | 623.948 | 195.438 | 82.476 | 122.07
13800 | 1.371 | 1.309 | -12.529 | 935.925 | 195.817 | 83.764 | 125.252
13900 | 1.411 | 1.322 | -12.361 | 1039.902 | 196.195 | 84.824 | 127.676
14000 | 1.451 | 1.34 | -12.193 | 1039.902 | 195.741 | 85.506 | 129.797
14100 | 1.492 | 1.294 | -11.957 | 1039.913 | 195.968 | 86.491 | 131.464
14200 | 1.532 | 1.338 | -11.806 | 1462.372 | 196.044 | 87.779 | 132.07
14300 | 1.572 | 1.366 | -11.639 | 935.913 | 196.12 | 88.309 | 132.07
14400 | 1.613 | 1.4 | -11.471 | 1039.902 | 195.665 | 87.097 | 134.646
14500 | 1.653 | 1.405 | -11.27 | 1039.913 | 196.347 | 87.097 | 136.01
14600 | 1.693 | 1.379 | -11.035 | 1247.89 | 195.968 | 87.476 | 137.677
14700 | 1.734 | 1.427 | -10.867 | 1455.873 | 195.968 | 88.537 | 137.828
14800 | 1.774 | 1.425 | -10.649 | 1039.902 | 196.498 | 88.309 | 138.283
14900 | 1.814 | 1.429 | -10.431 | 1351.885 | 195.892 | 88.082 | 139.192
15000 | 1.855 | 1.47 | -10.247 | 1351.879 | 195.362 | 88.612 | 139.647
15100 | 1.895 | 1.465 | -10.012 | 1143.89 | 196.271 | 87.097 | 141.162
15200 | 1.935 | 1.466 | -9.777 | 1455.873 | 196.12 | 87.855 | 141.919
15300 | 1.975 | 1.501 | -9.576 | 1455.873 | 196.271 | 88.309 | 141.616
15400 | 2.016 | 1.525 | -9.358 | 1247.89 | 195.968 | 88.006 | 142.677
15500 | 2.056 | 1.536 | -9.123 | 1351.879 | 196.271 | 87.097 | 143.283
15600 | 2.096 | 1.534 | -8.872 | 1455.867 | 195.968 | 86.946 | 145.253
15700 | 2.137 | 1.539 | -8.62 | 1559.861 | 195.665 | 86.946 | 145.405
15800 | 2.177 | 1.593 | -8.419 | 1559.867 | 195.589 | 87.097 | 146.314
15900 | 2.217 | 1.587 | -8.151 | 1247.884 | 195.286 | 86.036 | 146.617
16000 | 2.258 | 1.618 | -7.916 | 1663.85 | 195.438 | 85.127 | 148.435
16100 | 2.298 | 1.619 | -7.647 | 1455.87 | 196.347 | 85.279 | 149.344
16200 | 2.338 | 1.661 | -7.412 | 1670.355 | 195.817 | 84.749 | 150.102
16300 | 2.379 | 1.652 | -7.127 | 1455.87 | 195.892 | 83.082 | 151.465
16400 | 2.419 | 1.682 | -6.875 | 1767.844 | 196.271 | 83.536 | 152.223
16500 | 2.419 | 1.656 | -6.607 | 1559.858 | 195.817 | 83.082 | 152.072
16600 | 2.419 | 1.629 | -6.338 | 1663.85 | 195.968 | 83.688 | 153.284
16700 | 2.419 | 1.605 | -6.07 | 1663.853 | 196.12 | 84.824 | 152.072
16800 | 2.419 | 1.543 | -5.768 | 1663.85 | 195.968 | 85.506 | 151.465
16900 | 2.419 | 1.567 | -5.55 | 1871.832 | 196.271 | 87.097 | 149.496
17000 | 2.419 | 1.557 | -5.299 | 1351.882 | 196.044 | 87.855 | 148.587
17100 | 2.419 | 1.548 | -5.047 | 1559.861 | 196.044 | 86.946 | 148.132
17200 | 2.419 | 1.524 | -4.779 | 1559.858 | 195.817 | 87.173 | 147.98
17300 | 2.419 | 1.528 | -4.544 | 1663.856 | 196.271 | 88.158 | 147.071
17400 | 2.419 | 1.569 | -4.343 | 1455.87 | 195.665 | 87.779 | 146.768
17500 | 2.419 | 1.559 | -4.091 | 1247.887 | 195.589 | 86.34 | 146.92
17600 | 2.419 | 1.566 | -3.857 | 1559.864 | 196.574 | 86.264 | 148.283
17700 | 2.419 | 1.559 | -3.605 | 1455.866 | 196.801 | 86.491 | 147.677
17800 | 2.419 | 1.546 | -3.352 | 1559.866 | 197.104 | 86.188 | 148.132
17900 | 2.419 | 1.536 | -3.101 | 1566.359 | 196.574 | 87.097 | 148.132
18000 | 2.419 | 1.56 | -2.883 | 1559.86 | 197.256 | 87.4 | 147.374
18100 | 2.419 | 1.551 | -2.631 | 1351.882 | 196.574 | 86.491 | 147.526
18200 | 2.298 | 1.422 | -2.38 | 1559.86 | 197.104 | 86.567 | 147.677
18300 | 2.177 | 1.294 | -2.145 | 1559.86 | 197.104 | 91.946 | 144.95
18400 | 2.056 | 1.19 | -1.944 | 1455.87 | 196.65 | 94.598 | 141.768
18500 | 1.935 | 1.107 | -1.776 | 1247.89 | 196.347 | 95.81 | 137.828
18600 | 1.814 | 1.012 | -1.608 | 1039.908 | 196.574 | 96.189 | 133.282
18700 | 1.693 | 0.94 | -1.474 | 1039.906 | 197.332 | 94.901 | 129.343
18800 | 1.572 | 0.869 | -1.357 | 831.927 | 196.726 | 93.31 | 124.191
18900 | 1.451 | 0.821 | -1.273 | 727.935 | 196.423 | 90.961 | 119.948
19000 | 1.33 | 0.745 | -1.172 | 519.955 | 196.801 | 88.006 | 114.645
19100 | 1.209 | 0.69 | -1.105 | 623.943 | 197.029 | 85.355 | 110.251
19200 | 1.089 | 0.641 | -1.055 | 415.962 | 196.65 | 81.415 | 105.25
19300 | 0.968 | 0.577 | -1.005 | 311.973 | 196.726 | 77.703 | 99.492
19400 | 0.847 | 0.52 | -0.971 | 311.973 | 197.104 | 73.839 | 94.037
19500 | 0.726 | 0.45 | -0.938 | 207.981 | 196.801 | 68.763 | 88.431
19600 | 0.605 | 0.368 | -0.904 | 207.981 | 197.18 | 64.444 | 82.522
19700 | 0.484 | 0.308 | -0.904 | 207.981 | 196.953 | 61.641 | 78.582
19800 | 0.363 | 0.201 | -0.87 | 0 | 197.029 | 58.004 | 74.036
19900 | 0.242 | 0.117 | -0.87 | 207.981 | 197.18 | 55.05 | 70.248
20000 | 0.121 | 0.003 | -0.854 | 0 | 196.726 | 52.852 | 66.763