## Data
Log File Data
************************
2007-11-10 09:49 | MERIT Configuration Data
Test Description: 16003 12TP 4Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071110 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | 0.395
100 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | 0.395
200 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.395
300 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.546
400 | 0 | 0 | -14.809 | 0 | 0 | 0.955 | 0.698
500 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.243
600 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.395
700 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.395
800 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | 0.698
900 | 0 | 0 | -14.809 | 0 | 0 | 0.955 | 0.698
1000 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.395
1100 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | -0.06
1200 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.243
1300 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.395
1400 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.546
1500 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.698
1600 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.395
1700 | 0 | 0 | -14.826 | 0 | 0 | 0.879 | 0.698
1800 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | 0.243
1900 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.243
2000 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.395
2100 | 0 | 0 | -14.826 | 0 | 0 | 0.879 | 0.243
2200 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.243
2300 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.06
2400 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | 0.546
2500 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | 0.243
2600 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | 0.546
2700 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.243
2800 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.698
2900 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.698
3000 | 0 | 0 | -14.843 | 0 | 0 | 0.804 | 0.243
3100 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
3200 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | -0.363
3300 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | 0.698
3400 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | 0.546
3500 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.395
3600 | 0 | 0 | -14.86 | 0 | 0 | 0.879 | 0.243
3700 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | -0.363
3800 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.363
3900 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
4000 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | 0.698
4100 | 0 | 0 | -14.86 | 0 | 0 | 0.804 | 0.395
4200 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.243
4300 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.092
4400 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.243
4500 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | 0.546
4600 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | 0.395
4700 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | 0.243
4800 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | -0.363
4900 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | 0.395
5000 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | 0.546
5100 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | 0.698
5200 | 0 | 0 | -14.86 | 0 | 0 | 0.804 | 0.243
5300 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.243
5400 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | -0.06
5500 | 0 | 0 | -14.86 | 0 | 0 | 0.804 | 0.395
5600 | 0 | 0 | -14.876 | 0 | 0 | 0.728 | 0.698
5700 | 0 | 0 | -14.86 | 0 | 0 | 0.804 | 0.849
5800 | 0 | 0 | -14.86 | 0 | 0 | 0.879 | 0.243
5900 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.243
6000 | 0 | 0 | -14.876 | 0 | 0 | 0.728 | 0.395
6100 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | 0.243
6200 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | 0.849
6300 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.092
6400 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.395
6500 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.243
6600 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.698
6700 | 0 | 0 | -14.876 | 0 | 0 | 0.728 | 0.395
6800 | 0 | 0 | -14.876 | 0 | 0 | 0.804 | 0.849
6900 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.395
7000 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.243
7100 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.243
7200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.243
7300 | 0 | 0 | -14.876 | 0 | 0 | 0.804 | 0.395
7400 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
7500 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | 0.395
7600 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.546
7700 | 0 | 0 | -14.893 | 0 | 0 | 0.804 | 0.395
7800 | 0 | 0 | -14.893 | 0 | 0 | 0.728 | 0.395
7900 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.395
8000 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.243
8100 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
8200 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | 0.092
8300 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.698
8400 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.849
8500 | 0 | 0 | -14.876 | 0 | 0 | 0.879 | 0.243
8600 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.243
8700 | 0 | 0 | -14.893 | 0 | 0 | 0.576 | 0.243
8800 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.698
8900 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | 0.849
9000 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.395
9100 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.092
9200 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | 0.395
9300 | 0 | 0 | -14.893 | 0 | 0 | 0.804 | 0.546
9400 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | 0.395
9500 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.243
9600 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | -0.363
9700 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.546
9800 | 0 | 0 | -14.91 | 0 | 0 | 0.804 | 0.092
9900 | 0 | 0 | -14.91 | 0 | 0 | 0.728 | 0.395
10000 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.546
10100 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.849
10200 | 0 | 0 | -14.91 | 0 | 0 | 0.804 | 0.243
10300 | 0 | 0 | -14.893 | 0 | 0 | 0.879 | 0.092
10400 | 0 | 0 | -14.893 | 0 | 0 | 0.728 | -0.363
10500 | 0.04 | 0.04 | -14.91 | 0 | 197.18 | 0.728 | 0.243
10600 | 0.081 | 0.081 | -14.91 | 0 | 197.256 | 1.182 | 0.546
10700 | 0.121 | 0.133 | -14.91 | 0 | 196.726 | 0.728 | -0.06
10800 | 0.161 | 0.19 | -14.91 | 0 | 196.801 | 1.031 | 0.698
10900 | 0.202 | 0.25 | -14.91 | 0 | 197.104 | 0.879 | 0.243
11000 | 0.242 | 0.314 | -14.91 | 0 | 196.65 | 0.728 | 0.243
11100 | 0.282 | 0.383 | -14.91 | 0 | 197.029 | 0.5 | 0.395
11200 | 0.323 | 0.456 | -14.91 | 0 | 197.407 | 0.349 | 0.849
11300 | 0.363 | 0.532 | -14.91 | 0 | 196.953 | 0.5 | 1.001
11400 | 0.403 | 0.613 | -14.91 | 0 | 197.029 | 0.425 | 1.001
11500 | 0.443 | 0.697 | -14.91 | 0 | 196.726 | 0.728 | 2.213
11600 | 0.484 | 0.786 | -14.91 | 0 | 196.726 | 0.955 | 3.425
11700 | 0.524 | 0.845 | -14.876 | 0 | 197.256 | 1.788 | 5.547
11800 | 0.564 | 0.909 | -14.843 | 207.983 | 196.953 | 3.379 | 8.123
11900 | 0.605 | 0.942 | -14.776 | 207.989 | 197.559 | 6.031 | 12.365
12000 | 0.645 | 0.98 | -14.709 | 415.954 | 197.635 | 10.653 | 17.82
12100 | 0.685 | 1.022 | -14.642 | 415.971 | 197.18 | 15.88 | 24.639
12200 | 0.726 | 1.034 | -14.541 | 415.954 | 197.18 | 24.214 | 35.094
12300 | 0.766 | 1.051 | -14.44 | 623.948 | 197.559 | 31.79 | 44.792
12400 | 0.806 | 1.087 | -14.357 | 623.948 | 197.786 | 39.064 | 54.035
12500 | 0.847 | 1.078 | -14.222 | 519.954 | 196.801 | 47.549 | 64.338
12600 | 0.887 | 1.09 | -14.105 | 831.925 | 197.256 | 54.216 | 73.733
12700 | 0.927 | 1.089 | -13.971 | 727.936 | 196.953 | 60.429 | 80.4
12800 | 0.968 | 1.109 | -13.853 | 831.925 | 197.559 | 65.353 | 87.067
12900 | 1.008 | 1.132 | -13.736 | 727.936 | 196.801 | 69.369 | 92.522
13000 | 1.048 | 1.143 | -13.602 | 727.936 | 196.726 | 73.46 | 96.613
13100 | 1.089 | 1.158 | -13.468 | 831.919 | 196.877 | 74.521 | 103.28
13200 | 1.129 | 1.227 | -13.384 | 831.925 | 196.953 | 74.596 | 108.887
13300 | 1.169 | 1.201 | -13.199 | 519.96 | 197.332 | 77.021 | 113.887
13400 | 1.209 | 1.21 | -13.048 | 1143.89 | 197.332 | 79.597 | 117.372
13500 | 1.25 | 1.225 | -12.898 | 935.925 | 197.635 | 82.248 | 119.797
13600 | 1.29 | 1.277 | -12.78 | 935.913 | 197.256 | 83.764 | 121.464
13700 | 1.33 | 1.266 | -12.596 | 727.936 | 197.635 | 84.294 | 123.888
13800 | 1.371 | 1.31 | -12.462 | 1143.89 | 196.953 | 85.127 | 126.312
13900 | 1.411 | 1.272 | -12.244 | 831.937 | 197.18 | 85.506 | 128.434
14000 | 1.451 | 1.306 | -12.092 | 1351.873 | 196.65 | 86.946 | 129.949
14100 | 1.492 | 1.311 | -11.907 | 942.424 | 197.18 | 88.082 | 130.1
14200 | 1.532 | 1.32 | -11.723 | 1143.89 | 196.65 | 87.855 | 131.919
14300 | 1.572 | 1.368 | -11.572 | 1143.902 | 197.786 | 88.006 | 132.828
14400 | 1.613 | 1.367 | -11.37 | 935.913 | 197.407 | 87.855 | 133.586
14500 | 1.653 | 1.354 | -11.152 | 1247.896 | 197.407 | 88.082 | 135.404
14600 | 1.693 | 1.396 | -10.985 | 1351.879 | 197.104 | 88.764 | 136.01
14700 | 1.734 | 1.425 | -10.8 | 1039.902 | 197.786 | 88.082 | 137.071
14800 | 1.774 | 1.427 | -10.582 | 1143.908 | 197.18 | 88.006 | 138.283
14900 | 1.814 | 1.462 | -10.398 | 1351.867 | 196.877 | 88.082 | 139.495
15000 | 1.855 | 1.437 | -10.146 | 1143.902 | 197.559 | 87.855 | 141.01
15100 | 1.895 | 1.465 | -9.945 | 1559.861 | 196.953 | 88.537 | 141.313
15200 | 1.935 | 1.447 | -9.693 | 1247.89 | 197.256 | 88.688 | 141.313
15300 | 1.975 | 1.503 | -9.509 | 1559.861 | 197.18 | 88.84 | 141.919
15400 | 2.016 | 1.525 | -9.291 | 1143.896 | 197.104 | 88.158 | 142.222
15500 | 2.056 | 1.519 | -9.039 | 1351.879 | 197.029 | 86.794 | 144.647
15600 | 2.096 | 1.568 | -8.838 | 1559.867 | 197.256 | 86.718 | 145.253
15700 | 2.137 | 1.537 | -8.553 | 1247.884 | 197.18 | 86.112 | 146.617
15800 | 2.177 | 1.596 | -8.352 | 1767.844 | 197.18 | 86.112 | 146.92
15900 | 2.217 | 1.57 | -8.067 | 1247.884 | 197.862 | 84.9 | 147.829
16000 | 2.258 | 1.584 | -7.814 | 1767.844 | 197.407 | 85.43 | 148.435
16100 | 2.298 | 1.636 | -7.596 | 1566.361 | 197.332 | 85.733 | 148.283
16200 | 2.338 | 1.625 | -7.311 | 1351.882 | 196.726 | 84.445 | 149.647
16300 | 2.379 | 1.671 | -7.076 | 1767.844 | 197.18 | 84.218 | 150.556
16400 | 2.419 | 1.699 | -6.825 | 1455.864 | 196.726 | 83.309 | 151.769
16500 | 2.419 | 1.622 | -6.506 | 1559.867 | 197.18 | 82.248 | 152.981
16600 | 2.419 | 1.629 | -6.271 | 1975.821 | 197.18 | 83.309 | 153.89
16700 | 2.419 | 1.586 | -5.986 | 1455.87 | 197.559 | 85.506 | 151.769
16800 | 2.419 | 1.562 | -5.718 | 1767.844 | 196.574 | 86.188 | 151.465
16900 | 2.419 | 1.55 | -5.466 | 1663.85 | 197.256 | 86.946 | 149.344
17000 | 2.419 | 1.557 | -5.232 | 1559.861 | 197.104 | 87.476 | 148.89
17100 | 2.419 | 1.531 | -4.963 | 1455.87 | 196.574 | 87.097 | 148.435
17200 | 2.419 | 1.538 | -4.729 | 1663.853 | 197.407 | 87.931 | 147.98
17300 | 2.419 | 1.531 | -4.477 | 1455.873 | 197.332 | 87.627 | 147.374
17400 | 2.419 | 1.535 | -4.242 | 1559.858 | 196.726 | 87.552 | 147.526
17500 | 2.419 | 1.559 | -4.024 | 1455.87 | 196.726 | 87.173 | 147.526
17600 | 2.419 | 1.583 | -3.806 | 1351.882 | 197.559 | 86.491 | 147.223
17700 | 2.419 | 1.539 | -3.52 | 1351.877 | 197.559 | 85.582 | 148.132
17800 | 2.419 | 1.548 | -3.285 | 1774.342 | 196.801 | 86.415 | 147.98
17900 | 2.419 | 1.536 | -3.034 | 1455.871 | 197.18 | 87.173 | 147.526
18000 | 2.419 | 1.543 | -2.799 | 1559.86 | 197.18 | 87.173 | 147.677
18100 | 2.298 | 1.396 | -2.531 | 1455.87 | 197.18 | 86.946 | 147.526
18200 | 2.177 | 1.32 | -2.346 | 1663.851 | 197.635 | 91.188 | 144.798
18300 | 2.056 | 1.201 | -2.128 | 1143.9 | 197.256 | 93.84 | 142.374
18400 | 1.935 | 1.066 | -1.91 | 1351.879 | 197.71 | 97.098 | 136.616
18500 | 1.814 | 1.004 | -1.776 | 1351.879 | 197.407 | 98.159 | 131.616
18600 | 1.693 | 0.948 | -1.659 | 831.927 | 197.029 | 96.416 | 129.04
18700 | 1.572 | 0.862 | -1.524 | 727.936 | 197.786 | 93.992 | 123.282
18800 | 1.451 | 0.816 | -1.441 | 831.924 | 197.407 | 91.34 | 119.797
18900 | 1.33 | 0.755 | -1.357 | 519.955 | 197.256 | 88.688 | 114.493
19000 | 1.209 | 0.7 | -1.29 | 519.954 | 197.18 | 85.203 | 109.948
19100 | 1.089 | 0.633 | -1.223 | 415.962 | 197.029 | 81.491 | 104.796
19200 | 0.968 | 0.587 | -1.189 | 415.962 | 197.18 | 78.612 | 99.947
19300 | 0.847 | 0.497 | -1.122 | 207.981 | 197.407 | 73.763 | 93.734
19400 | 0.726 | 0.443 | -1.105 | 415.965 | 197.256 | 69.444 | 88.431
19500 | 0.605 | 0.361 | -1.072 | 103.989 | 197.256 | 65.581 | 83.128
19600 | 0.484 | 0.284 | -1.055 | 207.981 | 197.862 | 62.474 | 78.43
19700 | 0.363 | 0.194 | -1.038 | 103.992 | 196.953 | 58.61 | 74.188
19800 | 0.242 | 0.11 | -1.038 | 103.989 | 197.407 | 56.262 | 70.248
19900 | 0.121 | 0 | -1.021 | 0 | 196.953 | 53.61 | 67.369
20000 | 0.121 | 0.003 | -0.854 | 0 | 196.726 | 52.852 | 66.763