## Data
Log File Data
************************
2007-11-11 11:34 | MERIT Configuration Data
Test Description: 17004 6TP 16Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.675 | 0 | 0 | 1.031 | -0.363
100 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | -0.363
200 | 0 | 0 | -14.658 | 0 | 0 | 1.334 | 0.092
300 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.092
400 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | 0.092
500 | 0 | 0 | -14.658 | 0 | 0 | 1.107 | -0.363
600 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | -0.06
700 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | -0.06
800 | 0 | 0 | -14.675 | 0 | 0 | 1.182 | -0.06
900 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | -0.363
1000 | 0 | 0 | -14.675 | 0 | 0 | 1.182 | -0.666
1100 | 0 | 0 | -14.675 | 0 | 0 | 1.107 | -0.363
1200 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | -0.363
1300 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | -0.06
1400 | 0 | 0 | -14.675 | 0 | 0 | 1.107 | 0.243
1500 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.092
1600 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | -0.363
1700 | 0 | 0 | -14.675 | 0 | 0 | 1.182 | -0.06
1800 | 0 | 0 | -14.675 | 0 | 0 | 1.031 | -0.363
1900 | 0 | 0 | -14.675 | 0 | 0 | 1.41 | -0.363
2000 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | -0.514
2100 | 0 | 0 | -14.675 | 0 | 0 | 1.182 | 0.092
2200 | 0 | 0 | -14.692 | 0 | 0 | 0.955 | -0.06
2300 | 0 | 0 | -14.675 | 0 | 0 | 0.955 | 0.092
2400 | 0 | 0 | -14.675 | 0 | 0 | 1.031 | -0.363
2500 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.363
2600 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | -0.363
2700 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 0.243
2800 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | 0.243
2900 | 0 | 0 | -14.675 | 0 | 0 | 1.334 | -0.363
3000 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.06
3100 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | -0.363
3200 | 0 | 0 | -14.692 | 0 | 0 | 1.031 | 0.092
3300 | 0 | 0 | -14.692 | 0 | 0 | 1.182 | 0.092
3400 | 0 | 0 | -14.692 | 0 | 0 | 1.031 | -0.06
3500 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.363
3600 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.06
3700 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.363
3800 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | -0.06
3900 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.514
4000 | 0 | 0 | -14.692 | 0 | 0 | 1.182 | -0.363
4100 | 0 | 0 | -14.692 | 0 | 0 | 1.031 | 0.092
4200 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | -0.06
4300 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.06
4400 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.363
4500 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | -0.514
4600 | 0 | 0 | -14.709 | 0 | 0 | 0.955 | 0.243
4700 | 0 | 0 | -14.709 | 0 | 0 | 1.031 | 0.092
4800 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | -0.514
4900 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | -0.363
5000 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | -0.363
5100 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.363
5200 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.06
5300 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.06
5400 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.06
5500 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.666
5600 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
5700 | 0 | 0 | -14.709 | 0 | 0 | 0.955 | -0.514
5800 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.514
5900 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.06
6000 | 0 | 0 | -14.709 | 0 | 0 | 1.107 | -0.06
6100 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.092
6200 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
6300 | 0 | 0 | -14.709 | 0 | 0 | 1.107 | -0.06
6400 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
6500 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.363
6600 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.243
6700 | 0 | 0 | -14.709 | 0 | 0 | 0.955 | -0.06
6800 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.243
6900 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.363
7000 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
7100 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.666
7200 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.092
7300 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
7400 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | -0.363
7500 | 0 | 0 | -14.725 | 0 | 0 | 1.031 | 0.092
7600 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.092
7700 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.06
7800 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.666
7900 | 0 | 0 | -14.725 | 0 | 0 | 0.879 | -0.363
8000 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | -0.06
8100 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | 0.092
8200 | 0 | 0 | -14.725 | 0 | 0 | 1.031 | -0.06
8300 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | -0.363
8400 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | -0.666
8500 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
8600 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.666
8700 | 0 | 0 | -14.725 | 0 | 0 | 1.031 | -0.06
8800 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
8900 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.363
9000 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | -0.363
9100 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.363
9200 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
9300 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.363
9400 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.514
9500 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
9600 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.06
9700 | 0 | 0 | -14.742 | 0 | 0 | 0.955 | -0.514
9800 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
9900 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.395
10000 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
10100 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.06
10200 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.666
10300 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.514
10400 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
10500 | 0.04 | 0.04 | -14.742 | 0 | 201.578 | 1.334 | 0.092
10600 | 0.081 | 0.081 | -14.742 | 0 | 201.73 | 1.182 | 0.395
10700 | 0.121 | 0.133 | -14.742 | 0 | 201.502 | 1.182 | 0.243
10800 | 0.161 | 0.189 | -14.742 | 0 | 201.275 | 1.258 | 0.092
10900 | 0.202 | 0.25 | -14.742 | 0 | 201.275 | 1.258 | 0.243
11000 | 0.242 | 0.314 | -14.742 | 0 | 201.881 | 0.955 | 0.092
11100 | 0.282 | 0.383 | -14.742 | 0 | 201.881 | 0.576 | 0.546
11200 | 0.323 | 0.456 | -14.742 | 0 | 201.881 | 0.955 | 0.849
11300 | 0.363 | 0.532 | -14.742 | 0 | 202.033 | 0.576 | 1.001
11400 | 0.403 | 0.613 | -14.742 | 0 | 201.957 | 0.879 | 1.304
11500 | 0.443 | 0.681 | -14.725 | 0 | 201.654 | 0.879 | 1.455
11600 | 0.484 | 0.786 | -14.742 | 104 | 201.654 | 1.637 | 2.062
11700 | 0.524 | 0.863 | -14.725 | -104 | 201.275 | 2.773 | 4.183
11800 | 0.564 | 0.959 | -14.725 | 104 | 201.578 | 4.364 | 6.304
11900 | 0.605 | 1.043 | -14.709 | 0 | 201.502 | 6.258 | 12.214
12000 | 0.645 | 1.064 | -14.625 | 103.988 | 202.033 | 11.865 | 19.487
12100 | 0.685 | 1.089 | -14.541 | 519.942 | 201.275 | 20.502 | 28.73
12200 | 0.726 | 1.068 | -14.407 | 519.96 | 201.73 | 30.957 | 42.064
12300 | 0.766 | 1.084 | -14.306 | 831.925 | 202.033 | 39.442 | 53.277
12400 | 0.806 | 1.104 | -14.206 | 623.948 | 201.881 | 47.094 | 63.278
12500 | 0.847 | 1.095 | -14.071 | 623.942 | 201.805 | 54.974 | 73.127
12600 | 0.887 | 1.09 | -13.937 | 831.925 | 201.124 | 60.883 | 80.097
12700 | 0.927 | 1.106 | -13.82 | 831.925 | 201.124 | 66.338 | 86.613
12800 | 0.968 | 1.125 | -13.703 | 727.936 | 201.048 | 69.52 | 91.765
12900 | 1.008 | 1.166 | -13.602 | 727.936 | 201.351 | 73.687 | 95.704
13000 | 1.048 | 1.16 | -13.451 | 623.942 | 202.033 | 76.415 | 101.008
13100 | 1.089 | 1.158 | -13.3 | 935.919 | 201.124 | 80.279 | 105.25
13200 | 1.129 | 1.145 | -13.132 | 935.919 | 201.275 | 82.93 | 108.281
13300 | 1.169 | 1.183 | -13.015 | 1039.908 | 202.26 | 84.445 | 109.948
13400 | 1.209 | 1.194 | -12.864 | 727.931 | 201.427 | 86.188 | 111.614
13500 | 1.25 | 1.208 | -12.713 | 935.919 | 201.654 | 87.249 | 113.887
13600 | 1.29 | 1.226 | -12.562 | 935.913 | 201.654 | 88.082 | 116.615
13700 | 1.33 | 1.267 | -12.428 | 935.925 | 201.957 | 85.582 | 120.403
13800 | 1.371 | 1.275 | -12.26 | 831.919 | 201.578 | 84.521 | 124.646
13900 | 1.411 | 1.305 | -12.108 | 1039.908 | 201.654 | 85.582 | 126.767
14000 | 1.451 | 1.289 | -11.907 | 942.424 | 202.184 | 86.188 | 128.585
14100 | 1.492 | 1.327 | -11.756 | 1247.878 | 202.26 | 86.718 | 130.252
14200 | 1.532 | 1.338 | -11.572 | 935.913 | 201.275 | 86.946 | 132.07
14300 | 1.572 | 1.349 | -11.387 | 1143.902 | 201.578 | 87.476 | 133.131
14400 | 1.613 | 1.35 | -11.186 | 1143.908 | 201.427 | 87.324 | 134.949
14500 | 1.653 | 1.371 | -11.002 | 1247.878 | 201.275 | 88.082 | 135.252
14600 | 1.693 | 1.396 | -10.817 | 1143.902 | 201.957 | 88.537 | 136.768
14700 | 1.734 | 1.41 | -10.616 | 1143.896 | 201.578 | 88.309 | 137.071
14800 | 1.774 | 1.408 | -10.398 | 1247.89 | 201.578 | 88.764 | 138.131
14900 | 1.814 | 1.429 | -10.197 | 1351.879 | 201.427 | 88.84 | 138.434
15000 | 1.855 | 1.47 | -10.012 | 1247.89 | 201.124 | 89.219 | 139.04
15100 | 1.895 | 1.448 | -9.761 | 1143.896 | 201.73 | 88.461 | 140.404
15200 | 1.935 | 1.5 | -9.576 | 1559.861 | 201.805 | 88.385 | 141.465
15300 | 1.975 | 1.501 | -9.341 | 1143.902 | 202.184 | 87.855 | 142.374
15400 | 2.016 | 1.508 | -9.107 | 1455.867 | 201.73 | 87.476 | 143.132
15500 | 2.056 | 1.536 | -8.889 | 1455.867 | 201.578 | 87.552 | 144.344
15600 | 2.096 | 1.534 | -8.637 | 1351.885 | 201.881 | 87.324 | 144.95
15700 | 2.137 | 1.572 | -8.419 | 1559.861 | 205.441 | 87.097 | 146.617
15800 | 2.177 | 1.543 | -8.134 | 1351.879 | 201.805 | 86.718 | 146.92
15900 | 2.217 | 1.57 | -7.899 | 1767.844 | 202.108 | 86.794 | 147.374
16000 | 2.258 | 1.584 | -7.647 | 1455.87 | 201.578 | 86.188 | 147.677
16100 | 2.298 | 1.602 | -7.395 | 1566.361 | 201.73 | 85.809 | 148.283
16200 | 2.338 | 1.644 | -7.16 | 1559.858 | 201.881 | 85.43 | 149.193
16300 | 2.379 | 1.668 | -6.909 | 1455.87 | 201.427 | 84.294 | 150.102
16400 | 2.419 | 1.665 | -6.624 | 1559.861 | 201.881 | 83.309 | 151.465
16500 | 2.419 | 1.656 | -6.372 | 1767.844 | 201.73 | 83.612 | 152.678
16600 | 2.419 | 1.613 | -6.087 | 1559.858 | 201.881 | 83.991 | 153.132
16700 | 2.419 | 1.605 | -5.835 | 1767.844 | 201.351 | 85.355 | 152.072
16800 | 2.419 | 1.56 | -5.55 | 1559.858 | 201.73 | 86.036 | 151.314
16900 | 2.419 | 1.55 | -5.299 | 1767.844 | 201.502 | 87.173 | 150.405
17000 | 2.419 | 1.54 | -5.047 | 1559.861 | 201.654 | 87.855 | 148.89
17100 | 2.419 | 1.531 | -4.796 | 1559.858 | 201.957 | 87.931 | 148.283
17200 | 2.419 | 1.524 | -4.544 | 1559.867 | 201.73 | 88.082 | 147.526
17300 | 2.419 | 1.528 | -4.309 | 1559.858 | 201.578 | 88.082 | 146.92
17400 | 2.419 | 1.535 | -4.075 | 1455.87 | 201.881 | 87.855 | 147.071
17500 | 2.419 | 1.542 | -3.84 | 1455.873 | 201.73 | 87.324 | 146.92
17600 | 2.419 | 1.55 | -3.605 | 1455.868 | 201.881 | 86.946 | 147.223
17700 | 2.419 | 1.541 | -3.352 | 1455.871 | 203.244 | 86.946 | 147.223
17800 | 2.419 | 1.546 | -3.118 | 1566.359 | 203.169 | 87.173 | 147.374
17900 | 2.419 | 1.553 | -2.883 | 1455.87 | 203.244 | 87.173 | 147.677
18000 | 2.419 | 1.56 | -2.648 | 1455.871 | 203.169 | 86.491 | 147.829
18100 | 2.419 | 1.534 | -2.38 | 1455.87 | 202.941 | 86.188 | 147.374
18200 | 2.298 | 1.422 | -2.145 | 1663.85 | 203.623 | 87.173 | 148.283
18300 | 2.177 | 1.294 | -1.91 | 1455.87 | 203.547 | 90.734 | 145.101
18400 | 2.056 | 1.173 | -1.692 | 1455.871 | 203.547 | 93.916 | 142.98
18500 | 1.935 | 1.073 | -1.508 | 1351.882 | 203.472 | 96.643 | 137.98
18600 | 1.814 | 0.995 | -1.357 | 1143.897 | 203.472 | 97.855 | 132.07
18700 | 1.693 | 0.923 | -1.223 | 935.916 | 203.017 | 95.886 | 127.979
18800 | 1.572 | 0.869 | -1.122 | 831.925 | 203.396 | 93.916 | 123.736
18900 | 1.451 | 0.821 | -1.038 | 623.946 | 202.563 | 91.264 | 119.342
19000 | 1.33 | 0.762 | -0.954 | 519.952 | 202.639 | 88.537 | 115.099
19100 | 1.209 | 0.707 | -0.887 | 519.954 | 202.941 | 85.582 | 110.705
19200 | 1.089 | 0.624 | -0.803 | 415.965 | 202.866 | 81.718 | 105.402
19300 | 0.968 | 0.577 | -0.77 | 519.951 | 203.093 | 78.006 | 99.947
19400 | 0.847 | 0.503 | -0.72 | 207.981 | 202.941 | 74.066 | 93.583
19500 | 0.726 | 0.433 | -0.686 | 311.973 | 203.244 | 69.975 | 87.673
19600 | 0.605 | 0.368 | -0.669 | 207.981 | 203.093 | 65.808 | 82.825
19700 | 0.484 | 0.291 | -0.652 | 103.992 | 203.093 | 62.474 | 78.733
19800 | 0.363 | 0.185 | -0.619 | 103.989 | 202.79 | 58.61 | 74.794
19900 | 0.242 | 0.1 | -0.619 | 207.984 | 203.017 | 55.807 | 70.703
20000 | 0.121 | 0 | -0.602 | 0 | 203.169 | 53.231 | 66.914