## Data
Log File Data
************************
2007-11-11 11:36 | MERIT Configuration Data
Test Description: 17005 6TP 16Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
100 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.092
200 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.243
300 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.243
400 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.698
500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 1.001
600 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.546
700 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.546
800 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.395
900 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.243
1000 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
1100 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
1200 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.698
1300 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.546
1400 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.698
1500 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.698
1600 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.698
1700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | 0.243
1800 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
1900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.395
2000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.849
2100 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.546
2200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.698
2300 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.243
2400 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.546
2500 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
2600 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | -0.06
2700 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.546
2800 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.849
2900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 1.001
3000 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.395
3100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.698
3200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
3300 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
3400 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | 1.152
3500 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.849
3600 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.546
3700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
3800 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.092
3900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.849
4000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
4100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.395
4200 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.395
4300 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
4400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
4500 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
4600 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
4700 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | 0.849
4800 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.546
4900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.243
5000 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.395
5100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.243
5200 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
5300 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | 1.001
5400 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | 0.698
5500 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.395
5600 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
5700 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
5800 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.546
5900 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
6000 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.698
6100 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | 0.395
6200 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.849
6300 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.546
6400 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.546
6500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.243
6600 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.395
6700 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.546
6800 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.698
6900 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
7000 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | 0.849
7100 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
7200 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.243
7300 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.395
7400 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | 0.546
7500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.698
7600 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
7700 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.546
7800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.243
7900 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.546
8000 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | 0.698
8100 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.395
8200 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.698
8300 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
8400 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.395
8500 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
8600 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
8700 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | 0.092
8800 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.849
8900 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.698
9000 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.546
9100 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | 0.395
9200 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
9300 | 0 | 0 | -15.078 | 0 | 0 | 1.107 | 0.395
9400 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.395
9500 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.849
9600 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.698
9700 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | 0.243
9800 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | 0.243
9900 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.395
10000 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.395
10100 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.546
10200 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.698
10300 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
10400 | 0 | 0 | -15.078 | 0 | 0 | 1.031 | -0.06
10500 | 0.04 | 0.04 | -15.078 | 0 | 203.85 | 1.107 | 0.092
10600 | 0.081 | 0.081 | -15.078 | 0 | 203.623 | 1.258 | 0.395
10700 | 0.121 | 0.15 | -15.094 | 0 | 205.668 | 1.107 | 0.849
10800 | 0.161 | 0.19 | -15.078 | -104 | 204.305 | 1.334 | 0.849
10900 | 0.202 | 0.25 | -15.078 | 104 | 203.699 | 0.955 | 0.395
11000 | 0.242 | 0.314 | -15.078 | 0 | 203.547 | 0.879 | 0.849
11100 | 0.282 | 0.4 | -15.094 | 0 | 203.32 | 0.576 | 0.849
11200 | 0.323 | 0.456 | -15.078 | -104 | 204.305 | 0.728 | 0.698
11300 | 0.363 | 0.532 | -15.078 | 104 | 203.472 | 0.5 | 1.152
11400 | 0.403 | 0.613 | -15.078 | 0 | 203.926 | 0.425 | 1.304
11500 | 0.443 | 0.697 | -15.078 | 0 | 204.381 | 0.576 | 2.819
11600 | 0.484 | 0.786 | -15.078 | 0 | 206.047 | 1.107 | 4.031
11700 | 0.524 | 0.862 | -15.061 | 0 | 203.623 | 1.864 | 6.153
11800 | 0.564 | 0.909 | -15.011 | 103.988 | 203.926 | 3.607 | 9.183
11900 | 0.605 | 0.959 | -14.96 | 311.971 | 203.85 | 7.092 | 14.032
12000 | 0.645 | 0.997 | -14.893 | 311.977 | 203.699 | 12.471 | 21.002
12100 | 0.685 | 0.988 | -14.776 | 415.959 | 203.699 | 18.835 | 28.275
12200 | 0.726 | 1.017 | -14.692 | 727.931 | 203.396 | 26.714 | 37.064
12300 | 0.766 | 1.034 | -14.591 | 519.96 | 203.926 | 34.669 | 47.368
12400 | 0.806 | 1.054 | -14.491 | 623.948 | 203.699 | 42.397 | 57.52
12500 | 0.847 | 1.061 | -14.373 | 623.942 | 203.926 | 49.064 | 66.763
12600 | 0.887 | 1.09 | -14.273 | 727.936 | 204.229 | 54.898 | 74.188
12700 | 0.927 | 1.105 | -14.155 | 623.936 | 203.472 | 60.58 | 81.461
12800 | 0.968 | 1.143 | -14.055 | 727.936 | 203.85 | 63.838 | 89.492
12900 | 1.008 | 1.149 | -13.921 | 623.942 | 203.244 | 66.414 | 97.977
13000 | 1.048 | 1.176 | -13.803 | 831.925 | 203.926 | 70.96 | 102.826
13100 | 1.089 | 1.175 | -13.652 | 727.936 | 203.396 | 75.051 | 106.766
13200 | 1.129 | 1.177 | -13.501 | 935.925 | 203.699 | 77.93 | 111.917
13300 | 1.169 | 1.201 | -13.367 | 935.913 | 203.623 | 80.279 | 114.948
13400 | 1.209 | 1.177 | -13.183 | 831.925 | 203.775 | 81.945 | 117.978
13500 | 1.25 | 1.225 | -13.065 | 1143.902 | 204.305 | 83.461 | 119.797
13600 | 1.29 | 1.226 | -12.898 | 727.936 | 204.002 | 84.521 | 121.615
13700 | 1.33 | 1.282 | -12.78 | 1039.902 | 204.002 | 84.9 | 123.282
13800 | 1.371 | 1.277 | -12.596 | 727.936 | 203.623 | 85.203 | 125.858
13900 | 1.411 | 1.289 | -12.428 | 1143.89 | 203.85 | 86.188 | 128.131
14000 | 1.451 | 1.273 | -12.227 | 1039.913 | 204.153 | 87.4 | 129.494
14100 | 1.492 | 1.294 | -12.058 | 1247.896 | 204.153 | 88.158 | 130.858
14200 | 1.532 | 1.32 | -11.89 | 1046.401 | 203.396 | 88.385 | 131.464
14300 | 1.572 | 1.334 | -11.706 | 1039.902 | 204.002 | 88.158 | 132.828
14400 | 1.613 | 1.35 | -11.521 | 1143.902 | 203.85 | 88.309 | 133.434
14500 | 1.653 | 1.371 | -11.337 | 1143.896 | 203.547 | 88.158 | 134.949
14600 | 1.693 | 1.363 | -11.119 | 1143.902 | 204.153 | 88.461 | 135.858
14700 | 1.734 | 1.425 | -10.968 | 1351.879 | 203.699 | 88.915 | 136.616
14800 | 1.774 | 1.427 | -10.75 | 935.919 | 203.472 | 88.461 | 137.677
14900 | 1.814 | 1.446 | -10.549 | 1351.879 | 203.396 | 88.082 | 139.495
15000 | 1.855 | 1.437 | -10.314 | 1247.89 | 203.926 | 88.082 | 140.253
15100 | 1.895 | 1.448 | -10.096 | 1455.873 | 204.153 | 88.84 | 141.465
15200 | 1.935 | 1.481 | -9.895 | 1351.873 | 204.381 | 88.688 | 141.768
15300 | 1.975 | 1.486 | -9.66 | 1247.89 | 203.623 | 87.476 | 143.132
15400 | 2.016 | 1.491 | -9.425 | 1455.867 | 203.775 | 88.158 | 143.283
15500 | 2.056 | 1.519 | -9.207 | 1455.873 | 203.472 | 88.006 | 143.889
15600 | 2.096 | 1.551 | -8.989 | 1351.885 | 203.85 | 87.779 | 144.192
15700 | 2.137 | 1.587 | -8.771 | 1351.873 | 203.775 | 86.567 | 145.556
15800 | 2.177 | 1.579 | -8.503 | 1351.885 | 204.078 | 85.658 | 147.374
15900 | 2.217 | 1.57 | -8.235 | 1663.85 | 203.396 | 85.658 | 149.041
16000 | 2.258 | 1.602 | -8 | 1663.85 | 203.85 | 86.112 | 148.738
16100 | 2.298 | 1.586 | -7.714 | 1455.873 | 204.078 | 85.582 | 149.193
16200 | 2.338 | 1.625 | -7.479 | 1774.343 | 203.85 | 85.506 | 149.647
16300 | 2.379 | 1.654 | -7.227 | 1455.87 | 203.775 | 85.43 | 150.253
16400 | 2.419 | 1.649 | -6.942 | 1559.858 | 203.699 | 83.385 | 152.072
16500 | 2.419 | 1.639 | -6.691 | 1767.844 | 203.775 | 83.536 | 153.435
16600 | 2.419 | 1.579 | -6.389 | 1559.861 | 203.926 | 84.37 | 152.526
16700 | 2.419 | 1.569 | -6.137 | 1871.832 | 203.699 | 86.415 | 151.617
16800 | 2.419 | 1.596 | -5.919 | 1559.858 | 203.85 | 87.476 | 150.102
16900 | 2.419 | 1.584 | -5.668 | 1351.882 | 203.775 | 86.264 | 149.95
17000 | 2.419 | 1.54 | -5.383 | 1559.861 | 203.926 | 86.036 | 150.405
17100 | 2.419 | 1.514 | -5.114 | 1767.844 | 205.062 | 88.082 | 148.435
17200 | 2.419 | 1.521 | -4.88 | 1663.847 | 203.699 | 88.612 | 148.283
17300 | 2.419 | 1.547 | -4.661 | 1455.873 | 204.078 | 88.234 | 146.92
17400 | 2.419 | 1.519 | -4.393 | 1351.879 | 203.775 | 86.794 | 147.223
17500 | 2.419 | 1.542 | -4.175 | 1663.85 | 203.699 | 87.097 | 147.223
17600 | 2.419 | 1.55 | -3.94 | 1351.882 | 206.426 | 87.627 | 146.768
17700 | 2.419 | 1.54 | -3.689 | 1455.871 | 206.199 | 86.567 | 147.677
17800 | 2.419 | 1.548 | -3.453 | 1559.86 | 206.047 | 86.946 | 148.132
17900 | 2.419 | 1.52 | -3.185 | 1462.369 | 206.274 | 86.87 | 147.374
18000 | 2.419 | 1.527 | -2.95 | 1663.854 | 205.896 | 87.552 | 147.98
18100 | 2.298 | 1.396 | -2.698 | 1455.871 | 205.971 | 87.552 | 146.617
18200 | 2.177 | 1.253 | -2.447 | 1559.86 | 206.199 | 91.113 | 144.495
18300 | 2.056 | 1.168 | -2.262 | 1559.86 | 206.35 | 94.749 | 142.374
18400 | 1.935 | 1.066 | -2.078 | 1143.897 | 206.653 | 97.855 | 136.465
18500 | 1.814 | 0.988 | -1.927 | 1143.9 | 206.577 | 98.007 | 131.919
18600 | 1.693 | 0.931 | -1.81 | 935.916 | 206.653 | 96.264 | 127.676
18700 | 1.572 | 0.878 | -1.709 | 727.935 | 205.971 | 93.84 | 124.191
18800 | 1.451 | 0.816 | -1.608 | 623.944 | 206.729 | 91.491 | 119.948
18900 | 1.33 | 0.755 | -1.524 | 623.944 | 206.199 | 88.006 | 115.099
19000 | 1.209 | 0.683 | -1.441 | 519.954 | 206.123 | 85.355 | 109.796
19100 | 1.089 | 0.633 | -1.39 | 519.955 | 206.199 | 82.4 | 105.856
19200 | 0.968 | 0.587 | -1.357 | 311.973 | 206.274 | 77.854 | 98.735
19300 | 0.847 | 0.497 | -1.29 | 207.981 | 206.35 | 73.763 | 94.34
19400 | 0.726 | 0.426 | -1.256 | 415.962 | 205.896 | 69.596 | 88.886
19500 | 0.605 | 0.361 | -1.239 | 207.981 | 206.502 | 65.884 | 83.885
19600 | 0.484 | 0.267 | -1.206 | 103.992 | 206.274 | 62.095 | 78.43
19700 | 0.363 | 0.177 | -1.189 | 207.981 | 206.123 | 59.368 | 75.4
19800 | 0.242 | 0.093 | -1.189 | 103.989 | 206.805 | 57.171 | 71.157
19900 | 0.121 | 0 | -1.189 | 0 | 206.047 | 53.534 | 68.127
20000 | 0.121 | 0 | -0.602 | 0 | 203.169 | 53.231 | 66.914