## Data
Log File Data
************************
2007-11-11 14:20 | MERIT Configuration Data
Test Description: 17008 8TP 16Bunches 7T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.363
100 | 0 | 0 | -14.759 | 0 | 0 | 0.425 | -0.06
200 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.06
300 | 0 | 0 | -14.776 | 0 | 0 | 0.349 | 0.243
400 | 0 | 0 | -14.759 | 0 | 0 | 0.5 | 0.243
500 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.06
600 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | 0.243
700 | 0 | 0 | -14.759 | 0 | 0 | 0.728 | -0.06
800 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | 0.092
900 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.363
1000 | 0 | 0 | -14.776 | 0 | 0 | 0.349 | -0.363
1100 | 0 | 0 | -14.776 | 0 | 0 | 0.349 | -0.363
1200 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.06
1300 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.06
1400 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.363
1500 | 0 | 0 | -14.776 | 0 | 0 | 0.349 | -0.514
1600 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.06
1700 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.363
1800 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | 0.092
1900 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | -0.06
2000 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | 0.092
2100 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.817
2200 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.514
2300 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.06
2400 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.363
2500 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.06
2600 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | 0.092
2700 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.06
2800 | 0 | 0 | -14.809 | 0 | 0 | 0.879 | 0.092
2900 | 0 | 0 | -14.809 | 0 | 0 | 0.804 | 0.395
3000 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.06
3100 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.514
3200 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.363
3300 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.06
3400 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.06
3500 | 0 | 0 | -14.809 | 0 | 0 | 0.349 | -0.666
3600 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | 0.092
3700 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | 0.092
3800 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.363
3900 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.06
4000 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | 0.092
4100 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | -0.06
4200 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.363
4300 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | 0.092
4400 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.06
4500 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.363
4600 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.363
4700 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.06
4800 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | 0.243
4900 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | 0.395
5000 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | 0.243
5100 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.363
5200 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.666
5300 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.666
5400 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | -0.363
5500 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | 0.243
5600 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.514
5700 | 0 | 0 | -14.843 | 0 | 0 | 0.349 | 0.243
5800 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.06
5900 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.363
6000 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | -0.666
6100 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | 0.092
6200 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.514
6300 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.817
6400 | 0 | 0 | -14.843 | 0 | 0 | 0.5 | -0.969
6500 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.666
6600 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | -0.666
6700 | 0 | 0 | -14.843 | 0 | 0 | 0.804 | -0.514
6800 | 0 | 0 | -14.843 | 0 | 0 | 0.5 | -0.06
6900 | 0 | 0 | -14.843 | 0 | 0 | 0.349 | 0.092
7000 | 0 | 0 | -14.843 | 0 | 0 | 0.5 | 0.092
7100 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.363
7200 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.363
7300 | 0 | 0 | -14.843 | 0 | 0 | 0.5 | -0.06
7400 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | 0.243
7500 | 0 | 0 | -14.843 | 0 | 0 | 0.349 | 0.243
7600 | 0 | 0 | -14.843 | 0 | 0 | 0.349 | -0.06
7700 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | 0.243
7800 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | 0.092
7900 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.666
8000 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.363
8100 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | -0.06
8200 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | 0.092
8300 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | -0.969
8400 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | -0.514
8500 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.666
8600 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.817
8700 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | 0.092
8800 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.363
8900 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | -0.363
9000 | 0 | 0 | -14.86 | 0 | 0 | 0.804 | -0.363
9100 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | -0.363
9200 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.514
9300 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | -0.363
9400 | 0 | 0 | -14.86 | 0 | 0 | 0.273 | 0.243
9500 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | -0.06
9600 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | 0.092
9700 | 0 | 0 | -14.86 | 0 | 0 | 0.576 | -0.363
9800 | 0 | 0 | -14.86 | 0 | 0 | 0.728 | -0.06
9900 | 0 | 0 | -14.86 | 0 | 0 | 0.5 | -0.514
10000 | 0 | 0 | -14.876 | 0 | 0 | 0.5 | -0.666
10100 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | -0.666
10200 | 0 | 0 | -14.86 | 0 | 0 | 0.425 | -0.514
10300 | 0 | 0 | -14.876 | 0 | 0 | 0.349 | -0.666
10400 | 0 | 0 | -14.876 | 0 | 0 | 0.425 | -0.666
10500 | 0.04 | 0.04 | -14.876 | 0 | 191.12 | 0.804 | 0.395
10600 | 0.081 | 0.081 | -14.876 | 0 | 190.666 | 0.425 | -0.363
10700 | 0.121 | 0.133 | -14.876 | 0 | 191.272 | 0.576 | -0.666
10800 | 0.161 | 0.189 | -14.876 | 0 | 191.272 | 0.728 | 0.698
10900 | 0.202 | 0.25 | -14.876 | 0 | 191.575 | 0.576 | 0.698
11000 | 0.242 | 0.314 | -14.876 | 0 | 191.196 | 0.576 | 0.395
11100 | 0.282 | 0.383 | -14.876 | 0 | 190.439 | 0.728 | 0.698
11200 | 0.323 | 0.456 | -14.876 | 0 | 191.196 | 0.273 | 0.546
11300 | 0.363 | 0.532 | -14.876 | 0 | 190.515 | 0.349 | 0.698
11400 | 0.403 | 0.613 | -14.876 | 0 | 191.575 | 0.197 | 0.849
11500 | 0.443 | 0.697 | -14.876 | 0 | 191.196 | 0.046 | 1.152
11600 | 0.484 | 0.769 | -14.86 | 0 | 190.666 | 0.349 | 2.819
11700 | 0.524 | 0.863 | -14.86 | 103.988 | 190.666 | 1.258 | 4.789
11800 | 0.564 | 0.908 | -14.809 | 0 | 191.499 | 2.849 | 7.971
11900 | 0.605 | 0.942 | -14.742 | 311.977 | 191.045 | 5.577 | 12.062
12000 | 0.645 | 0.98 | -14.675 | 415.959 | 191.272 | 9.365 | 16.305
12100 | 0.685 | 1.022 | -14.608 | 415.965 | 191.196 | 15.274 | 23.73
12200 | 0.726 | 1.068 | -14.541 | 415.971 | 191.348 | 21.108 | 31.154
12300 | 0.766 | 1.05 | -14.407 | 415.954 | 190.742 | 30.578 | 43.125
12400 | 0.806 | 1.071 | -14.306 | 831.925 | 191.045 | 39.442 | 55.398
12500 | 0.847 | 1.078 | -14.189 | 623.948 | 191.499 | 46.791 | 63.581
12600 | 0.887 | 1.09 | -14.071 | 727.931 | 191.045 | 54.065 | 72.521
12700 | 0.927 | 1.106 | -13.954 | 727.936 | 191.575 | 59.292 | 79.491
12800 | 0.968 | 1.125 | -13.837 | 727.936 | 191.12 | 64.368 | 85.704
12900 | 1.008 | 1.166 | -13.736 | 727.936 | 191.348 | 66.187 | 93.886
13000 | 1.048 | 1.176 | -13.602 | 623.948 | 191.499 | 68.687 | 101.765
13100 | 1.089 | 1.191 | -13.468 | 831.919 | 190.969 | 72.778 | 106.614
13200 | 1.129 | 1.212 | -13.334 | 831.925 | 191.423 | 76.263 | 110.099
13300 | 1.169 | 1.217 | -13.183 | 831.925 | 191.348 | 78.536 | 113.736
13400 | 1.209 | 1.227 | -13.032 | 935.925 | 191.12 | 81.036 | 117.675
13500 | 1.25 | 1.241 | -12.881 | 935.913 | 191.499 | 82.93 | 120.706
13600 | 1.29 | 1.243 | -12.713 | 935.913 | 191.499 | 84.37 | 122.827
13700 | 1.33 | 1.267 | -12.562 | 1039.908 | 190.666 | 85.506 | 124.646
13800 | 1.371 | 1.275 | -12.394 | 935.925 | 191.196 | 86.264 | 126.312
13900 | 1.411 | 1.289 | -12.227 | 1039.902 | 191.423 | 86.643 | 128.131
14000 | 1.451 | 1.322 | -12.075 | 1039.913 | 191.423 | 87.4 | 129.494
14100 | 1.492 | 1.294 | -11.857 | 942.413 | 190.59 | 87.173 | 131.767
14200 | 1.532 | 1.338 | -11.706 | 1351.879 | 190.969 | 88.158 | 132.676
14300 | 1.572 | 1.35 | -11.521 | 935.913 | 190.742 | 88.688 | 133.282
14400 | 1.613 | 1.367 | -11.337 | 1143.896 | 190.893 | 88.082 | 134.646
14500 | 1.653 | 1.354 | -11.119 | 1143.902 | 190.59 | 88.84 | 135.252
14600 | 1.693 | 1.379 | -10.934 | 1351.879 | 191.499 | 89.219 | 136.01
14700 | 1.734 | 1.377 | -10.716 | 1143.896 | 190.59 | 89.597 | 136.465
14800 | 1.774 | 1.442 | -10.566 | 1351.879 | 190.742 | 89.294 | 137.071
14900 | 1.814 | 1.446 | -10.347 | 935.913 | 191.499 | 88.612 | 138.889
15000 | 1.855 | 1.47 | -10.146 | 1351.885 | 191.272 | 88.158 | 140.556
15100 | 1.895 | 1.482 | -9.928 | 1247.89 | 190.969 | 88.006 | 141.616
15200 | 1.935 | 1.483 | -9.693 | 1351.885 | 190.817 | 88.006 | 142.98
15300 | 1.975 | 1.517 | -9.492 | 1455.867 | 190.515 | 88.082 | 143.132
15400 | 2.016 | 1.525 | -9.257 | 1247.89 | 190.893 | 87.931 | 144.344
15500 | 2.056 | 1.519 | -9.006 | 1455.867 | 191.272 | 87.324 | 145.405
15600 | 2.096 | 1.551 | -8.788 | 1559.861 | 191.272 | 87.855 | 146.314
15700 | 2.137 | 1.555 | -8.536 | 1351.879 | 190.515 | 87.4 | 146.465
15800 | 2.177 | 1.577 | -8.302 | 1559.861 | 190.817 | 86.794 | 147.526
15900 | 2.217 | 1.587 | -8.05 | 1455.873 | 190.742 | 86.567 | 148.132
16000 | 2.258 | 1.601 | -7.797 | 1559.861 | 191.196 | 86.264 | 148.89
16100 | 2.298 | 1.619 | -7.546 | 1566.358 | 191.272 | 85.809 | 149.041
16200 | 2.338 | 1.644 | -7.294 | 1559.864 | 190.893 | 84.976 | 150.253
16300 | 2.379 | 1.652 | -7.026 | 1559.858 | 190.666 | 84.597 | 151.162
16400 | 2.419 | 1.665 | -6.758 | 1663.85 | 191.196 | 84.294 | 151.617
16500 | 2.419 | 1.639 | -6.489 | 1663.856 | 191.423 | 83.991 | 153.132
16600 | 2.419 | 1.596 | -6.204 | 1663.847 | 191.272 | 84.976 | 152.981
16700 | 2.419 | 1.589 | -5.953 | 1767.844 | 191.423 | 86.036 | 152.375
16800 | 2.419 | 1.543 | -5.668 | 1559.861 | 191.272 | 87.097 | 150.556
16900 | 2.419 | 1.584 | -5.466 | 1767.844 | 191.196 | 87.627 | 150.708
17000 | 2.419 | 1.557 | -5.198 | 1247.887 | 191.12 | 87.4 | 149.041
17100 | 2.419 | 1.548 | -4.947 | 1663.853 | 191.12 | 86.946 | 150.102
17200 | 2.419 | 1.54 | -4.695 | 1559.861 | 191.272 | 88.082 | 148.435
17300 | 2.419 | 1.528 | -4.443 | 1559.858 | 191.196 | 88.158 | 148.283
17400 | 2.419 | 1.535 | -4.209 | 1559.864 | 191.045 | 88.082 | 148.283
17500 | 2.419 | 1.542 | -3.974 | 1455.873 | 191.12 | 88.006 | 147.98
17600 | 2.419 | 1.533 | -3.722 | 1455.864 | 210.743 | 87.552 | 148.283
17700 | 2.419 | 1.558 | -3.503 | 1559.866 | 192.711 | 87.779 | 147.526
17800 | 2.419 | 1.546 | -3.252 | 1358.375 | 192.938 | 86.946 | 147.98
17900 | 2.419 | 1.57 | -3.034 | 1559.866 | 192.938 | 87.249 | 148.435
18000 | 2.419 | 1.577 | -2.799 | 1351.876 | 192.181 | 86.643 | 148.587
18100 | 2.419 | 1.517 | -2.497 | 1455.87 | 193.166 | 86.112 | 148.89
18200 | 2.298 | 1.406 | -2.262 | 1871.835 | 191.954 | 87.249 | 149.344
18300 | 2.177 | 1.277 | -2.028 | 1455.868 | 193.09 | 92.628 | 146.617
18400 | 2.056 | 1.19 | -1.843 | 1455.87 | 192.257 | 95.734 | 141.313
18500 | 1.935 | 1.073 | -1.642 | 1143.898 | 192.787 | 96.946 | 138.131
18600 | 1.814 | 0.995 | -1.491 | 1247.89 | 192.408 | 97.022 | 134.343
18700 | 1.693 | 0.923 | -1.357 | 935.916 | 193.393 | 96.037 | 128.434
18800 | 1.572 | 0.886 | -1.273 | 831.927 | 193.166 | 94.598 | 125.1
18900 | 1.451 | 0.821 | -1.172 | 519.955 | 192.408 | 91.34 | 120.1
19000 | 1.33 | 0.762 | -1.088 | 623.943 | 193.09 | 88.309 | 115.099
19100 | 1.209 | 0.707 | -1.021 | 519.955 | 192.938 | 85.43 | 111.008
19200 | 1.089 | 0.658 | -0.971 | 415.962 | 192.787 | 82.021 | 106.159
19300 | 0.968 | 0.594 | -0.921 | 311.973 | 192.711 | 78.384 | 100.098
19400 | 0.847 | 0.52 | -0.87 | 311.97 | 192.181 | 74.975 | 95.25
19500 | 0.726 | 0.433 | -0.82 | 311.973 | 192.484 | 70.202 | 89.795
19600 | 0.605 | 0.368 | -0.803 | 311.973 | 193.014 | 65.959 | 83.734
19700 | 0.484 | 0.275 | -0.77 | 103.989 | 192.408 | 62.247 | 79.188
19800 | 0.363 | 0.185 | -0.753 | 207.981 | 192.863 | 59.217 | 75.097
19900 | 0.242 | 0.1 | -0.753 | 103.992 | 193.014 | 57.019 | 71.309
20000 | 0.121 | 0 | -0.736 | 0 | 192.56 | 54.292 | 68.581