## Data
Log File Data
************************
2007-11-11 14:41 | MERIT Configuration Data
Test Description: 17010 8TP 16Bunches 7T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.243
100 | 0 | 0 | -14.709 | 0 | 0 | 1.561 | 0.092
200 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | -0.06
300 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.092
400 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.092
500 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.092
600 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | -0.06
700 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
800 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | -0.363
900 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.395
1000 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.395
1100 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.395
1200 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.546
1300 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | -0.06
1400 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | -0.363
1500 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
1600 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.06
1700 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.698
1800 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.395
1900 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.092
2000 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.092
2100 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.698
2200 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.243
2300 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.395
2400 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.243
2500 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
2600 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
2700 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
2800 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.363
2900 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
3000 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.243
3100 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.06
3200 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.092
3300 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.243
3400 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.514
3500 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | -0.363
3600 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
3700 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
3800 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.092
3900 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.363
4000 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.395
4100 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.546
4200 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.092
4300 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | -0.06
4400 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
4500 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.363
4600 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.363
4700 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.363
4800 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.06
4900 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.06
5000 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.06
5100 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | 0.698
5200 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.092
5300 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
5400 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.363
5500 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | -0.06
5600 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.092
5700 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.243
5800 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.395
5900 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.092
6000 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.363
6100 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.092
6200 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.363
6300 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
6400 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.546
6500 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | -0.514
6600 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | 0.698
6700 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.243
6800 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.363
6900 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | -0.363
7000 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.092
7100 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.243
7200 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
7300 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.243
7400 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
7500 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | -0.363
7600 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
7700 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.395
7800 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.092
7900 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.243
8000 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
8100 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | -0.363
8200 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | -0.363
8300 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.546
8400 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
8500 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.092
8600 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.395
8700 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | -0.06
8800 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | -0.363
8900 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.546
9000 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.092
9100 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.546
9200 | 0 | 0 | -14.776 | 0 | 0 | 1.334 | 0.395
9300 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.243
9400 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | -0.06
9500 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | -0.363
9600 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | -0.363
9700 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | -0.06
9800 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.243
9900 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.092
10000 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.395
10100 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
10200 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.092
10300 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.243
10400 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 0.243
10500 | 0.04 | 0.04 | -14.809 | 0 | 193.317 | 1.485 | -0.363
10600 | 0.081 | 0.081 | -14.809 | 0 | 192.56 | 1.485 | 0.243
10700 | 0.121 | 0.1 | -14.776 | 0 | 192.787 | 1.258 | 0.698
10800 | 0.161 | 0.156 | -14.776 | 207.977 | 193.09 | 1.485 | 0.395
10900 | 0.202 | 0.216 | -14.776 | 0 | 193.393 | 1.334 | 1.001
11000 | 0.242 | 0.315 | -14.809 | 0 | 193.014 | 1.334 | 0.395
11100 | 0.282 | 0.349 | -14.776 | -207.977 | 193.317 | 1.182 | 0.243
11200 | 0.323 | 0.456 | -14.809 | 207.977 | 193.166 | 1.182 | 0.546
11300 | 0.363 | 0.532 | -14.809 | -207.977 | 192.484 | 1.107 | 1.001
11400 | 0.403 | 0.579 | -14.776 | 0 | 193.166 | 1.031 | 1.001
11500 | 0.443 | 0.698 | -14.809 | 207.977 | 193.62 | 1.334 | 1.91
11600 | 0.484 | 0.753 | -14.776 | -207.977 | 193.166 | 1.41 | 2.365
11700 | 0.524 | 0.845 | -14.776 | 207.977 | 193.166 | 3.228 | 4.031
11800 | 0.564 | 0.942 | -14.776 | 0 | 193.62 | 4.667 | 7.062
11900 | 0.605 | 1.026 | -14.759 | 0 | 193.62 | 7.243 | 12.214
12000 | 0.645 | 1.048 | -14.675 | 103.994 | 193.696 | 12.622 | 19.79
12100 | 0.685 | 1.072 | -14.591 | 519.954 | 193.166 | 20.502 | 29.791
12200 | 0.726 | 1.084 | -14.491 | 519.96 | 193.544 | 29.366 | 40.549
12300 | 0.766 | 1.084 | -14.373 | 623.942 | 192.787 | 40.124 | 53.429
12400 | 0.806 | 1.087 | -14.256 | 727.936 | 193.62 | 47.17 | 62.823
12500 | 0.847 | 1.113 | -14.155 | 727.936 | 193.09 | 55.05 | 72.521
12600 | 0.887 | 1.09 | -14.004 | 623.936 | 193.696 | 61.111 | 80.855
12700 | 0.927 | 1.105 | -13.887 | 935.925 | 192.787 | 66.414 | 87.067
12800 | 0.968 | 1.108 | -13.753 | 727.931 | 193.014 | 70.96 | 92.219
12900 | 1.008 | 1.132 | -13.635 | 831.925 | 193.393 | 74.066 | 96.613
13000 | 1.048 | 1.127 | -13.484 | 727.936 | 193.62 | 77.703 | 101.614
13100 | 1.089 | 1.141 | -13.35 | 935.913 | 193.772 | 80.43 | 104.341
13200 | 1.129 | 1.16 | -13.216 | 831.925 | 192.787 | 81.945 | 107.22
13300 | 1.169 | 1.167 | -13.065 | 831.925 | 193.317 | 83.991 | 109.948
13400 | 1.209 | 1.194 | -12.931 | 935.925 | 193.544 | 85.885 | 111.766
13500 | 1.25 | 1.226 | -12.797 | 831.925 | 193.166 | 87.097 | 114.342
13600 | 1.29 | 1.243 | -12.646 | 831.925 | 192.938 | 87.552 | 116.615
13700 | 1.33 | 1.249 | -12.478 | 935.913 | 193.393 | 85.43 | 121.464
13800 | 1.371 | 1.292 | -12.344 | 1039.902 | 193.469 | 84.597 | 125.252
13900 | 1.411 | 1.288 | -12.159 | 831.937 | 193.166 | 86.112 | 127.221
14000 | 1.451 | 1.274 | -11.957 | 1150.389 | 193.393 | 86.567 | 129.797
14100 | 1.492 | 1.294 | -11.79 | 1247.896 | 193.317 | 87.931 | 130.1
14200 | 1.532 | 1.353 | -11.656 | 1039.902 | 193.393 | 88.006 | 131.161
14300 | 1.572 | 1.35 | -11.454 | 831.925 | 192.863 | 86.87 | 133.434
14400 | 1.613 | 1.367 | -11.27 | 1247.89 | 193.62 | 86.946 | 134.949
14500 | 1.653 | 1.356 | -11.052 | 1143.902 | 193.772 | 88.082 | 136.01
14600 | 1.693 | 1.413 | -10.901 | 1351.873 | 193.62 | 89.219 | 136.616
14700 | 1.734 | 1.392 | -10.666 | 935.925 | 193.09 | 88.764 | 137.525
14800 | 1.774 | 1.408 | -10.465 | 1455.873 | 192.787 | 88.385 | 138.434
14900 | 1.814 | 1.412 | -10.247 | 1247.878 | 192.863 | 89.219 | 138.586
15000 | 1.855 | 1.438 | -10.046 | 1351.879 | 193.09 | 88.84 | 139.647
15100 | 1.895 | 1.465 | -9.844 | 1247.896 | 193.166 | 88.612 | 140.404
15200 | 1.935 | 1.464 | -9.61 | 1247.884 | 193.09 | 88.309 | 141.465
15300 | 1.975 | 1.484 | -9.392 | 1455.873 | 192.56 | 88.309 | 142.526
15400 | 2.016 | 1.541 | -9.207 | 1351.879 | 193.696 | 88.082 | 143.132
15500 | 2.056 | 1.521 | -8.939 | 1143.902 | 193.317 | 86.87 | 144.647
15600 | 2.096 | 1.551 | -8.721 | 1663.844 | 193.544 | 86.643 | 145.708
15700 | 2.137 | 1.537 | -8.453 | 1351.885 | 193.317 | 86.794 | 146.617
15800 | 2.177 | 1.593 | -8.251 | 1663.85 | 193.09 | 86.946 | 146.92
15900 | 2.217 | 1.57 | -7.966 | 1247.89 | 193.469 | 85.127 | 147.829
16000 | 2.258 | 1.586 | -7.714 | 1767.844 | 192.938 | 85.885 | 148.738
16100 | 2.298 | 1.636 | -7.496 | 1566.361 | 193.317 | 86.264 | 148.587
16200 | 2.338 | 1.625 | -7.211 | 1351.876 | 193.166 | 84.218 | 150.708
16300 | 2.379 | 1.652 | -6.959 | 1767.844 | 193.317 | 84.597 | 151.314
16400 | 2.419 | 1.665 | -6.691 | 1559.858 | 193.317 | 84.597 | 151.314
16500 | 2.419 | 1.608 | -6.389 | 1663.856 | 193.09 | 83.385 | 152.829
16600 | 2.419 | 1.596 | -6.137 | 1871.832 | 193.393 | 85.127 | 152.678
16700 | 2.419 | 1.586 | -5.886 | 1559.858 | 192.787 | 86.264 | 151.162
16800 | 2.419 | 1.526 | -5.584 | 1559.861 | 192.938 | 86.567 | 150.556
16900 | 2.419 | 1.567 | -5.383 | 1871.832 | 192.863 | 87.779 | 149.193
17000 | 2.419 | 1.56 | -5.131 | 1247.893 | 192.938 | 87.552 | 147.98
17100 | 2.419 | 1.531 | -4.863 | 1559.858 | 193.166 | 86.794 | 148.435
17200 | 2.419 | 1.504 | -4.594 | 1663.856 | 192.938 | 87.855 | 148.132
17300 | 2.419 | 1.528 | -4.376 | 1663.847 | 193.393 | 88.688 | 146.92
17400 | 2.419 | 1.502 | -4.108 | 1351.882 | 192.635 | 88.082 | 146.768
17500 | 2.419 | 1.545 | -3.907 | 1663.85 | 195.968 | 88.082 | 146.768
17600 | 2.419 | 1.566 | -3.689 | 1247.893 | 195.665 | 87.173 | 146.768
17700 | 2.419 | 1.539 | -3.419 | 1351.876 | 194.908 | 85.961 | 147.526
17800 | 2.419 | 1.546 | -3.185 | 1670.353 | 195.362 | 86.718 | 148.283
17900 | 2.419 | 1.553 | -2.95 | 1455.87 | 195.741 | 87.249 | 147.98
18000 | 2.419 | 1.546 | -2.698 | 1455.871 | 195.665 | 86.718 | 147.98
18100 | 2.298 | 1.413 | -2.447 | 1559.86 | 194.832 | 86.794 | 147.829
18200 | 2.177 | 1.304 | -2.229 | 1559.86 | 195.059 | 89.597 | 146.768
18300 | 2.056 | 1.183 | -2.011 | 1351.882 | 195.059 | 95.583 | 142.222
18400 | 1.935 | 1.066 | -1.81 | 1351.879 | 195.589 | 96.34 | 137.677
18500 | 1.814 | 1.006 | -1.675 | 1247.889 | 195.438 | 98.31 | 132.222
18600 | 1.693 | 0.914 | -1.524 | 831.925 | 195.362 | 96.264 | 128.888
18700 | 1.572 | 0.879 | -1.441 | 935.916 | 195.892 | 94.37 | 124.797
18800 | 1.451 | 0.797 | -1.323 | 519.955 | 197.938 | 91.719 | 119.797
18900 | 1.33 | 0.755 | -1.256 | 727.935 | 195.135 | 88.537 | 115.706
19000 | 1.209 | 0.701 | -1.189 | 415.962 | 201.502 | 85.658 | 110.705
19100 | 1.089 | 0.633 | -1.122 | 415.962 | 194.832 | 81.945 | 105.25
19200 | 0.968 | 0.57 | -1.072 | 415.965 | 194.832 | 78.233 | 100.098
19300 | 0.847 | 0.512 | -1.038 | 311.97 | 202.411 | 74.445 | 94.492
19400 | 0.726 | 0.443 | -1.005 | 207.981 | 195.286 | 69.899 | 88.279
19500 | 0.605 | 0.361 | -0.971 | 207.984 | 195.665 | 65.959 | 84.037
19600 | 0.484 | 0.284 | -0.954 | 207.981 | 226.579 | 62.626 | 78.885
19700 | 0.363 | 0.194 | -0.938 | 103.989 | 195.211 | 59.368 | 75.4
19800 | 0.242 | 0.093 | -0.921 | 103.992 | 195.817 | 56.413 | 72.218
19900 | 0.121 | 0 | -0.921 | 103.989 | 194.908 | 54.216 | 67.824
20000 | 0.121 | 0.003 | -0.854 | 0 | 194.15 | 53.534 | 68.127