## Data
Log File Data
2007-10-23 18:29 | MERIT Configuration Data
Test Description: Day 2 Testing - Shot 1059, with beam, 2500A
Mode = Triggered
LogFile = C:\MERIT Data\071023 logfile.txt
Trigger-Pulse Delay (s) = 31.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | 0.092
100 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.092
200 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.092
300 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | -0.06
400 | 0 | 0 | -14.742 | 0 | 0 | 0.955 | 0.243
500 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.092
600 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.092
700 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | 0.395
800 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | -0.06
900 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | -0.06
1000 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.092
1100 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.546
1200 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
1300 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | 0.395
1400 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
1500 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | 0.092
1600 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 0.092
1700 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | 0.546
1800 | 0 | 0 | -14.742 | 0 | 0 | 0.955 | -0.06
1900 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.243
2000 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | 0.243
2100 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.395
2200 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.395
2300 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
2400 | 0 | 0 | -14.759 | 0 | 0 | 0.879 | 0.395
2500 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.092
2600 | 0 | 0 | -14.742 | 0 | 0 | 0.955 | 0.092
2700 | 0 | 0 | -14.742 | 0 | 0 | 0.804 | 0.243
2800 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.546
2900 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | -0.363
3000 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | -0.06
3100 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.092
3200 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.092
3300 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | 0.092
3400 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
3500 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | -0.06
3600 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.243
3700 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.395
3800 | 0 | 0 | -14.759 | 0 | 0 | 1.107 | 0.092
3900 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | -0.06
4000 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.092
4100 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | 0.092
4200 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | 0.395
4300 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
4400 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | 0.092
4500 | 0 | 0 | -14.759 | 0 | 0 | 0.804 | 0.092
4600 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.395
4700 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.546
4800 | 0 | 0 | -14.759 | 0 | 0 | 0.955 | -0.06
4900 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.243
5000 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | -0.06
5100 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | 0.395
5200 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
5300 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.092
5400 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | 0.092
5500 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | 0.546
5600 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | -0.06
5700 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
5800 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | -0.06
5900 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | 0.092
6000 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.092
6100 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | 0.092
6200 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.395
6300 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | -0.06
6400 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.092
6500 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | 0.092
6600 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.395
6700 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.243
6800 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.243
6900 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | 0.395
7000 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | 0.092
7100 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.395
7200 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | -0.06
7300 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | -0.363
7400 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | -0.363
7500 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.243
7600 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.546
7700 | 0 | 0 | -14.809 | 0 | 0 | 0.804 | -0.06
7800 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | 0.092
7900 | 0 | 0 | -14.809 | 0 | 0 | 0.955 | 0.092
8000 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.395
8100 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.092
8200 | 0 | 0 | -14.809 | 0 | 0 | 0.955 | -0.06
8300 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.092
8400 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.395
8500 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.395
8600 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | -0.06
8700 | 0 | 0 | -14.809 | 0 | 0 | 0.879 | 0.092
8800 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.243
8900 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.395
9000 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | -0.06
9100 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | -0.06
9200 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | -0.06
9300 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.243
9400 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.395
9500 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | -0.06
9600 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.395
9700 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.395
9800 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.395
9900 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | -0.06
10000 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.092
10100 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.546
10200 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.092
10300 | 0 | 0 | -14.826 | 0 | 0 | 0.879 | -0.06
10400 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.092
10500 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.092
10600 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.395
10700 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.243
10800 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | -0.06
10900 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | -0.06
11000 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.092
11100 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.546
11200 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.395
11300 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.092
11400 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.092
11500 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.395
11600 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.092
11700 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.092
11800 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | 0.243
11900 | 0 | 0 | -14.843 | 0 | 0 | 0.879 | -0.06
12000 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.395
12100 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | -0.06
12200 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | 0.243
12300 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.243
12400 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | 0.395
12500 | 0 | 0 | -14.843 | 0 | 0 | 0.955 | -0.06
12600 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
12700 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
12800 | 0 | 0 | -14.843 | 0 | 0 | 0.879 | -0.06
12900 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
13000 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.243
13100 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.06
13200 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.243
13300 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
13400 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
13500 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | -0.06
13600 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.06
13700 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
13800 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.243
13900 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.092
14000 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.06
14100 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | -0.06
14200 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | -0.06
14300 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.092
14400 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.243
14500 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.363
14600 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.092
14700 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
14800 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | -0.363
14900 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.514
15000 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | -0.06
15100 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.243
15200 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.06
15300 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
15400 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.092
15500 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.092
15600 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | 0.092
15700 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
15800 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.06
15900 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | 0.092
16000 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.395
16100 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
16200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
16300 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.092
16400 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
16500 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.546
16600 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.06
16700 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.092
16800 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.395
16900 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
17000 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
17100 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
17200 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.514
17300 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.243
17400 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
17500 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
17600 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
17700 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
17800 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
17900 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.06
18000 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
18100 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
18200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
18300 | 0 | 0 | -14.876 | 0 | 0 | 0.804 | -0.06
18400 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.06
18500 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
18600 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
18700 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
18800 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.514
18900 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.243
19000 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
19100 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
19200 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
19300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
19400 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | 0.092
19500 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.06
19600 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
19700 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
19800 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
19900 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
20000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.546
20100 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
20200 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
20300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.243
20400 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
20500 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
20600 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
20700 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
20800 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
20900 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.395
21000 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.06
21100 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
21200 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
21300 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.06
21400 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.06
21500 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.06
21600 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
21700 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
21800 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.06
21900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.092
22000 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.514
22100 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.092
22200 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.395
22300 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.243
22400 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.395
22500 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.243
22600 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
22700 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.092
22800 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.514
22900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.395
23000 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.243
23100 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
23200 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | 0.395
23300 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | 0.395
23400 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
23500 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.06
23600 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.395
23700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
23800 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.514
23900 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | 0.243
24000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
24100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
24200 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.092
24300 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.092
24400 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.243
24500 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.395
24600 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
24700 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
24800 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.06
24900 | 0.04 | 0.04 | -14.927 | 0 | -0.184 | 1.031 | 0.092
25000 | 0.081 | 0.081 | -14.927 | 0 | -0.184 | 1.031 | 0.092
25100 | 0.121 | 0.133 | -14.927 | 0 | -0.032 | 0.955 | -0.06
25200 | 0.161 | 0.189 | -14.927 | 0 | -0.032 | 1.107 | -0.06
25300 | 0.202 | 0.25 | -14.927 | 0 | -0.108 | 1.031 | 0.092
25400 | 0.242 | 0.314 | -14.927 | 0 | -0.032 | 0.955 | 0.243
25500 | 0.282 | 0.383 | -14.927 | 0 | -0.032 | 0.576 | 1.304
25600 | 0.323 | 0.456 | -14.927 | 0 | -0.032 | 0.728 | 1.152
25700 | 0.363 | 0.532 | -14.927 | 0 | -0.184 | 0.349 | 1.152
25800 | 0.403 | 0.613 | -14.927 | 0 | -0.032 | 0.5 | 1.304
25900 | 0.443 | 0.697 | -14.927 | 0 | -0.184 | 0.425 | 1.759
26000 | 0.484 | 0.769 | -14.91 | 0 | -0.032 | 1.031 | 3.425
26100 | 0.524 | 0.845 | -14.893 | 103.988 | -0.032 | 2.243 | 5.092
26200 | 0.564 | 0.909 | -14.86 | 103.994 | -0.108 | 4.592 | 8.426
26300 | 0.605 | 0.959 | -14.809 | 207.977 | -0.108 | 7.471 | 12.062
26400 | 0.645 | 0.98 | -14.725 | 311.977 | -0.108 | 12.092 | 18.275
26500 | 0.685 | 1.005 | -14.642 | 519.96 | 0.044 | 18.987 | 26.457
26600 | 0.726 | 1.034 | -14.558 | 519.942 | 0.119 | 25.957 | 35.549
26700 | 0.766 | 1.034 | -14.44 | 519.96 | 0.195 | 32.624 | 45.701
26800 | 0.806 | 1.087 | -14.373 | 727.936 | 0.271 | 40.2 | 54.186
26900 | 0.847 | 1.078 | -14.239 | 415.965 | -0.032 | 48.004 | 64.035
27000 | 0.887 | 1.09 | -14.122 | 831.925 | 0.422 | 55.58 | 73.733
27100 | 0.927 | 1.089 | -13.988 | 727.936 | 0.271 | 61.035 | 80.4
27200 | 0.968 | 1.108 | -13.87 | 831.925 | 0.574 | 65.808 | 86.158
27300 | 1.008 | 1.115 | -13.736 | 727.936 | 0.649 | 70.354 | 91.613
27400 | 1.048 | 1.143 | -13.619 | 831.925 | 0.498 | 73.687 | 96.31
27500 | 1.089 | 1.141 | -13.468 | 727.931 | 0.725 | 77.096 | 99.947
27600 | 1.129 | 1.177 | -13.35 | 935.913 | 0.574 | 79.824 | 103.887
27700 | 1.169 | 1.167 | -13.183 | 727.936 | 1.028 | 82.021 | 107.523
27800 | 1.209 | 1.211 | -13.065 | 1039.913 | 0.725 | 84.294 | 110.251
27900 | 1.25 | 1.191 | -12.881 | 727.936 | 1.028 | 86.188 | 113.281
28000 | 1.29 | 1.227 | -12.747 | 1143.89 | 2.467 | 87.552 | 115.251
28100 | 1.33 | 1.283 | -12.629 | 831.925 | 7.547 | 84.445 | 120.706
28200 | 1.371 | 1.309 | -12.478 | 727.936 | 9.289 | 83.839 | 124.342
28300 | 1.411 | 1.289 | -12.277 | 935.913 | 9.592 | 84.824 | 127.07
28400 | 1.451 | 1.306 | -12.108 | 1247.896 | 9.668 | 86.643 | 129.04
28500 | 1.492 | 1.311 | -11.924 | 1046.413 | 9.819 | 87.324 | 130.252
28600 | 1.532 | 1.337 | -11.756 | 1143.89 | 10.425 | 87.476 | 132.07
28700 | 1.572 | 1.35 | -11.572 | 1039.902 | 10.804 | 88.082 | 133.434
28800 | 1.613 | 1.4 | -11.421 | 1143.902 | 11.637 | 87.627 | 135.101
28900 | 1.653 | 1.388 | -11.203 | 935.913 | 12.698 | 87.703 | 136.01
29000 | 1.693 | 1.396 | -11.002 | 1351.885 | 13.001 | 87.476 | 138.283
29100 | 1.734 | 1.392 | -10.784 | 1247.89 | 12.546 | 88.84 | 138.283
29200 | 1.774 | 1.442 | -10.616 | 1351.885 | 12.395 | 89.143 | 138.283
29300 | 1.814 | 1.429 | -10.381 | 1039.902 | 13.379 | 88.688 | 139.04
29400 | 1.855 | 1.42 | -10.146 | 1455.873 | 13.455 | 88.84 | 140.859
29500 | 1.895 | 1.449 | -9.945 | 1455.867 | 13.152 | 89.749 | 140.859
29600 | 1.935 | 1.448 | -9.71 | 1247.89 | 13.834 | 88.84 | 141.465
29700 | 1.975 | 1.501 | -9.526 | 1455.867 | 13.985 | 88.991 | 141.768
29800 | 2.016 | 1.508 | -9.291 | 1143.896 | 15.5 | 87.097 | 143.435
29900 | 2.056 | 1.536 | -9.073 | 1455.873 | 16.258 | 87.476 | 144.495
30000 | 2.096 | 1.518 | -8.805 | 1351.879 | 17.015 | 86.794 | 145.405
30100 | 2.137 | 1.571 | -8.603 | 1663.85 | 16.864 | 87.552 | 146.314
30200 | 2.177 | 1.56 | -8.335 | 1247.896 | 17.924 | 87.173 | 146.92
30300 | 2.217 | 1.588 | -8.1 | 1663.85 | 18.379 | 86.415 | 147.98
30400 | 2.258 | 1.567 | -7.814 | 1455.867 | 18.909 | 86.34 | 148.587
30500 | 2.298 | 1.62 | -7.596 | 1774.343 | 18.757 | 86.264 | 148.587
30600 | 2.338 | 1.609 | -7.311 | 1351.882 | 19.969 | 84.521 | 150.102
30700 | 2.379 | 1.652 | -7.076 | 1767.844 | 20.348 | 85.43 | 150.405
30800 | 2.419 | 1.666 | -6.808 | 1455.864 | 20.651 | 84.673 | 151.011
30900 | 2.419 | 1.639 | -6.54 | 1663.856 | 22.166 | 83.839 | 152.526
31000 | 2.419 | 1.647 | -6.305 | 1663.85 | 21.939 | 84.673 | 152.223
31100 | 2.419 | 1.587 | -6.003 | 1455.87 | 21.333 | 84.9 | 152.526
31200 | 2.419 | 1.543 | -5.718 | 1871.832 | 20.121 | 86.264 | 151.769
31300 | 2.419 | 1.534 | -5.466 | 1767.844 | 18.076 | 88.764 | 150.102
31400 | 2.419 | 1.524 | -5.215 | 1559.861 | 17.394 | 88.991 | 148.587
31500 | 2.419 | 1.548 | -4.997 | 1559.864 | 17.015 | 88.612 | 148.435
31600 | 2.419 | 1.538 | -4.745 | 1351.876 | 17.621 | 87.931 | 147.98
31700 | 2.419 | 1.512 | -4.477 | 1559.864 | 17.47 | 87.703 | 147.829
31800 | 2.419 | 1.502 | -4.225 | 1663.85 | 16.485 | 88.84 | 146.92
31900 | 2.419 | 1.543 | -4.024 | 1559.861 | 16.03 | 89.143 | 146.617
32000 | 2.419 | 1.567 | -3.806 | 1247.89 | 16.409 | 87.552 | 146.92
32100 | 2.419 | 1.539 | -3.537 | 1351.877 | 18.303 | 86.415 | 147.223
32200 | 2.419 | 1.53 | -3.285 | 1670.353 | 17.621 | 87.249 | 148.587
32300 | 2.419 | 1.537 | -3.051 | 1559.86 | 16.939 | 87.931 | 147.677
32400 | 2.419 | 1.527 | -2.799 | 1455.87 | 17.091 | 87.855 | 147.526
32500 | 2.298 | 1.447 | -2.598 | 1559.86 | 17.167 | 87.855 | 147.526
32600 | 2.177 | 1.271 | -2.313 | 1247.89 | 14.591 | 89.976 | 146.768
32700 | 2.056 | 1.183 | -2.128 | 1767.843 | 9.744 | 95.507 | 142.98
32800 | 1.935 | 1.066 | -1.927 | 1143.897 | 6.638 | 97.325 | 137.222
32900 | 1.814 | 1.005 | -1.793 | 1247.89 | 4.815 | 97.098 | 133.737
33000 | 1.693 | 0.948 | -1.675 | 831.924 | 3.301 | 96.189 | 128.737
33100 | 1.572 | 0.862 | -1.541 | 727.936 | 2.846 | 93.613 | 125.252
33200 | 1.451 | 0.798 | -1.441 | 831.927 | 2.013 | 91.643 | 119.948
33300 | 1.33 | 0.738 | -1.357 | 623.944 | 1.255 | 88.84 | 116.009
33400 | 1.209 | 0.666 | -1.273 | 519.954 | 0.649 | 85.658 | 110.402
33500 | 1.089 | 0.616 | -1.223 | 519.955 | 0.346 | 82.021 | 105.553
33600 | 0.968 | 0.554 | -1.172 | 311.97 | 0.195 | 77.854 | 99.341
33700 | 0.847 | 0.479 | -1.122 | 311.973 | -0.032 | 73.839 | 94.037
33800 | 0.726 | 0.426 | -1.105 | 311.973 | 0.044 | 69.52 | 87.673
33900 | 0.605 | 0.344 | -1.072 | 103.989 | -0.032 | 65.202 | 83.279
34000 | 0.484 | 0.267 | -1.055 | 207.981 | -0.108 | 61.641 | 78.733
34100 | 0.363 | 0.178 | -1.038 | 103.992 | -0.032 | 58.61 | 75.248
34200 | 0.242 | 0.076 | -1.021 | 103.989 | 0.044 | 56.11 | 71.612
34300 | 0.121 | 0 | -1.021 | 103.992 | -0.108 | 52.928 | 67.824