## Data
Log File Data
2007-10-25 20:15 | MERIT Configuration Data
Test Description: Day 4 Testing - Shot 3024, with beam, 2500A
Mode = Triggered
LogFile = C:\MERIT Data\071025 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
200 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
300 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.243
400 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.06
500 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.363
600 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | 0.092
700 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.363
800 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
900 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
1000 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.698
1100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
1200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | -0.363
1300 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | -0.06
1400 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | 0.243
1500 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
1600 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
1700 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.06
1800 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
1900 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.395
2000 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.06
2100 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | -0.06
2200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | -0.06
2300 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
2400 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.243
2500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
2600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
2700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.092
2800 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
2900 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
3000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
3100 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | 0.243
3200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
3300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
3400 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.092
3500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
3600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.363
3700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.363
3800 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
3900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
4000 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.243
4100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | -0.06
4200 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.092
4300 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
4400 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
4500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
4600 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
4700 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.363
4800 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
4900 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | 0.092
5000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
5100 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.243
5200 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | -0.363
5300 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.06
5400 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.06
5500 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.546
5600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
5700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.363
5800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
5900 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.546
6000 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.243
6100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.546
6200 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.092
6300 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
6400 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.363
6500 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.395
6600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.363
6700 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.363
6800 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
6900 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.546
7000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
7100 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.06
7200 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.092
7300 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
7400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.363
7500 | 0 | 0 | -14.96 | 0 | 0 | 1.561 | 0.092
7600 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
7700 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.06
7800 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.243
7900 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.092
8000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
8100 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
8200 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
8300 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
8400 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.363
8500 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.243
8600 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
8700 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.363
8800 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.363
8900 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
9000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
9100 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
9200 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.06
9300 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | -0.06
9400 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.092
9500 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
9600 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.363
9700 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.06
9800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
9900 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.06
10000 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
10100 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.243
10200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
10300 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.06
10400 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.546
10500 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | -0.06
10600 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.363
10700 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | -0.363
10800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
10900 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
11000 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
11100 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
11200 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.363
11300 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
11400 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.395
11500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.395
11600 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | -0.06
11700 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
11800 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.06
11900 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
12000 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.243
12100 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
12200 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
12300 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.092
12400 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.395
12500 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
12600 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
12700 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.243
12800 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.243
12900 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.363
13000 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.092
13100 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
13200 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | -0.363
13300 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | -0.06
13400 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
13500 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
13600 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | -0.06
13700 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.092
13800 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.092
13900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
14000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.395
14100 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.092
14200 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.363
14300 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.363
14400 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.395
14500 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
14600 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | -0.06
14700 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
14800 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
14900 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
15000 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.243
15100 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | -0.363
15200 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | -0.363
15300 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.363
15400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
15500 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | -0.06
15600 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
15700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
15800 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
15900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
16000 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.092
16100 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
16200 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.363
16300 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.363
16400 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.363
16500 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
16600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.243
16700 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.092
16800 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.363
16900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
17000 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
17100 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.243
17200 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.243
17300 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.363
17400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.06
17500 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.092
17600 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
17700 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | -0.363
17800 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
17900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.092
18000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.092
18100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.363
18200 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.514
18300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
18400 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | -0.06
18500 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
18600 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.698
18700 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
18800 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.092
18900 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.092
19000 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.092
19100 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.092
19200 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.363
19300 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
19400 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | -0.363
19500 | 0 | 0 | -15.044 | 0 | 0 | 1.561 | 0.092
19600 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | -0.06
19700 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.243
19800 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.363
19900 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.092
20000 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.395
20100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.243
20200 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.363
20300 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.092
20400 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | -0.06
20500 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
20600 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
20700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
20800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
20900 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
21000 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
21100 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
21200 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.092
21300 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
21400 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
21500 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
21600 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
21700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.243
21800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.092
21900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.06
22000 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
22100 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.092
22200 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.363
22300 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.06
22400 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.666
22500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | -0.514
22600 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.092
22700 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.06
22800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
22900 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.243
23000 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.06
23100 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.243
23200 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
23300 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.363
23400 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.092
23500 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.243
23600 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
23700 | 0.04 | 0.04 | -15.078 | 0 | -0.032 | 1.334 | 0.395
23800 | 0.081 | 0.064 | -15.061 | 0 | -0.032 | 1.258 | 0.092
23900 | 0.121 | 0.116 | -15.061 | 103.988 | -0.032 | 1.334 | 0.092
24000 | 0.161 | 0.189 | -15.078 | 0 | -0.108 | 1.41 | -0.06
24100 | 0.202 | 0.25 | -15.078 | -103.988 | -0.108 | 1.182 | 0.243
24200 | 0.242 | 0.298 | -15.061 | 0 | -0.032 | 1.182 | 0.092
24300 | 0.282 | 0.383 | -15.078 | 103.988 | -0.032 | 1.031 | 0.546
24400 | 0.323 | 0.455 | -15.078 | -103.988 | -0.032 | 0.576 | 0.698
24500 | 0.363 | 0.515 | -15.061 | 0 | -0.108 | 0.5 | 0.849
24600 | 0.403 | 0.613 | -15.078 | 103.988 | -0.108 | 0.5 | 0.698
24700 | 0.443 | 0.681 | -15.061 | -103.988 | -0.184 | 0.576 | 1.91
24800 | 0.484 | 0.769 | -15.061 | 103.988 | -0.184 | 1.41 | 2.819
24900 | 0.524 | 0.828 | -15.027 | 0 | -0.184 | 2.622 | 5.85
25000 | 0.564 | 0.908 | -15.011 | 207.983 | -0.032 | 4.516 | 7.82
25100 | 0.605 | 0.959 | -14.96 | 103.988 | -0.108 | 8.077 | 12.365
25200 | 0.645 | 0.98 | -14.876 | 311.977 | 0.044 | 12.319 | 18.426
25300 | 0.685 | 0.988 | -14.776 | 519.948 | -0.032 | 18.987 | 26.609
25400 | 0.726 | 1.017 | -14.692 | 623.942 | 0.119 | 26.563 | 36.003
25500 | 0.766 | 1.05 | -14.608 | 519.96 | 0.195 | 33.457 | 45.701
25600 | 0.806 | 1.071 | -14.507 | 519.96 | 0.422 | 41.867 | 55.702
25700 | 0.847 | 1.061 | -14.373 | 623.93 | 0.119 | 48.61 | 65.248
25800 | 0.887 | 1.073 | -14.256 | 831.937 | 0.346 | 55.58 | 72.672
25900 | 0.927 | 1.105 | -14.155 | 727.936 | 0.271 | 61.035 | 79.643
26000 | 0.968 | 1.092 | -14.004 | 623.936 | 0.649 | 66.338 | 86.916
26100 | 1.008 | 1.115 | -13.887 | 935.925 | 0.574 | 70.581 | 92.219
26200 | 1.048 | 1.143 | -13.77 | 727.931 | 0.574 | 73.687 | 96.613
26300 | 1.089 | 1.158 | -13.635 | 727.936 | 0.725 | 77.172 | 100.098
26400 | 1.129 | 1.144 | -13.468 | 831.925 | 0.725 | 80.582 | 104.796
26500 | 1.169 | 1.183 | -13.35 | 1039.902 | 0.574 | 82.854 | 107.826
26600 | 1.209 | 1.177 | -13.183 | 727.936 | 1.028 | 84.673 | 110.251
26700 | 1.25 | 1.191 | -13.032 | 1039.913 | 0.801 | 87.097 | 113.281
26800 | 1.29 | 1.227 | -12.898 | 935.913 | 3.301 | 87.931 | 114.948
26900 | 1.33 | 1.282 | -12.78 | 831.925 | 7.926 | 83.764 | 121.312
27000 | 1.371 | 1.309 | -12.629 | 727.936 | 9.516 | 83.991 | 124.646
27100 | 1.411 | 1.323 | -12.462 | 935.913 | 10.122 | 84.976 | 127.525
27200 | 1.451 | 1.307 | -12.26 | 1039.913 | 10.425 | 86.188 | 129.949
27300 | 1.492 | 1.328 | -12.092 | 1247.884 | 10.274 | 87.173 | 131.767
27400 | 1.532 | 1.32 | -11.89 | 1046.413 | 11.183 | 88.234 | 133.131
27500 | 1.572 | 1.333 | -11.706 | 1247.878 | 11.031 | 88.385 | 133.737
27600 | 1.613 | 1.35 | -11.521 | 1143.902 | 11.183 | 88.688 | 134.949
27700 | 1.653 | 1.371 | -11.337 | 1143.896 | 11.789 | 88.764 | 135.404
27800 | 1.693 | 1.38 | -11.136 | 1143.902 | 12.243 | 88.688 | 136.616
27900 | 1.734 | 1.392 | -10.934 | 1247.89 | 12.016 | 88.764 | 137.525
28000 | 1.774 | 1.425 | -10.75 | 1247.884 | 12.319 | 89.37 | 137.98
28100 | 1.814 | 1.412 | -10.515 | 1143.902 | 13.152 | 88.991 | 139.192
28200 | 1.855 | 1.454 | -10.331 | 1455.873 | 13.379 | 89.219 | 139.798
28300 | 1.895 | 1.449 | -10.096 | 1143.89 | 13.91 | 88.991 | 140.859
28400 | 1.935 | 1.448 | -9.861 | 1455.873 | 14.44 | 88.915 | 141.768
28500 | 1.975 | 1.501 | -9.677 | 1455.873 | 14.288 | 89.446 | 142.222
28600 | 2.016 | 1.508 | -9.442 | 1143.896 | 15.652 | 88.688 | 142.829
28700 | 2.056 | 1.519 | -9.207 | 1455.873 | 16.409 | 87.779 | 145.101
28800 | 2.096 | 1.551 | -8.989 | 1455.873 | 16.712 | 87.552 | 145.101
28900 | 2.137 | 1.57 | -8.754 | 1351.873 | 17.621 | 87.097 | 146.617
29000 | 2.177 | 1.527 | -8.453 | 1455.873 | 18.757 | 86.643 | 147.374
29100 | 2.217 | 1.571 | -8.235 | 1871.832 | 17.697 | 87.249 | 147.98
29200 | 2.258 | 1.585 | -7.983 | 1351.879 | 18.303 | 87.249 | 147.526
29300 | 2.298 | 1.586 | -7.714 | 1559.861 | 19.288 | 85.809 | 148.89
29400 | 2.338 | 1.625 | -7.479 | 1670.355 | 19.439 | 86.264 | 149.041
29500 | 2.379 | 1.618 | -7.194 | 1455.87 | 20.575 | 85.809 | 150.102
29600 | 2.419 | 1.649 | -6.942 | 1767.838 | 21.181 | 85.279 | 151.465
29700 | 2.419 | 1.639 | -6.691 | 1559.864 | 21.03 | 84.597 | 151.769
29800 | 2.419 | 1.63 | -6.439 | 1559.861 | 21.863 | 84.445 | 153.132
29900 | 2.419 | 1.553 | -6.12 | 1559.858 | 21.333 | 85.279 | 151.617
30000 | 2.419 | 1.527 | -5.852 | 1975.824 | 19.06 | 87.855 | 151.314
30100 | 2.419 | 1.534 | -5.617 | 1663.853 | 17.015 | 89.219 | 148.89
30200 | 2.419 | 1.526 | -5.366 | 1455.87 | 17.47 | 88.688 | 148.435
30300 | 2.419 | 1.531 | -5.131 | 1559.861 | 17.242 | 88.385 | 147.829
30400 | 2.419 | 1.505 | -4.863 | 1455.87 | 17.318 | 88.234 | 147.526
30500 | 2.419 | 1.545 | -4.661 | 1663.856 | 16.485 | 88.84 | 146.768
30600 | 2.419 | 1.519 | -4.393 | 1247.884 | 17.545 | 86.946 | 147.526
30700 | 2.419 | 1.526 | -4.158 | 1663.85 | 17.015 | 88.006 | 147.526
30800 | 2.419 | 1.533 | -3.924 | 1455.87 | 16.939 | 88.158 | 147.223
30900 | 2.419 | 1.557 | -3.706 | 1455.871 | 17.47 | 88.006 | 146.768
31000 | 2.419 | 1.546 | -3.453 | 1351.882 | 18.227 | 87.173 | 147.223
31100 | 2.419 | 1.52 | -3.185 | 1566.359 | 18.151 | 87.173 | 148.132
31200 | 2.419 | 1.51 | -2.933 | 1663.854 | 17.015 | 88.461 | 147.677
31300 | 2.298 | 1.413 | -2.715 | 1559.86 | 16.409 | 88.84 | 146.92
31400 | 2.177 | 1.254 | -2.447 | 1351.882 | 13.455 | 92.855 | 144.192
31500 | 2.056 | 1.183 | -2.279 | 1663.85 | 9.365 | 95.81 | 141.465
31600 | 1.935 | 1.066 | -2.078 | 1039.908 | 6.562 | 97.931 | 136.01
31700 | 1.814 | 1.005 | -1.944 | 1247.89 | 4.588 | 96.871 | 133.434
31800 | 1.693 | 0.948 | -1.826 | 831.924 | 3.755 | 96.719 | 128.131
31900 | 1.572 | 0.862 | -1.692 | 727.936 | 2.695 | 94.522 | 123.736
32000 | 1.451 | 0.831 | -1.625 | 831.927 | 1.71 | 91.87 | 120.706
32100 | 1.33 | 0.738 | -1.508 | 415.962 | 1.483 | 89.294 | 115.706
32200 | 1.209 | 0.7 | -1.457 | 727.935 | 0.952 | 85.885 | 111.16
32300 | 1.089 | 0.616 | -1.374 | 311.97 | 0.574 | 82.4 | 105.402
32400 | 0.968 | 0.554 | -1.323 | 519.954 | 0.346 | 78.536 | 100.856
32500 | 0.847 | 0.496 | -1.29 | 311.973 | 0.044 | 75.505 | 94.189
32600 | 0.726 | 0.409 | -1.239 | 207.981 | -0.108 | 70.354 | 88.734
32700 | 0.605 | 0.344 | -1.223 | 311.973 | -0.032 | 66.262 | 84.34
32800 | 0.484 | 0.267 | -1.206 | 103.989 | -0.032 | 63.232 | 80.097
32900 | 0.363 | 0.161 | -1.172 | 103.992 | 0.044 | 59.747 | 75.551
33000 | 0.242 | 0.076 | -1.172 | 207.98 | -0.108 | 56.868 | 71.612
33100 | 0.121 | 0 | -1.172 | 0 | -0.032 | 54.292 | 68.733