## Data
Log File Data
2007-10-29 12:16 | MERIT Configuration Data
Test Description: Shot 6005, 5T field, 10TP.
Mode = Triggered
LogFile = C:\MERIT Data\071029 logfile.txt
Trigger-Pulse Delay (s) = 15.170000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -16.084 | 0 | 0 | 1.788 | 0.546
100 | 0 | 0 | -16.084 | 0 | 0 | 2.091 | 0.698
200 | 0 | 0 | -16.084 | 0 | 0 | 1.94 | 0.546
300 | 0 | 0 | -16.084 | 0 | 0 | 1.788 | 0.243
400 | 0 | 0 | -16.084 | 0 | 0 | 1.788 | 0.395
500 | 0 | 0 | -16.084 | 0 | 0 | 1.713 | 0.849
600 | 0 | 0 | -16.101 | 0 | 0 | 1.713 | 0.395
700 | 0 | 0 | -16.084 | 0 | 0 | 1.561 | -0.06
800 | 0 | 0 | -16.101 | 0 | 0 | 1.637 | 0.243
900 | 0 | 0 | -16.084 | 0 | 0 | 1.788 | 0.395
1000 | 0 | 0 | -16.084 | 0 | 0 | 1.864 | 0.092
1100 | 0 | 0 | -16.084 | 0 | 0 | 1.94 | 0.698
1200 | 0 | 0 | -16.084 | 0 | 0 | 1.637 | 0.243
1300 | 0 | 0 | -16.084 | 0 | 0 | 1.713 | 0.395
1400 | 0 | 0 | -16.084 | 0 | 0 | 1.637 | 0.395
1500 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
1600 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.698
1700 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.395
1800 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
1900 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.243
2000 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.546
2100 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.698
2200 | 0 | 0 | -16.084 | 0 | 0 | 1.788 | 0.395
2300 | 0 | 0 | -16.101 | 0 | 0 | 1.713 | 0.092
2400 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.243
2500 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.546
2600 | 0 | 0 | -16.101 | 0 | 0 | 1.864 | 0.698
2700 | 0 | 0 | -16.101 | 0 | 0 | 1.637 | 0.546
2800 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.395
2900 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
3000 | 0 | 0 | -16.101 | 0 | 0 | 2.091 | 0.546
3100 | 0 | 0 | -16.101 | 0 | 0 | 1.864 | 0.698
3200 | 0 | 0 | -16.101 | 0 | 0 | 1.713 | 0.395
3300 | 0 | 0 | -16.101 | 0 | 0 | 1.864 | 0.395
3400 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
3500 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.849
3600 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.243
3700 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
3800 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
3900 | 0 | 0 | -16.101 | 0 | 0 | 1.94 | 0.395
4000 | 0 | 0 | -16.101 | 0 | 0 | 1.713 | 0.546
4100 | 0 | 0 | -16.101 | 0 | 0 | 1.485 | 0.546
4200 | 0 | 0 | -16.101 | 0 | 0 | 1.788 | 0.243
4300 | 0 | 0 | -16.101 | 0 | 0 | 2.091 | 0.092
4400 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
4500 | 0 | 0 | -16.101 | 0 | 0 | 1.713 | 0.698
4600 | 0 | 0 | -16.117 | 0 | 0 | 1.637 | 0.698
4700 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.546
4800 | 0 | 0 | -16.117 | 0 | 0 | 1.94 | 0.546
4900 | 0 | 0 | -16.117 | 0 | 0 | 2.091 | 0.546
5000 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.546
5100 | 0 | 0 | -16.117 | 0 | 0 | 1.864 | 0.395
5200 | 0 | 0 | -16.117 | 0 | 0 | 1.485 | 0.849
5300 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.546
5400 | 0 | 0 | -16.117 | 0 | 0 | 2.091 | 0.395
5500 | 0 | 0 | -16.117 | 0 | 0 | 2.167 | 0.395
5600 | 0 | 0 | -16.117 | 0 | 0 | 1.94 | 0.698
5700 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.849
5800 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.395
5900 | 0 | 0 | -16.117 | 0 | 0 | 1.94 | 0.243
6000 | 0 | 0 | -16.117 | 0 | 0 | 2.167 | 0.395
6100 | 0 | 0 | -16.117 | 0 | 0 | 1.713 | 0.243
6200 | 0 | 0 | -16.117 | 0 | 0 | 1.561 | 0.395
6300 | 0 | 0 | -16.117 | 0 | 0 | 1.561 | 0.395
6400 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
6500 | 0 | 0 | -16.117 | 0 | 0 | 1.864 | 0.698
6600 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
6700 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
6800 | 0 | 0 | -16.117 | 0 | 0 | 1.788 | 0.395
6900 | 0 | 0 | -16.117 | 0 | 0 | 1.713 | 0.698
7000 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.243
7100 | 0 | 0 | -16.134 | 0 | 0 | 2.091 | 0.546
7200 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.395
7300 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.395
7400 | 0 | 0 | -16.134 | 0 | 0 | 1.864 | 0.698
7500 | 0 | 0 | -16.117 | 0 | 0 | 1.864 | 0.698
7600 | 0 | 0 | -16.134 | 0 | 0 | 2.091 | 0.243
7700 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.243
7800 | 0 | 0 | -16.134 | 0 | 0 | 1.864 | 0.395
7900 | 0 | 0 | -16.134 | 0 | 0 | 1.637 | 0.698
8000 | 0 | 0 | -16.134 | 0 | 0 | 1.788 | 0.698
8100 | 0.04 | 0.04 | -16.134 | 0 | -0.032 | 1.864 | 0.698
8200 | 0.081 | 0.081 | -16.134 | 0 | -0.032 | 1.561 | 0.546
8300 | 0.121 | 0.133 | -16.134 | 0 | -0.032 | 1.788 | -0.06
8400 | 0.161 | 0.189 | -16.134 | 0 | 0.044 | 1.485 | 0.395
8500 | 0.202 | 0.25 | -16.134 | 0 | -0.032 | 1.713 | 0.546
8600 | 0.242 | 0.314 | -16.134 | 0 | 0.044 | 1.334 | 0.849
8700 | 0.282 | 0.383 | -16.134 | 0 | 0.044 | 1.258 | 1.001
8800 | 0.323 | 0.456 | -16.134 | 0 | -0.032 | 0.955 | 1.001
8900 | 0.363 | 0.515 | -16.117 | 0 | -0.032 | 0.955 | 1.001
9000 | 0.403 | 0.613 | -16.134 | 103.988 | -0.032 | 1.107 | 1.001
9100 | 0.443 | 0.697 | -16.134 | -103.988 | 0.044 | 1.334 | 1.759
9200 | 0.484 | 0.786 | -16.134 | 0 | 0.044 | 2.243 | 3.425
9300 | 0.524 | 0.879 | -16.134 | 0 | 0.044 | 3.682 | 5.85
9400 | 0.564 | 0.942 | -16.101 | 0 | -0.032 | 4.592 | 9.032
9500 | 0.605 | 0.993 | -16.05 | 207.977 | -0.032 | 8.683 | 14.335
9600 | 0.645 | 1.014 | -15.966 | 311.965 | -0.032 | 14.289 | 21.911
9700 | 0.685 | 1.022 | -15.866 | 519.954 | 0.044 | 22.926 | 31.912
9800 | 0.726 | 1.051 | -15.782 | 623.948 | 0.119 | 30.73 | 42.064
9900 | 0.766 | 1.05 | -15.665 | 519.954 | 0.346 | 39.518 | 53.429
10000 | 0.806 | 1.054 | -15.547 | 727.936 | 0.195 | 46.867 | 61.914
10100 | 0.847 | 1.078 | -15.447 | 727.936 | 0.044 | 53.686 | 70.551
10200 | 0.887 | 1.09 | -15.329 | 623.948 | 0.574 | 59.368 | 78.885
10300 | 0.927 | 1.089 | -15.195 | 727.936 | 0.498 | 64.596 | 85.4
10400 | 0.968 | 1.092 | -15.061 | 831.919 | 0.649 | 69.596 | 90.704
10500 | 1.008 | 1.099 | -14.927 | 831.925 | 0.649 | 73.763 | 96.007
10600 | 1.048 | 1.143 | -14.826 | 831.925 | 0.574 | 76.339 | 99.795
10700 | 1.089 | 1.125 | -14.658 | 623.948 | 0.574 | 79.294 | 104.038
10800 | 1.129 | 1.144 | -14.524 | 1039.902 | 0.801 | 82.021 | 107.22
10900 | 1.169 | 1.167 | -14.39 | 831.925 | 0.952 | 83.764 | 109.19
11000 | 1.209 | 1.16 | -14.222 | 831.925 | 0.877 | 85.355 | 112.069
11100 | 1.25 | 1.208 | -14.105 | 1039.913 | 0.952 | 87.173 | 114.039
11200 | 1.29 | 1.21 | -13.937 | 727.936 | 6.255 | 83.839 | 119.948
11300 | 1.33 | 1.266 | -13.82 | 1039.902 | 8.532 | 83.461 | 123.282
11400 | 1.371 | 1.259 | -13.635 | 727.936 | 8.91 | 85.582 | 125.403
11500 | 1.411 | 1.289 | -13.484 | 1143.902 | 9.062 | 86.036 | 127.828
11600 | 1.451 | 1.307 | -13.317 | 935.913 | 9.668 | 87.097 | 129.494
11700 | 1.492 | 1.295 | -13.116 | 1039.902 | 10.122 | 86.946 | 131.464
11800 | 1.532 | 1.304 | -12.931 | 1247.896 | 9.971 | 88.082 | 132.676
11900 | 1.572 | 1.351 | -12.78 | 1143.902 | 9.895 | 88.234 | 133.434
12000 | 1.613 | 1.334 | -12.562 | 935.913 | 11.713 | 87.249 | 134.949
12100 | 1.653 | 1.372 | -12.394 | 1351.885 | 11.713 | 88.537 | 135.858
12200 | 1.693 | 1.364 | -12.176 | 1039.902 | 11.713 | 88.84 | 136.465
12300 | 1.734 | 1.375 | -11.974 | 1351.879 | 11.94 | 88.915 | 137.677
12400 | 1.774 | 1.392 | -11.773 | 1254.395 | 12.016 | 89.219 | 138.131
12500 | 1.814 | 1.429 | -11.588 | 1247.878 | 12.622 | 88.915 | 139.04
12600 | 1.855 | 1.437 | -11.37 | 1143.902 | 13.607 | 88.612 | 139.798
12700 | 1.895 | 1.449 | -11.152 | 1351.885 | 14.061 | 88.158 | 141.313
12800 | 1.935 | 1.448 | -10.918 | 1351.879 | 14.288 | 88.234 | 142.222
12900 | 1.975 | 1.468 | -10.7 | 1455.873 | 14.516 | 88.385 | 143.132
13000 | 2.016 | 1.508 | -10.498 | 1351.867 | 14.97 | 88.461 | 143.586
13100 | 2.056 | 1.519 | -10.264 | 1247.896 | 16.182 | 86.34 | 144.95
13200 | 2.096 | 1.535 | -10.029 | 1455.867 | 16.712 | 86.87 | 146.162
13300 | 2.137 | 1.52 | -9.761 | 1455.873 | 17.47 | 86.34 | 146.768
13400 | 2.177 | 1.56 | -9.543 | 1663.85 | 17.167 | 87.097 | 147.071
13500 | 2.217 | 1.571 | -9.291 | 1351.879 | 18.227 | 86.491 | 147.677
13600 | 2.258 | 1.619 | -9.073 | 1559.861 | 19.06 | 85.582 | 149.041
13700 | 2.298 | 1.587 | -8.771 | 1351.879 | 20.348 | 84.976 | 149.496
13800 | 2.338 | 1.626 | -8.536 | 1871.838 | 20.121 | 84.673 | 151.162
13900 | 2.379 | 1.636 | -8.268 | 1455.867 | 20.954 | 84.673 | 151.314
14000 | 2.419 | 1.65 | -8 | 1663.85 | 21.636 | 83.536 | 152.526
14100 | 2.419 | 1.623 | -7.73 | 1663.856 | 22.317 | 83.385 | 152.829
14200 | 2.419 | 1.613 | -7.479 | 1670.346 | 21.863 | 84.37 | 152.678
14300 | 2.419 | 1.57 | -7.194 | 1559.867 | 20.651 | 84.673 | 152.375
14400 | 2.419 | 1.577 | -6.959 | 1767.838 | 19.591 | 86.112 | 152.223
14500 | 2.419 | 1.551 | -6.691 | 1455.87 | 19.136 | 86.188 | 151.314
14600 | 2.419 | 1.524 | -6.422 | 1663.856 | 18.53 | 86.567 | 150.253
14700 | 2.419 | 1.548 | -6.204 | 1663.847 | 17.47 | 87.173 | 149.647
14800 | 2.419 | 1.555 | -5.97 | 1351.882 | 17.924 | 87.476 | 148.89
14900 | 2.419 | 1.495 | -5.668 | 1455.873 | 18.606 | 86.34 | 149.344
15000 | 2.419 | 1.502 | -5.433 | 1871.832 | 16.788 | 87.476 | 148.435
15100 | 2.419 | 1.56 | -5.248 | 1455.87 | 15.955 | 88.537 | 147.374
15200 | 2.419 | 1.517 | -4.963 | 1143.896 | 18 | 86.87 | 147.526
15300 | 2.419 | 1.507 | -4.712 | 1767.844 | 18.303 | 86.87 | 147.526
15400 | 2.419 | 1.497 | -4.46 | 1559.861 | 16.409 | 88.082 | 147.829
15500 | 2.419 | 1.521 | -4.242 | 1559.858 | 16.182 | 88.309 | 147.223
15600 | 2.419 | 1.528 | -4.007 | 1351.882 | 16.939 | 87.324 | 146.92
15700 | 2.298 | 1.414 | -3.773 | 1455.87 | 17.318 | 86.87 | 147.526
15800 | 2.177 | 1.287 | -3.537 | 1455.871 | 14.591 | 88.84 | 147.071
15900 | 2.056 | 1.149 | -3.302 | 1462.371 | 10.122 | 94.446 | 141.919
16000 | 1.935 | 1.066 | -3.134 | 1455.87 | 6.562 | 96.946 | 137.828
16100 | 1.814 | 1.005 | -3 | 1039.909 | 5.043 | 97.931 | 131.767
16200 | 1.693 | 0.914 | -2.849 | 831.925 | 3.679 | 95.81 | 128.888
16300 | 1.572 | 0.862 | -2.749 | 935.913 | 2.695 | 93.84 | 124.797
16400 | 1.451 | 0.798 | -2.648 | 623.945 | 1.861 | 91.567 | 119.797
16500 | 1.33 | 0.721 | -2.547 | 623.947 | 1.331 | 88.537 | 115.554
16600 | 1.209 | 0.666 | -2.48 | 623.944 | 0.877 | 85.203 | 110.251
16700 | 1.089 | 0.616 | -2.43 | 415.962 | 0.422 | 81.491 | 105.099
16800 | 0.968 | 0.537 | -2.363 | 311.973 | 0.195 | 77.172 | 99.189
16900 | 0.847 | 0.496 | -2.346 | 415.962 | -0.108 | 73.384 | 94.189
17000 | 0.726 | 0.426 | -2.313 | 103.991 | -0.184 | 69.596 | 87.673
17100 | 0.605 | 0.344 | -2.279 | 207.981 | -0.032 | 64.899 | 82.218
17200 | 0.484 | 0.267 | -2.262 | 207.981 | -0.108 | 62.02 | 78.733
17300 | 0.363 | 0.178 | -2.246 | 103.99 | -0.108 | 58.686 | 74.794
17400 | 0.242 | 0.093 | -2.246 | 103.991 | -0.032 | 55.731 | 70.854
17500 | 0.121 | 0 | -2.246 | 0 | -0.032 | 53.383 | 68.43