## Data
Log File Data
2007-10-29 13:07 | MERIT Configuration Data
Test Description: Shot 6008, 5T field, 10TP.
Mode = Triggered
LogFile = C:\MERIT Data\071029 logfile.txt
Trigger-Pulse Delay (s) = 15.170000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.698
100 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.546
200 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
300 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.546
400 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.698
500 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.395
600 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.546
700 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.546
800 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
900 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
1000 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.546
1100 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.546
1200 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.698
1300 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.546
1400 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.546
1500 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.395
1600 | 0 | 0 | -14.826 | 0 | 0 | 1.788 | 0.698
1700 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
1800 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.395
1900 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.546
2000 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.546
2100 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.395
2200 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.243
2300 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.849
2400 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.698
2500 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 1.152
2600 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 1.001
2700 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.395
2800 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.698
2900 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.546
3000 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
3100 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 1.304
3200 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.395
3300 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.546
3400 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.546
3500 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.849
3600 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 1.001
3700 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.698
3800 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.698
3900 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.698
4000 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.243
4100 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.243
4200 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.243
4300 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
4400 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.698
4500 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.243
4600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.546
4700 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.243
4800 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.395
4900 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
5000 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.698
5100 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.546
5200 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.698
5300 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.395
5400 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
5500 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.698
5600 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
5700 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.849
5800 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.849
5900 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.698
6000 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.243
6100 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
6200 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.546
6300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
6400 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
6500 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.698
6600 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
6700 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
6800 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.849
6900 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.849
7000 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.395
7100 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.395
7200 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
7300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 1.152
7400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
7500 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.243
7600 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
7700 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.546
7800 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
7900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 1.152
8000 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.546
8100 | 0.04 | 0.04 | -14.876 | 0 | 0.044 | 1.637 | 0.395
8200 | 0.081 | 0.081 | -14.876 | 0 | 0.119 | 1.485 | 0.395
8300 | 0.121 | 0.133 | -14.876 | 0 | -0.032 | 1.561 | 0.849
8400 | 0.161 | 0.173 | -14.86 | 0 | -0.032 | 1.334 | 1.152
8500 | 0.202 | 0.233 | -14.86 | 103.988 | -0.108 | 1.258 | 0.546
8600 | 0.242 | 0.314 | -14.876 | 0 | 0.044 | 1.258 | 0.849
8700 | 0.282 | 0.383 | -14.876 | -103.988 | 0.044 | 1.182 | 1.152
8800 | 0.323 | 0.456 | -14.876 | 0 | -0.032 | 1.107 | 1.152
8900 | 0.363 | 0.532 | -14.876 | 0 | 0.044 | 0.955 | 1.455
9000 | 0.403 | 0.613 | -14.876 | 0 | 0.044 | 0.879 | 1.607
9100 | 0.443 | 0.681 | -14.86 | 0 | 0.044 | 1.182 | 2.516
9200 | 0.484 | 0.769 | -14.86 | 103.988 | -0.032 | 1.864 | 4.183
9300 | 0.524 | 0.845 | -14.843 | 0 | -0.032 | 3.076 | 6.304
9400 | 0.564 | 0.875 | -14.776 | 104 | 0.044 | 5.577 | 9.183
9500 | 0.605 | 0.925 | -14.725 | 415.954 | -0.032 | 9.971 | 14.487
9600 | 0.645 | 0.963 | -14.658 | 311.983 | -0.032 | 13.91 | 20.548
9700 | 0.685 | 0.988 | -14.575 | 415.954 | 0.119 | 20.805 | 28.427
9800 | 0.726 | 1.017 | -14.491 | 519.96 | 0.271 | 28.76 | 39.034
9900 | 0.766 | 1.034 | -14.39 | 519.954 | 0.346 | 35.124 | 47.822
10000 | 0.806 | 1.054 | -14.289 | 623.936 | 0.346 | 43.988 | 58.126
10100 | 0.847 | 1.061 | -14.172 | 623.948 | 0.271 | 51.716 | 66.914
10200 | 0.887 | 1.073 | -14.055 | 727.936 | 0.725 | 57.019 | 75.4
10300 | 0.927 | 1.072 | -13.921 | 727.931 | 0.649 | 63.308 | 82.37
10400 | 0.968 | 1.092 | -13.803 | 831.925 | 0.649 | 67.399 | 87.976
10500 | 1.008 | 1.099 | -13.669 | 727.936 | 0.649 | 71.945 | 93.28
10600 | 1.048 | 1.143 | -13.568 | 831.925 | 0.498 | 75.354 | 97.523
10700 | 1.089 | 1.141 | -13.417 | 623.948 | 1.028 | 78.233 | 101.462
10800 | 1.129 | 1.16 | -13.283 | 935.925 | 0.801 | 81.339 | 105.553
10900 | 1.169 | 1.167 | -13.132 | 831.925 | 0.877 | 83.006 | 108.432
11000 | 1.209 | 1.177 | -12.981 | 935.913 | 1.028 | 85.733 | 111.917
11100 | 1.25 | 1.175 | -12.814 | 935.913 | 1.104 | 87.627 | 114.342
11200 | 1.29 | 1.227 | -12.696 | 1039.913 | 4.891 | 86.34 | 117.675
11300 | 1.33 | 1.249 | -12.545 | 727.936 | 8.91 | 83.461 | 123.282
11400 | 1.371 | 1.259 | -12.378 | 935.913 | 8.532 | 85.355 | 125.252
11500 | 1.411 | 1.272 | -12.21 | 1039.902 | 9.213 | 86.188 | 126.767
11600 | 1.451 | 1.272 | -12.024 | 1039.913 | 9.516 | 86.794 | 128.888
11700 | 1.492 | 1.294 | -11.857 | 1150.389 | 9.744 | 87.855 | 130.252
11800 | 1.532 | 1.337 | -11.706 | 1039.913 | 10.35 | 88.158 | 131.616
11900 | 1.572 | 1.35 | -11.521 | 935.913 | 11.334 | 88.082 | 133.282
12000 | 1.613 | 1.367 | -11.337 | 1143.896 | 11.789 | 87.855 | 134.949
12100 | 1.653 | 1.338 | -11.102 | 1143.902 | 12.167 | 88.158 | 136.465
12200 | 1.693 | 1.346 | -10.901 | 1455.873 | 11.41 | 89.522 | 137.222
12300 | 1.734 | 1.375 | -10.716 | 1247.89 | 11.41 | 89.825 | 136.768
12400 | 1.774 | 1.392 | -10.515 | 1143.89 | 12.167 | 89.597 | 137.525
12500 | 1.814 | 1.429 | -10.331 | 1247.896 | 12.849 | 88.915 | 138.586
12600 | 1.855 | 1.42 | -10.096 | 1143.89 | 13.758 | 88.688 | 140.253
12700 | 1.895 | 1.432 | -9.878 | 1455.873 | 13.91 | 88.764 | 141.01
12800 | 1.935 | 1.448 | -9.66 | 1351.879 | 13.985 | 88.84 | 141.313
12900 | 1.975 | 1.468 | -9.442 | 1351.879 | 14.591 | 88.915 | 141.768
13000 | 2.016 | 1.491 | -9.224 | 1351.885 | 15.273 | 88.385 | 142.677
13100 | 2.056 | 1.486 | -8.972 | 1351.873 | 16.03 | 87.855 | 144.192
13200 | 2.096 | 1.518 | -8.754 | 1559.867 | 16.182 | 88.158 | 144.95
13300 | 2.137 | 1.554 | -8.536 | 1351.879 | 16.788 | 87.779 | 145.405
13400 | 2.177 | 1.56 | -8.285 | 1351.879 | 18.303 | 86.264 | 146.465
13500 | 2.217 | 1.604 | -8.067 | 1559.861 | 18.606 | 85.961 | 148.132
13600 | 2.258 | 1.584 | -7.781 | 1351.879 | 20.121 | 85.506 | 149.041
13700 | 2.298 | 1.569 | -7.496 | 1774.346 | 20.272 | 85.279 | 150.708
13800 | 2.338 | 1.625 | -7.278 | 1767.838 | 19.439 | 86.112 | 149.647
13900 | 2.379 | 1.635 | -7.009 | 1351.882 | 20.802 | 84.824 | 150.859
14000 | 2.419 | 1.632 | -6.724 | 1663.853 | 22.014 | 83.839 | 151.617
14100 | 2.419 | 1.572 | -6.422 | 1767.838 | 22.014 | 83.839 | 152.981
14200 | 2.419 | 1.596 | -6.204 | 1871.832 | 20.196 | 86.264 | 152.072
14300 | 2.419 | 1.57 | -5.936 | 1351.882 | 20.196 | 86.34 | 151.011
14400 | 2.419 | 1.56 | -5.684 | 1663.856 | 19.666 | 86.188 | 151.011
14500 | 2.419 | 1.551 | -5.433 | 1559.858 | 18.985 | 87.173 | 150.102
14600 | 2.419 | 1.507 | -5.148 | 1559.861 | 18.53 | 87.249 | 149.041
14700 | 2.419 | 1.531 | -4.93 | 1767.844 | 17.394 | 88.309 | 148.587
14800 | 2.419 | 1.522 | -4.678 | 1351.876 | 17.47 | 88.082 | 147.223
14900 | 2.419 | 1.529 | -4.443 | 1559.864 | 17.848 | 87.552 | 147.829
15000 | 2.419 | 1.519 | -4.192 | 1455.87 | 17.394 | 87.703 | 148.132
15100 | 2.419 | 1.509 | -3.94 | 1559.861 | 17.47 | 87.779 | 147.374
15200 | 2.419 | 1.5 | -3.689 | 1559.86 | 16.864 | 88.082 | 147.374
15300 | 2.419 | 1.506 | -3.453 | 1559.86 | 16.636 | 88.158 | 147.071
15400 | 2.419 | 1.532 | -3.235 | 1462.369 | 16.636 | 88.158 | 146.768
15500 | 2.419 | 1.554 | -3.017 | 1351.882 | 17.47 | 87.097 | 147.526
15600 | 2.419 | 1.527 | -2.749 | 1351.882 | 18.379 | 86.34 | 147.98
15700 | 2.298 | 1.38 | -2.48 | 1663.848 | 18.227 | 86.946 | 147.677
15800 | 2.177 | 1.271 | -2.262 | 1663.853 | 13.607 | 92.325 | 146.465
15900 | 2.056 | 1.133 | -2.028 | 1351.879 | 9.744 | 96.113 | 141.465
16000 | 1.935 | 1.066 | -1.877 | 1455.87 | 6.33 | 97.401 | 137.374
16100 | 1.814 | 0.988 | -1.726 | 935.917 | 4.664 | 97.022 | 132.525
16200 | 1.693 | 0.931 | -1.608 | 935.916 | 3.528 | 95.734 | 128.888
16300 | 1.572 | 0.845 | -1.474 | 727.936 | 2.77 | 93.916 | 124.949
16400 | 1.451 | 0.781 | -1.374 | 831.927 | 1.861 | 91.643 | 119.797
16500 | 1.33 | 0.721 | -1.29 | 623.943 | 1.634 | 89.749 | 114.493
16600 | 1.209 | 0.666 | -1.223 | 519.955 | 0.725 | 86.491 | 110.251
16700 | 1.089 | 0.616 | -1.172 | 415.962 | 0.422 | 82.476 | 105.25
16800 | 0.968 | 0.554 | -1.122 | 311.973 | 0.195 | 78.46 | 99.644
16900 | 0.847 | 0.496 | -1.088 | 311.973 | 0.195 | 75.051 | 93.734
17000 | 0.726 | 0.426 | -1.055 | 207.981 | 0.119 | 70.354 | 89.492
17100 | 0.605 | 0.361 | -1.038 | 207.981 | 0.195 | 66.035 | 84.037
17200 | 0.484 | 0.267 | -1.005 | 103.989 | 0.119 | 62.853 | 79.188
17300 | 0.363 | 0.178 | -0.988 | 207.984 | -0.108 | 59.595 | 75.551
17400 | 0.242 | 0.076 | -0.971 | 103.989 | -0.108 | 57.095 | 72.066
17500 | 0.121 | 0 | -0.971 | 103.992 | 0.044 | 54.368 | 68.43