## Data
Log File Data
2007-11-02 10:27 | MERIT Configuration Data
Test Description: Shot 9004, 5T field, 24GeV, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.395
100 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.395
200 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.698
300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.092
400 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
500 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
600 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.363
700 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.092
800 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.546
900 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
1000 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.06
1100 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
1200 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
1300 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.092
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
1500 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.092
1600 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
1700 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
1800 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.243
1900 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.092
2000 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.698
2100 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.849
2200 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.395
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.243
2400 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.06
2500 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.243
2600 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.546
2700 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.243
2800 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
2900 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
3000 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.363
3100 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
3200 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | -0.06
3300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
3400 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
3500 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | -0.06
3600 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
3700 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.092
3800 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.06
4000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.395
4100 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.243
4200 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | -0.06
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.06
4400 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.363
4500 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.546
4600 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
4700 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.06
4800 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.243
4900 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.06
5000 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
5100 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
5200 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
5300 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
5400 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
5500 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.06
5600 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.092
5700 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
5800 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.243
5900 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
6000 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
6100 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
6200 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.243
6300 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
6400 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.06
6500 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
6600 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | -0.363
6700 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.06
6800 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.363
6900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.395
7000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.243
7100 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
7200 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.243
7300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.243
7400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.546
7500 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | -0.514
7600 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.06
7700 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
7800 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
7900 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
8000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.06
8100 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.243
8200 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
8300 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.546
8400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | -0.06
8500 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.092
8600 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | -0.363
8700 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.395
8800 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
8900 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | -0.06
9000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.06
9100 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
9200 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.092
9300 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | -0.06
9400 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
9500 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.363
9600 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
9700 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.092
9800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | -0.06
9900 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.092
10000 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
10100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
10200 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.395
10300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
10400 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
10500 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
10600 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
10700 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.698
10800 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.849
10900 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.06
11000 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.363
11100 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
11200 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
11300 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
11400 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
11500 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | -0.06
11600 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.092
11700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
11800 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
11900 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.06
12000 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.092
12100 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.395
12200 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.363
12300 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
12400 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.546
12500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
12600 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.092
12700 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
12800 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
12900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
13000 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 1.001
13100 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | 0.243
13200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
13300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
13400 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
13500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
13600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
13700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.363
13800 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | -0.514
13900 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
14000 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.092
14100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
14200 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.06
14300 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.363
14400 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.092
14500 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
14600 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
14700 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
14800 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
14900 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
15000 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.092
15100 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
15200 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.546
15300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
15400 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
15500 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
15600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
15700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.363
15800 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
15900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | -0.06
16000 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | -0.06
16100 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.092
16200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
16300 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | -0.06
16400 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.243
16500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
16600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
16700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
16800 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
16900 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.06
17000 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
17100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.395
17200 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.243
17300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
17400 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
17500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.363
17600 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
17700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.546
17800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.06
17900 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.395
18000 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
18100 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.06
18200 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
18300 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.243
18400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
18500 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.363
18600 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.363
18700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.092
18800 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.698
18900 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
19000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | -0.06
19100 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | -0.06
19200 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.092
19300 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
19400 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.546
19500 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.395
19600 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
19700 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
19800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
19900 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.395
20000 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.06
20100 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | 0.395
20200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
20300 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
20400 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.092
20500 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.698
20600 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.092
20700 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.395
20800 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
20900 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
21000 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
21100 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
21200 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
21300 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
21400 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.06
21500 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.243
21600 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.395
21700 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
21800 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
21900 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.06
22000 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.092
22100 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
22200 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | -0.06
22300 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.363
22400 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.666
22500 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
22600 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
22700 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
22800 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.243
22900 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.395
23000 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | -0.363
23100 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
23200 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | -0.06
23300 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.395
23400 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
23500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
23600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.546
23700 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
23800 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | -0.06
23900 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.092
24000 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.395
24100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.698
24200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
24300 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.243
24400 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.092
24500 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.092
24600 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.395
24700 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.243
24800 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.395
24900 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.092
25000 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.06
25100 | 0.04 | 0.04 | -15.011 | 0 | 87.856 | 1.334 | -0.06
25200 | 0.081 | 0.081 | -15.011 | 0 | 88.159 | 1.258 | 0.092
25300 | 0.121 | 0.116 | -14.994 | 0 | 87.326 | 1.41 | -0.06
25400 | 0.161 | 0.173 | -14.994 | 103.988 | 87.932 | 1.182 | 0.243
25500 | 0.202 | 0.25 | -15.011 | 0 | 88.083 | 1.258 | 0.395
25600 | 0.242 | 0.314 | -15.011 | -103.988 | 88.007 | 1.258 | 0.698
25700 | 0.282 | 0.383 | -15.011 | 0 | 88.083 | 1.182 | 0.243
25800 | 0.323 | 0.456 | -15.011 | 0 | 88.083 | 0.879 | 0.698
25900 | 0.363 | 0.532 | -15.011 | 0 | 87.704 | 1.182 | 1.455
26000 | 0.403 | 0.596 | -14.994 | 0 | 87.553 | 0.804 | 1.001
26100 | 0.443 | 0.697 | -15.011 | 103.988 | 87.629 | 1.107 | 1.759
26200 | 0.484 | 0.769 | -14.994 | -103.988 | 87.402 | 1.561 | 2.516
26300 | 0.524 | 0.879 | -15.011 | 103.988 | 87.477 | 3.001 | 4.183
26400 | 0.564 | 0.959 | -14.994 | -103.988 | 88.007 | 4.667 | 7.668
26500 | 0.605 | 1.009 | -14.943 | 103.988 | 88.083 | 7.546 | 12.214
26600 | 0.645 | 1.03 | -14.86 | 311.977 | 88.083 | 13.683 | 20.396
26700 | 0.685 | 1.039 | -14.759 | 519.948 | 88.007 | 20.956 | 29.639
26800 | 0.726 | 1.034 | -14.642 | 623.948 | 88.083 | 30.502 | 41.155
26900 | 0.766 | 1.067 | -14.558 | 727.931 | 87.629 | 37.624 | 50.701
27000 | 0.806 | 1.071 | -14.44 | 519.96 | 88.083 | 45.352 | 60.399
27100 | 0.847 | 1.095 | -14.34 | 727.936 | 86.947 | 52.171 | 69.187
27200 | 0.887 | 1.09 | -14.206 | 623.942 | 86.038 | 59.065 | 77.37
27300 | 0.927 | 1.122 | -14.105 | 831.925 | 86.417 | 64.368 | 84.491
27400 | 0.968 | 1.092 | -13.937 | 623.948 | 86.796 | 69.444 | 90.855
27500 | 1.008 | 1.132 | -13.837 | 1039.902 | 86.947 | 72.854 | 95.856
27600 | 1.048 | 1.143 | -13.703 | 623.948 | 86.871 | 76.793 | 100.098
27700 | 1.089 | 1.175 | -13.585 | 831.925 | 86.871 | 78.384 | 103.432
27800 | 1.129 | 1.144 | -13.401 | 727.936 | 85.811 | 82.097 | 107.069
27900 | 1.169 | 1.183 | -13.283 | 1143.902 | 86.568 | 84.067 | 109.341
28000 | 1.209 | 1.194 | -13.132 | 727.936 | 87.932 | 84.673 | 112.524
28100 | 1.25 | 1.191 | -12.965 | 935.913 | 86.265 | 86.946 | 114.796
28200 | 1.29 | 1.227 | -12.83 | 1039.902 | 85.584 | 88.461 | 116.312
28300 | 1.33 | 1.249 | -12.68 | 831.925 | 85.129 | 86.946 | 119.342
28400 | 1.371 | 1.292 | -12.545 | 935.925 | 78.838 | 83.764 | 124.797
28500 | 1.411 | 1.323 | -12.394 | 831.925 | 79.595 | 84.37 | 127.525
28600 | 1.451 | 1.29 | -12.176 | 935.913 | 79.746 | 85.582 | 129.343
28700 | 1.492 | 1.344 | -12.041 | 1351.879 | 79.822 | 86.34 | 131.616
28800 | 1.532 | 1.337 | -11.84 | 838.424 | 79.444 | 87.324 | 132.222
28900 | 1.572 | 1.35 | -11.656 | 1247.896 | 78.459 | 87.097 | 134.949
29000 | 1.613 | 1.35 | -11.454 | 1143.89 | 78.838 | 87.779 | 134.949
29100 | 1.653 | 1.388 | -11.287 | 1247.89 | 78.762 | 88.158 | 136.465
29200 | 1.693 | 1.38 | -11.069 | 1039.902 | 78.838 | 88.764 | 136.616
29300 | 1.734 | 1.409 | -10.884 | 1351.885 | 79.368 | 88.461 | 137.98
29400 | 1.774 | 1.409 | -10.666 | 1143.902 | 78.989 | 88.84 | 138.131
29500 | 1.814 | 1.446 | -10.482 | 1351.885 | 78.686 | 88.764 | 138.889
29600 | 1.855 | 1.437 | -10.247 | 1143.89 | 78.459 | 88.234 | 140.404
29700 | 1.895 | 1.449 | -10.029 | 1455.867 | 78.232 | 88.234 | 141.162
29800 | 1.935 | 1.464 | -9.811 | 1351.885 | 78.232 | 88.612 | 141.465
29900 | 1.975 | 1.501 | -9.61 | 1351.879 | 85.811 | 88.537 | 142.222
30000 | 2.016 | 1.508 | -9.375 | 1247.89 | 87.174 | 87.855 | 143.283
30100 | 2.056 | 1.536 | -9.157 | 1455.867 | 86.493 | 87.097 | 144.95
30200 | 2.096 | 1.535 | -8.905 | 1351.885 | 86.493 | 86.567 | 145.708
30300 | 2.137 | 1.554 | -8.671 | 1559.861 | 86.19 | 86.643 | 146.617
30400 | 2.177 | 1.577 | -8.436 | 1455.867 | 86.568 | 86.264 | 146.617
30500 | 2.217 | 1.571 | -8.167 | 1455.873 | 86.947 | 86.036 | 148.283
30600 | 2.258 | 1.619 | -7.949 | 1663.85 | 86.947 | 85.961 | 148.738
30700 | 2.298 | 1.603 | -7.663 | 1351.879 | 85.887 | 84.749 | 149.496
30800 | 2.338 | 1.625 | -7.412 | 1774.343 | 85.432 | 84.673 | 150.405
30900 | 2.379 | 1.635 | -7.143 | 1559.861 | 84.069 | 84.749 | 151.314
31000 | 2.419 | 1.716 | -6.942 | 1663.847 | 85.432 | 83.764 | 151.769
31100 | 2.419 | 1.639 | -6.624 | 1247.893 | 79.519 | 82.551 | 152.678
31200 | 2.419 | 1.596 | -6.338 | 1975.824 | 79.444 | 83.233 | 154.344
31300 | 2.419 | 1.57 | -6.07 | 1767.841 | 84.902 | 85.582 | 152.981
31400 | 2.419 | 1.577 | -5.835 | 1663.85 | 86.038 | 87.173 | 151.617
31500 | 2.419 | 1.551 | -5.567 | 1455.87 | 87.326 | 86.794 | 150.708
31600 | 2.419 | 1.541 | -5.316 | 1663.856 | 84.75 | 87.173 | 149.647
31700 | 2.419 | 1.548 | -5.081 | 1559.861 | 86.72 | 87.703 | 148.738
31800 | 2.419 | 1.505 | -4.796 | 1455.87 | 85.584 | 87.173 | 148.435
31900 | 2.419 | 1.529 | -4.578 | 1767.844 | 86.871 | 88.234 | 148.435
32000 | 2.419 | 1.536 | -4.343 | 1351.876 | 87.023 | 88.082 | 147.071
32100 | 2.419 | 1.577 | -4.142 | 1455.87 | 85.887 | 86.87 | 147.829
32200 | 2.419 | 1.55 | -3.873 | 1247.893 | 90.204 | 86.188 | 148.283
32300 | 2.419 | 1.54 | -3.622 | 1663.848 | 90.659 | 86.036 | 148.89
32400 | 2.419 | 1.496 | -3.336 | 1559.86 | 90.962 | 87.173 | 148.435
32500 | 2.419 | 1.537 | -3.134 | 1774.342 | 90.659 | 88.158 | 147.677
32600 | 2.419 | 1.561 | -2.916 | 1247.893 | 92.552 | 87.779 | 147.071
32700 | 2.419 | 1.551 | -2.665 | 1351.876 | 90.431 | 85.809 | 147.98
32800 | 2.298 | 1.42 | -2.413 | 1559.86 | 91.265 | 86.112 | 148.587
32900 | 2.177 | 1.311 | -2.195 | 1559.863 | 94.294 | 91.34 | 147.223
33000 | 2.056 | 1.173 | -1.961 | 1351.882 | 83.988 | 94.143 | 142.98
33100 | 1.935 | 1.09 | -1.793 | 1455.87 | 84.675 | 96.946 | 138.283
33200 | 1.814 | 0.995 | -1.625 | 1039.905 | 92.022 | 97.098 | 133.131
33300 | 1.693 | 0.938 | -1.508 | 1039.909 | 90.962 | 95.886 | 129.646
33400 | 1.572 | 0.852 | -1.374 | 727.935 | 94.749 | 93.916 | 124.342
33500 | 1.451 | 0.788 | -1.273 | 831.924 | 93.537 | 93.234 | 119.039
33600 | 1.33 | 0.745 | -1.206 | 623.947 | 91.87 | 89.597 | 115.099
33700 | 1.209 | 0.69 | -1.139 | 415.962 | 91.567 | 86.415 | 110.402
33800 | 1.089 | 0.623 | -1.072 | 415.962 | 92.325 | 82.097 | 105.099
33900 | 0.968 | 0.578 | -1.038 | 415.962 | 92.552 | 79.369 | 99.341
34000 | 0.847 | 0.503 | -0.988 | 207.981 | 92.779 | 73.914 | 93.886
34100 | 0.726 | 0.45 | -0.971 | 311.973 | 93.007 | 69.293 | 88.279
34200 | 0.605 | 0.368 | -0.938 | 103.992 | 92.628 | 65.353 | 83.279
34300 | 0.484 | 0.291 | -0.921 | 207.981 | 92.855 | 61.944 | 78.582
34400 | 0.363 | 0.201 | -0.904 | 103.989 | 92.931 | 58.913 | 74.794
34500 | 0.242 | 0.083 | -0.87 | 103.992 | 93.613 | 56.034 | 70.248
34600 | 0.121 | 0 | -0.87 | 207.981 | 93.461 | 53.231 | 67.066