## Data
Log File Data
2007-11-02 14:52 | MERIT Configuration Data
Test Description: Shot 9008, 5T field, 24GeV, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
100 | 0 | 0 | -14.943 | 0 | 0 | 0.728 | 0.092
200 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
300 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
400 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.092
500 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.666
600 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.666
700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.666
800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.243
900 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | 0.395
1000 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.363
1100 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.514
1200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.092
1300 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
1400 | 0 | 0 | -14.943 | 0 | 0 | 0.804 | -0.363
1500 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.514
1600 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.06
1700 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | 0.243
1800 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | 0.243
1900 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | 0.395
2000 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.395
2100 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | 0.395
2200 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | -0.06
2300 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.092
2400 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.06
2500 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.092
2600 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.092
2700 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | 0.092
2800 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.06
2900 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.06
3000 | 0 | 0 | -14.943 | 0 | 0 | 0.879 | 0.092
3100 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.395
3200 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.243
3300 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.06
3400 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.514
3500 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
3600 | 0 | 0 | -14.96 | 0 | 0 | 0.576 | 0.243
3700 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
3800 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.363
3900 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
4000 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.817
4100 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.666
4200 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
4300 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.363
4400 | 0 | 0 | -14.96 | 0 | 0 | 0.879 | -0.06
4500 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
4600 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.06
4700 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
4800 | 0 | 0 | -14.96 | 0 | 0 | 0.804 | 0.092
4900 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.092
5000 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.092
5100 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | 0.243
5200 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.06
5300 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.363
5400 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.06
5500 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
5600 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.06
5700 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.363
5800 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.666
5900 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.06
6000 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
6100 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | -0.06
6200 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | 0.092
6300 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
6400 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.092
6500 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.06
6600 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
6700 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | 0.092
6800 | 0 | 0 | -14.977 | 0 | 0 | 0.804 | 0.092
6900 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | 0.243
7000 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | 0.092
7100 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.092
7200 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.06
7300 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.06
7400 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | -0.06
7500 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | 0.092
7600 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.06
7700 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.243
7800 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.092
7900 | 0 | 0 | -14.977 | 0 | 0 | 0.879 | -0.06
8000 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | 0.092
8100 | 0 | 0 | -14.977 | 0 | 0 | 1.031 | -0.363
8200 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
8300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.092
8400 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.06
8500 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.092
8600 | 0 | 0 | -14.977 | 0 | 0 | 0.728 | 0.092
8700 | 0 | 0 | -14.994 | 0 | 0 | 0.728 | -0.06
8800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.546
8900 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.243
9000 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.06
9100 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.363
9200 | 0 | 0 | -14.977 | 0 | 0 | 1.107 | -0.514
9300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.06
9400 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
9500 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.06
9600 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | 0.092
9700 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.06
9800 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.06
9900 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.243
10000 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.092
10100 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.514
10200 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.514
10300 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.363
10400 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.243
10500 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | 0.395
10600 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.363
10700 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.06
10800 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | -0.363
10900 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.514
11000 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.092
11100 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.395
11200 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | 0.092
11300 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.666
11400 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.06
11500 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | -0.06
11600 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.06
11700 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.092
11800 | 0 | 0 | -14.994 | 0 | 0 | 0.804 | 0.395
11900 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.243
12000 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.06
12100 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.514
12200 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.666
12300 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | -0.514
12400 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
12500 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.363
12600 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | -0.06
12700 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.243
12800 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.092
12900 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | -0.514
13000 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
13100 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.243
13200 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
13300 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.06
13400 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | 0.092
13500 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.363
13600 | 0 | 0 | -14.994 | 0 | 0 | 1.031 | -0.363
13700 | 0 | 0 | -14.994 | 0 | 0 | 0.955 | 0.092
13800 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.092
13900 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.06
14000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.092
14100 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
14200 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.092
14300 | 0 | 0 | -14.994 | 0 | 0 | 0.879 | 0.243
14400 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | -0.06
14500 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
14600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
14700 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
14800 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | 0.243
14900 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.395
15000 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.092
15100 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | -0.363
15200 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.363
15300 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.395
15400 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
15500 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
15600 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.092
15700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.363
15800 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.243
15900 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.06
16000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.666
16100 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | -0.514
16200 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
16300 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
16400 | 0 | 0 | -15.011 | 0 | 0 | 0.728 | 0.092
16500 | 0 | 0 | -15.011 | 0 | 0 | 0.879 | 0.395
16600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.06
16700 | 0 | 0 | -15.011 | 0 | 0 | 0.955 | -0.06
16800 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.092
16900 | 0 | 0 | -15.027 | 0 | 0 | 0.576 | 0.092
17000 | 0 | 0 | -15.011 | 0 | 0 | 1.107 | -0.06
17100 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
17200 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.06
17300 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.092
17400 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.395
17500 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.243
17600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.092
17700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
17800 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.06
17900 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.092
18000 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
18100 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
18200 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
18300 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | 0.243
18400 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.06
18500 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.092
18600 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.363
18700 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.243
18800 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
18900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
19000 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.666
19100 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | -0.06
19200 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.092
19300 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
19400 | 0 | 0 | -15.011 | 0 | 0 | 1.031 | 0.243
19500 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.092
19600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | -0.514
19700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.666
19800 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.092
19900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
20000 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
20100 | 0 | 0 | -15.027 | 0 | 0 | 0.879 | 0.092
20200 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.092
20300 | 0 | 0 | -15.027 | 0 | 0 | 0.955 | -0.666
20400 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.06
20500 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.06
20600 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.06
20700 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | 0.395
20800 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.243
20900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
21000 | 0 | 0 | -15.027 | 0 | 0 | 1.031 | -0.06
21100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
21200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | -0.06
21300 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.092
21400 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.546
21500 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.092
21600 | 0 | 0 | -15.044 | 0 | 0 | 0.879 | -0.06
21700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.06
21800 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.06
21900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | -0.363
22000 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | -0.363
22100 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.395
22200 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.546
22300 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.243
22400 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | -0.363
22500 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
22600 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | -0.363
22700 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.546
22800 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.06
22900 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | -0.06
23000 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.06
23100 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.092
23200 | 0 | 0 | -15.044 | 0 | 0 | 1.031 | 0.092
23300 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | 0.546
23400 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | 0.092
23500 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
23600 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.092
23700 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.092
23800 | 0 | 0 | -15.044 | 0 | 0 | 1.107 | -0.06
23900 | 0 | 0 | -15.044 | 0 | 0 | 0.955 | 0.395
24000 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | 0.092
24100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | -0.06
24200 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | -0.06
24300 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.514
24400 | 0 | 0 | -15.061 | 0 | 0 | 1.107 | -0.06
24500 | 0 | 0 | -15.061 | 0 | 0 | 0.955 | 0.395
24600 | 0 | 0 | -15.061 | 0 | 0 | 1.031 | 0.092
24700 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | -0.514
24800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | -0.363
24900 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.092
25000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.092
25100 | 0.04 | 0.04 | -15.061 | 0 | 105.585 | 1.182 | 0.243
25200 | 0.081 | 0.081 | -15.061 | 0 | 105.434 | 0.955 | 0.243
25300 | 0.121 | 0.133 | -15.061 | 0 | 105.585 | 0.955 | 0.092
25400 | 0.161 | 0.189 | -15.061 | 0 | 105.358 | 0.955 | -0.06
25500 | 0.202 | 0.25 | -15.061 | 0 | 105.585 | 1.258 | 0.092
25600 | 0.242 | 0.314 | -15.061 | 0 | 105.509 | 0.804 | 0.546
25700 | 0.282 | 0.383 | -15.061 | 0 | 105.434 | 0.728 | 0.849
25800 | 0.323 | 0.456 | -15.061 | 0 | 105.509 | 0.804 | 0.546
25900 | 0.363 | 0.532 | -15.061 | 0 | 104.676 | 0.576 | 0.849
26000 | 0.403 | 0.613 | -15.061 | 0 | 105.358 | 0.425 | 0.698
26100 | 0.443 | 0.697 | -15.061 | 0 | 105.055 | 0.576 | 0.849
26200 | 0.484 | 0.786 | -15.061 | 0 | 104.979 | 1.485 | 2.516
26300 | 0.524 | 0.879 | -15.061 | 0 | 104.449 | 2.773 | 4.334
26400 | 0.564 | 0.959 | -15.044 | 0 | 105.509 | 3.91 | 7.517
26500 | 0.605 | 1.026 | -15.011 | 103.994 | 106.949 | 6.183 | 11.305
26600 | 0.645 | 1.064 | -14.943 | 207.977 | 105.737 | 11.486 | 18.123
26700 | 0.685 | 1.072 | -14.843 | 415.965 | 105.509 | 18.987 | 27.366
26800 | 0.726 | 1.068 | -14.725 | 623.948 | 104.752 | 28.457 | 39.185
26900 | 0.766 | 1.067 | -14.608 | 727.936 | 104.903 | 37.927 | 50.853
27000 | 0.806 | 1.087 | -14.507 | 727.936 | 104.752 | 45.049 | 60.247
27100 | 0.847 | 1.095 | -14.39 | 623.93 | 103.919 | 51.943 | 68.884
27200 | 0.887 | 1.09 | -14.256 | 727.936 | 103.767 | 58.08 | 76.915
27300 | 0.927 | 1.122 | -14.155 | 831.937 | 102.399 | 63.611 | 83.279
27400 | 0.968 | 1.108 | -14.004 | 623.936 | 105.434 | 68.308 | 89.795
27500 | 1.008 | 1.149 | -13.904 | 935.925 | 102.702 | 72.02 | 94.492
27600 | 1.048 | 1.143 | -13.753 | 623.93 | 105.434 | 75.657 | 99.189
27700 | 1.089 | 1.175 | -13.635 | 935.925 | 104.676 | 78.233 | 102.068
27800 | 1.129 | 1.177 | -13.484 | 727.936 | 104.146 | 80.733 | 105.856
27900 | 1.169 | 1.2 | -13.35 | 935.913 | 103.919 | 83.006 | 109.19
28000 | 1.209 | 1.177 | -13.166 | 831.925 | 103.843 | 85.43 | 112.069
28100 | 1.25 | 1.225 | -13.048 | 1143.902 | 102.929 | 87.097 | 113.887
28200 | 1.29 | 1.227 | -12.881 | 727.936 | 103.464 | 86.643 | 116.615
28300 | 1.33 | 1.266 | -12.747 | 1039.902 | 94.37 | 84.218 | 121.16
28400 | 1.371 | 1.309 | -12.612 | 831.925 | 92.931 | 83.764 | 124.039
28500 | 1.411 | 1.34 | -12.462 | 831.925 | 93.461 | 85.279 | 126.161
28600 | 1.451 | 1.324 | -12.26 | 935.925 | 94.825 | 85.355 | 130.1
28700 | 1.492 | 1.328 | -12.075 | 1247.884 | 94.9 | 87.097 | 131.767
28800 | 1.532 | 1.337 | -11.89 | 1150.401 | 92.325 | 88.006 | 132.222
28900 | 1.572 | 1.367 | -11.723 | 1143.89 | 94.749 | 88.309 | 133.434
29000 | 1.613 | 1.367 | -11.521 | 1039.913 | 93.991 | 88.082 | 134.798
29100 | 1.653 | 1.388 | -11.337 | 1247.884 | 92.173 | 87.779 | 136.01
29200 | 1.693 | 1.38 | -11.119 | 1143.902 | 93.537 | 87.931 | 136.919
29300 | 1.734 | 1.409 | -10.934 | 1351.879 | 93.385 | 88.84 | 137.677
29400 | 1.774 | 1.459 | -10.767 | 1143.896 | 92.704 | 88.915 | 137.222
29500 | 1.814 | 1.429 | -10.515 | 1039.913 | 92.931 | 87.097 | 139.798
29600 | 1.855 | 1.47 | -10.331 | 1559.861 | 93.461 | 88.309 | 140.253
29700 | 1.895 | 1.465 | -10.096 | 1143.89 | 93.537 | 88.612 | 140.859
29800 | 1.935 | 1.481 | -9.878 | 1455.873 | 92.022 | 88.385 | 141.465
29900 | 1.975 | 1.501 | -9.66 | 1351.879 | 101.869 | 88.385 | 142.222
30000 | 2.016 | 1.525 | -9.442 | 1351.879 | 105.964 | 88.385 | 143.283
30100 | 2.056 | 1.519 | -9.19 | 1351.885 | 103.767 | 87.703 | 143.889
30200 | 2.096 | 1.551 | -8.972 | 1559.861 | 104.146 | 87.552 | 145.101
30300 | 2.137 | 1.554 | -8.721 | 1351.879 | 103.54 | 87.097 | 145.405
30400 | 2.177 | 1.577 | -8.486 | 1559.861 | 102.172 | 86.643 | 146.92
30500 | 2.217 | 1.621 | -8.268 | 1455.873 | 101.717 | 86.643 | 147.374
30600 | 2.258 | 1.619 | -8 | 1351.873 | 103.081 | 85.582 | 148.89
30700 | 2.298 | 1.62 | -7.73 | 1663.856 | 102.323 | 84.976 | 150.102
30800 | 2.338 | 1.659 | -7.496 | 1670.346 | 102.399 | 85.203 | 150.102
30900 | 2.379 | 1.652 | -7.211 | 1455.873 | 102.399 | 84.37 | 151.314
31000 | 2.419 | 1.666 | -6.942 | 1767.844 | 100.43 | 83.839 | 152.678
31100 | 2.419 | 1.673 | -6.707 | 1663.853 | 100.657 | 83.839 | 152.223
31200 | 2.419 | 1.63 | -6.422 | 1455.87 | 100.581 | 83.612 | 153.284
31300 | 2.419 | 1.57 | -6.12 | 1767.838 | 101.414 | 85.127 | 152.678
31400 | 2.419 | 1.577 | -5.886 | 1871.835 | 104.297 | 87.4 | 151.617
31500 | 2.419 | 1.567 | -5.634 | 1455.87 | 101.339 | 87.552 | 149.95
31600 | 2.419 | 1.541 | -5.366 | 1559.864 | 101.187 | 87.097 | 148.738
31700 | 2.419 | 1.565 | -5.148 | 1663.85 | 102.626 | 87.855 | 148.283
31800 | 2.419 | 1.572 | -4.913 | 1351.882 | 102.929 | 87.476 | 148.132
31900 | 2.419 | 1.512 | -4.611 | 1455.87 | 100.808 | 86.567 | 148.587
32000 | 2.419 | 1.553 | -4.41 | 1871.832 | 102.399 | 88.461 | 147.829
32100 | 2.419 | 1.577 | -4.192 | 1247.887 | 102.929 | 88.234 | 147.071
32200 | 2.419 | 1.55 | -3.924 | 1351.882 | 109.221 | 86.264 | 147.829
32300 | 2.419 | 1.574 | -3.706 | 1663.848 | 106.797 | 86.415 | 148.587
32400 | 2.419 | 1.53 | -3.419 | 1351.882 | 107.857 | 86.34 | 149.041
32500 | 2.419 | 1.537 | -3.185 | 1774.343 | 109.6 | 87.097 | 148.435
32600 | 2.419 | 1.544 | -2.95 | 1455.87 | 111.645 | 87.855 | 147.829
32700 | 2.298 | 1.397 | -2.682 | 1455.871 | 110.206 | 86.946 | 147.374
32800 | 2.177 | 1.287 | -2.464 | 1663.848 | 98.006 | 89.976 | 146.465
32900 | 2.056 | 1.183 | -2.262 | 1351.882 | 98.612 | 96.264 | 139.95
33000 | 1.935 | 1.083 | -2.078 | 1247.887 | 99.596 | 96.264 | 137.071
33100 | 1.814 | 1.005 | -1.927 | 1143.9 | 108.16 | 96.34 | 132.828
33200 | 1.693 | 0.948 | -1.81 | 935.916 | 109.221 | 94.901 | 128.434
33300 | 1.572 | 0.879 | -1.692 | 727.935 | 110.281 | 93.158 | 123.585
33400 | 1.451 | 0.831 | -1.608 | 727.936 | 111.569 | 90.885 | 120.1
33500 | 1.33 | 0.772 | -1.524 | 519.952 | 107.327 | 88.158 | 115.706
33600 | 1.209 | 0.7 | -1.441 | 519.954 | 109.372 | 85.203 | 110.402
33700 | 1.089 | 0.633 | -1.374 | 519.955 | 109.372 | 82.248 | 105.705
33800 | 0.968 | 0.57 | -1.323 | 415.962 | 109.903 | 78.081 | 99.341
33900 | 0.847 | 0.496 | -1.273 | 311.973 | 111.417 | 73.687 | 94.037
34000 | 0.726 | 0.443 | -1.256 | 311.973 | 110.812 | 69.596 | 88.886
34100 | 0.605 | 0.361 | -1.223 | 103.989 | 110.206 | 64.974 | 83.734
34200 | 0.484 | 0.284 | -1.206 | 207.981 | 111.417 | 61.944 | 78.582
34300 | 0.363 | 0.194 | -1.189 | 103.992 | 111.645 | 58.913 | 75.248
34400 | 0.242 | 0.11 | -1.189 | 103.989 | 111.645 | 55.58 | 70.854
34500 | 0.121 | 0 | -1.172 | 0 | 110.13 | 53.307 | 67.217