## Data
Log File Data
2007-11-02 15:00 | MERIT Configuration Data
Test Description: Shot 9009, 5T field, 24GeV, 3TP
Mode = Triggered
LogFile = C:\MERIT Data\071102 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | 0.546
100 | 0 | 0 | -14.675 | 0 | 0 | 1.258 | 0.849
200 | 0 | 0 | -14.692 | 0 | 0 | 1.182 | 0.546
300 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | 0.395
400 | 0 | 0 | -14.692 | 0 | 0 | 0.955 | 0.243
500 | 0 | 0 | -14.692 | 0 | 0 | 1.182 | 0.092
600 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | -0.06
700 | 0 | 0 | -14.692 | 0 | 0 | 1.182 | 0.092
800 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.546
900 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 0.243
1000 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.395
1100 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.06
1200 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 0.395
1300 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | 0.243
1400 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.546
1500 | 0 | 0 | -14.692 | 0 | 0 | 1.107 | 0.849
1600 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.395
1700 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | -0.06
1800 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.06
1900 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
2000 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.395
2100 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | 0.849
2200 | 0 | 0 | -14.709 | 0 | 0 | 1.107 | 0.092
2300 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.243
2400 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
2500 | 0 | 0 | -14.709 | 0 | 0 | 0.955 | 0.092
2600 | 0 | 0 | -14.709 | 0 | 0 | 1.031 | 0.395
2700 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.395
2800 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.395
2900 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.395
3000 | 0 | 0 | -14.725 | 0 | 0 | 1.031 | 0.395
3100 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.395
3200 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.243
3300 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.243
3400 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.395
3500 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.243
3600 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.243
3700 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | 0.698
3800 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.243
3900 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.395
4000 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
4100 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.546
4200 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.395
4300 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.546
4400 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.395
4500 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.092
4600 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | 0.698
4700 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | 0.243
4800 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 1.001
4900 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | 0.546
5000 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.395
5100 | 0 | 0 | -14.725 | 0 | 0 | 0.955 | 0.546
5200 | 0 | 0 | -14.725 | 0 | 0 | 1.107 | 0.395
5300 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.06
5400 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.092
5500 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.06
5600 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.698
5700 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.243
5800 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.06
5900 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.395
6000 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.06
6100 | 0 | 0 | -14.742 | 0 | 0 | 1.031 | 0.395
6200 | 0 | 0 | -14.742 | 0 | 0 | 1.107 | 0.546
6300 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.395
6400 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
6500 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.395
6600 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.546
6700 | 0 | 0 | -14.759 | 0 | 0 | 1.107 | 0.395
6800 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
6900 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
7000 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.546
7100 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.698
7200 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.395
7300 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.849
7400 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.363
7500 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.06
7600 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.06
7700 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.363
7800 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 0.092
7900 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | 0.849
8000 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.395
8100 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.243
8200 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.395
8300 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | 0.243
8400 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | -0.06
8500 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.395
8600 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.546
8700 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 0.546
8800 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | 0.243
8900 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.243
9000 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.243
9100 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.243
9200 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | 0.395
9300 | 0 | 0 | -14.776 | 0 | 0 | 1.334 | 0.546
9400 | 0 | 0 | -14.759 | 0 | 0 | 1.031 | -0.06
9500 | 0 | 0 | -14.759 | 0 | 0 | 1.107 | -0.06
9600 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.395
9700 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
9800 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | 0.092
9900 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | -0.06
10000 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
10100 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.395
10200 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.06
10300 | 0 | 0 | -14.776 | 0 | 0 | 1.031 | -0.06
10400 | 0 | 0 | -14.776 | 0 | 0 | 1.334 | 0.395
10500 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.849
10600 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.546
10700 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.092
10800 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.243
10900 | 0 | 0 | -14.776 | 0 | 0 | 0.955 | 0.849
11000 | 0 | 0 | -14.776 | 0 | 0 | 1.107 | 0.092
11100 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | -0.06
11200 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | -0.06
11300 | 0 | 0 | -14.776 | 0 | 0 | 1.334 | 0.092
11400 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.243
11500 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.546
11600 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.395
11700 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.243
11800 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | 0.092
11900 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | 0.395
12000 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.092
12100 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | -0.06
12200 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | -0.363
12300 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | -0.06
12400 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.092
12500 | 0 | 0 | -14.809 | 0 | 0 | 0.879 | 0.395
12600 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | -0.06
12700 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.092
12800 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.092
12900 | 0 | 0 | -14.809 | 0 | 0 | 1.107 | 0.395
13000 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | -0.06
13100 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | 1.001
13200 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | 0.546
13300 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.243
13400 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.092
13500 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | -0.06
13600 | 0 | 0 | -14.809 | 0 | 0 | 1.031 | 0.243
13700 | 0 | 0 | -14.826 | 0 | 0 | 0.955 | 0.395
13800 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | -0.06
13900 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | -0.06
14000 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | -0.06
14100 | 0 | 0 | -14.826 | 0 | 0 | 0.879 | 0.092
14200 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.698
14300 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.243
14400 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | -0.06
14500 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | -0.06
14600 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.243
14700 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.243
14800 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.243
14900 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.395
15000 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.698
15100 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | -0.06
15200 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | -0.06
15300 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | -0.06
15400 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
15500 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.395
15600 | 0 | 0 | -14.826 | 0 | 0 | 1.107 | 0.395
15700 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | -0.363
15800 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.395
15900 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.395
16000 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.092
16100 | 0 | 0 | -14.826 | 0 | 0 | 1.031 | 0.243
16200 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.698
16300 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.698
16400 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 0.395
16500 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.243
16600 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | -0.06
16700 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.363
16800 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.395
16900 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.092
17000 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.546
17100 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.395
17200 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | -0.06
17300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.092
17400 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.243
17500 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.092
17600 | 0 | 0 | -14.843 | 0 | 0 | 1.031 | 0.092
17700 | 0 | 0 | -14.843 | 0 | 0 | 1.107 | 0.395
17800 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 0.395
17900 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.092
18000 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | -0.06
18100 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
18200 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | -0.06
18300 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.243
18400 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
18500 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.243
18600 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | -0.06
18700 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
18800 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.092
18900 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | -0.06
19000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.092
19100 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
19200 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.092
19300 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.092
19400 | 0 | 0 | -14.86 | 0 | 0 | 1.258 | 0.395
19500 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.546
19600 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.243
19700 | 0 | 0 | -14.86 | 0 | 0 | 1.031 | 0.395
19800 | 0 | 0 | -14.86 | 0 | 0 | 0.955 | 0.092
19900 | 0 | 0 | -14.86 | 0 | 0 | 1.182 | 0.092
20000 | 0 | 0 | -14.86 | 0 | 0 | 1.107 | 0.092
20100 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
20200 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.546
20300 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.395
20400 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
20500 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
20600 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.06
20700 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | -0.06
20800 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | -0.06
20900 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.698
21000 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | -0.06
21100 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | 0.092
21200 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
21300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.092
21400 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.243
21500 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.546
21600 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
21700 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.092
21800 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.092
21900 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.243
22000 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
22100 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
22200 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.06
22300 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.243
22400 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
22500 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.243
22600 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.06
22700 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.243
22800 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | -0.06
22900 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.395
23000 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
23100 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | 0.395
23200 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.243
23300 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
23400 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.092
23500 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.243
23600 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.06
23700 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
23800 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.395
23900 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.395
24000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
24100 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | -0.363
24200 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
24300 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.395
24400 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.395
24500 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.092
24600 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
24700 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.395
24800 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | 0.395
24900 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
25000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
25100 | 0.04 | 0.04 | -14.893 | 0 | 111.872 | 1.41 | 0.395
25200 | 0.081 | 0.097 | -14.91 | 0 | 111.417 | 1.334 | 0.092
25300 | 0.121 | 0.15 | -14.91 | -103.994 | 111.796 | 1.41 | 0.243
25400 | 0.161 | 0.189 | -14.893 | 0 | 111.72 | 1.107 | 0.395
25500 | 0.202 | 0.25 | -14.893 | 103.994 | 111.796 | 1.182 | 0.395
25600 | 0.242 | 0.314 | -14.893 | 0 | 111.872 | 1.107 | 0.395
25700 | 0.282 | 0.4 | -14.91 | 0 | 111.872 | 0.955 | 1.001
25800 | 0.323 | 0.456 | -14.893 | -103.994 | 111.948 | 0.955 | 1.304
25900 | 0.363 | 0.532 | -14.893 | 103.994 | 114.069 | 0.804 | 1.455
26000 | 0.403 | 0.613 | -14.893 | 0 | 111.796 | 0.576 | 1.001
26100 | 0.443 | 0.697 | -14.893 | 0 | 111.72 | 1.107 | 1.455
26200 | 0.484 | 0.786 | -14.893 | 0 | 111.72 | 1.713 | 2.516
26300 | 0.524 | 0.879 | -14.893 | 0 | 111.493 | 2.622 | 4.638
26400 | 0.564 | 0.959 | -14.876 | 0 | 111.72 | 4.061 | 8.426
26500 | 0.605 | 0.993 | -14.809 | 103.988 | 111.796 | 7.622 | 12.971
26600 | 0.645 | 0.997 | -14.709 | 415.965 | 111.796 | 13.835 | 20.548
26700 | 0.685 | 1.039 | -14.642 | 623.948 | 111.796 | 19.517 | 27.366
26800 | 0.726 | 1.051 | -14.541 | 415.954 | 111.796 | 27.699 | 38.276
26900 | 0.766 | 1.05 | -14.424 | 623.948 | 111.72 | 36.791 | 50.247
27000 | 0.806 | 1.071 | -14.323 | 727.936 | 110.509 | 44.14 | 58.732
27100 | 0.847 | 1.095 | -14.222 | 623.942 | 110.357 | 50.883 | 67.217
27200 | 0.887 | 1.09 | -14.088 | 623.948 | 110.206 | 57.55 | 75.703
27300 | 0.927 | 1.106 | -13.971 | 831.925 | 110.281 | 62.777 | 81.915
27400 | 0.968 | 1.108 | -13.837 | 727.936 | 108.994 | 67.702 | 88.734
27500 | 1.008 | 1.149 | -13.736 | 831.925 | 108.766 | 71.111 | 93.734
27600 | 1.048 | 1.16 | -13.602 | 623.948 | 111.645 | 75.581 | 98.583
27700 | 1.089 | 1.158 | -13.451 | 831.919 | 114.144 | 78.233 | 102.977
27800 | 1.129 | 1.177 | -13.317 | 935.919 | 110.13 | 81.188 | 106.008
27900 | 1.169 | 1.183 | -13.166 | 831.919 | 110.281 | 83.082 | 109.341
28000 | 1.209 | 1.211 | -13.032 | 935.925 | 110.281 | 85.127 | 111.311
28100 | 1.25 | 1.191 | -12.847 | 831.925 | 110.206 | 86.946 | 113.584
28200 | 1.29 | 1.227 | -12.713 | 1143.896 | 111.039 | 87.855 | 115.706
28300 | 1.33 | 1.283 | -12.596 | 831.925 | 100.202 | 85.961 | 119.797
28400 | 1.371 | 1.309 | -12.445 | 727.931 | 98.991 | 83.839 | 124.191
28500 | 1.411 | 1.306 | -12.26 | 935.925 | 99.596 | 84.597 | 127.525
28600 | 1.451 | 1.323 | -12.092 | 1143.896 | 98.991 | 86.188 | 128.737
28700 | 1.492 | 1.311 | -11.89 | 1046.413 | 98.157 | 86.87 | 131.01
28800 | 1.532 | 1.354 | -11.739 | 1247.878 | 98.157 | 87.931 | 131.919
28900 | 1.572 | 1.35 | -11.538 | 935.925 | 99.521 | 88.006 | 132.979
29000 | 1.613 | 1.367 | -11.354 | 1247.884 | 98.915 | 87.779 | 134.949
29100 | 1.653 | 1.371 | -11.152 | 1143.902 | 99.142 | 88.082 | 135.101
29200 | 1.693 | 1.396 | -10.968 | 1247.89 | 97.4 | 88.309 | 136.616
29300 | 1.734 | 1.426 | -10.784 | 1143.896 | 99.824 | 88.688 | 137.374
29400 | 1.774 | 1.442 | -10.582 | 1143.902 | 98.612 | 88.082 | 138.434
29500 | 1.814 | 1.429 | -10.347 | 1247.878 | 98.082 | 88.082 | 139.798
29600 | 1.855 | 1.454 | -10.146 | 1455.873 | 98.157 | 88.915 | 140.253
29700 | 1.895 | 1.465 | -9.928 | 1247.89 | 97.854 | 89.143 | 140.556
29800 | 1.935 | 1.498 | -9.727 | 1351.885 | 97.627 | 88.385 | 141.465
29900 | 1.975 | 1.501 | -9.492 | 1247.884 | 109.751 | 88.006 | 142.829
30000 | 2.016 | 1.491 | -9.241 | 1455.873 | 111.266 | 87.779 | 143.586
30100 | 2.056 | 1.57 | -9.073 | 1559.855 | 110.812 | 88.158 | 144.041
30200 | 2.096 | 1.535 | -8.788 | 1039.908 | 110.206 | 87.4 | 145.101
30300 | 2.137 | 1.537 | -8.536 | 1767.844 | 109.297 | 87.324 | 146.92
30400 | 2.177 | 1.577 | -8.318 | 1559.861 | 110.509 | 87.476 | 146.465
30500 | 2.217 | 1.604 | -8.084 | 1351.885 | 109.221 | 86.188 | 147.071
30600 | 2.258 | 1.584 | -7.797 | 1455.867 | 109.372 | 85.203 | 148.435
30700 | 2.298 | 1.636 | -7.579 | 1774.34 | 107.554 | 85.582 | 148.738
30800 | 2.338 | 1.642 | -7.311 | 1351.879 | 109.069 | 85.658 | 150.405
30900 | 2.379 | 1.702 | -7.093 | 1663.856 | 108.615 | 84.218 | 150.859
31000 | 2.419 | 1.683 | -6.791 | 1351.876 | 104.979 | 82.779 | 151.769
31100 | 2.419 | 1.606 | -6.473 | 1871.832 | 101.945 | 82.779 | 154.041
31200 | 2.419 | 1.596 | -6.221 | 1975.83 | 108.085 | 85.658 | 152.678
31300 | 2.419 | 1.57 | -5.953 | 1559.858 | 109.372 | 87.097 | 151.011
31400 | 2.419 | 1.56 | -5.701 | 1663.85 | 106.949 | 87.173 | 149.647
31500 | 2.419 | 1.567 | -5.466 | 1559.864 | 108.463 | 87.779 | 149.041
31600 | 2.419 | 1.541 | -5.198 | 1455.867 | 107.782 | 87.097 | 148.587
31700 | 2.419 | 1.548 | -4.963 | 1663.853 | 108.766 | 87.779 | 148.435
31800 | 2.419 | 1.572 | -4.745 | 1455.87 | 109.221 | 87.703 | 147.677
31900 | 2.419 | 1.529 | -4.46 | 1351.882 | 106.949 | 86.264 | 147.829
32000 | 2.419 | 1.553 | -4.242 | 1767.838 | 109.978 | 87.552 | 147.98
32100 | 2.419 | 1.526 | -3.974 | 1351.882 | 108.615 | 87.324 | 147.526
32200 | 2.419 | 1.567 | -3.773 | 1663.85 | 111.039 | 87.779 | 147.526
32300 | 2.419 | 1.523 | -3.487 | 1247.892 | 113.538 | 86.264 | 147.98
32400 | 2.419 | 1.53 | -3.252 | 1774.343 | 114.978 | 87.779 | 147.677
32500 | 2.419 | 1.57 | -3.051 | 1455.871 | 114.978 | 88.082 | 146.92
32600 | 2.419 | 1.561 | -2.799 | 1247.886 | 112.099 | 86.112 | 147.526
32700 | 2.419 | 1.534 | -2.531 | 1559.86 | 112.705 | 86.188 | 148.283
32800 | 2.298 | 1.437 | -2.313 | 1663.851 | 112.705 | 87.4 | 147.677
32900 | 2.177 | 1.295 | -2.061 | 1351.882 | 100.808 | 89.749 | 146.92
33000 | 2.056 | 1.173 | -1.843 | 1559.86 | 101.717 | 94.901 | 142.374
33100 | 1.935 | 1.09 | -1.675 | 1351.879 | 104.828 | 97.174 | 137.98
33200 | 1.814 | 0.995 | -1.508 | 1039.908 | 112.705 | 97.098 | 133.737
33300 | 1.693 | 0.955 | -1.407 | 1039.908 | 112.554 | 95.583 | 129.191
33400 | 1.572 | 0.869 | -1.273 | 623.944 | 114.523 | 93.916 | 124.342
33500 | 1.451 | 0.822 | -1.189 | 831.927 | 116.114 | 92.704 | 119.645
33600 | 1.33 | 0.779 | -1.122 | 519.952 | 112.175 | 89.446 | 115.251
33700 | 1.209 | 0.707 | -1.038 | 415.965 | 112.781 | 85.355 | 110.554
33800 | 1.089 | 0.64 | -0.971 | 519.952 | 114.144 | 82.476 | 106.008
33900 | 0.968 | 0.594 | -0.938 | 415.965 | 114.599 | 79.218 | 100.401
34000 | 0.847 | 0.52 | -0.887 | 207.981 | 115.886 | 74.521 | 94.34
34100 | 0.726 | 0.45 | -0.854 | 311.973 | 115.962 | 70.278 | 89.946
34200 | 0.605 | 0.368 | -0.82 | 207.981 | 115.659 | 66.111 | 84.188
34300 | 0.484 | 0.274 | -0.787 | 207.981 | 115.962 | 62.399 | 78.733
34400 | 0.363 | 0.201 | -0.787 | 207.981 | 116.189 | 59.141 | 75.248
34500 | 0.242 | 0.1 | -0.77 | 0 | 116.038 | 56.262 | 71.006
34600 | 0.121 | 0 | -0.753 | 103.989 | 116.114 | 53.762 | 67.824