## Data
Log File Data
2007-11-03 09:59 | MERIT Configuration Data
Test Description: shot 10004, 5T, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071103 logfile.txt
Trigger-Pulse Delay (s) = 22.620000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | 0.092
100 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
200 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.363
300 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.243
400 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | 0.243
500 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | 0.092
600 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.363
700 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.363
800 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.546
1000 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
1100 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.363
1200 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.363
1300 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
1400 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.243
1500 | 0 | 0 | -14.876 | 0 | 0 | 1.182 | -0.06
1600 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
1700 | 0 | 0 | -14.876 | 0 | 0 | 0.955 | -0.363
1800 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
1900 | 0 | 0 | -14.876 | 0 | 0 | 1.258 | 0.092
2000 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.546
2100 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | 0.092
2200 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
2300 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.06
2400 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.363
2500 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.243
2600 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.092
2700 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.06
2800 | 0 | 0 | -14.876 | 0 | 0 | 1.031 | -0.363
2900 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.363
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.107 | -0.06
3100 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
3200 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
3300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.395
3400 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.092
3500 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | -0.363
3600 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
3700 | 0 | 0 | -14.893 | 0 | 0 | 1.258 | -0.06
3800 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | 0.092
3900 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.092
4000 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
4100 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
4200 | 0 | 0 | -14.893 | 0 | 0 | 0.804 | -0.363
4300 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | 0.092
4400 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.06
4500 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.243
4600 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | 0.092
4700 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.363
4800 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.666
4900 | 0 | 0 | -14.893 | 0 | 0 | 1.182 | -0.363
5000 | 0 | 0 | -14.893 | 0 | 0 | 0.955 | 0.243
5100 | 0 | 0 | -14.893 | 0 | 0 | 1.031 | -0.06
5200 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.363
5300 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.06
5400 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.363
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.06
5600 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
5700 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.395
5800 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
5900 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | -0.06
6100 | 0 | 0 | -14.893 | 0 | 0 | 1.107 | 0.395
6200 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | -0.363
6300 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
6400 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.06
6500 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.092
6600 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.395
6700 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.092
6800 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | -0.363
6900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.092
7000 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | -0.06
7100 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.092
7200 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | -0.514
7300 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.243
7400 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.363
7500 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | -0.06
7600 | 0 | 0 | -14.91 | 0 | 0 | 1.107 | 0.092
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | 0.092
7800 | 0 | 0 | -14.91 | 0 | 0 | 0.955 | 0.243
7900 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | -0.06
8000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
8100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.363
8200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.092
8300 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.092
8400 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
8500 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.092
8600 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | -0.06
8700 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.363
8800 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.514
8900 | 0 | 0 | -14.91 | 0 | 0 | 1.031 | -0.363
9000 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.395
9100 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | -0.06
9200 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.363
9300 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.06
9400 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | 0.092
9500 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.243
9600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.06
9700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.06
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.031 | -0.06
9900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | -0.514
10000 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.666
10100 | 0 | 0 | -14.927 | 0 | 0 | 0.955 | -0.06
10200 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.06
10300 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.06
10400 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
10500 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.363
10600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | -0.363
10700 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.06
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.243
10900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
11000 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | 0.092
11100 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.06
11200 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
11300 | 0 | 0 | -14.943 | 0 | 0 | 1.107 | -0.666
11400 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.363
11500 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.395
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
11700 | 0 | 0 | -14.943 | 0 | 0 | 0.955 | -0.363
11800 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.363
11900 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.06
12000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.092
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.031 | -0.363
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.092
12400 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.06
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | -0.06
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | -0.666
12700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
12800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.092
12900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
13000 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
13100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.363
13200 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
13300 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.546
13400 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | 0.243
13500 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.092
13600 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
13700 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.363
13800 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | 0.092
13900 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | -0.06
14000 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.092
14100 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | -0.06
14200 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.06
14300 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.06
14400 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | -0.514
14500 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | -0.514
14600 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.092
14700 | 0 | 0 | -14.96 | 0 | 0 | 0.955 | 0.243
14800 | 0 | 0 | -14.96 | 0 | 0 | 1.031 | -0.363
14900 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | -0.363
15000 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.06
15100 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.243
15200 | 0 | 0 | -14.977 | 0 | 0 | 0.955 | 0.092
15300 | 0 | 0 | -14.96 | 0 | 0 | 1.107 | -0.666
15400 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | -0.363
15500 | 0.04 | 0.04 | -14.96 | 0 | 178.769 | 1.182 | -0.06
15600 | 0.081 | 0.097 | -14.977 | 0 | 178.769 | 1.031 | 0.092
15700 | 0.121 | 0.15 | -14.977 | -104 | 178.845 | 1.182 | -0.363
15800 | 0.161 | 0.189 | -14.96 | 0 | 178.694 | 1.031 | 0.092
15900 | 0.202 | 0.25 | -14.96 | 104 | 178.239 | 0.728 | 0.546
16000 | 0.242 | 0.314 | -14.96 | 0 | 178.694 | 0.728 | 0.849
16100 | 0.282 | 0.4 | -14.977 | 0 | 178.694 | 0.955 | 0.395
16200 | 0.323 | 0.472 | -14.977 | -104 | 178.845 | 0.804 | 0.546
16300 | 0.363 | 0.549 | -14.977 | 0 | 178.769 | 0.5 | 0.698
16400 | 0.403 | 0.613 | -14.96 | 0 | 178.315 | 0.5 | 1.304
16500 | 0.443 | 0.697 | -14.96 | 104 | 181.349 | 0.804 | 1.759
16600 | 0.484 | 0.803 | -14.977 | 0 | 178.694 | 1.561 | 2.516
16700 | 0.524 | 0.879 | -14.96 | -104 | 176.118 | 3.001 | 4.486
16800 | 0.564 | 0.976 | -14.96 | 104 | 178.845 | 4.213 | 7.82
16900 | 0.605 | 1.026 | -14.91 | 0 | 178.769 | 7.092 | 12.668
17000 | 0.645 | 1.047 | -14.826 | 311.965 | 178.845 | 12.092 | 18.729
17100 | 0.685 | 1.039 | -14.709 | 519.96 | 178.845 | 20.881 | 29.336
17200 | 0.726 | 1.051 | -14.608 | 727.936 | 178.769 | 28.836 | 39.337
17300 | 0.766 | 1.084 | -14.524 | 623.948 | 178.694 | 36.715 | 49.186
17400 | 0.806 | 1.071 | -14.39 | 519.942 | 178.694 | 44.14 | 59.641
17500 | 0.847 | 1.095 | -14.289 | 831.925 | 178.542 | 51.564 | 68.733
17600 | 0.887 | 1.123 | -14.189 | 623.948 | 169.68 | 57.322 | 75.551
17700 | 0.927 | 1.122 | -14.055 | 623.942 | 170.437 | 62.929 | 83.885
17800 | 0.968 | 1.125 | -13.921 | 831.925 | 175.512 | 68.005 | 89.795
17900 | 1.008 | 1.149 | -13.803 | 831.925 | 177.103 | 71.945 | 94.795
18000 | 1.048 | 1.16 | -13.669 | 727.936 | 176.497 | 74.748 | 99.189
18100 | 1.089 | 1.158 | -13.518 | 831.925 | 175.512 | 78.687 | 103.584
18200 | 1.129 | 1.16 | -13.367 | 935.925 | 175.891 | 81.188 | 107.22
18300 | 1.169 | 1.167 | -13.216 | 935.913 | 175.436 | 83.158 | 108.735
18400 | 1.209 | 1.194 | -13.082 | 935.913 | 175.436 | 84.824 | 111.16
18500 | 1.25 | 1.225 | -12.948 | 831.925 | 175.436 | 86.188 | 113.13
18600 | 1.29 | 1.243 | -12.797 | 831.925 | 172.104 | 86.718 | 115.857
18700 | 1.33 | 1.283 | -12.663 | 935.925 | 171.649 | 83.006 | 121.615
18800 | 1.371 | 1.309 | -12.512 | 831.925 | 168.316 | 83.839 | 124.039
18900 | 1.411 | 1.306 | -12.327 | 935.913 | 173.24 | 84.824 | 127.07
19000 | 1.451 | 1.306 | -12.142 | 1143.902 | 170.513 | 85.961 | 129.646
19100 | 1.492 | 1.328 | -11.974 | 1150.389 | 168.468 | 87.173 | 130.252
19200 | 1.532 | 1.337 | -11.79 | 1039.919 | 172.104 | 87.249 | 131.919
19300 | 1.572 | 1.383 | -11.639 | 1143.89 | 175.058 | 87.552 | 132.979
19400 | 1.613 | 1.367 | -11.421 | 935.913 | 172.028 | 87.249 | 134.495
19500 | 1.653 | 1.388 | -11.236 | 1351.879 | 171.876 | 87.249 | 136.01
19600 | 1.693 | 1.396 | -11.035 | 1143.908 | 171.876 | 87.779 | 136.616
19700 | 1.734 | 1.409 | -10.834 | 1247.89 | 171.876 | 87.931 | 138.131
19800 | 1.774 | 1.425 | -10.633 | 1247.878 | 171.876 | 88.461 | 138.283
19900 | 1.814 | 1.446 | -10.431 | 1247.896 | 171.649 | 88.461 | 138.434
20000 | 1.855 | 1.487 | -10.247 | 1247.89 | 171.498 | 88.158 | 139.798
20100 | 1.895 | 1.465 | -9.995 | 1143.89 | 168.316 | 87.324 | 141.465
20200 | 1.935 | 1.481 | -9.777 | 1559.867 | 168.241 | 87.779 | 142.677
20300 | 1.975 | 1.501 | -9.559 | 1351.879 | 168.241 | 88.006 | 142.374
20400 | 2.016 | 1.525 | -9.341 | 1351.879 | 168.316 | 87.779 | 142.98
20500 | 2.056 | 1.536 | -9.107 | 1351.879 | 170.816 | 87.173 | 144.495
20600 | 2.096 | 1.551 | -8.872 | 1455.867 | 168.544 | 86.794 | 145.101
20700 | 2.137 | 1.554 | -8.62 | 1455.873 | 168.468 | 86.264 | 145.556
20800 | 2.177 | 1.577 | -8.385 | 1559.867 | 168.544 | 86.415 | 147.071
20900 | 2.217 | 1.588 | -8.134 | 1455.867 | 168.468 | 85.961 | 147.071
21000 | 2.258 | 1.619 | -7.899 | 1559.861 | 164.529 | 85.582 | 148.738
21100 | 2.298 | 1.62 | -7.63 | 1455.87 | 165.59 | 84.749 | 149.193
21200 | 2.338 | 1.642 | -7.378 | 1670.349 | 164.756 | 84.749 | 150.556
21300 | 2.379 | 1.652 | -7.11 | 1559.858 | 164.756 | 84.067 | 151.465
21400 | 2.419 | 1.716 | -6.892 | 1663.856 | 169.983 | 83.612 | 151.314
21500 | 2.419 | 1.639 | -6.573 | 1351.882 | 173.922 | 82.476 | 153.435
21600 | 2.419 | 1.613 | -6.305 | 1975.821 | 175.285 | 83.233 | 153.587
21700 | 2.419 | 1.587 | -6.037 | 1663.85 | 164.832 | 85.506 | 152.526
21800 | 2.419 | 1.577 | -5.785 | 1663.856 | 166.499 | 86.264 | 151.314
21900 | 2.419 | 1.551 | -5.517 | 1559.858 | 165.665 | 86.643 | 150.556
22000 | 2.419 | 1.558 | -5.282 | 1663.856 | 173.164 | 87.249 | 149.041
22100 | 2.419 | 1.582 | -5.064 | 1455.87 | 172.407 | 87.097 | 148.435
22200 | 2.419 | 1.538 | -4.779 | 1351.876 | 168.392 | 86.036 | 148.587
22300 | 2.419 | 1.529 | -4.527 | 1767.844 | 166.044 | 86.264 | 148.89
22400 | 2.419 | 1.553 | -4.309 | 1559.858 | 170.134 | 88.082 | 147.98
22500 | 2.419 | 1.526 | -4.041 | 1351.882 | 168.544 | 86.643 | 147.829
22600 | 2.419 | 1.567 | -3.84 | 1663.85 | 169.528 | 86.87 | 146.92
22700 | 2.419 | 1.574 | -3.605 | 1247.892 | 177.557 | 86.643 | 147.374
22800 | 2.419 | 1.546 | -3.336 | 1455.871 | 152.178 | 85.506 | 148.435
22900 | 2.419 | 1.57 | -3.118 | 1670.348 | 152.102 | 86.567 | 148.435
23000 | 2.419 | 1.527 | -2.833 | 1351.882 | 173.391 | 86.112 | 147.829
23100 | 2.298 | 1.447 | -2.631 | 1767.844 | 164.605 | 86.643 | 148.435
23200 | 2.177 | 1.287 | -2.363 | 1247.887 | 151.951 | 90.734 | 145.708
23300 | 2.056 | 1.183 | -2.162 | 1663.851 | 181.728 | 94.522 | 142.526
23400 | 1.935 | 1.083 | -1.977 | 1247.89 | 175.664 | 96.037 | 137.374
23500 | 1.814 | 1.022 | -1.843 | 1143.897 | 177.709 | 96.264 | 133.282
23600 | 1.693 | 0.948 | -1.709 | 831.925 | 177.86 | 95.431 | 129.04
23700 | 1.572 | 0.896 | -1.608 | 831.927 | 177.557 | 93.385 | 123.585
23800 | 1.451 | 0.815 | -1.491 | 623.944 | 182.031 | 90.81 | 119.948
23900 | 1.33 | 0.772 | -1.424 | 727.935 | 181.88 | 88.158 | 115.251
24000 | 1.209 | 0.717 | -1.357 | 415.965 | 182.258 | 84.673 | 110.251
24100 | 1.089 | 0.633 | -1.273 | 415.962 | 185.743 | 82.248 | 105.099
24200 | 0.968 | 0.57 | -1.223 | 519.955 | 169.907 | 78.309 | 100.25
24300 | 0.847 | 0.513 | -1.189 | 311.97 | 185.667 | 73.839 | 94.947
24400 | 0.726 | 0.443 | -1.156 | 207.981 | 181.88 | 68.99 | 88.431
24500 | 0.605 | 0.361 | -1.122 | 207.983 | 185.818 | 65.353 | 82.825
24600 | 0.484 | 0.284 | -1.105 | 207.981 | 182.183 | 61.489 | 78.43
24700 | 0.363 | 0.194 | -1.088 | 103.989 | 184.303 | 58.383 | 74.491
24800 | 0.242 | 0.11 | -1.088 | 103.992 | 184.303 | 55.201 | 70.551
24900 | 0.121 | 0 | -1.072 | 0 | 173.619 | 53.155 | 67.217