## Data
Log File Data
2007-11-03 12:52 | MERIT Configuration Data
Test Description: shot 10013, 5T, 6TP, 4 bunches, SMD = 25 microsec
Mode = Triggered
LogFile = C:\MERIT Data\071103 logfile.txt
Trigger-Pulse Delay (s) = 22.620000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.849
100 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 1.001
200 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 1.152
300 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 0.698
400 | 0 | 0 | -14.994 | 0 | 0 | 2.091 | 1.001
500 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 1.001
600 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 1.001
700 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.849
800 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 0.849
900 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.698
1000 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 1.001
1100 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.395
1200 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.395
1300 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.698
1400 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.849
1500 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.849
1600 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.395
1700 | 0 | 0 | -15.011 | 0 | 0 | 2.243 | 0.546
1800 | 0 | 0 | -14.994 | 0 | 0 | 2.091 | 0.849
1900 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 1.304
2000 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.849
2100 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.849
2200 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.849
2300 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.698
2400 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.849
2500 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 1.304
2600 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 1.001
2700 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.698
2800 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.849
2900 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 1.304
3000 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.698
3100 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.698
3200 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.698
3300 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.849
3400 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 1.152
3500 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 1.304
3600 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 1.001
3700 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.395
3800 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.698
3900 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.152
4000 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.001
4100 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 1.304
4200 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 1.152
4300 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 1.152
4400 | 0 | 0 | -15.027 | 0 | 0 | 2.167 | 0.849
4500 | 0 | 0 | -15.027 | 0 | 0 | 2.319 | 0.698
4600 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.849
4700 | 0 | 0 | -15.027 | 0 | 0 | 2.243 | 0.849
4800 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.698
4900 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.849
5000 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.698
5100 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.849
5200 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.001
5300 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.698
5400 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.698
5500 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 1.152
5600 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 1.001
5700 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.849
5800 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 0.395
5900 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.395
6000 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.849
6100 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 1.304
6200 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 1.001
6300 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 0.849
6400 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.698
6500 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.698
6600 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.849
6700 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 1.001
6800 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 1.152
6900 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.849
7000 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 0.849
7100 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.849
7200 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 1.304
7300 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 1.152
7400 | 0 | 0 | -15.044 | 0 | 0 | 2.243 | 1.001
7500 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 0.546
7600 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.698
7700 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 1.304
7800 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.698
7900 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.698
8000 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.546
8100 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.698
8200 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.849
8300 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.546
8400 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 1.152
8500 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 1.152
8600 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.698
8700 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.243
8800 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.395
8900 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.849
9000 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.698
9100 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 1.001
9200 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 1.001
9300 | 0 | 0 | -15.061 | 0 | 0 | 2.319 | 1.304
9400 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 1.001
9500 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.849
9600 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 1.001
9700 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 1.304
9800 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 1.001
9900 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.698
10000 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.698
10100 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.698
10200 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 1.152
10300 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 1.001
10400 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 1.152
10500 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.698
10600 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.698
10700 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.849
10800 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.849
10900 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 1.152
11000 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 1.304
11100 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 1.152
11200 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | 0.849
11300 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.849
11400 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.546
11500 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | 0.849
11600 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.849
11700 | 0 | 0 | -15.061 | 0 | 0 | 2.167 | 0.698
11800 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 1.304
11900 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | 1.152
12000 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.395
12100 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.849
12200 | 0 | 0 | -15.078 | 0 | 0 | 2.091 | 0.698
12300 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.849
12400 | 0 | 0 | -15.094 | 0 | 0 | 1.713 | 0.849
12500 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.243
12600 | 0 | 0 | -15.078 | 0 | 0 | 2.167 | 0.849
12700 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.849
12800 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.546
12900 | 0 | 0 | -15.078 | 0 | 0 | 2.243 | 0.698
13000 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 1.152
13100 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.698
13200 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.698
13300 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.395
13400 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 0.849
13500 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.849
13600 | 0 | 0 | -15.094 | 0 | 0 | 1.788 | 1.152
13700 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.698
13800 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.395
13900 | 0 | 0 | -15.078 | 0 | 0 | 2.319 | 0.698
14000 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.849
14100 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.698
14200 | 0 | 0 | -15.094 | 0 | 0 | 2.167 | 0.849
14300 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 1.304
14400 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 1.304
14500 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.849
14600 | 0 | 0 | -15.094 | 0 | 0 | 2.243 | 0.546
14700 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.395
14800 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 0.546
14900 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 0.395
15000 | 0 | 0 | -15.094 | 0 | 0 | 1.788 | 0.849
15100 | 0 | 0 | -15.094 | 0 | 0 | 1.94 | 1.001
15200 | 0 | 0 | -15.094 | 0 | 0 | 2.091 | 0.849
15300 | 0 | 0 | -15.094 | 0 | 0 | 2.319 | 0.849
15400 | 0 | 0 | -15.111 | 0 | 0 | 1.94 | 0.849
15500 | 0.04 | 0.04 | -15.094 | 0 | 256.351 | 2.091 | 0.849
15600 | 0.081 | 0.081 | -15.094 | 0 | 257.639 | 2.243 | 0.849
15700 | 0.121 | 0.133 | -15.094 | 0 | 256.276 | 2.319 | 0.849
15800 | 0.161 | 0.206 | -15.111 | 0 | 258.548 | 1.788 | 0.849
15900 | 0.202 | 0.267 | -15.111 | -103.988 | 255.973 | 1.788 | 0.849
16000 | 0.242 | 0.314 | -15.094 | 0 | 255.973 | 1.713 | 0.849
16100 | 0.282 | 0.383 | -15.094 | 103.988 | 256.2 | 1.485 | 0.849
16200 | 0.323 | 0.456 | -15.094 | 0 | 258.548 | 1.561 | 1.304
16300 | 0.363 | 0.532 | -15.094 | 0 | 258.548 | 1.41 | 1.304
16400 | 0.403 | 0.613 | -15.094 | 0 | 258.548 | 1.258 | 1.759
16500 | 0.443 | 0.714 | -15.111 | 0 | 256.048 | 1.637 | 2.516
16600 | 0.484 | 0.786 | -15.094 | -103.988 | 256.048 | 2.546 | 4.031
16700 | 0.524 | 0.879 | -15.094 | 103.988 | 256.276 | 4.592 | 6.456
16800 | 0.564 | 0.959 | -15.078 | 0 | 256.351 | 6.41 | 11.456
16900 | 0.605 | 1.009 | -15.027 | 104 | 258.548 | 10.425 | 16.911
17000 | 0.645 | 1.03 | -14.943 | 311.971 | 258.548 | 18.608 | 27.063
17100 | 0.685 | 1.022 | -14.826 | 519.954 | 255.973 | 27.775 | 37.973
17200 | 0.726 | 1.017 | -14.709 | 727.936 | 258.548 | 36.867 | 49.641
17300 | 0.766 | 1.034 | -14.608 | 727.936 | 258.548 | 43.231 | 56.914
17400 | 0.806 | 1.054 | -14.507 | 623.948 | 255.973 | 51.261 | 66.914
17500 | 0.847 | 1.061 | -14.39 | 623.93 | 256.276 | 56.338 | 74.188
17600 | 0.887 | 1.073 | -14.273 | 727.936 | 256.427 | 61.792 | 80.249
17700 | 0.927 | 1.106 | -14.172 | 727.936 | 255.897 | 66.035 | 86.613
17800 | 0.968 | 1.092 | -14.021 | 623.948 | 255.973 | 70.278 | 92.068
17900 | 1.008 | 1.099 | -13.887 | 935.913 | 255.973 | 74.521 | 96.765
18000 | 1.048 | 1.11 | -13.753 | 831.931 | 256.048 | 77.93 | 100.856
18100 | 1.089 | 1.141 | -13.635 | 831.925 | 258.548 | 80.43 | 103.887
18200 | 1.129 | 1.144 | -13.484 | 727.936 | 255.897 | 81.642 | 107.675
18300 | 1.169 | 1.15 | -13.334 | 935.913 | 256.048 | 84.294 | 110.402
18400 | 1.209 | 1.194 | -13.216 | 935.913 | 258.548 | 85.43 | 111.766
18500 | 1.25 | 1.191 | -13.048 | 727.936 | 258.548 | 87.4 | 114.19
18600 | 1.29 | 1.21 | -12.898 | 1039.913 | 258.548 | 86.718 | 118.13
18700 | 1.33 | 1.283 | -12.797 | 935.913 | 255.973 | 84.9 | 121.615
18800 | 1.371 | 1.259 | -12.596 | 623.948 | 256.048 | 83.764 | 126.312
18900 | 1.411 | 1.289 | -12.445 | 1247.878 | 256.2 | 86.264 | 128.282
19000 | 1.451 | 1.29 | -12.26 | 935.925 | 256.048 | 87.324 | 129.04
19100 | 1.492 | 1.311 | -12.092 | 1143.896 | 256.048 | 87.476 | 131.01
19200 | 1.532 | 1.303 | -11.89 | 1046.413 | 258.548 | 88.158 | 132.07
19300 | 1.572 | 1.333 | -11.723 | 1247.878 | 258.548 | 88.612 | 133.282
19400 | 1.613 | 1.35 | -11.538 | 1039.913 | 255.973 | 88.915 | 133.889
19500 | 1.653 | 1.338 | -11.32 | 1143.896 | 255.897 | 88.688 | 135.707
19600 | 1.693 | 1.38 | -11.152 | 1351.879 | 256.427 | 88.84 | 136.616
19700 | 1.734 | 1.392 | -10.951 | 1039.913 | 255.973 | 89.522 | 137.071
19800 | 1.774 | 1.409 | -10.75 | 1247.884 | 255.973 | 88.915 | 138.283
19900 | 1.814 | 1.412 | -10.532 | 1247.89 | 256.427 | 88.84 | 139.343
20000 | 1.855 | 1.42 | -10.314 | 1351.879 | 258.548 | 89.219 | 139.798
20100 | 1.895 | 1.432 | -10.096 | 1351.885 | 257.563 | 89.219 | 140.707
20200 | 1.935 | 1.448 | -9.878 | 1351.873 | 256.048 | 88.991 | 141.162
20300 | 1.975 | 1.468 | -9.66 | 1351.879 | 256.2 | 89.219 | 141.919
20400 | 2.016 | 1.491 | -9.442 | 1351.879 | 258.548 | 88.461 | 142.677
20500 | 2.056 | 1.519 | -9.224 | 1351.885 | 255.973 | 87.931 | 143.889
20600 | 2.096 | 1.518 | -8.972 | 1351.873 | 256.276 | 87.324 | 144.798
20700 | 2.137 | 1.537 | -8.738 | 1559.867 | 256.2 | 87.173 | 146.314
20800 | 2.177 | 1.56 | -8.503 | 1455.873 | 256.351 | 87.173 | 146.768
20900 | 2.217 | 1.571 | -8.251 | 1455.867 | 256.048 | 86.491 | 147.526
21000 | 2.258 | 1.602 | -8.016 | 1559.861 | 255.745 | 85.809 | 148.587
21100 | 2.298 | 1.586 | -7.73 | 1455.873 | 255.973 | 85.355 | 149.95
21200 | 2.338 | 1.625 | -7.496 | 1774.334 | 255.897 | 85.658 | 150.708
21300 | 2.379 | 1.652 | -7.244 | 1455.873 | 256.048 | 84.9 | 150.253
21400 | 2.419 | 1.666 | -6.976 | 1559.864 | 256.048 | 83.991 | 152.223
21500 | 2.419 | 1.589 | -6.657 | 1663.85 | 255.897 | 83.082 | 153.284
21600 | 2.419 | 1.58 | -6.406 | 1975.821 | 256.2 | 85.582 | 152.829
21700 | 2.419 | 1.52 | -6.104 | 1559.867 | 255.973 | 86.87 | 150.405
21800 | 2.419 | 1.577 | -5.919 | 1871.832 | 256.427 | 87.627 | 150.253
21900 | 2.419 | 1.534 | -5.634 | 1143.896 | 256.2 | 87.855 | 148.587
22000 | 2.419 | 1.558 | -5.416 | 1767.844 | 256.276 | 87.097 | 149.041
22100 | 2.419 | 1.531 | -5.148 | 1351.876 | 256.2 | 86.87 | 148.738
22200 | 2.419 | 1.505 | -4.88 | 1663.856 | 256.276 | 87.552 | 148.283
22300 | 2.419 | 1.529 | -4.661 | 1663.85 | 256.2 | 88.385 | 147.829
22400 | 2.419 | 1.502 | -4.393 | 1351.879 | 256.351 | 88.082 | 147.071
22500 | 2.419 | 1.526 | -4.175 | 1663.85 | 255.897 | 87.779 | 147.677
22600 | 2.419 | 1.533 | -3.94 | 1351.882 | 251.958 | 87.855 | 147.071
22700 | 2.419 | 1.54 | -3.706 | 1455.871 | 198.847 | 87.097 | 147.677
22800 | 2.419 | 1.53 | -3.453 | 1455.87 | 201.427 | 86.491 | 147.829
22900 | 2.419 | 1.503 | -3.185 | 1566.359 | 252.867 | 87.173 | 148.132
23000 | 2.419 | 1.527 | -2.967 | 1663.854 | 252.791 | 88.006 | 148.132
23100 | 2.298 | 1.38 | -2.698 | 1351.877 | 252.716 | 87.627 | 147.223
23200 | 2.177 | 1.254 | -2.464 | 1663.854 | 252.716 | 89.673 | 146.768
23300 | 2.056 | 1.166 | -2.279 | 1455.87 | 252.791 | 95.734 | 141.465
23400 | 1.935 | 1.083 | -2.111 | 1143.897 | 252.716 | 96.946 | 137.525
23500 | 1.814 | 1.005 | -1.961 | 1039.906 | 252.716 | 97.477 | 132.525
23600 | 1.693 | 0.914 | -1.81 | 935.919 | 254.382 | 95.734 | 129.494
23700 | 1.572 | 0.862 | -1.709 | 935.916 | 252.716 | 94.37 | 124.342
23800 | 1.451 | 0.798 | -1.608 | 623.944 | 253.473 | 91.946 | 120.251
23900 | 1.33 | 0.738 | -1.524 | 623.944 | 252.791 | 89.446 | 115.857
24000 | 1.209 | 0.666 | -1.441 | 519.954 | 253.094 | 85.733 | 110.402
24100 | 1.089 | 0.616 | -1.39 | 519.955 | 252.716 | 82.627 | 106.008
24200 | 0.968 | 0.537 | -1.323 | 311.973 | 252.791 | 78.915 | 100.401
24300 | 0.847 | 0.479 | -1.29 | 415.962 | 255.442 | 74.596 | 94.189
24400 | 0.726 | 0.409 | -1.256 | 207.981 | 253.019 | 70.732 | 89.189
24500 | 0.605 | 0.327 | -1.223 | 207.981 | 252.716 | 66.414 | 83.885
24600 | 0.484 | 0.267 | -1.223 | 207.981 | 252.867 | 63.535 | 80.249
24700 | 0.363 | 0.178 | -1.206 | 0 | 253.17 | 60.05 | 76.461
24800 | 0.242 | 0.093 | -1.206 | 103.992 | 254.079 | 56.944 | 72.369
24900 | 0.121 | 0 | -1.189 | 0 | 252.867 | 54.898 | 69.793