## Data
Log File Data
2007-11-03 08:14 | MERIT Configuration Data
Test Description: Warmup shot
Mode = Manual
LogFile = C:\MERIT Data\071103 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 10.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -11.857 | 0 | 0 | 0.349 | -0.514
100 | 0.013 | 0.013 | -11.857 | 0 | 168.241 | 0.349 | -0.514
200 | 0.027 | 0.027 | -11.857 | 0 | 168.241 | 0.576 | 0.092
300 | 0.04 | 0.042 | -11.857 | 0 | 168.392 | 0.5 | -0.514
400 | 0.054 | 0.061 | -11.857 | 0 | 168.316 | 0.5 | -0.666
500 | 0.067 | 0.081 | -11.857 | 0 | 168.241 | 0.576 | -0.666
600 | 0.081 | 0.103 | -11.857 | 0 | 168.241 | 0.349 | -0.363
700 | 0.094 | 0.126 | -11.857 | 0 | 168.468 | 0.576 | -0.514
800 | 0.108 | 0.15 | -11.857 | 0 | 169.377 | 0.576 | -0.06
900 | 0.121 | 0.175 | -11.857 | 0 | 168.241 | 0.576 | -0.363
1000 | 0.134 | 0.202 | -11.857 | 0 | 168.089 | 0.5 | -0.514
1100 | 0.148 | 0.231 | -11.857 | 0 | 168.392 | 0.349 | -0.514
1200 | 0.161 | 0.26 | -11.857 | 0 | 170.21 | 0.425 | -0.06
1300 | 0.175 | 0.291 | -11.857 | 0 | 169.756 | 0.728 | -0.363
1400 | 0.188 | 0.323 | -11.857 | 0 | 167.862 | 0.728 | -0.363
1500 | 0.202 | 0.374 | -11.874 | 0 | 168.013 | 0.425 | 0.092
1600 | 0.215 | 0.392 | -11.857 | -103.988 | 167.559 | 0.5 | -0.06
1700 | 0.228 | 0.428 | -11.857 | 103.988 | 167.862 | 0.197 | 0.092
1800 | 0.242 | 0.466 | -11.857 | 0 | 168.316 | 0.122 | 0.546
1900 | 0.255 | 0.505 | -11.857 | 0 | 168.241 | 0.046 | 1.152
2000 | 0.269 | 0.545 | -11.857 | 0 | 167.938 | 0.349 | 1.001
2100 | 0.282 | 0.587 | -11.857 | 0 | 167.862 | 0.425 | 1.304
2200 | 0.296 | 0.63 | -11.857 | 0 | 167.332 | 0.728 | 1.152
2300 | 0.309 | 0.657 | -11.84 | 0 | 165.362 | 0.349 | 1.91
2400 | 0.323 | 0.703 | -11.84 | 103.994 | 168.468 | 1.031 | 2.971
2500 | 0.336 | 0.75 | -11.84 | 0 | 168.392 | 1.485 | 4.334
2600 | 0.349 | 0.765 | -11.806 | 0 | 168.468 | 2.546 | 5.395
2700 | 0.363 | 0.781 | -11.773 | 207.977 | 168.619 | 3.607 | 7.365
2800 | 0.376 | 0.799 | -11.739 | 207.977 | 168.241 | 5.274 | 9.335
2900 | 0.39 | 0.817 | -11.706 | 207.989 | 168.241 | 6.789 | 11.002
3000 | 0.403 | 0.838 | -11.672 | 207.977 | 168.089 | 8.607 | 13.729
3100 | 0.417 | 0.859 | -11.639 | 207.983 | 168.089 | 10.501 | 16.002
3200 | 0.43 | 0.849 | -11.572 | 207.977 | 167.938 | 13.077 | 20.245
3300 | 0.443 | 0.856 | -11.521 | 415.965 | 165.665 | 16.638 | 23.73
3400 | 0.457 | 0.831 | -11.438 | 311.971 | 166.044 | 20.275 | 27.972
3500 | 0.47 | 0.858 | -11.404 | 519.954 | 166.499 | 22.926 | 31.912
3600 | 0.484 | 0.87 | -11.354 | 207.983 | 165.665 | 26.26 | 35.7
3700 | 0.497 | 0.849 | -11.27 | 311.977 | 167.332 | 29.745 | 40.397
3800 | 0.511 | 0.88 | -11.236 | 519.954 | 166.347 | 33.23 | 44.034
3900 | 0.524 | 0.845 | -11.136 | 207.983 | 166.271 | 35.654 | 48.277
4000 | 0.538 | 0.862 | -11.085 | 623.942 | 165.059 | 38.685 | 51.913
4100 | 0.551 | 0.864 | -11.018 | 311.971 | 168.316 | 40.579 | 54.035
4200 | 0.564 | 0.883 | -10.968 | 415.965 | 167.332 | 43.685 | 57.368
4300 | 0.578 | 0.887 | -10.901 | 311.971 | 167.862 | 45.882 | 60.399
4400 | 0.591 | 0.876 | -10.817 | 415.965 | 165.211 | 48.458 | 63.884
4500 | 0.605 | 0.9 | -10.767 | 519.948 | 166.877 | 50.428 | 66.005
4600 | 0.618 | 0.891 | -10.683 | 311.977 | 165.665 | 51.792 | 69.036
4700 | 0.632 | 0.901 | -10.616 | 519.948 | 167.71 | 54.216 | 70.703
4800 | 0.645 | 0.911 | -10.549 | 415.965 | 169.907 | 55.428 | 72.975
4900 | 0.658 | 0.907 | -10.465 | 415.965 | 167.104 | 57.701 | 74.945
5000 | 0.672 | 0.904 | -10.381 | 519.948 | 166.726 | 59.141 | 76.461
5100 | 0.685 | 0.919 | -10.314 | 519.96 | 166.726 | 60.353 | 78.279
5200 | 0.699 | 0.901 | -10.213 | 415.965 | 166.65 | 61.792 | 79.946
5300 | 0.712 | 0.919 | -10.146 | 623.942 | 167.862 | 62.777 | 81.764
5400 | 0.726 | 0.921 | -10.062 | 415.959 | 166.802 | 63.232 | 82.825
5500 | 0.739 | 0.941 | -9.995 | 519.954 | 165.211 | 64.368 | 83.734
5600 | 0.753 | 0.929 | -9.895 | 415.965 | 163.772 | 65.278 | 85.249
5700 | 0.766 | 0.936 | -9.811 | 623.942 | 166.044 | 66.565 | 86.916
5800 | 0.779 | 0.943 | -9.727 | 519.954 | 166.196 | 67.02 | 88.279
5900 | 0.793 | 0.969 | -9.66 | 519.954 | 167.938 | 67.02 | 89.795
6000 | 0.806 | 0.996 | -9.593 | 415.959 | 164.226 | 67.02 | 91.613
6100 | 0.806 | 0.976 | -9.492 | 415.965 | 168.241 | 68.081 | 93.583
6200 | 0.806 | 0.956 | -9.392 | 623.948 | 168.468 | 70.126 | 95.25
6300 | 0.806 | 0.936 | -9.291 | 623.942 | 166.347 | 70.884 | 96.159
6400 | 0.806 | 0.932 | -9.207 | 623.942 | 161.954 | 71.339 | 96.159
6500 | 0.806 | 0.929 | -9.123 | 519.96 | 161.954 | 71.869 | 95.856
6600 | 0.806 | 0.909 | -9.023 | 519.948 | 164.832 | 72.02 | 95.856
6700 | 0.806 | 0.906 | -8.939 | 623.948 | 164.075 | 72.096 | 95.553
6800 | 0.806 | 0.903 | -8.855 | 519.948 | 165.665 | 71.717 | 95.704
6900 | 0.806 | 0.9 | -8.771 | 519.96 | 165.287 | 71.263 | 94.644
7000 | 0.806 | 0.896 | -8.687 | 519.954 | 165.211 | 71.035 | 94.037
7100 | 0.806 | 0.893 | -8.603 | 519.948 | 165.211 | 70.808 | 94.189
7200 | 0.806 | 0.907 | -8.536 | 519.96 | 166.877 | 70.202 | 93.128
7300 | 0.806 | 0.904 | -8.453 | 415.959 | 165.362 | 70.202 | 92.825
7400 | 0.806 | 0.917 | -8.385 | 519.954 | 164.378 | 70.202 | 92.977
7500 | 0.806 | 0.931 | -8.318 | 415.965 | 162.938 | 69.672 | 92.825
7600 | 0.806 | 0.927 | -8.235 | 415.965 | 163.09 | 69.672 | 94.037
7700 | 0.806 | 0.907 | -8.134 | 519.948 | 162.03 | 70.126 | 93.886
7800 | 0.806 | 0.904 | -8.05 | 623.948 | 162.711 | 70.808 | 93.886
7900 | 0.806 | 0.901 | -7.966 | 519.954 | 165.135 | 70.581 | 93.886
8000 | 0.806 | 0.898 | -7.882 | 519.954 | 166.726 | 70.126 | 93.128
8100 | 0.806 | 0.894 | -7.797 | 519.951 | 166.196 | 69.975 | 93.128
8200 | 0.806 | 0.907 | -7.73 | 526.453 | 167.862 | 69.975 | 92.977
8300 | 0.806 | 0.904 | -7.647 | 415.959 | 164.832 | 69.52 | 92.977
8400 | 0.806 | 0.917 | -7.579 | 519.96 | 167.635 | 69.672 | 92.371
8500 | 0.806 | 0.914 | -7.496 | 415.959 | 164.453 | 69.596 | 92.371
8600 | 0.806 | 0.911 | -7.412 | 519.954 | 164.605 | 69.823 | 92.977
8700 | 0.806 | 0.908 | -7.328 | 519.957 | 165.059 | 69.899 | 93.128
8800 | 0.806 | 0.905 | -7.244 | 519.951 | 165.211 | 69.899 | 93.583
8900 | 0.806 | 0.901 | -7.16 | 519.957 | 165.287 | 69.975 | 93.583
9000 | 0.806 | 0.915 | -7.093 | 519.951 | 165.362 | 69.975 | 93.583
9100 | 0.806 | 0.912 | -7.009 | 415.962 | 165.362 | 69.975 | 93.28
9200 | 0.806 | 0.892 | -6.909 | 519.957 | 163.847 | 69.748 | 92.977
9300 | 0.806 | 0.922 | -6.858 | 623.942 | 166.347 | 70.126 | 93.128
9400 | 0.806 | 0.902 | -6.758 | 311.971 | 165.362 | 69.899 | 92.674
9500 | 0.806 | 0.916 | -6.691 | 623.948 | 166.726 | 70.126 | 93.128
9600 | 0.806 | 0.896 | -6.59 | 415.962 | 165.211 | 69.899 | 92.825
9700 | 0.806 | 0.892 | -6.506 | 623.945 | 167.407 | 69.975 | 92.674
9800 | 0.806 | 0.923 | -6.456 | 519.951 | 166.65 | 69.672 | 92.219
9900 | 0.806 | 0.919 | -6.372 | 311.974 | 165.135 | 69.369 | 92.522
10000 | 0.806 | 0.916 | -6.288 | 519.951 | 163.544 | 69.672 | 92.977
10100 | 0.806 | 0.913 | -6.204 | 519.957 | 162.105 | 69.823 | 93.583
10200 | 0.806 | 0.91 | -6.12 | 519.951 | 165.059 | 70.126 | 93.734
10300 | 0.806 | 0.89 | -6.02 | 519.954 | 165.135 | 70.202 | 93.734
10400 | 0.806 | 0.903 | -5.953 | 623.945 | 165.287 | 70.126 | 92.825
10500 | 0.806 | 0.917 | -5.886 | 415.962 | 165.438 | 69.672 | 93.128
10600 | 0.806 | 0.897 | -5.785 | 415.962 | 165.135 | 69.672 | 92.977
10700 | 0.806 | 0.91 | -5.718 | 623.945 | 167.256 | 69.672 | 92.825
10800 | 0.806 | 0.907 | -5.634 | 415.962 | 166.347 | 70.051 | 92.825
10900 | 0.806 | 0.904 | -5.55 | 519.957 | 165.211 | 69.975 | 92.825
11000 | 0.806 | 0.901 | -5.466 | 519.951 | 165.135 | 69.823 | 92.674
11100 | 0.806 | 0.898 | -5.383 | 519.954 | 165.287 | 69.748 | 92.825
11200 | 0.806 | 0.911 | -5.316 | 519.957 | 167.862 | 69.596 | 92.219
11300 | 0.806 | 0.908 | -5.232 | 415.962 | 166.953 | 69.141 | 92.522
11400 | 0.806 | 0.921 | -5.165 | 519.951 | 164.908 | 69.369 | 92.219
11500 | 0.806 | 0.918 | -5.081 | 415.968 | 162.938 | 69.52 | 92.674
11600 | 0.806 | 0.915 | -4.997 | 519.951 | 163.923 | 69.672 | 93.128
11700 | 0.806 | 0.929 | -4.93 | 519.951 | 163.847 | 69.899 | 93.886
11800 | 0.806 | 0.892 | -4.812 | 415.962 | 162.863 | 70.051 | 94.189
11900 | 0.806 | 0.905 | -4.745 | 727.934 | 166.271 | 70.202 | 94.189
12000 | 0.806 | 0.902 | -4.661 | 415.968 | 165.362 | 70.126 | 93.583
12100 | 0.806 | 0.882 | -4.561 | 519.951 | 166.423 | 70.126 | 93.128
12200 | 0.806 | 0.913 | -4.511 | 623.948 | 166.499 | 70.278 | 92.825
12300 | 0.806 | 0.909 | -4.427 | 311.968 | 162.636 | 69.672 | 92.068
12400 | 0.806 | 0.906 | -4.343 | 519.957 | 165.135 | 69.52 | 92.674
12500 | 0.806 | 0.92 | -4.276 | 519.951 | 164.832 | 69.596 | 92.522
12600 | 0.806 | 0.916 | -4.192 | 415.962 | 164.832 | 69.748 | 92.977
12700 | 0.806 | 0.896 | -4.091 | 519.957 | 164.453 | 69.823 | 93.734
12800 | 0.806 | 0.893 | -4.007 | 623.945 | 166.574 | 70.126 | 93.28
12900 | 0.806 | 0.907 | -3.94 | 519.951 | 166.65 | 69.975 | 92.825
13000 | 0.806 | 0.92 | -3.873 | 415.964 | 165.514 | 69.899 | 92.371
13100 | 0.806 | 0.917 | -3.789 | 415.962 | 164.302 | 69.369 | 92.825
13200 | 0.806 | 0.931 | -3.722 | 519.957 | 164.908 | 69.975 | 93.28
13300 | 0.806 | 0.911 | -3.622 | 415.962 | 162.938 | 69.899 | 94.037
13400 | 0.806 | 0.906 | -3.537 | 623.941 | 165.287 | 70.278 | 94.037
13500 | 0.806 | 0.903 | -3.453 | 526.456 | 165.741 | 70.202 | 94.189
13600 | 0.806 | 0.917 | -3.386 | 519.951 | 165.135 | 70.202 | 93.886
13700 | 0.806 | 0.914 | -3.302 | 415.962 | 163.847 | 69.975 | 93.583
13800 | 0.806 | 0.91 | -3.218 | 519.957 | 164.984 | 70.126 | 93.886
13900 | 0.806 | 0.907 | -3.134 | 519.952 | 165.514 | 70.126 | 93.734
14000 | 0.806 | 0.904 | -3.051 | 519.957 | 167.786 | 70.126 | 93.28
14100 | 0.806 | 0.901 | -2.967 | 519.951 | 166.726 | 70.202 | 92.977
14200 | 0.806 | 0.914 | -2.9 | 519.952 | 165.135 | 70.051 | 93.583
14300 | 0.806 | 0.911 | -2.816 | 415.967 | 165.211 | 69.899 | 92.825
14400 | 0.806 | 0.908 | -2.732 | 519.952 | 166.423 | 69.975 | 92.977
14500 | 0.806 | 0.905 | -2.648 | 519.951 | 165.211 | 69.975 | 93.28
14600 | 0.806 | 0.885 | -2.547 | 519.957 | 165.135 | 69.975 | 93.28
14700 | 0.806 | 0.898 | -2.48 | 623.944 | 167.786 | 69.975 | 92.977
14800 | 0.806 | 0.912 | -2.413 | 415.962 | 168.089 | 69.823 | 92.522
14900 | 0.806 | 0.908 | -2.329 | 415.962 | 166.347 | 69.369 | 92.219
15000 | 0.806 | 0.905 | -2.246 | 519.954 | 165.362 | 69.369 | 92.219
15100 | 0.806 | 0.919 | -2.179 | 519.954 | 165.135 | 69.444 | 92.674
15200 | 0.806 | 0.899 | -2.078 | 415.962 | 165.665 | 69.369 | 92.977
15300 | 0.806 | 0.912 | -2.011 | 623.947 | 168.241 | 69.444 | 93.128
15400 | 0.806 | 0.909 | -1.927 | 415.962 | 165.362 | 69.444 | 92.977
15500 | 0.806 | 0.906 | -1.843 | 519.954 | 165.135 | 69.444 | 92.977
15600 | 0.806 | 0.903 | -1.759 | 519.952 | 164.984 | 69.444 | 93.28
15700 | 0.806 | 0.916 | -1.692 | 519.954 | 166.347 | 69.444 | 92.825
15800 | 0.806 | 0.913 | -1.608 | 415.965 | 165.135 | 69.444 | 92.825
15900 | 0.806 | 0.893 | -1.508 | 519.952 | 165.135 | 69.444 | 93.28
16000 | 0.806 | 0.907 | -1.441 | 623.946 | 166.271 | 69.672 | 93.128
16100 | 0.766 | 0.863 | -1.357 | 415.962 | 166.65 | 69.444 | 93.28
16200 | 0.726 | 0.815 | -1.273 | 519.954 | 163.317 | 69.293 | 92.825
16300 | 0.685 | 0.764 | -1.189 | 519.955 | 166.65 | 68.687 | 90.401
16400 | 0.645 | 0.742 | -1.139 | 519.952 | 168.241 | 66.944 | 88.583
16500 | 0.605 | 0.716 | -1.088 | 311.973 | 162.787 | 65.126 | 85.249
16600 | 0.564 | 0.686 | -1.038 | 311.973 | 165.211 | 63.611 | 82.067
16700 | 0.524 | 0.651 | -0.988 | 311.97 | 171.195 | 60.201 | 79.036
16800 | 0.484 | 0.63 | -0.954 | 311.973 | 166.574 | 57.853 | 75.854
16900 | 0.443 | 0.604 | -0.921 | 207.981 | 165.059 | 54.974 | 71.763
17000 | 0.403 | 0.558 | -0.87 | 207.981 | 167.256 | 51.792 | 67.521
17100 | 0.363 | 0.541 | -0.854 | 311.973 | 168.089 | 49.14 | 63.884
17200 | 0.323 | 0.504 | -0.82 | 103.992 | 166.347 | 45.731 | 59.187
17300 | 0.282 | 0.479 | -0.803 | 207.981 | 167.938 | 42.094 | 55.398
17400 | 0.242 | 0.45 | -0.787 | 103.989 | 166.877 | 39.064 | 51.61
17500 | 0.202 | 0.4 | -0.753 | 103.992 | 166.802 | 36.26 | 47.519
17600 | 0.161 | 0.38 | -0.753 | 207.981 | 167.18 | 33.912 | 45.246
17700 | 0.121 | 0.323 | -0.72 | 0 | 167.71 | 32.018 | 42.519
17800 | 0.081 | 0.294 | -0.72 | 207.981 | 165.665 | 30.199 | 39.943
17900 | 0.04 | 0.245 | -0.703 | 0 | 167.029 | 28.078 | 37.215