## Data
Log File Data
2007-11-05 11:09 | MERIT Configuration Data
Test Description: 11010 6TP 4bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071105 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 1.304
100 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 1.001
200 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.243
300 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.546
400 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.546
500 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.546
600 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 1.304
700 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.395
800 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.546
900 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.698
1000 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.546
1100 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.546
1200 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.546
1300 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.698
1400 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.849
1500 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.698
1600 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.849
1700 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.849
1800 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 1.001
1900 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 1.001
2000 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.395
2100 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.546
2200 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.849
2300 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 1.152
2400 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.698
2500 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.395
2600 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.395
2700 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.849
2800 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.698
2900 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 0.849
3000 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.546
3100 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.395
3200 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.395
3300 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.395
3400 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.698
3500 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.546
3600 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 1.001
3700 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.395
3800 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.698
3900 | 0 | 0 | -14.826 | 0 | 0 | 1.788 | 0.395
4000 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.546
4100 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.849
4200 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.698
4300 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 1.001
4400 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 1.001
4500 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 1.001
4600 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 1.152
4700 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.698
4800 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.849
4900 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.849
5000 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 1.001
5100 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 1.304
5200 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.395
5300 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.698
5400 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.546
5500 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.395
5600 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.849
5700 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 0.849
5800 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.395
5900 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.546
6000 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
6100 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.395
6200 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
6300 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 1.304
6400 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.546
6500 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.395
6600 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.546
6700 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.546
6800 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.849
6900 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 1.001
7000 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.849
7100 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
7200 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.698
7300 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
7400 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.395
7500 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 1.001
7600 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
7700 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 1.001
7800 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.546
7900 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
8000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.849
8100 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
8200 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.849
8300 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.698
8400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.849
8500 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 1.001
8600 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.546
8700 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 1.001
8800 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.849
8900 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 0.849
9000 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
9100 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.698
9200 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
9300 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
9400 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
9500 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
9600 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 1.001
9700 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.698
9800 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
9900 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.698
10000 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.698
10100 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.849
10200 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 1.304
10300 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.849
10400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
10500 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 1.001
10600 | 0 | 0 | -14.86 | 0 | 0 | 1.334 | 1.001
10700 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.546
10800 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 1.001
10900 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 1.152
11000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
11100 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.546
11200 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
11300 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
11400 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.849
11500 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.849
11600 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
11700 | 0 | 0 | -14.876 | 0 | 0 | 1.334 | 0.395
11800 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.546
11900 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.698
12000 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.849
12100 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.698
12200 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 1.001
12300 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
12400 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
12500 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
12600 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 1.152
12700 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.849
12800 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.546
12900 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.698
13000 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
13100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
13200 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.849
13300 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.849
13400 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
13500 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.243
13600 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.395
13700 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.698
13800 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.849
13900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
14000 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 1.152
14100 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
14200 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
14300 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
14400 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.849
14500 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.698
14600 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 1.001
14700 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
14800 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
14900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
15000 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 1.001
15100 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.395
15200 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.546
15300 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
15400 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
15500 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.698
15600 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.698
15700 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.546
15800 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
15900 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | 0.849
16000 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
16100 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
16200 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.546
16300 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
16400 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
16500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 1.001
16600 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
16700 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.849
16800 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
16900 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
17000 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
17100 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.849
17200 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 1.152
17300 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
17400 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.546
17500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
17600 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
17700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
17800 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.849
17900 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.849
18000 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.849
18100 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.849
18200 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 1.304
18300 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 1.001
18400 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
18500 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.546
18600 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
18700 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
18800 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.849
18900 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.849
19000 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
19100 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
19200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
19300 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.698
19400 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.698
19500 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.849
19600 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
19700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
19800 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.698
19900 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.546
20000 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 1.001
20100 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.395
20200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | -0.06
20300 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.546
20400 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 1.001
20500 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.546
20600 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.849
20700 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
20800 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.849
20900 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
21000 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 1.304
21100 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 1.152
21200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
21300 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
21400 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.395
21500 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.849
21600 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.698
21700 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 1.001
21800 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.546
21900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.395
22000 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.546
22100 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.546
22200 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.698
22300 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 1.455
22400 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.546
22500 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
22600 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.395
22700 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.698
22800 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.546
22900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.849
23000 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.698
23100 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.546
23200 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
23300 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
23400 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 1.152
23500 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
23600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.243
23700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.698
23800 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
23900 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.849
24000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
24100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
24200 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
24300 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
24400 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
24500 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
24600 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | 0.395
24700 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.849
24800 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.395
24900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.849
25000 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.698
25100 | 0.04 | 0.04 | -14.96 | 0 | 258.548 | 1.561 | 0.698
25200 | 0.081 | 0.081 | -14.96 | 0 | 258.548 | 1.485 | 0.698
25300 | 0.121 | 0.133 | -14.96 | 0 | 234.684 | 1.485 | 1.001
25400 | 0.161 | 0.189 | -14.96 | 0 | 234.759 | 1.637 | 0.698
25500 | 0.202 | 0.25 | -14.96 | 0 | 258.548 | 1.561 | 1.001
25600 | 0.242 | 0.314 | -14.96 | 0 | 250.14 | 1.334 | 1.607
25700 | 0.282 | 0.383 | -14.96 | 0 | 257.412 | 1.334 | 0.849
25800 | 0.323 | 0.456 | -14.96 | 0 | 234.608 | 1.485 | 0.849
25900 | 0.363 | 0.515 | -14.943 | 0 | 234.835 | 1.182 | 1.304
26000 | 0.403 | 0.596 | -14.943 | 103.988 | 234.835 | 1.258 | 1.455
26100 | 0.443 | 0.697 | -14.96 | 0 | 234.608 | 1.41 | 1.91
26200 | 0.484 | 0.769 | -14.943 | -103.988 | 234.835 | 2.167 | 3.274
26300 | 0.524 | 0.879 | -14.96 | 103.988 | 234.911 | 3.986 | 6.001
26400 | 0.564 | 0.959 | -14.943 | -103.988 | 234.759 | 5.274 | 9.032
26500 | 0.605 | 0.993 | -14.876 | 103.988 | 234.911 | 9.592 | 15.244
26600 | 0.645 | 0.997 | -14.776 | 415.959 | 234.608 | 17.32 | 24.942
26700 | 0.685 | 1.022 | -14.692 | 623.942 | 234.759 | 25.351 | 34.033
26800 | 0.726 | 1.034 | -14.591 | 519.96 | 234.684 | 33.912 | 45.701
26900 | 0.766 | 1.05 | -14.491 | 623.948 | 234.608 | 41.412 | 54.792
27000 | 0.806 | 1.071 | -14.39 | 623.942 | 234.759 | 47.852 | 63.126
27100 | 0.847 | 1.061 | -14.256 | 623.936 | 234.684 | 55.05 | 72.066
27200 | 0.887 | 1.073 | -14.139 | 831.937 | 258.548 | 60.58 | 79.339
27300 | 0.927 | 1.089 | -14.021 | 727.936 | 234.759 | 65.581 | 85.249
27400 | 0.968 | 1.108 | -13.904 | 727.925 | 234.608 | 69.52 | 90.401
27500 | 1.008 | 1.115 | -13.77 | 727.931 | 234.759 | 73.233 | 95.25
27600 | 1.048 | 1.143 | -13.652 | 831.937 | 234.835 | 76.869 | 99.947
27700 | 1.089 | 1.158 | -13.518 | 727.936 | 234.684 | 78.915 | 102.826
27800 | 1.129 | 1.16 | -13.367 | 831.925 | 252.64 | 82.021 | 107.22
27900 | 1.169 | 1.15 | -13.199 | 935.913 | 245.217 | 84.597 | 110.402
28000 | 1.209 | 1.177 | -13.065 | 1039.902 | 258.548 | 86.188 | 112.069
28100 | 1.25 | 1.208 | -12.931 | 831.937 | 234.911 | 87.779 | 113.584
28200 | 1.29 | 1.227 | -12.78 | 831.925 | 234.835 | 88.309 | 116.009
28300 | 1.33 | 1.249 | -12.629 | 935.913 | 234.608 | 84.9 | 121.615
28400 | 1.371 | 1.292 | -12.495 | 935.913 | 234.835 | 84.597 | 124.797
28500 | 1.411 | 1.306 | -12.327 | 831.925 | 234.759 | 85.885 | 127.07
28600 | 1.451 | 1.289 | -12.125 | 1039.913 | 234.608 | 86.718 | 129.797
28700 | 1.492 | 1.294 | -11.941 | 1254.384 | 235.744 | 87.779 | 131.313
28800 | 1.532 | 1.303 | -11.756 | 1143.902 | 229.154 | 88.915 | 131.767
28900 | 1.572 | 1.333 | -11.588 | 1143.89 | 245.974 | 88.84 | 132.676
29000 | 1.613 | 1.35 | -11.404 | 1039.913 | 258.548 | 88.764 | 133.889
29100 | 1.653 | 1.338 | -11.186 | 1143.896 | 234.608 | 88.385 | 135.101
29200 | 1.693 | 1.363 | -11.002 | 1351.879 | 234.684 | 88.991 | 136.313
29300 | 1.734 | 1.409 | -10.834 | 1143.902 | 236.123 | 89.37 | 136.768
29400 | 1.774 | 1.425 | -10.633 | 1039.902 | 256.503 | 88.006 | 137.828
29500 | 1.814 | 1.446 | -10.431 | 1247.896 | 236.88 | 88.385 | 138.586
29600 | 1.855 | 1.437 | -10.197 | 1247.89 | 258.548 | 88.537 | 140.556
29700 | 1.895 | 1.465 | -9.995 | 1455.867 | 244.459 | 88.84 | 141.01
29800 | 1.935 | 1.448 | -9.744 | 1247.89 | 234.911 | 88.84 | 141.465
29900 | 1.975 | 1.484 | -9.543 | 1559.861 | 234.684 | 88.915 | 142.677
30000 | 2.016 | 1.491 | -9.308 | 1247.884 | 234.684 | 88.764 | 142.677
30100 | 2.056 | 1.519 | -9.09 | 1455.873 | 258.548 | 88.234 | 144.041
30200 | 2.096 | 1.518 | -8.838 | 1351.879 | 258.548 | 88.158 | 144.647
30300 | 2.137 | 1.52 | -8.587 | 1559.861 | 234.759 | 87.703 | 145.253
30400 | 2.177 | 1.56 | -8.369 | 1559.861 | 234.759 | 88.158 | 146.617
30500 | 2.217 | 1.571 | -8.117 | 1351.879 | 234.684 | 86.946 | 147.071
30600 | 2.258 | 1.567 | -7.848 | 1559.861 | 234.608 | 86.34 | 148.435
30700 | 2.298 | 1.603 | -7.613 | 1670.355 | 234.684 | 86.643 | 148.283
30800 | 2.338 | 1.625 | -7.361 | 1455.864 | 258.548 | 85.809 | 149.344
30900 | 2.379 | 1.652 | -7.11 | 1559.864 | 258.548 | 84.976 | 150.405
31000 | 2.419 | 1.666 | -6.842 | 1559.861 | 258.548 | 84.445 | 151.314
31100 | 2.419 | 1.606 | -6.54 | 1663.85 | 234.759 | 83.688 | 152.829
31200 | 2.419 | 1.613 | -6.305 | 1871.832 | 234.684 | 84.749 | 152.981
31300 | 2.419 | 1.587 | -6.037 | 1455.87 | 236.123 | 86.112 | 151.465
31400 | 2.419 | 1.527 | -5.735 | 1663.856 | 234.911 | 86.112 | 151.314
31500 | 2.419 | 1.534 | -5.5 | 1871.832 | 234.684 | 88.234 | 149.647
31600 | 2.419 | 1.524 | -5.248 | 1455.87 | 234.532 | 88.688 | 148.283
31700 | 2.419 | 1.548 | -5.03 | 1559.858 | 234.684 | 88.537 | 147.98
31800 | 2.419 | 1.505 | -4.745 | 1351.882 | 236.274 | 87.855 | 147.677
31900 | 2.419 | 1.512 | -4.511 | 1767.844 | 235.289 | 88.764 | 147.071
32000 | 2.419 | 1.502 | -4.259 | 1455.867 | 252.185 | 88.688 | 146.465
32100 | 2.419 | 1.56 | -4.075 | 1559.864 | 258.548 | 88.688 | 145.859
32200 | 2.419 | 1.55 | -3.823 | 1143.899 | 221.428 | 87.324 | 146.768
32300 | 2.419 | 1.506 | -3.537 | 1559.858 | 237.486 | 86.643 | 147.98
32400 | 2.419 | 1.53 | -3.319 | 1774.343 | 221.277 | 87.931 | 147.829
32500 | 2.419 | 1.537 | -3.084 | 1351.876 | 221.504 | 88.309 | 147.223
32600 | 2.419 | 1.544 | -2.849 | 1455.87 | 237.562 | 87.173 | 147.374
32700 | 2.298 | 1.413 | -2.598 | 1455.871 | 221.731 | 87.097 | 147.677
32800 | 2.177 | 1.254 | -2.329 | 1559.863 | 221.58 | 90.885 | 145.405
32900 | 2.056 | 1.133 | -2.111 | 1663.851 | 237.789 | 96.416 | 141.919
33000 | 1.935 | 1.083 | -1.977 | 1351.879 | 237.486 | 97.855 | 138.131
33100 | 1.814 | 1.005 | -1.826 | 831.927 | 221.58 | 97.628 | 132.525
33200 | 1.693 | 0.931 | -1.692 | 935.917 | 237.335 | 95.734 | 129.343
33300 | 1.572 | 0.829 | -1.541 | 831.927 | 237.259 | 95.052 | 123.585
33400 | 1.451 | 0.798 | -1.474 | 935.916 | 258.548 | 91.643 | 120.1
33500 | 1.33 | 0.738 | -1.39 | 415.962 | 258.548 | 88.991 | 115.554
33600 | 1.209 | 0.666 | -1.306 | 519.954 | 221.504 | 85.582 | 110.251
33700 | 1.089 | 0.599 | -1.239 | 519.952 | 237.335 | 82.627 | 105.553
33800 | 0.968 | 0.554 | -1.206 | 415.965 | 237.865 | 78.536 | 100.098
33900 | 0.847 | 0.496 | -1.172 | 207.981 | 221.883 | 73.99 | 93.734
34000 | 0.726 | 0.426 | -1.139 | 207.98 | 221.352 | 69.748 | 88.886
34100 | 0.605 | 0.344 | -1.105 | 207.981 | 237.183 | 66.111 | 83.734
34200 | 0.484 | 0.284 | -1.105 | 207.981 | 221.58 | 62.853 | 79.491
34300 | 0.363 | 0.178 | -1.072 | 0 | 221.428 | 59.141 | 75.097
34400 | 0.242 | 0.093 | -1.072 | 207.981 | 237.941 | 56.792 | 72.066
34500 | 0.121 | 0 | -1.055 | 0 | 237.941 | 53.61 | 68.581